## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-25 00:00:00 | 5.878 | 340.4267 | 6.3207 | 320.8547 | 6.76 | 332.9387 | 7.3493 | 322.496 | 2.7 | 889 | 100 | 29.8087
2020-11-25 00:15:00 | 6.258 | 340.1733 | 6.7553 | 325.478 | 7.1193 | 332.6887 | 7.8107 | 327.1427 | 2.7733 | 889 | 100 | 32.3673
2020-11-25 00:30:00 | 6.232 | 341.54 | 6.7413 | 328.0213 | 6.97 | 334.0273 | 7.7247 | 329.7 | 2.6333 | 889 | 100 | 32.934
2020-11-25 00:45:00 | 6.312 | 337.48 | 6.8147 | 323.3713 | 7.0333 | 330.0547 | 7.7753 | 325.0267 | 2.6267 | 889 | 100 | 33.006
2020-11-25 01:00:00 | 6.402 | 341.9667 | 6.9227 | 331.4513 | 7.2647 | 334.4433 | 8.0027 | 333.1447 | 2.78 | 889 | 100 | 31.678
2020-11-25 01:15:00 | 6.5793 | 335.0667 | 7.0993 | 324.3047 | 7.2367 | 327.6947 | 8.032 | 325.9633 | 2.76 | 889 | 100 | 34.6167
2020-11-25 01:30:00 | 6.698 | 341.0933 | 7.214 | 326.6653 | 7.3213 | 333.59 | 8.1253 | 328.334 | 2.6667 | 889 | 100 | 35.19
2020-11-25 01:45:00 | 6.7927 | 337.9867 | 7.3267 | 325.2687 | 7.4907 | 330.8307 | 8.2987 | 326.9333 | 2.7533 | 889 | 100 | 34.9307
2020-11-25 02:00:00 | 6.962 | 337.9333 | 7.4727 | 323.5873 | 7.58 | 330.4987 | 8.3733 | 325.242 | 2.76 | 888.2 | 100 | 36.2973
2020-11-25 02:15:00 | 7.09 | 346.48 | 7.628 | 321.5147 | 7.8227 | 338.8567 | 8.6293 | 323.1587 | 2.7733 | 888 | 100 | 36.818
2020-11-25 02:30:00 | 7.0607 | 341.6533 | 7.624 | 319.33 | 7.8233 | 334.3327 | 8.6707 | 320.962 | 2.76 | 888 | 100 | 37.4773
2020-11-25 02:45:00 | 7.3687 | 338.78 | 7.9153 | 322.4273 | 8.0987 | 331.326 | 8.9233 | 324.0753 | 2.9 | 888 | 100 | 38.568
2020-11-25 03:00:00 | 7.3213 | 340.2333 | 7.9193 | 321.4233 | 7.8787 | 332.6693 | 8.85 | 323.066 | 3.0533 | 888 | 100 | 38.77
2020-11-25 03:15:00 | 7.518 | 340.4533 | 8.1413 | 321.5147 | 8.3273 | 332.6627 | 9.2873 | 323.158 | 2.9533 | 888 | 100 | 38.8267
2020-11-25 03:30:00 | 7.5467 | 336.9133 | 8.138 | 322.7067 | 8.2993 | 329.5 | 9.206 | 324.3567 | 2.92 | 888 | 100 | 39.994
2020-11-25 03:45:00 | 7.5553 | 343.1333 | 8.1853 | 319.7147 | 8.2427 | 335.5833 | 9.2347 | 321.3487 | 2.94 | 888 | 100 | 40.8513
2020-11-25 04:00:00 | 7.7653 | 339.8333 | 8.3053 | 325.9087 | 8.4527 | 332.3573 | 9.276 | 327.5753 | 3.04 | 888 | 100 | 41.5513
2020-11-25 04:15:00 | 7.938 | 340.2 | 8.5167 | 326.45 | 8.5673 | 332.716 | 9.4907 | 328.1187 | 3.16 | 888 | 100 | 42.6293
2020-11-25 04:30:00 | 7.9773 | 342.3467 | 8.5807 | 326.8807 | 8.57 | 334.8147 | 9.5433 | 328.5507 | 3.1 | 888 | 100 | 43.4753
2020-11-25 04:45:00 | 7.936 | 344.24 | 8.5287 | 326.3327 | 8.494 | 336.6667 | 9.4587 | 328.0007 | 3.2067 | 888 | 100 | 42.184
2020-11-25 05:00:00 | 8.0253 | 344.5333 | 8.694 | 325.296 | 8.6147 | 337.5333 | 9.716 | 326.958 | 3.1333 | 888 | 99.94 | 42.37
2020-11-25 05:15:00 | 7.8093 | 345.3467 | 8.4867 | 326.278 | 8.266 | 337.4027 | 9.424 | 327.7193 | 3.0467 | 888 | 99.6133 | 43.698
2020-11-25 05:30:00 | 7.9593 | 345.3867 | 8.6307 | 328.322 | 8.312 | 337.7887 | 9.4827 | 330 | 3.18 | 888 | 99.2933 | 45.1593
2020-11-25 05:45:00 | 7.968 | 343.4067 | 8.5887 | 329.514 | 8.3647 | 335.852 | 9.4313 | 331.2 | 3.24 | 888 | 98.9933 | 44.702
2020-11-25 06:00:00 | 7.4887 | 340.06 | 8.0147 | 324.4153 | 7.7447 | 331.9073 | 8.6587 | 326.074 | 3.2933 | 888 | 98.3133 | 42.526
2020-11-25 06:15:00 | 7.0707 | 338.3533 | 7.5967 | 324.4607 | 7.3347 | 330.9093 | 8.2553 | 326.12 | 3.2 | 888 | 97.4933 | 42.3087
2020-11-25 06:30:00 | 7.3593 | 335.7533 | 7.8827 | 323.574 | 8.0247 | 328.368 | 8.8267 | 325.2293 | 3.32 | 888 | 96.5 | 43.3933
2020-11-25 06:45:00 | 7.8227 | 338.82 | 8.3727 | 324.702 | 8.4447 | 331.3653 | 9.3087 | 326.3627 | 3.4133 | 888.4667 | 96.0533 | 44.8807
2020-11-25 07:00:00 | 8.0533 | 343.06 | 8.6287 | 329.4227 | 8.7587 | 335.5127 | 9.644 | 331.1067 | 3.5067 | 889 | 96 | 45.176
2020-11-25 07:15:00 | 8.1 | 340.36 | 8.6593 | 329.272 | 8.908 | 332.872 | 9.736 | 330.9553 | 3.6333 | 889 | 95.9733 | 44.906
2020-11-25 07:30:00 | 8.034 | 338.7933 | 8.58 | 325.2507 | 8.7813 | 331.3413 | 9.5993 | 326.9147 | 3.6933 | 889 | 95.84 | 46.3867
2020-11-25 07:45:00 | 7.982 | 346.44 | 8.5473 | 326.6633 | 8.7327 | 338.1593 | 9.5787 | 328.336 | 3.7067 | 889 | 95.4467 | 46.1647
2020-11-25 08:00:00 | 7.8213 | 344.5133 | 8.3707 | 326.4233 | 8.6247 | 336.9333 | 9.4293 | 328.094 | 3.7467 | 889.1333 | 94.8867 | 46.3553
2020-11-25 08:15:00 | 7.4587 | 340.42 | 8.0373 | 323.182 | 8.238 | 332.9313 | 9.11 | 324.8353 | 3.7733 | 890 | 94.9933 | 45.708
2020-11-25 08:30:00 | 7.1987 | 336.0333 | 7.7847 | 318.9847 | 7.9327 | 328.6407 | 8.826 | 320.6147 | 3.8067 | 890 | 94.9 | 46.1747
2020-11-25 08:45:00 | 7.3407 | 338.46 | 7.8727 | 319.93 | 7.8593 | 331.2693 | 8.724 | 321.2907 | 3.84 | 890 | 94.7933 | 46.5467
2020-11-25 09:00:00 | 7.6107 | 339.4133 | 8.2027 | 326.2033 | 8.3593 | 331.946 | 9.2653 | 327.8693 | 3.96 | 890.8 | 94.8467 | 48.528
2020-11-25 09:15:00 | 7.894 | 343.5333 | 8.498 | 325.8687 | 8.7767 | 335.7747 | 9.664 | 327.5353 | 4.0067 | 891 | 94.38 | 48.6807
2020-11-25 09:30:00 | 7.7773 | 342.4733 | 8.3213 | 328.6667 | 8.598 | 335.2 | 9.3933 | 330.3467 | 4.0867 | 891 | 93.8067 | 48.568
2020-11-25 09:45:00 | 7.558 | 340.4867 | 8.0533 | 330.1607 | 8.282 | 332.9973 | 9.0107 | 331.8467 | 4.1867 | 891 | 93.4 | 50.4067
2020-11-25 10:00:00 | 7.548 | 344.2467 | 8.05 | 332.762 | 8.1073 | 336.6727 | 8.8993 | 334.462 | 4.32 | 891 | 93.2067 | 50.358
2020-11-25 10:15:00 | 7.5827 | 343.4 | 8.074 | 331.202 | 7.9733 | 335.844 | 8.7933 | 332.8953 | 4.4667 | 891 | 92.9933 | 49.1687
2020-11-25 10:30:00 | 6.998 | 340.4133 | 7.36 | 323.6987 | 7.336 | 332.924 | 7.93 | 325.354 | 4.6267 | 891 | 92.1133 | 45.1407
2020-11-25 10:45:00 | 6.6607 | 338.8133 | 6.9773 | 323.046 | 6.9187 | 331.3593 | 7.4467 | 324.6993 | 4.6867 | 891 | 91.2333 | 44.036
2020-11-25 11:00:00 | 6.5867 | 344.1133 | 6.9967 | 321.5993 | 7.1307 | 336.1647 | 7.7647 | 323.2427 | 4.6667 | 891 | 90.6333 | 45.0253
2020-11-25 11:15:00 | 6.7327 | 318.0867 | 7.1153 | 320.9467 | 7.4387 | 311.09 | 7.9607 | 322.588 | 4.86 | 891 | 89.7467 | 45.028
2020-11-25 11:30:00 | 6.7453 | 341.66 | 7.1147 | 324.6173 | 7.292 | 333.7327 | 7.798 | 326.278 | 5.0933 | 891.8 | 88.52 | 44.4933
2020-11-25 11:45:00 | 6.7007 | 340.84 | 7.0287 | 323.9793 | 7.3093 | 333.342 | 7.764 | 325.6347 | 5.1333 | 891.5333 | 87.7467 | 44.1553
2020-11-25 12:00:00 | 6.2533 | 339.78 | 6.5767 | 324.8913 | 6.778 | 332.306 | 7.2413 | 326.094 | 5.1 | 891 | 86.7533 | 41.556
2020-11-25 12:15:00 | 6.116 | 295.12 | 6.3553 | 322.812 | 6.42 | 288.628 | 6.7893 | 324.4613 | 5.2067 | 891 | 86.0067 | 36.9047
2020-11-25 12:30:00 | 5.8313 | 341.42 | 5.9793 | 324.2 | 6.4193 | 333.9087 | 6.53 | 325.858 | 5.3133 | 891 | 85.8067 | 36.1153
2020-11-25 12:45:00 | 5.5653 | 273.4933 | 5.7773 | 321.8993 | 5.8787 | 267.4767 | 6.1933 | 323.544 | 5.36 | 891 | 85.08 | 35.1713
2020-11-25 13:00:00 | 5.3793 | 234.6867 | 5.5667 | 318.964 | 6.0827 | 229.524 | 6.232 | 320.5947 | 5.48 | 891 | 84.2467 | 35.4207
2020-11-25 13:15:00 | 5.028 | 278.3 | 5.17 | 320.6727 | 5.4653 | 272.9587 | 5.6113 | 322.312 | 5.7067 | 890.5333 | 82.4667 | 32.282
2020-11-25 13:30:00 | 4.8833 | 165.3933 | 5.0133 | 321.6387 | 5.5473 | 161.5593 | 5.6053 | 323.282 | 5.8733 | 890 | 82.08 | 31.3827
2020-11-25 13:45:00 | 5.432 | 236.5867 | 5.7727 | 322.786 | 6.1573 | 231.3813 | 6.5987 | 324.436 | 5.9467 | 890 | 81.4467 | 33.6473
2020-11-25 14:00:00 | 5.6787 | 256.4267 | 6.12 | 327.6687 | 6.4953 | 250.948 | 7.0893 | 329.3447 | 6.16 | 890 | 79.3013 | 31.686
2020-11-25 14:15:00 | 5.0613 | 303.6867 | 5.468 | 321.4293 | 5.8133 | 297.0047 | 6.3653 | 323.0747 | 6.28 | 890 | 79.3567 | 27.2693
2020-11-25 14:30:00 | 4.3653 | 279.3067 | 4.6333 | 326.6453 | 4.8487 | 273.078 | 5.19 | 328.316 | 6.34 | 890 | 77.846 | 24.7907
2020-11-25 14:45:00 | 4.416 | 254.6733 | 4.6773 | 287.4667 | 4.604 | 249.0707 | 5.0467 | 288.938 | 6.34 | 890 | 78.1633 | 25.5633
2020-11-25 15:00:00 | 4.8513 | 258.7667 | 5.1913 | 247.924 | 5.372 | 275.2167 | 5.912 | 249.19 | 6.3267 | 889.2 | 78.268 | 25.086
2020-11-25 15:15:00 | 4.3373 | 256.1133 | 4.7107 | 334.6593 | 4.7327 | 250.4793 | 5.3247 | 336.3693 | 6.42 | 889.4667 | 78.4053 | 20.5787
2020-11-25 15:30:00 | 4.866 | 187.92 | 5.256 | 308.0307 | 5.8887 | 185.6327 | 6.3427 | 309.6053 | 6.42 | 890 | 79.26 | 21.182
2020-11-25 15:45:00 | 4.7007 | 193.72 | 4.9687 | 331.222 | 5.404 | 189.6547 | 5.694 | 332.9153 | 6.4533 | 890 | 79.938 | 19.8407
2020-11-25 16:00:00 | 4.3973 | 187.8267 | 4.6987 | 332.4353 | 5.494 | 183.694 | 5.7467 | 334.1367 | 6.4533 | 890 | 79.0347 | 17.3767
2020-11-25 16:15:00 | 4.09 | 215 | 4.33 | 325.3747 | 4.802 | 210.2707 | 5.05 | 327.0373 | 6.4 | 890 | 80.3853 | 14.3907
2020-11-25 16:30:00 | 4.1007 | 166.34 | 4.3607 | 330.2567 | 4.6747 | 162.68 | 5.0027 | 331.9467 | 6.4467 | 890 | 82.1067 | 14.25
2020-11-25 16:45:00 | 3.9207 | 163.2267 | 4.0647 | 325.068 | 4.3967 | 158.5593 | 4.538 | 326.7293 | 6.4933 | 890 | 81.0533 | 13.706
2020-11-25 17:00:00 | 4.2353 | 252 | 4.362 | 325.694 | 4.7187 | 246.4567 | 4.8247 | 327.3587 | 6.4933 | 890 | 80.3733 | 16.3207
2020-11-25 17:15:00 | 4.27 | 251.7933 | 4.3873 | 335.592 | 4.5167 | 246.254 | 4.6727 | 337.306 | 6.5333 | 890 | 81.2133 | 14.6773
2020-11-25 17:30:00 | 4.9893 | 278.3133 | 5.2353 | 337.4753 | 5.3827 | 272.19 | 5.7387 | 339.2 | 6.58 | 890 | 81.76 | 20.1347
2020-11-25 17:45:00 | 5.084 | 302.88 | 5.344 | 334.782 | 5.6233 | 296.3407 | 5.962 | 336.4947 | 6.4933 | 890 | 82.9467 | 24.118
2020-11-25 18:00:00 | 4.8993 | 275.68 | 5.144 | 329.026 | 5.4573 | 269.6147 | 5.764 | 330.7073 | 6.3333 | 890 | 83.3733 | 25.364
2020-11-25 18:15:00 | 5.2907 | 296.4867 | 5.6333 | 305.0653 | 5.878 | 310.868 | 6.358 | 306.6247 | 6.2667 | 890 | 83.1 | 31.0547
2020-11-25 18:30:00 | 5.6507 | 340.9333 | 6.04 | 324.9487 | 6.164 | 333.662 | 6.7567 | 326.6113 | 6.22 | 890.8 | 83.2133 | 32.6847
2020-11-25 18:45:00 | 5.9053 | 343.84 | 6.3093 | 321.6507 | 6.5207 | 337.6587 | 7.118 | 323.2973 | 6.24 | 891 | 82.98 | 35.6467
2020-11-25 19:00:00 | 6.184 | 323.56 | 6.6367 | 309.05 | 7.0027 | 316.44 | 7.624 | 310.6267 | 6.2533 | 891 | 83.2 | 39.3273
2020-11-25 19:15:00 | 6.822 | 302.9667 | 7.2747 | 336.3207 | 7.656 | 296.066 | 8.2753 | 338.0393 | 6.4533 | 891 | 84.4533 | 39.0787
2020-11-25 19:30:00 | 6.7107 | 326.0867 | 7.2887 | 312.4647 | 7.43 | 318.9127 | 8.318 | 314.062 | 6.4267 | 891 | 85.98 | 37.9713
2020-11-25 19:45:00 | 6.2253 | 324.2667 | 6.782 | 329.3327 | 6.9093 | 317.1333 | 7.7647 | 331.0147 | 6.3867 | 891 | 85.4533 | 34.532
2020-11-25 20:00:00 | 5.8427 | 343.4067 | 6.3993 | 327.99 | 6.5893 | 335.8513 | 7.4267 | 329.6653 | 6.34 | 891 | 85.52 | 32.7067
2020-11-25 20:15:00 | 6.0227 | 344.76 | 6.5633 | 318.5673 | 6.7647 | 337.176 | 7.5753 | 320.1967 | 6.28 | 891.4667 | 85.4267 | 33.3033
2020-11-25 20:30:00 | 5.8853 | 339.6267 | 6.4193 | 312.588 | 6.5833 | 332.1547 | 7.3927 | 314.1867 | 6.18 | 892 | 82.5933 | 34.6933
2020-11-25 20:45:00 | 6.1133 | 317.7133 | 6.6727 | 317.4913 | 6.9387 | 310.7247 | 7.7613 | 319.1153 | 6.1133 | 892 | 81.58 | 37.354
2020-11-25 21:00:00 | 6.3973 | 346.1 | 6.9673 | 310.7033 | 7.232 | 338.4867 | 8.0687 | 312.292 | 6.1067 | 892 | 81.6667 | 37.3667
2020-11-25 21:15:00 | 6.288 | 337.0667 | 6.8167 | 310.144 | 7.0253 | 329.6513 | 7.814 | 311.7287 | 6.1467 | 892.4667 | 81.4933 | 36.996
2020-11-25 21:30:00 | 6.47 | 339.4067 | 7.0113 | 316.7813 | 7.17 | 331.94 | 7.9913 | 318.4 | 6.4067 | 893 | 81.1933 | 38.914
2020-11-25 21:45:00 | 6.2953 | 344.1 | 6.8133 | 323.5227 | 7.0433 | 336.7967 | 7.8093 | 325.176 | 6.3333 | 893 | 81.46 | 36.5067
2020-11-25 22:00:00 | 6.486 | 349.9867 | 7.0353 | 324.762 | 7.2467 | 342.2873 | 8.068 | 326.4213 | 6.32 | 893 | 82.2133 | 38.0653
2020-11-25 22:15:00 | 6.2933 | 324.4467 | 6.794 | 326.2273 | 6.918 | 317.31 | 7.6873 | 327.8967 | 6.32 | 893 | 82.08 | 38.408
2020-11-25 22:30:00 | 6.33 | 324.3867 | 6.7967 | 325.0727 | 6.9933 | 317.25 | 7.6873 | 326.7353 | 6.48 | 893 | 82.2267 | 38.6733
2020-11-25 22:45:00 | 6.05 | 318.6267 | 6.4673 | 319.5967 | 6.6613 | 311.9027 | 7.2793 | 321.2313 | 6.4067 | 893 | 81.9267 | 36.166
2020-11-25 23:00:00 | 5.7407 | 340.3133 | 6.1487 | 316.3107 | 6.2107 | 332.8273 | 6.8473 | 317.9287 | 6.28 | 893 | 80.48 | 34.65
2020-11-25 23:15:00 | 5.5333 | 339.6667 | 5.9293 | 314.256 | 5.9327 | 332.1933 | 6.566 | 315.8633 | 6.22 | 893 | 80.86 | 31.7073
2020-11-25 23:30:00 | 5.4167 | 340.0933 | 5.8493 | 325.6487 | 5.8527 | 332.61 | 6.548 | 327.3133 | 6.3333 | 893.8 | 81.9933 | 29.808
2020-11-25 23:45:00 | 5.792 | 345.4333 | 6.2913 | 322.57 | 6.3127 | 337.8333 | 7.1127 | 324.2193 | 6.28 | 894 | 83.8067 | 31.1607