## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-26 00:00:00 | 5.968 | 346.2133 | 6.4527 | 331.4247 | 6.702 | 338.596 | 7.4073 | 333.12 | 6.16 | 893.2 | 85.2467 | 32.7613
2020-11-26 00:15:00 | 5.6107 | 322.66 | 5.9727 | 330.3353 | 6.206 | 315.5607 | 6.7207 | 332.0247 | 6.16 | 893 | 85.96 | 30.518
2020-11-26 00:30:00 | 5.4653 | 301.66 | 5.766 | 334.3707 | 5.9513 | 295.0233 | 6.3847 | 336.0813 | 6.1733 | 893 | 84.5667 | 27.2347
2020-11-26 00:45:00 | 5.3853 | 342.4667 | 5.7447 | 329.2073 | 5.91 | 334.9327 | 6.444 | 330.892 | 6.0467 | 893 | 84.2467 | 26.7867
2020-11-26 01:00:00 | 5.7227 | 341.4533 | 6.084 | 327.7413 | 6.23 | 333.942 | 6.7693 | 329.416 | 6.04 | 893 | 84.3933 | 29.7507
2020-11-26 01:15:00 | 6.242 | 344.52 | 6.6927 | 330.4013 | 6.9373 | 336.334 | 7.5913 | 331.8273 | 6.02 | 893 | 85.4867 | 33.5587
2020-11-26 01:30:00 | 6.8147 | 348.14 | 7.2967 | 334.064 | 7.5273 | 340.48 | 8.2353 | 335.7733 | 5.9667 | 893 | 88.8467 | 38.0973
2020-11-26 01:45:00 | 6.9453 | 283.4067 | 7.4907 | 332.278 | 7.7327 | 299.7967 | 8.5313 | 333.976 | 5.3933 | 892.5333 | 90.74 | 41.3127
2020-11-26 02:00:00 | 6.7373 | 345.6 | 7.2293 | 328.464 | 7.366 | 337.9967 | 8.1187 | 330.1433 | 5.0933 | 892.6667 | 91.04 | 40.4607
2020-11-26 02:15:00 | 6.7473 | 345.8733 | 7.2713 | 326.978 | 7.2587 | 338.264 | 8.1027 | 328.6507 | 5.0667 | 892 | 89.5 | 41.0893
2020-11-26 02:30:00 | 7.2847 | 344.0933 | 7.8613 | 328.224 | 7.896 | 336.524 | 8.8113 | 329.9 | 5.0933 | 892 | 89.52 | 40.9353
2020-11-26 02:45:00 | 7.012 | 339.8533 | 7.6553 | 324.0053 | 7.9813 | 332.3767 | 8.9187 | 325.6627 | 5.0533 | 892 | 91.4267 | 39.434
2020-11-26 03:00:00 | 6.7087 | 338.6867 | 7.3273 | 324.3947 | 7.69 | 330.8053 | 8.5787 | 326.0533 | 5.1067 | 892 | 92.7333 | 38.6953
2020-11-26 03:15:00 | 6.8533 | 339.6133 | 7.362 | 333.694 | 7.5613 | 332.1413 | 8.3187 | 335.4 | 4.94 | 892 | 93.5733 | 41.0113
2020-11-26 03:30:00 | 6.7313 | 299.52 | 7.162 | 336.96 | 7.2307 | 292.93 | 7.9013 | 338.6827 | 4.8533 | 892 | 93.42 | 40.652
2020-11-26 03:45:00 | 7.1567 | 344.5867 | 7.5647 | 338.4327 | 7.6853 | 337.0047 | 8.312 | 340.164 | 4.7133 | 892 | 93.0267 | 42.288
2020-11-26 04:00:00 | 7.208 | 344.2667 | 7.6313 | 329.4433 | 7.83 | 336.6933 | 8.458 | 331.1267 | 4.7467 | 892 | 92.5733 | 46.7973
2020-11-26 04:15:00 | 7.2073 | 325.4667 | 7.6767 | 332.5727 | 7.8873 | 318.3067 | 8.5793 | 334.2733 | 4.5467 | 892 | 93.7533 | 46.9547
2020-11-26 04:30:00 | 7.0447 | 342.28 | 7.4473 | 327.3227 | 7.4073 | 335.1087 | 8.064 | 328.998 | 4.5933 | 892 | 95.0467 | 43.9387
2020-11-26 04:45:00 | 6.84 | 344.02 | 7.252 | 324.924 | 7.37 | 336.452 | 8.002 | 326.5853 | 4.5867 | 892 | 94.2933 | 40.712
2020-11-26 05:00:00 | 6.6873 | 341.92 | 7.1873 | 319.6567 | 7.316 | 334.398 | 8.0813 | 321.2907 | 4.4133 | 892 | 94.7533 | 37.8553
2020-11-26 05:15:00 | 6.7427 | 341.5333 | 7.2707 | 321.396 | 7.552 | 334.0187 | 8.318 | 323.04 | 4.2933 | 892 | 96.1267 | 37.854
2020-11-26 05:30:00 | 6.7367 | 342.4 | 7.1907 | 322.5247 | 7.4813 | 334.8673 | 8.1253 | 324.174 | 4.2667 | 892 | 96.0867 | 37.17
2020-11-26 05:45:00 | 6.41 | 348.22 | 6.8693 | 316.7107 | 6.946 | 340.56 | 7.6633 | 318.328 | 4.22 | 892 | 95.5333 | 36.1153
2020-11-26 06:00:00 | 6.658 | 345.5133 | 7.1167 | 322.9033 | 7.2413 | 337.7093 | 7.9447 | 324.5533 | 4.3333 | 892 | 95.1067 | 38.85
2020-11-26 06:15:00 | 6.562 | 337.74 | 6.9853 | 323.8167 | 7.098 | 330.31 | 7.7487 | 325.472 | 4.4467 | 892 | 94.9467 | 37.44
2020-11-26 06:30:00 | 6.5127 | 344.8867 | 7.0153 | 333.2567 | 7.186 | 337.416 | 7.9487 | 334.96 | 4.4733 | 892 | 94.2533 | 37.9233
2020-11-26 06:45:00 | 6.5887 | 346.8333 | 7.09 | 334.248 | 7.2653 | 339.204 | 8.0193 | 335.9567 | 4.4333 | 892.4667 | 93.74 | 40.3953
2020-11-26 07:00:00 | 6.654 | 344.3133 | 7.1333 | 328.9607 | 7.1513 | 336.7393 | 7.9213 | 330.6407 | 4.4 | 893 | 93.9467 | 38.1513
2020-11-26 07:15:00 | 6.5227 | 346.1533 | 7.018 | 327.226 | 6.9293 | 338.5373 | 7.756 | 328.8993 | 4.4467 | 893 | 93.5467 | 35.8173
2020-11-26 07:30:00 | 6.5933 | 341.38 | 7.0433 | 330.5253 | 7.2413 | 333.8687 | 7.912 | 332.214 | 4.3667 | 893 | 92.7867 | 36.7567
2020-11-26 07:45:00 | 6.5867 | 321.6133 | 7.0327 | 331.4373 | 7.072 | 314.5367 | 7.7807 | 333.1313 | 4.4133 | 893 | 92.5867 | 38.406
2020-11-26 08:00:00 | 6.4733 | 342.86 | 6.934 | 329.7807 | 7.1567 | 335.3167 | 7.8347 | 331.4673 | 4.5133 | 893 | 92.6 | 35.3867
2020-11-26 08:15:00 | 5.9913 | 344.2867 | 6.416 | 326.2347 | 6.542 | 336.7113 | 7.192 | 327.9027 | 4.4267 | 893.4667 | 92.6933 | 30.0427
2020-11-26 08:30:00 | 5.6133 | 337.76 | 5.9973 | 323.4893 | 6.168 | 330.3293 | 6.7353 | 325.1433 | 4.4867 | 894 | 92.7333 | 25.1107
2020-11-26 08:45:00 | 5.5 | 345.5667 | 5.898 | 327.584 | 6.126 | 338.6813 | 6.704 | 329.2593 | 4.64 | 894.4667 | 91.9933 | 23.8567
2020-11-26 09:00:00 | 5.6053 | 344.8 | 6.05 | 326.998 | 6.15 | 337.214 | 6.836 | 328.6673 | 4.8267 | 895 | 91.9333 | 25.692
2020-11-26 09:15:00 | 6.3073 | 348.0267 | 6.7753 | 328.04 | 6.8087 | 340.3707 | 7.552 | 329.7173 | 5.1333 | 895 | 90.3067 | 32.824
2020-11-26 09:30:00 | 6.096 | 344.5267 | 6.5447 | 331.496 | 6.522 | 336.9007 | 7.2473 | 333.1907 | 5.16 | 895 | 86.2467 | 31.452
2020-11-26 09:45:00 | 5.9633 | 320.04 | 6.4153 | 334.3007 | 6.4987 | 312.9993 | 7.2007 | 336.0107 | 5.2467 | 895.4667 | 82.6667 | 32.7193
2020-11-26 10:00:00 | 5.604 | 342.0867 | 6.0533 | 332.9687 | 6.042 | 334.5607 | 6.77 | 334.672 | 5.32 | 896 | 78.8967 | 29.3913
2020-11-26 10:15:00 | 5.6647 | 338.7867 | 6.122 | 335.4027 | 5.982 | 331.3333 | 6.754 | 337.1153 | 5.4067 | 896 | 81.36 | 28.2087
2020-11-26 10:30:00 | 5.7527 | 341.4533 | 6.1587 | 334.3713 | 6.2693 | 333.9407 | 6.8927 | 336.0807 | 5.7 | 896 | 79.9227 | 28.1307
2020-11-26 10:45:00 | 5.0553 | 271.7133 | 5.3927 | 311.0627 | 5.9567 | 266.5313 | 6.3213 | 312.6533 | 6.0733 | 896 | 76.6007 | 23.8227
2020-11-26 11:00:00 | 4.8 | 251.4133 | 5.064 | 303.1667 | 5.666 | 245.882 | 5.912 | 304.7167 | 5.7867 | 896 | 74.6927 | 18.604
2020-11-26 11:15:00 | 4.386 | 248.3867 | 4.6153 | 328.5953 | 5.1387 | 242.922 | 5.3567 | 330.2747 | 6.52 | 896 | 74.9227 | 14.57
2020-11-26 11:30:00 | 3.6547 | 285.0067 | 3.7667 | 329.3193 | 4.4453 | 278.7367 | 4.428 | 331.0027 | 6.8 | 896 | 73.4973 | 9.9373
2020-11-26 11:45:00 | 3.4407 | 333.8133 | 3.706 | 244.7287 | 4.1827 | 326.4693 | 4.47 | 245.9793 | 7.36 | 896 | 73.2913 | 6.1473
2020-11-26 12:00:00 | 3.2747 | 291.8733 | 3.4353 | 286.52 | 3.888 | 285.452 | 4.0153 | 287.986 | 7.3933 | 896 | 72.8087 | 3.4773
2020-11-26 12:15:00 | 3.1667 | 309.6 | 3.3327 | 309.9933 | 3.7393 | 302.8493 | 3.88 | 311.5793 | 7.56 | 896 | 72.446 | 2.6027
2020-11-26 12:30:00 | 2.8167 | 317.18 | 3.0133 | 325.902 | 3.282 | 309.2953 | 3.5213 | 327.568 | 7.8533 | 895.2 | 71.1033 | 1.7047
2020-11-26 12:45:00 | 2.2287 | 275.8333 | 2.3607 | 283.7247 | 2.7747 | 268.7613 | 2.846 | 285.7187 | 8.3333 | 895 | 68.8107 | 0.46133
2020-11-26 13:00:00 | 2.28 | 262.5333 | 2.39 | 220.644 | 2.6587 | 256.7567 | 2.7567 | 221.7707 | 8.9267 | 895 | 68.95 | 0
2020-11-26 13:15:00 | 1.6153 | 190.6133 | 1.6913 | 218.862 | 1.9887 | 186.4207 | 2.0287 | 219.982 | 8.94 | 895 | 68.2007 | 0
2020-11-26 13:30:00 | 1.694 | 213.1133 | 1.7947 | 158.0967 | 1.908 | 208.4253 | 2.038 | 158.9053 | 8.6667 | 895 | 64.6813 | 0
2020-11-26 13:45:00 | 1.9427 | 150.96 | 2.0207 | 227.8413 | 2.2873 | 147.6387 | 2.338 | 229.006 | 8.5933 | 895 | 64.5773 | 0
2020-11-26 14:00:00 | 1.7627 | 202.48 | 1.8567 | 331.2733 | 1.9327 | 198.0253 | 2.0667 | 332.968 | 8.5533 | 895 | 64.058 | 0
2020-11-26 14:15:00 | 1.372 | 312.7667 | 1.4713 | 177.5453 | 1.5033 | 305.8867 | 1.6547 | 178.4533 | 8.7067 | 894.5333 | 66.1547 | 0
2020-11-26 14:30:00 | 1.3493 | 318.8067 | 1.4307 | 277.008 | 1.5933 | 311.7927 | 1.6793 | 278.4247 | 8.76 | 894 | 67.8267 | 0
2020-11-26 14:45:00 | 1.2553 | 295.2667 | 1.3133 | 321.6507 | 1.562 | 288.77 | 1.5833 | 323.2967 | 8.8467 | 893.5333 | 69.636 | 0
2020-11-26 15:00:00 | 1.3793 | 95.3133 | 1.4127 | 72.8347 | 1.5653 | 93.218 | 1.578 | 73.2067 | 9.3067 | 893 | 68.3653 | 0
2020-11-26 15:15:00 | 1.5413 | 121.8133 | 1.6367 | 71.674 | 1.6433 | 119.1347 | 1.7933 | 72.0393 | 9.2667 | 893 | 61.872 | 0
2020-11-26 15:30:00 | 1.2327 | 139.5333 | 1.3287 | 73.258 | 1.486 | 136.4633 | 1.592 | 73.6333 | 9.28 | 893 | 65.046 | 0
2020-11-26 15:45:00 | 1.5933 | 88.7667 | 1.64 | 125.9727 | 1.8273 | 64.952 | 1.84 | 126.6173 | 8.9133 | 893 | 67.7133 | 0
2020-11-26 16:00:00 | 1.4793 | 272.3 | 1.4947 | 154.224 | 1.7553 | 266.31 | 1.704 | 155.0127 | 8.76 | 893 | 69.336 | 0
2020-11-26 16:15:00 | 1.8133 | 263.18 | 1.882 | 185.2653 | 2.114 | 257.3893 | 2.156 | 186.2127 | 8.6867 | 893 | 70.4273 | 0
2020-11-26 16:30:00 | 2.0813 | 227.0467 | 2.1613 | 298.87 | 2.4713 | 222.0513 | 2.5193 | 300.3987 | 8.5333 | 893 | 71.3967 | 0
2020-11-26 16:45:00 | 1.962 | 226.66 | 2.098 | 332.9107 | 2.4 | 244.212 | 2.5293 | 334.614 | 8.5067 | 893 | 71.944 | 0
2020-11-26 17:00:00 | 2.0873 | 279 | 2.2613 | 275.5553 | 2.4887 | 272.8613 | 2.698 | 276.9627 | 8.3733 | 893 | 73.18 | 0
2020-11-26 17:15:00 | 2.7053 | 342.2 | 2.9107 | 317.478 | 3.138 | 334.5593 | 3.4027 | 319.102 | 8.1333 | 893 | 73.8647 | 1.8553
2020-11-26 17:30:00 | 2.8807 | 343.2267 | 3.0953 | 315.992 | 3.4013 | 335.7353 | 3.6547 | 317.6067 | 7.8067 | 893 | 74.702 | 2.968
2020-11-26 17:45:00 | 3.4707 | 317.56 | 3.6807 | 330.6813 | 4.0187 | 310.5733 | 4.2587 | 332.372 | 7.4933 | 893 | 77.3467 | 5.3873
2020-11-26 18:00:00 | 4.0447 | 320.36 | 4.3107 | 311.9233 | 4.634 | 313.7433 | 4.9693 | 313.518 | 7.2133 | 893 | 80.2713 | 10.2813
2020-11-26 18:15:00 | 4.4573 | 344.5267 | 4.7807 | 310.1233 | 5.084 | 336.948 | 5.5153 | 311.71 | 6.9933 | 893 | 81.52 | 14.17
2020-11-26 18:30:00 | 4.8853 | 340.38 | 5.3367 | 287.5 | 5.4847 | 332.8907 | 6.1667 | 288.968 | 6.7933 | 893 | 81.58 | 19.3907
2020-11-26 18:45:00 | 4.5747 | 345.7267 | 5.008 | 306.5187 | 5.1127 | 338.1207 | 5.7773 | 308.0853 | 6.6133 | 893 | 82.14 | 15.352
2020-11-26 19:00:00 | 4.522 | 322.5133 | 4.9547 | 310.3527 | 5.0133 | 315.842 | 5.6933 | 311.9393 | 6.5067 | 893 | 82.5267 | 16.9253
2020-11-26 19:15:00 | 4.7587 | 323.98 | 5.2093 | 330.2373 | 5.2093 | 316.8533 | 5.9293 | 331.9273 | 6.3667 | 893 | 82.98 | 18.0167
2020-11-26 19:30:00 | 4.8753 | 345.6867 | 5.2827 | 331.3007 | 5.3753 | 338.0827 | 6.004 | 332.994 | 6.3333 | 893.8 | 83.52 | 17.2233
2020-11-26 19:45:00 | 4.788 | 348.6733 | 5.2347 | 326.672 | 5.3187 | 341.0027 | 6.0093 | 328.3413 | 6.26 | 894 | 83.88 | 16.9987
2020-11-26 20:00:00 | 4.7227 | 341.1 | 5.0673 | 321.866 | 5.2927 | 333.2307 | 5.782 | 323.512 | 6.0533 | 894 | 85.3067 | 15.7653
2020-11-26 20:15:00 | 4.9807 | 341.44 | 5.4167 | 325.994 | 5.4713 | 333.9287 | 6.154 | 327.66 | 5.96 | 894 | 85.98 | 20.1493
2020-11-26 20:30:00 | 5.012 | 342.08 | 5.4267 | 326.9587 | 5.348 | 334.3527 | 6.034 | 328.6307 | 5.8667 | 894 | 86.9867 | 20.62
2020-11-26 20:45:00 | 4.926 | 340.7867 | 5.3187 | 322.7267 | 5.272 | 333.2893 | 5.9167 | 324.3753 | 5.76 | 894 | 88.78 | 19.6847
2020-11-26 21:00:00 | 5.0587 | 335.5867 | 5.4093 | 325.3087 | 5.5627 | 328.2027 | 6.084 | 326.972 | 5.66 | 894.1333 | 90.2 | 20.8193
2020-11-26 21:15:00 | 5.4787 | 342.0067 | 5.9087 | 325.8313 | 5.934 | 334.4833 | 6.6227 | 327.4953 | 5.5533 | 895 | 90.86 | 24.5027
2020-11-26 21:30:00 | 5.4913 | 338.4133 | 5.932 | 327.976 | 5.9913 | 330.9693 | 6.682 | 329.654 | 5.3533 | 895 | 91.2467 | 24.2727
2020-11-26 21:45:00 | 5.548 | 338.1667 | 5.998 | 323.412 | 6.1473 | 330.726 | 6.824 | 325.0667 | 5.3333 | 895 | 92.3933 | 24.5407
2020-11-26 22:00:00 | 5.4133 | 334.4467 | 5.822 | 316.2067 | 6.042 | 327.3747 | 6.6387 | 317.824 | 5.32 | 895 | 92.94 | 25.0773
2020-11-26 22:15:00 | 4.9893 | 333.4333 | 5.3867 | 313.5553 | 5.5607 | 325.9087 | 6.1453 | 315.1567 | 5.2467 | 895 | 92.7333 | 22.1567
2020-11-26 22:30:00 | 5.9633 | 318.9133 | 6.3313 | 326.352 | 6.6433 | 311.8967 | 7.1433 | 328.0193 | 5.1733 | 895 | 92.7733 | 26.8333
2020-11-26 22:45:00 | 5.866 | 342.82 | 6.3027 | 324.272 | 6.5667 | 335.2773 | 7.1913 | 325.93 | 5.1733 | 895 | 92.8267 | 26.0987
2020-11-26 23:00:00 | 5.666 | 343.4267 | 6.118 | 328.4247 | 6.228 | 335.7747 | 6.922 | 330.104 | 5.2533 | 895 | 92.22 | 25.8927
2020-11-26 23:15:00 | 5.724 | 339.14 | 6.182 | 328.836 | 6.4267 | 331.6767 | 7.0947 | 330.5167 | 5.1933 | 895 | 92.34 | 26.1633
2020-11-26 23:30:00 | 5.5747 | 332.9333 | 6.046 | 331.346 | 6.4573 | 326.3387 | 7.092 | 333.04 | 5.1133 | 895 | 92.5467 | 25.608
2020-11-26 23:45:00 | 5.9893 | 333.78 | 6.4127 | 330.9287 | 6.9267 | 326.438 | 7.4567 | 332.6207 | 5.1733 | 895 | 92.6467 | 28.6413