## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-27 00:00:00 | 6.2547 | 332.88 | 6.6793 | 328.5687 | 7.0207 | 325.6027 | 7.604 | 330.248 | 5.06 | 895 | 92.92 | 30.4253
2020-11-27 00:15:00 | 6.302 | 337.9667 | 6.746 | 329.7093 | 6.86 | 330.532 | 7.5427 | 331.3953 | 4.9733 | 895 | 93.9267 | 31.7767
2020-11-27 00:30:00 | 6.5613 | 340.3933 | 7.0347 | 327.3173 | 7.2107 | 332.9047 | 7.9207 | 328.9893 | 4.84 | 895 | 94.6267 | 33.5213
2020-11-27 00:45:00 | 6.232 | 339.1 | 6.7173 | 326.0187 | 6.874 | 331.64 | 7.6087 | 327.686 | 4.72 | 895 | 94.4733 | 31
2020-11-27 01:00:00 | 6.2453 | 336.72 | 6.7347 | 321.8673 | 6.9473 | 329.3113 | 7.6727 | 323.512 | 4.66 | 895 | 93.9933 | 33.5227
2020-11-27 01:15:00 | 6.2807 | 339.02 | 6.7787 | 321.7673 | 7.078 | 331.5627 | 7.788 | 323.4133 | 4.6067 | 895 | 94.2 | 36.4087
2020-11-27 01:30:00 | 6.8427 | 341.3467 | 7.3613 | 322.0547 | 7.664 | 333.7 | 8.4327 | 323.7013 | 4.6867 | 895 | 94.3267 | 37.8587
2020-11-27 01:45:00 | 6.7647 | 345.78 | 7.3113 | 321.6107 | 7.422 | 338.1733 | 8.2713 | 323.2553 | 4.5533 | 895 | 94.04 | 38.4927
2020-11-27 02:00:00 | 7.1827 | 344.76 | 7.7413 | 325.1467 | 8.0927 | 337.174 | 8.89 | 326.8073 | 4.5133 | 895 | 93.8 | 42.772
2020-11-27 02:15:00 | 7.4027 | 341.5133 | 7.9547 | 326.7487 | 8.082 | 334.0007 | 8.934 | 328.42 | 4.6333 | 895 | 93.9133 | 40.7013
2020-11-27 02:30:00 | 7.5553 | 338.5 | 8.094 | 327.506 | 8.3433 | 331.052 | 9.138 | 329.18 | 4.6667 | 895 | 93.6733 | 40.5473
2020-11-27 02:45:00 | 7.652 | 344.9667 | 8.2207 | 325.224 | 8.072 | 337.378 | 9.028 | 326.8873 | 4.76 | 895 | 93.4533 | 41.5687
2020-11-27 03:00:00 | 7.2807 | 323.3667 | 7.832 | 325.2707 | 7.804 | 316.2533 | 8.702 | 326.932 | 4.6133 | 895 | 92.1867 | 44.3267
2020-11-27 03:15:00 | 7.5647 | 344.7333 | 8.104 | 323.132 | 8.124 | 336.6207 | 8.984 | 324.7833 | 4.6 | 895 | 91.7067 | 45.1947
2020-11-27 03:30:00 | 7.542 | 343.0533 | 8.1373 | 323.6907 | 8.3733 | 335.506 | 9.2607 | 325.346 | 4.52 | 895 | 91.68 | 44.8967
2020-11-27 03:45:00 | 7.664 | 344.9667 | 8.3027 | 328.744 | 8.4793 | 337.376 | 9.46 | 330.426 | 4.5267 | 895 | 90.7733 | 44.6793
2020-11-27 04:00:00 | 7.726 | 345.7867 | 8.34 | 329.892 | 8.4007 | 338.1793 | 9.372 | 331.5787 | 4.5733 | 895 | 91.08 | 44.0933
2020-11-27 04:15:00 | 7.8153 | 346.22 | 8.4347 | 327.4347 | 8.4673 | 338.6033 | 9.4547 | 329.1087 | 4.5667 | 895 | 90.18 | 44.23
2020-11-27 04:30:00 | 7.5273 | 323.1 | 8.058 | 329.964 | 8.3447 | 315.9927 | 9.1173 | 331.6507 | 4.56 | 895 | 89.4267 | 43.0887
2020-11-27 04:45:00 | 7.6253 | 297.7 | 8.1587 | 327.8973 | 8.42 | 291.15 | 9.1953 | 329.5747 | 4.66 | 895 | 89.28 | 44.044
2020-11-27 05:00:00 | 7.4973 | 348.5667 | 7.9773 | 303.7867 | 8.418 | 340.8987 | 9.066 | 305.3393 | 4.72 | 895 | 89.0933 | 45.3487
2020-11-27 05:15:00 | 7.4987 | 296.0267 | 7.878 | 313.2653 | 8.5627 | 289.5133 | 8.9787 | 314.8693 | 5.0733 | 895 | 88.6667 | 45.2993
2020-11-27 05:30:00 | 7.9707 | 345.3933 | 8.394 | 336.562 | 8.8647 | 337.794 | 9.4127 | 338.2827 | 5.2533 | 895 | 87.8733 | 46.9473
2020-11-27 05:45:00 | 8.0073 | 299.3667 | 8.442 | 333.7713 | 8.9513 | 315.5607 | 9.5013 | 335.478 | 5.2867 | 895 | 87.9333 | 46.7027
2020-11-27 06:00:00 | 7.4 | 275.2467 | 7.842 | 327.8133 | 8.61 | 269.1907 | 9.0967 | 329.4887 | 5.0067 | 895 | 88.0533 | 46.0453
2020-11-27 06:15:00 | 7.67 | 320.1067 | 8.0773 | 329.4093 | 8.4927 | 313.064 | 9.0287 | 331.0947 | 5.16 | 895 | 88.5067 | 46.1613
2020-11-27 06:30:00 | 7.8473 | 337.4667 | 8.2593 | 329.756 | 8.6107 | 330.042 | 9.1713 | 331.4407 | 5.1333 | 895 | 88.42 | 49.7467
2020-11-27 06:45:00 | 7.6613 | 301.8667 | 8.138 | 329.202 | 8.6373 | 295.226 | 9.2587 | 330.8853 | 5.04 | 895 | 88.2067 | 51.6033
2020-11-27 07:00:00 | 7.4767 | 343.0467 | 8.164 | 329.012 | 8.6267 | 335.4987 | 9.594 | 330.6947 | 4.9067 | 895 | 87.8867 | 52.5393
2020-11-27 07:15:00 | 7.842 | 312.92 | 8.5707 | 309.8827 | 9.132 | 306.054 | 10.1373 | 311.4667 | 4.9267 | 895 | 87.6133 | 55.6627
2020-11-27 07:30:00 | 7.864 | 338.7067 | 8.5473 | 323.1033 | 8.67 | 331.2547 | 9.7327 | 324.758 | 4.92 | 895 | 86.68 | 55.838
2020-11-27 07:45:00 | 7.9067 | 337.0667 | 8.5407 | 320.4573 | 8.5087 | 329.65 | 9.54 | 322.0967 | 4.9067 | 895 | 85.22 | 54.9653
2020-11-27 08:00:00 | 7.8313 | 342.2533 | 8.408 | 323.432 | 8.3907 | 334.7227 | 9.324 | 325.0847 | 4.9733 | 895.1333 | 84.7933 | 54.366
2020-11-27 08:15:00 | 8.166 | 340.72 | 8.734 | 324.2533 | 8.834 | 333.224 | 9.7233 | 325.9093 | 5.1133 | 896 | 84.56 | 53.704
2020-11-27 08:30:00 | 7.8627 | 341.4933 | 8.3753 | 321.794 | 8.3887 | 333.0673 | 9.2047 | 323.4407 | 5.1267 | 896 | 85.2867 | 51.2513
2020-11-27 08:45:00 | 7.516 | 338.1133 | 7.9287 | 323.9927 | 8.184 | 330.6753 | 8.7747 | 325.648 | 5.1333 | 896 | 85.2267 | 49.164
2020-11-27 09:00:00 | 7.104 | 335.2533 | 7.5453 | 314.8513 | 7.6613 | 328.5627 | 8.3567 | 316.4613 | 5.16 | 896.1333 | 85.22 | 45.958
2020-11-27 09:15:00 | 7.046 | 342.5533 | 7.376 | 320.6873 | 7.6547 | 335.0173 | 8.1073 | 322.3247 | 5.1067 | 896.5333 | 84.3133 | 46.3647
2020-11-27 09:30:00 | 7.1947 | 338.08 | 7.5567 | 321.9573 | 7.6567 | 330.8313 | 8.212 | 323.6033 | 5.2533 | 896.8 | 83.2 | 45.6233
2020-11-27 09:45:00 | 6.5387 | 301.9933 | 6.804 | 323.8673 | 6.9627 | 295.348 | 7.3487 | 325.5227 | 5.3333 | 897 | 81.6333 | 44.1727
2020-11-27 10:00:00 | 6.398 | 298.14 | 6.7493 | 325.406 | 7.0247 | 291.5807 | 7.512 | 327.07 | 5.46 | 897 | 79.696 | 46.7833
2020-11-27 10:15:00 | 6.9687 | 318.9 | 7.3933 | 324.9627 | 7.8387 | 311.2647 | 8.396 | 326.6253 | 5.3933 | 897.4667 | 76.9847 | 47.9927
2020-11-27 10:30:00 | 6.532 | 298.5267 | 6.948 | 325.5893 | 7.1073 | 291.96 | 7.7313 | 327.2533 | 5.48 | 898 | 75.4467 | 46.4853
2020-11-27 10:45:00 | 6.9367 | 296.7667 | 7.346 | 330.6607 | 7.4907 | 290.2373 | 8.1113 | 332.352 | 5.58 | 898 | 74.7207 | 46.2353
2020-11-27 11:00:00 | 6.6747 | 298.3533 | 7.076 | 330.3553 | 7.298 | 291.7893 | 7.8867 | 332.0433 | 5.5867 | 898 | 73.9427 | 45.2253
2020-11-27 11:15:00 | 6.3047 | 320.14 | 6.718 | 332.2133 | 6.85 | 313.0973 | 7.478 | 333.912 | 5.6133 | 898 | 73.354 | 45.7933
2020-11-27 11:30:00 | 6.448 | 298.6 | 6.8327 | 327.628 | 6.8547 | 292.03 | 7.466 | 329.304 | 5.66 | 898 | 72.586 | 44.8353
2020-11-27 11:45:00 | 6.676 | 297.8533 | 7.206 | 331.36 | 7.1087 | 291.3007 | 7.9887 | 333.0533 | 5.6867 | 898 | 72.27 | 45.994
2020-11-27 12:00:00 | 6.3787 | 294.2467 | 6.804 | 328.3207 | 6.8553 | 287.772 | 7.526 | 329.9993 | 5.72 | 897.3333 | 71.938 | 42.908
2020-11-27 12:15:00 | 6.2673 | 254.1467 | 6.6507 | 326.4107 | 6.9273 | 248.5553 | 7.462 | 328.0787 | 5.7667 | 897.5333 | 72.0113 | 43.3047
2020-11-27 12:30:00 | 5.7567 | 211.2733 | 6.1513 | 283.9387 | 6.2947 | 206.6247 | 6.8873 | 285.39 | 5.8133 | 897 | 72.0187 | 39.122
2020-11-27 12:45:00 | 5.72 | 276.1867 | 6.1673 | 306.7607 | 6.496 | 270.11 | 7.1167 | 308.3273 | 5.8333 | 897 | 72.1207 | 39.5433
2020-11-27 13:00:00 | 6.046 | 345.4733 | 6.4867 | 314.674 | 6.726 | 337.872 | 7.3667 | 316.2833 | 5.84 | 897 | 71.7407 | 41.336
2020-11-27 13:15:00 | 5.938 | 324.4467 | 6.324 | 310.9973 | 6.5467 | 317.308 | 7.1 | 312.5873 | 5.88 | 897 | 72.182 | 38.7827
2020-11-27 13:30:00 | 5.922 | 259.8067 | 6.2587 | 328.7127 | 6.472 | 254.0907 | 6.952 | 330.3927 | 5.8733 | 896.8667 | 72.098 | 37.438
2020-11-27 13:45:00 | 5.5747 | 297.4 | 5.9233 | 314.076 | 6.2027 | 290.856 | 6.68 | 315.6807 | 5.92 | 896 | 72.4773 | 34.7467
2020-11-27 14:00:00 | 5.718 | 282.4067 | 6.1087 | 330.6947 | 6.1487 | 277.1853 | 6.778 | 332.3853 | 5.9133 | 895.8667 | 72.936 | 34.94
2020-11-27 14:15:00 | 5.5787 | 302.7067 | 5.9813 | 333.2687 | 6.1953 | 296.2293 | 6.774 | 334.9753 | 6.02 | 895 | 74.212 | 35.8467
2020-11-27 14:30:00 | 5.674 | 301.52 | 6.05 | 311.93 | 6.208 | 294.888 | 6.7707 | 313.5253 | 6.02 | 895 | 75.3153 | 35.2673
2020-11-27 14:45:00 | 5.5533 | 255.7133 | 5.898 | 307.9653 | 6.1673 | 252.174 | 6.6433 | 310.5627 | 6.0133 | 895 | 76.2927 | 33.8253
2020-11-27 15:00:00 | 5.5253 | 305.0533 | 5.8467 | 307.5027 | 6.1533 | 298.3407 | 6.582 | 309.0753 | 6.0067 | 895 | 77.4033 | 33.3527
2020-11-27 15:15:00 | 5.3587 | 276.4933 | 5.7473 | 309.7133 | 6.014 | 270.4113 | 6.562 | 311.2967 | 5.9867 | 895 | 77.9033 | 31.9587
2020-11-27 15:30:00 | 5.0773 | 279.5733 | 5.4267 | 311.0767 | 5.736 | 273.4227 | 6.2047 | 312.6667 | 5.9533 | 895 | 78.8793 | 29.3173
2020-11-27 15:45:00 | 5.182 | 304.22 | 5.4873 | 292.3893 | 5.6587 | 297.5273 | 6.1053 | 293.8833 | 6 | 895 | 79.612 | 28.0913
2020-11-27 16:00:00 | 5.3987 | 275.76 | 5.726 | 292.422 | 5.8733 | 269.6927 | 6.358 | 293.9173 | 5.9067 | 895 | 80.2467 | 29.256
2020-11-27 16:15:00 | 5.1393 | 301.7333 | 5.4793 | 332.688 | 5.6647 | 295.0947 | 6.158 | 334.3907 | 5.9267 | 895 | 80.8067 | 27.63
2020-11-27 16:30:00 | 5.2427 | 275.1733 | 5.56 | 271.3947 | 5.7747 | 269.1193 | 6.218 | 272.7827 | 5.8267 | 894.8667 | 80.82 | 29.752
2020-11-27 16:45:00 | 5.722 | 232.54 | 6.1213 | 289.796 | 6.512 | 227.4233 | 7.0427 | 291.276 | 5.7733 | 894.4667 | 81.6533 | 31.786
2020-11-27 17:00:00 | 5.4993 | 210.9067 | 5.826 | 310.7827 | 6.2407 | 206.2667 | 6.6427 | 312.372 | 5.6867 | 895 | 81.9133 | 31.462
2020-11-27 17:15:00 | 5.78 | 235.5267 | 6.148 | 316.1747 | 6.5873 | 230.3967 | 7.0487 | 317.7907 | 5.5933 | 895 | 80.9 | 35.23
2020-11-27 17:30:00 | 5.4193 | 172.3733 | 5.8567 | 338.85 | 6.2727 | 191.0233 | 6.8567 | 340.5827 | 5.52 | 894.2 | 81.3467 | 34.6827
2020-11-27 17:45:00 | 5.8327 | 237.5067 | 6.2593 | 318.77 | 6.6333 | 232.2833 | 7.2093 | 320.4013 | 5.3933 | 894 | 82.16 | 36.55
2020-11-27 18:00:00 | 5.916 | 213.6133 | 6.416 | 338.206 | 6.726 | 208.9153 | 7.448 | 339.9347 | 5.3467 | 894 | 81.22 | 36.9007
2020-11-27 18:15:00 | 5.5407 | 280.5667 | 5.988 | 332.9107 | 6.144 | 274.552 | 6.822 | 334.6133 | 5.4067 | 894.4667 | 82.72 | 32.302
2020-11-27 18:30:00 | 5.9353 | 236.28 | 6.3733 | 320.1387 | 6.9087 | 231.0807 | 7.4587 | 321.7753 | 5.3933 | 895 | 81.5867 | 36.29
2020-11-27 18:45:00 | 5.808 | 214.74 | 6.3347 | 320.0207 | 6.6747 | 210.3613 | 7.4093 | 321.6573 | 5.32 | 895 | 80.5733 | 36.9813
2020-11-27 19:00:00 | 5.6513 | 280.56 | 6.0847 | 334.6573 | 6.5947 | 251.8613 | 7.136 | 336.3707 | 5.3 | 895 | 80.8933 | 35.902
2020-11-27 19:15:00 | 5.902 | 302.32 | 6.4313 | 333.968 | 6.8973 | 295.6687 | 7.6093 | 335.6747 | 5.28 | 895 | 81.0333 | 35.3367
2020-11-27 19:30:00 | 5.8753 | 253.3133 | 6.3233 | 334.7113 | 6.666 | 247.7393 | 7.2853 | 336.422 | 5.2 | 895 | 82.38 | 35.898
2020-11-27 19:45:00 | 5.856 | 299.1533 | 6.2247 | 335.4153 | 6.572 | 292.5713 | 7.0647 | 337.1307 | 5.1667 | 895 | 83.0067 | 34.8313
2020-11-27 20:00:00 | 5.718 | 319.06 | 6.198 | 289.8973 | 6.5433 | 312.0413 | 7.212 | 291.3807 | 5.0533 | 895 | 83.9667 | 35.678
2020-11-27 20:15:00 | 6.182 | 300.8867 | 6.694 | 310.6967 | 6.9653 | 316.3633 | 7.7087 | 312.286 | 4.9467 | 895 | 85.2733 | 39.394
2020-11-27 20:30:00 | 6.02 | 341.7733 | 6.5833 | 306.5567 | 6.8793 | 334.2553 | 7.698 | 308.1247 | 4.7533 | 895 | 86.8067 | 36.1193
2020-11-27 20:45:00 | 6.0613 | 316.7267 | 6.518 | 306.7067 | 6.5607 | 309.7607 | 7.2813 | 308.2753 | 4.6867 | 895.4667 | 88.0867 | 33.4447
2020-11-27 21:00:00 | 5.9327 | 337.5 | 6.3827 | 324.58 | 6.5527 | 330.0753 | 7.2253 | 326.2387 | 4.6733 | 895.8667 | 88.44 | 32.8107
2020-11-27 21:15:00 | 6.174 | 340.2 | 6.6213 | 326.2607 | 6.8627 | 332.7147 | 7.5127 | 327.9293 | 4.5467 | 895.4667 | 89.1867 | 35.118
2020-11-27 21:30:00 | 6.148 | 337.5133 | 6.6353 | 328.8873 | 6.874 | 330.0893 | 7.5833 | 330.57 | 4.3667 | 896 | 91.2467 | 34.9247
2020-11-27 21:45:00 | 6.444 | 342.2467 | 6.914 | 324.14 | 7.2293 | 334.7187 | 7.8907 | 325.7987 | 4.2667 | 896 | 93.86 | 38.0387
2020-11-27 22:00:00 | 6.662 | 337.7667 | 7.2147 | 325.114 | 7.444 | 330.3353 | 8.2647 | 326.7753 | 4.0733 | 896 | 95.9667 | 40.0193
2020-11-27 22:15:00 | 6.956 | 334.2533 | 7.482 | 320.386 | 7.7953 | 326.8987 | 8.548 | 322.0233 | 3.8933 | 896 | 97.5533 | 41.144
2020-11-27 22:30:00 | 6.764 | 338.0867 | 7.29 | 318.012 | 7.3147 | 330.6487 | 8.156 | 319.6407 | 3.8533 | 896 | 98.4 | 39.368
2020-11-27 22:45:00 | 6.6387 | 332.7333 | 7.1793 | 319.9033 | 7.3453 | 325.412 | 8.1673 | 321.5393 | 3.8533 | 896 | 98.84 | 38.2653
2020-11-27 23:00:00 | 6.9427 | 335.4667 | 7.4553 | 319.9953 | 7.67 | 328.0867 | 8.43 | 321.63 | 3.7533 | 896 | 99.1733 | 40.4553
2020-11-27 23:15:00 | 7.092 | 337.6467 | 7.614 | 321.286 | 7.7487 | 329.1353 | 8.546 | 322.928 | 3.7733 | 896 | 99.3467 | 42.306
2020-11-27 23:30:00 | 7.2447 | 334.8933 | 7.818 | 318.956 | 8.0847 | 327.5253 | 8.9307 | 320.588 | 3.72 | 896 | 99.4933 | 43.7793
2020-11-27 23:45:00 | 7.6407 | 338.7333 | 8.25 | 321.7033 | 8.4173 | 331.2807 | 9.3593 | 323.3473 | 3.7067 | 896 | 99.6 | 45.6127