## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-28 00:00:00 | 7.1187 | 333.7667 | 7.6507 | 320.6987 | 7.5007 | 326.4233 | 8.3993 | 322.3387 | 3.7067 | 896 | 99.44 | 46.0887
2020-11-28 00:15:00 | 7.434 | 332.32 | 7.9633 | 321.866 | 8.2713 | 325.0073 | 9.034 | 323.5107 | 3.6467 | 896 | 99.4467 | 47.2053
2020-11-28 00:30:00 | 7.442 | 332.86 | 7.9707 | 320.44 | 8.3007 | 325.5367 | 9.054 | 322.076 | 3.6133 | 896 | 99.3133 | 47.2007
2020-11-28 00:45:00 | 7.5033 | 339.3267 | 8.1213 | 322.858 | 8.242 | 331.862 | 9.2027 | 324.5087 | 3.7267 | 896 | 99.0533 | 46.3327
2020-11-28 01:00:00 | 7.2327 | 339.56 | 7.8153 | 321.1093 | 7.9693 | 332.0907 | 8.8667 | 322.752 | 3.7867 | 896 | 98.8267 | 43.618
2020-11-28 01:15:00 | 7.2087 | 344.1667 | 7.7107 | 326.13 | 7.8667 | 336.5953 | 8.6333 | 327.796 | 3.8067 | 896 | 98.7 | 43.212
2020-11-28 01:30:00 | 7.5127 | 344.1933 | 8.0253 | 324.6367 | 8.308 | 336.302 | 9.0313 | 326.298 | 3.8667 | 896 | 98.6467 | 46.8413
2020-11-28 01:45:00 | 6.996 | 345.02 | 7.4993 | 322.31 | 7.78 | 337.43 | 8.5073 | 323.958 | 3.8 | 896 | 97.8733 | 46.988
2020-11-28 02:00:00 | 7.4707 | 344.1733 | 7.9087 | 324.284 | 8.2053 | 336.602 | 8.8233 | 325.9433 | 3.84 | 896 | 97.0067 | 49.8513
2020-11-28 02:15:00 | 7.7093 | 346.2933 | 8.1527 | 327.2387 | 8.5093 | 338.676 | 9.1207 | 328.912 | 3.8667 | 896 | 96.1533 | 51.7653
2020-11-28 02:30:00 | 8.3093 | 255.0067 | 8.748 | 328.0733 | 9.332 | 249.3953 | 9.8747 | 329.7513 | 3.9267 | 896 | 95.3067 | 53.5
2020-11-28 02:45:00 | 8.2647 | 346.3467 | 8.6593 | 323.144 | 9.05 | 338.7273 | 9.574 | 324.7967 | 3.8333 | 896 | 95.2733 | 53.428
2020-11-28 03:00:00 | 8.48 | 319.4533 | 8.9387 | 323.158 | 9.358 | 311.9373 | 9.9547 | 324.8093 | 3.8067 | 896 | 94.9067 | 52.776
2020-11-28 03:15:00 | 8.2153 | 343.3 | 8.7033 | 323.8613 | 9.1973 | 335.748 | 9.842 | 325.518 | 3.7667 | 896 | 94.8467 | 51.14
2020-11-28 03:30:00 | 8.054 | 316.4267 | 8.5773 | 325.1993 | 9.11 | 309.6993 | 9.7827 | 327.03 | 3.64 | 896 | 95.08 | 51.3647
2020-11-28 03:45:00 | 7.7373 | 323.36 | 8.2993 | 322.6033 | 8.7893 | 316.2467 | 9.5493 | 324.252 | 3.5267 | 896 | 95.0467 | 50.966
2020-11-28 04:00:00 | 7.7786 | 345.2286 | 8.3386 | 326.7286 | 9.0964 | 337.2136 | 9.7679 | 328.3971 | 3.4571 | 896 | 95.1071 | 50.0343
2020-11-28 04:15:00 | 7.5027 | 299.66 | 8.0587 | 285.2827 | 8.5613 | 293.066 | 9.3067 | 286.7407 | 3.52 | 896 | 95.5867 | 47.8253
2020-11-28 04:30:00 | 7.3887 | 302.1933 | 7.992 | 320.9867 | 8.3087 | 296.026 | 9.196 | 322.628 | 3.5067 | 896 | 95.7533 | 51.3467
2020-11-28 04:45:00 | 7.7393 | 343.4533 | 8.2213 | 320.8307 | 8.45 | 335.8973 | 9.1587 | 322.47 | 3.6067 | 896 | 95.4 | 52.0533
2020-11-28 05:00:00 | 7.9853 | 297.12 | 8.3727 | 323.6847 | 8.8407 | 291.998 | 9.33 | 325.3407 | 3.7733 | 896 | 94.9533 | 53.6407
2020-11-28 05:15:00 | 8.0147 | 323.5067 | 8.4153 | 332.286 | 8.934 | 315.796 | 9.4413 | 333.9833 | 3.6 | 896 | 94.9467 | 51.8093
2020-11-28 05:30:00 | 7.8387 | 257.6067 | 8.22 | 336.288 | 8.7673 | 251.938 | 9.224 | 338.008 | 3.5133 | 896 | 95.5133 | 54.6333
2020-11-28 05:45:00 | 7.4273 | 191.0867 | 7.82 | 331.1367 | 8.4553 | 164.7407 | 8.9253 | 332.8313 | 3.48 | 895.5333 | 95.9533 | 52.6187
2020-11-28 06:00:00 | 6.4287 | 168.4067 | 6.5407 | 327.344 | 7.428 | 164.7007 | 7.356 | 329.0153 | 3.5267 | 895.1333 | 95.96 | 47.6253
2020-11-28 06:15:00 | 6.2273 | 274.4 | 6.2807 | 331.138 | 7.146 | 268.3633 | 6.9847 | 332.83 | 3.72 | 895.5333 | 95.9267 | 43.982
2020-11-28 06:30:00 | 5.9893 | 339.3267 | 6.1147 | 324.944 | 6.8253 | 330.7853 | 6.812 | 326.606 | 3.7667 | 895.8 | 94.9733 | 42.87
2020-11-28 06:45:00 | 5.6893 | 295.0267 | 5.6953 | 323.464 | 6.0047 | 288.5887 | 5.9193 | 325.1173 | 3.7733 | 896 | 92.8067 | 42.5007
2020-11-28 07:00:00 | 6.2953 | 300.3333 | 6.338 | 331.764 | 6.8187 | 293.724 | 6.7547 | 333.4593 | 3.9533 | 896.1333 | 90.6933 | 46.036
2020-11-28 07:15:00 | 6.8187 | 236.28 | 7.0653 | 327.8253 | 7.6707 | 231.0813 | 7.8933 | 329.502 | 3.8933 | 896.5333 | 90.1 | 53.42
2020-11-28 07:30:00 | 6.59 | 256.66 | 6.8573 | 330.3487 | 7.442 | 251.014 | 7.7053 | 332.038 | 3.9 | 896 | 89.9467 | 54.1807
2020-11-28 07:45:00 | 5.936 | 236.8933 | 6.1687 | 308.4153 | 6.4627 | 231.6827 | 6.7567 | 309.9927 | 3.9867 | 896.4667 | 89.22 | 46.4373
2020-11-28 08:00:00 | 6.0847 | 279.4467 | 6.218 | 329.4247 | 6.4107 | 251.8167 | 6.5667 | 331.1073 | 4.06 | 897 | 88.9667 | 45.6313
2020-11-28 08:15:00 | 5.7327 | 216.7533 | 5.884 | 330.6493 | 6.0587 | 211.984 | 6.2527 | 332.3387 | 4.1133 | 897 | 87.8133 | 41.876
2020-11-28 08:30:00 | 5.9273 | 232.5933 | 6.048 | 290.4453 | 6.332 | 227.6527 | 6.448 | 291.93 | 4.12 | 897.8 | 87.82 | 42.3327
2020-11-28 08:45:00 | 6.4867 | 238.1 | 6.552 | 316.4873 | 7.0313 | 212.018 | 6.9967 | 318.106 | 4.16 | 897.5333 | 87.0733 | 43.8267
2020-11-28 09:00:00 | 6.1587 | 274.92 | 6.3127 | 336.0793 | 6.7273 | 268.8713 | 6.8553 | 337.7993 | 4.1133 | 897 | 87.6067 | 42.7553
2020-11-28 09:15:00 | 6.036 | 259.48 | 6.094 | 334.47 | 6.6493 | 253.77 | 6.5907 | 336.18 | 4.2733 | 897 | 86.9267 | 41.9367
2020-11-28 09:30:00 | 5.098 | 217.7867 | 5.0407 | 311.3893 | 5.6967 | 211.69 | 5.4247 | 312.9807 | 4.3867 | 897.8 | 84.6267 | 33.114
2020-11-28 09:45:00 | 4.738 | 132.22 | 4.662 | 311.7473 | 5.114 | 129.3107 | 4.8687 | 313.3407 | 4.7933 | 898 | 83.38 | 25.544
2020-11-28 10:00:00 | 4.7233 | 148.7733 | 4.9467 | 270.6453 | 5.298 | 145.5 | 5.5573 | 272.03 | 4.9733 | 898.8 | 77.56 | 22.692
2020-11-28 10:15:00 | 4.7187 | 131.44 | 4.9993 | 309.3867 | 5.5493 | 150.866 | 5.8427 | 310.9687 | 5.0533 | 899 | 74.132 | 24.834
2020-11-28 10:30:00 | 3.7707 | 102.7 | 4.0213 | 289.9247 | 4.1513 | 100.4393 | 4.5153 | 291.4067 | 5.5467 | 899 | 72.9173 | 17.5773
2020-11-28 10:45:00 | 3.7673 | 213.8933 | 3.938 | 249.788 | 4.1207 | 210.0933 | 4.3473 | 251.0647 | 6.0533 | 899.4667 | 69.9167 | 13.9467
2020-11-28 11:00:00 | 4.4287 | 213.8933 | 4.694 | 207.7527 | 5.0007 | 231.6293 | 5.338 | 208.816 | 6.16 | 900 | 69.2967 | 18.7787
2020-11-28 11:15:00 | 4.6327 | 190.92 | 4.9387 | 147.5673 | 5.4013 | 186.7207 | 5.762 | 148.322 | 6.2333 | 900 | 69.646 | 19.9293
2020-11-28 11:30:00 | 5.132 | 213.9467 | 5.4727 | 208.958 | 5.474 | 209.24 | 6.022 | 210.0273 | 6.18 | 899.3333 | 67.8027 | 22.472
2020-11-28 11:45:00 | 5.2693 | 216.8267 | 5.5653 | 272.4913 | 5.91 | 212.0567 | 6.2847 | 273.884 | 6.28 | 899.5333 | 67.584 | 26.0287
2020-11-28 12:00:00 | 5.0007 | 214.6733 | 5.3507 | 272.21 | 5.7993 | 232.8153 | 6.2267 | 273.6033 | 6.6 | 899 | 66.1333 | 27.6653
2020-11-28 12:15:00 | 4.0727 | 127.9933 | 4.432 | 125.6127 | 4.5833 | 125.1767 | 5.1167 | 126.256 | 7.0533 | 899 | 63.7407 | 18.38
2020-11-28 12:30:00 | 3.8333 | 253.52 | 4.122 | 117.2813 | 4.3213 | 247.7147 | 4.7293 | 117.8827 | 7.02 | 899 | 62.726 | 15.3987
2020-11-28 12:45:00 | 3.5787 | 334.92 | 3.838 | 245.44 | 3.9867 | 327.5527 | 4.364 | 246.6947 | 6.98 | 899 | 62.852 | 9.6333
2020-11-28 13:00:00 | 3.87 | 312.84 | 4.1327 | 330.5167 | 4.3773 | 305.9567 | 4.7273 | 332.2067 | 7.18 | 898.2 | 62.666 | 8.47
2020-11-28 13:15:00 | 3.7947 | 339.0267 | 4.0133 | 303.0553 | 4.2973 | 331.5687 | 4.5687 | 304.6067 | 7.5467 | 898 | 59.8347 | 6.566
2020-11-28 13:30:00 | 3.634 | 337.7667 | 3.808 | 288.646 | 4.2673 | 329.1753 | 4.418 | 290.122 | 7.7 | 898 | 59.052 | 6.3733
2020-11-28 13:45:00 | 3.3213 | 321.7667 | 3.5293 | 305.964 | 3.8233 | 313.5787 | 4.074 | 307.528 | 7.9533 | 898 | 57.988 | 4.986
2020-11-28 14:00:00 | 3.438 | 318.42 | 3.5987 | 329.4893 | 3.7927 | 311.414 | 3.9973 | 331.174 | 8.2067 | 897.8667 | 56.9713 | 5.1833
2020-11-28 14:15:00 | 3.616 | 312.3933 | 3.7373 | 322.9807 | 3.964 | 305.5207 | 4.0947 | 324.6327 | 8.0467 | 897 | 58.066 | 4.3167
2020-11-28 14:30:00 | 2.782 | 279.98 | 2.862 | 318.2213 | 3.254 | 273.8207 | 3.2707 | 319.8487 | 8.2067 | 897 | 59.09 | 1.828
2020-11-28 14:45:00 | 2.56 | 301.8067 | 2.6687 | 306.1607 | 3.0713 | 295.166 | 3.1333 | 307.726 | 8.42 | 897 | 59.2853 | 1.0453
2020-11-28 15:00:00 | 2.364 | 266.6133 | 2.4187 | 323.0153 | 2.5893 | 260.748 | 2.6307 | 324.6667 | 8.46 | 896.2 | 57.568 | 0.16733
2020-11-28 15:15:00 | 1.87 | 269.9933 | 1.938 | 315.9853 | 2.0667 | 264.0533 | 2.1453 | 317.602 | 8.4533 | 896 | 57.952 | 0
2020-11-28 15:30:00 | 1.476 | 231.9667 | 1.61 | 200.9067 | 1.8653 | 226.8633 | 2.0073 | 201.934 | 8.68 | 896 | 60.0773 | 0
2020-11-28 15:45:00 | 0.91 | 258.7 | 0.952 | 107.0707 | 1.082 | 253.0087 | 1.1107 | 107.6193 | 8.96 | 895.5333 | 61.1413 | 0
2020-11-28 16:00:00 | 0.66533 | 226.96 | 0.69933 | 187.0267 | 0.83533 | 221.4773 | 0.856 | 187.9807 | 9.16 | 895 | 59.7 | 0
2020-11-28 16:15:00 | 0.472 | 269.44 | 0.52267 | 218.7593 | 0.62733 | 263.514 | 0.68067 | 219.8773 | 9.26 | 895 | 59.6987 | 0
2020-11-28 16:30:00 | 0.56 | 68.74 | 0.60867 | 219.314 | 0.622 | 67.1833 | 0.69733 | 220.4347 | 9.1667 | 895 | 59.0893 | 0
2020-11-28 16:45:00 | 0.25267 | 118.9867 | 0.23867 | 93.4827 | 0.24133 | 115.75 | 0.22267 | 93.9613 | 9.2533 | 895 | 59.7553 | 0
2020-11-28 17:00:00 | 0.13533 | 159.9067 | 0.15333 | 178.5633 | 0.11867 | 156.388 | 0.15867 | 179.4753 | 9.5067 | 894.8667 | 58.3847 | 0
2020-11-28 17:15:00 | 0.494 | 184.4333 | 0.516 | 163.6713 | 0.47333 | 180.3753 | 0.522 | 164.508 | 9.1333 | 894 | 59.5247 | 0
2020-11-28 17:30:00 | 0.77067 | 189.6867 | 0.80267 | 173.0207 | 0.89733 | 185.514 | 0.91933 | 173.9067 | 8.8133 | 894 | 62.4567 | 0
2020-11-28 17:45:00 | 0.778 | 168.7333 | 0.826 | 169.3973 | 0.78733 | 165.0227 | 0.87333 | 170.262 | 8.6067 | 894 | 63.2107 | 0
2020-11-28 18:00:00 | 1.2013 | 163.8867 | 1.21 | 175.7647 | 1.2273 | 160.28 | 1.2347 | 176.6653 | 8.4333 | 894 | 64.252 | 0
2020-11-28 18:15:00 | 1.9287 | 169.06 | 1.9793 | 162.1727 | 2.1447 | 165.3393 | 2.1787 | 163 | 8.1867 | 894 | 65.5833 | 0.84
2020-11-28 18:30:00 | 2.0287 | 165.7333 | 2.164 | 157.5747 | 2.2953 | 162.0873 | 2.478 | 158.3807 | 8.0933 | 894 | 63.638 | 1.712
2020-11-28 18:45:00 | 2.3633 | 148.06 | 2.458 | 156.2787 | 2.6773 | 144.802 | 2.7687 | 157.0773 | 7.9267 | 894 | 64.514 | 3.8493
2020-11-28 19:00:00 | 2.7053 | 155.0867 | 2.7947 | 156.2 | 2.9547 | 151.674 | 3.0567 | 156.998 | 7.5667 | 894 | 66.84 | 7.108
2020-11-28 19:15:00 | 2.4653 | 165.1867 | 2.5133 | 171.2533 | 2.556 | 161.5513 | 2.6233 | 172.13 | 7.24 | 894 | 72.166 | 6.7333
2020-11-28 19:30:00 | 2.4233 | 170.0933 | 2.4207 | 169.6627 | 2.57 | 167.2827 | 2.53 | 170.5307 | 6.9533 | 894 | 73.3993 | 8.162
2020-11-28 19:45:00 | 2.5187 | 163.0533 | 2.5407 | 168.5807 | 2.8393 | 159.466 | 2.7927 | 169.4433 | 6.78 | 894 | 75.04 | 9.178
2020-11-28 20:00:00 | 2.522 | 145.3733 | 2.6187 | 155.924 | 2.9313 | 142.1747 | 2.9967 | 156.7233 | 6.6867 | 894 | 77.6247 | 6.5333
2020-11-28 20:15:00 | 2.8227 | 132.7667 | 2.9687 | 135.0347 | 3.346 | 130.0607 | 3.4767 | 135.7253 | 6.5133 | 894 | 79.754 | 6.386
2020-11-28 20:30:00 | 3.2687 | 135.38 | 3.35 | 133.4113 | 3.784 | 132.402 | 3.7907 | 134.094 | 6.34 | 894 | 80.92 | 7.9607
2020-11-28 20:45:00 | 3.128 | 140.2267 | 3.2447 | 128.6073 | 3.668 | 137.1407 | 3.7373 | 129.2627 | 6.1533 | 894 | 81.8733 | 7.32
2020-11-28 21:00:00 | 2.9987 | 135.3333 | 3.0693 | 133.5113 | 3.4547 | 132.356 | 3.46 | 134.192 | 6.06 | 894 | 82.76 | 6.256
2020-11-28 21:15:00 | 3.294 | 137.5333 | 3.3373 | 127.5907 | 3.8267 | 134.508 | 3.758 | 128.2407 | 5.9867 | 894 | 83.2867 | 7.95
2020-11-28 21:30:00 | 2.9987 | 143.0467 | 3.0587 | 129.716 | 3.4753 | 138.96 | 3.4527 | 130.3787 | 5.8867 | 894 | 84.3333 | 6.068
2020-11-28 21:45:00 | 2.5393 | 141.6133 | 2.5933 | 122.726 | 2.8973 | 138.4973 | 2.8993 | 123.3533 | 5.7733 | 894 | 85.3667 | 2.9153
2020-11-28 22:00:00 | 2.848 | 131.2267 | 2.9553 | 121.154 | 3.2773 | 128.3407 | 3.356 | 121.774 | 5.7 | 894 | 86.3733 | 3.7607
2020-11-28 22:15:00 | 2.7613 | 129.5 | 2.862 | 122.7067 | 3.2093 | 126.652 | 3.268 | 123.334 | 5.6667 | 894 | 87.02 | 4.116
2020-11-28 22:30:00 | 2.828 | 141.9467 | 2.974 | 124.9633 | 3.31 | 138.8227 | 3.4473 | 125.602 | 5.62 | 894 | 88.1533 | 3.9813
2020-11-28 22:45:00 | 2.9087 | 144.7067 | 3.0547 | 130.7453 | 3.3567 | 141.5227 | 3.5027 | 131.4133 | 5.54 | 894 | 88.7933 | 4.666
2020-11-28 23:00:00 | 3.262 | 145.5333 | 3.4 | 134.3773 | 3.7153 | 142.33 | 3.848 | 135.064 | 5.4667 | 894 | 89.62 | 7.722
2020-11-28 23:15:00 | 3.3433 | 147.0467 | 3.502 | 134.1487 | 3.8007 | 144.776 | 3.97 | 134.834 | 5.4267 | 894 | 90.3733 | 9.0733
2020-11-28 23:30:00 | 3.416 | 143.4133 | 3.5573 | 139.2013 | 3.846 | 140.2573 | 3.9907 | 139.914 | 5.3333 | 894 | 91.22 | 7.8927
2020-11-28 23:45:00 | 3.31 | 144.0733 | 3.466 | 136.1113 | 3.7147 | 140.676 | 3.896 | 136.8087 | 5.1933 | 894 | 92.2667 | 6.0073