## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-11-30 00:00:00 | 1.202 | 345.3 | 1.394 | 154.8967 | 1.388 | 337.7 | 1.7007 | 155.6893 | 7.3867 | 896 | 81.28 | 0
2020-11-30 00:15:00 | 1.1787 | 345.3 | 1.3693 | 132.4013 | 1.29 | 337.7 | 1.6193 | 133.0793 | 7.32 | 896 | 82.7867 | 0
2020-11-30 00:30:00 | 1.506 | 345.3 | 1.652 | 136.0607 | 1.5787 | 337.7 | 1.8327 | 136.754 | 7.24 | 896 | 83.9733 | 0
2020-11-30 00:45:00 | 1.5533 | 345.3 | 1.692 | 138.4313 | 1.608 | 337.7 | 1.8527 | 139.1407 | 7.1067 | 896 | 84.1 | 0
2020-11-30 01:00:00 | 1.538 | 345.3 | 1.6773 | 126.0313 | 1.6 | 337.7 | 1.846 | 126.6773 | 7.04 | 896 | 82.3133 | 0
2020-11-30 01:15:00 | 1.1913 | 345.3 | 1.3787 | 111.336 | 1.302 | 337.7 | 1.626 | 111.904 | 7.04 | 896 | 83.4333 | 0
2020-11-30 01:30:00 | 1.156 | 345.3 | 1.342 | 119.8373 | 1.2073 | 337.7 | 1.5453 | 120.4487 | 7.0667 | 896 | 82.1533 | 0
2020-11-30 01:45:00 | 1.1507 | 345.3 | 1.3427 | 126.476 | 1.234 | 337.7 | 1.5707 | 127.122 | 6.88 | 896 | 82.8267 | 0
2020-11-30 02:00:00 | 0.92067 | 345.3 | 1.1347 | 108.91 | 0.93267 | 337.7 | 1.33 | 109.4673 | 6.8867 | 895.8667 | 83.3067 | 0
2020-11-30 02:15:00 | 0.792 | 345.3 | 1.0133 | 65.9293 | 0.72933 | 337.7 | 1.1627 | 66.2673 | 7.02 | 895 | 83.86 | 0
2020-11-30 02:30:00 | 0.816 | 345.3 | 1.0487 | 97.2833 | 0.88867 | 337.7 | 1.3033 | 97.7827 | 7.1267 | 895 | 85.0333 | 0
2020-11-30 02:45:00 | 1.1887 | 345.3 | 1.3927 | 105.2073 | 1.452 | 337.7 | 1.7593 | 105.7447 | 6.9067 | 895 | 86.2667 | 0
2020-11-30 03:00:00 | 2.0633 | 345.3 | 2.1687 | 332.702 | 2.4407 | 337.7 | 2.53 | 334.4033 | 6.2533 | 895 | 87.7467 | 0
2020-11-30 03:15:00 | 2.1647 | 345.3 | 2.2547 | 334.7753 | 2.504 | 337.7 | 2.576 | 336.4873 | 5.7667 | 895 | 90 | 0.112
2020-11-30 03:30:00 | 2.0567 | 230.2 | 2.0733 | 325.9213 | 2.5987 | 225.1333 | 2.4707 | 327.5887 | 5.5067 | 895 | 90.7067 | 0.80733
2020-11-30 03:45:00 | 1.4713 | 0 | 1.3353 | 317.36 | 1.9447 | 0 | 1.5547 | 318.9827 | 5.2733 | 895 | 91.8933 | 0.076667
2020-11-30 04:00:00 | 1.3013 | 0 | 1.174 | 295.31 | 1.6427 | 0 | 1.304 | 296.8207 | 5.2333 | 895 | 95.0333 | 0
2020-11-30 04:15:00 | 0.78 | 0 | 0.72333 | 103.1013 | 1.178 | 0 | 0.954 | 103.6267 | 5.28 | 894.5333 | 97.5867 | 0
2020-11-30 04:30:00 | 0.40667 | 0 | 0.37267 | 148.2453 | 0.55933 | 0 | 0.448 | 149.0033 | 5.34 | 894 | 98.66 | 0.14
2020-11-30 04:45:00 | 0.97667 | 0 | 0.894 | 191.4727 | 1.3647 | 0 | 1.0973 | 192.4507 | 5.3667 | 894 | 99.2533 | 0.89
2020-11-30 05:00:00 | 1.522 | 0 | 1.3647 | 156.096 | 1.8427 | 0 | 1.4547 | 156.8927 | 5.5333 | 894 | 99.6 | 1.8467
2020-11-30 05:15:00 | 1.6287 | 0 | 1.4473 | 147.4053 | 1.8293 | 0 | 1.4313 | 148.1593 | 5.6267 | 894 | 99.9467 | 2.7827
2020-11-30 05:30:00 | 1.4293 | 0 | 1.2553 | 149.19 | 1.4567 | 0 | 1.122 | 149.9533 | 5.68 | 894 | 100 | 2.518
2020-11-30 05:45:00 | 1.1947 | 0 | 1.0613 | 150.2727 | 1.3353 | 0 | 1.0427 | 151.0393 | 5.72 | 894 | 100 | 1.6713
2020-11-30 06:00:00 | 1.066 | 0 | 0.968 | 162.5773 | 1.416 | 0 | 1.132 | 163.4073 | 5.7133 | 894 | 100 | 1.5233
2020-11-30 06:15:00 | 1.1333 | 0 | 1.008 | 174.3633 | 1.28 | 0 | 1.004 | 175.256 | 5.78 | 894 | 100 | 1.5773
2020-11-30 06:30:00 | 1.1 | 0 | 0.982 | 163.364 | 1.2793 | 0 | 1.006 | 164.1993 | 5.8333 | 894 | 100 | 1.2693
2020-11-30 06:45:00 | 1.1853 | 0 | 1.0747 | 143.4267 | 1.542 | 0 | 1.23 | 144.1607 | 5.7467 | 894 | 100 | 1.0347
2020-11-30 07:00:00 | 1.1473 | 0 | 1.0353 | 126.2467 | 1.4453 | 0 | 1.1487 | 126.8927 | 5.7067 | 894 | 100 | 0.252
2020-11-30 07:15:00 | 1.2 | 0 | 1.07 | 134.0647 | 1.382 | 0 | 1.0847 | 134.75 | 5.7133 | 894 | 100 | 0
2020-11-30 07:30:00 | 1.1627 | 0 | 1.044 | 139.6133 | 1.396 | 0 | 1.1013 | 140.3273 | 5.7 | 894 | 100 | 0
2020-11-30 07:45:00 | 1.2647 | 125.52 | 1.284 | 147.912 | 1.3473 | 122.7587 | 1.3593 | 148.6687 | 5.7533 | 894.4667 | 100 | 0
2020-11-30 08:00:00 | 1.2333 | 137.8467 | 1.2747 | 152.9127 | 1.244 | 134.8653 | 1.33 | 153.6953 | 5.7733 | 895 | 100 | 0
2020-11-30 08:15:00 | 1.2927 | 124.0133 | 1.358 | 164.5127 | 1.3253 | 120.1447 | 1.4367 | 165.3527 | 5.8067 | 895 | 100 | 0
2020-11-30 08:30:00 | 1.0267 | 139.84 | 1.0773 | 153.0373 | 1.0813 | 136.7633 | 1.16 | 153.82 | 5.8667 | 895 | 100 | 0
2020-11-30 08:45:00 | 1.216 | 142.1533 | 1.2973 | 150.372 | 1.238 | 139.026 | 1.3853 | 151.14 | 5.8533 | 895 | 100 | 0
2020-11-30 09:00:00 | 1.4747 | 147.22 | 1.5513 | 148.6107 | 1.4607 | 143.9807 | 1.6153 | 149.3693 | 5.9333 | 895 | 100 | 0
2020-11-30 09:15:00 | 1.4047 | 136.14 | 1.5067 | 144.8887 | 1.406 | 133.1447 | 1.6 | 145.6293 | 5.8933 | 895 | 100 | 0
2020-11-30 09:30:00 | 1.4247 | 134.8667 | 1.52 | 142.6633 | 1.5007 | 131.8987 | 1.6633 | 143.3927 | 5.92 | 895 | 100 | 0
2020-11-30 09:45:00 | 1.308 | 142.3933 | 1.3607 | 146.322 | 1.2773 | 139.262 | 1.386 | 147.07 | 5.9733 | 895 | 100 | 0
2020-11-30 10:00:00 | 1.386 | 135.2467 | 1.426 | 148.3247 | 1.3973 | 132.2713 | 1.4707 | 149.0813 | 6.02 | 895 | 100 | 0
2020-11-30 10:15:00 | 1.264 | 150.2 | 1.3307 | 154.122 | 1.266 | 146.8953 | 1.3947 | 154.908 | 6.04 | 895 | 100 | 0
2020-11-30 10:30:00 | 1.552 | 144.4867 | 1.6 | 160.3533 | 1.7507 | 141.3073 | 1.7867 | 161.1707 | 6.0933 | 895 | 100 | 0
2020-11-30 10:45:00 | 1.4787 | 149.8 | 1.4927 | 145.9887 | 1.552 | 146.504 | 1.558 | 146.736 | 6.16 | 895 | 100 | 0
2020-11-30 11:00:00 | 1.2873 | 185.0267 | 1.3573 | 144.516 | 1.406 | 180.956 | 1.5013 | 145.2527 | 6.22 | 895 | 100 | 0
2020-11-30 11:15:00 | 1.4413 | 185.2933 | 1.5053 | 158.1353 | 1.61 | 181.0013 | 1.6827 | 158.944 | 6.2467 | 895 | 100 | 0
2020-11-30 11:30:00 | 1.2433 | 177.4267 | 1.3193 | 159.0313 | 1.4073 | 173.5233 | 1.5013 | 159.8447 | 6.3133 | 894.8667 | 100 | 0
2020-11-30 11:45:00 | 1.7627 | 179.82 | 1.9187 | 169.162 | 2.0013 | 175.9813 | 2.2267 | 170.0267 | 6.4067 | 894.4667 | 100 | 0.060667
2020-11-30 12:00:00 | 1.956 | 176.42 | 2.064 | 159.942 | 2.0807 | 170.7593 | 2.2707 | 160.7607 | 6.34 | 894.8667 | 100 | 1.528
2020-11-30 12:15:00 | 1.7473 | 157.6333 | 1.8073 | 167.054 | 1.816 | 154.1647 | 1.9113 | 167.91 | 6.2667 | 894 | 100 | 1.0027
2020-11-30 12:30:00 | 1.9167 | 175.3733 | 1.94 | 169.7153 | 1.8207 | 171.516 | 1.8927 | 170.5827 | 6.28 | 894 | 100 | 1.514
2020-11-30 12:45:00 | 1.9013 | 183.3333 | 2.032 | 178.836 | 1.946 | 179.2993 | 2.1853 | 179.7507 | 6.36 | 894 | 100 | 1.2753
2020-11-30 13:00:00 | 2.684 | 167.74 | 2.7907 | 157.244 | 2.9553 | 164.05 | 3.082 | 158.046 | 6.3533 | 894 | 100 | 1.852
2020-11-30 13:15:00 | 2.4427 | 160.0733 | 2.56 | 140.374 | 2.538 | 156.5513 | 2.728 | 141.092 | 6.3467 | 894 | 100 | 1.9753
2020-11-30 13:30:00 | 2.4693 | 153.8867 | 2.5533 | 139.8533 | 2.5773 | 150.4687 | 2.7087 | 140.568 | 6.2067 | 893.2 | 100 | 1.5307
2020-11-30 13:45:00 | 2.8247 | 158.5067 | 2.9767 | 137.154 | 2.9213 | 155.0187 | 3.1847 | 137.856 | 6.2333 | 893 | 100 | 2.1793
2020-11-30 14:00:00 | 3.038 | 161.48 | 3.042 | 134.528 | 3.3307 | 157.9273 | 3.2553 | 135.214 | 6.08 | 892.8667 | 100 | 3.0687
2020-11-30 14:15:00 | 2.63 | 163.5267 | 2.7947 | 153.6033 | 3.5087 | 159.9293 | 3.5667 | 154.3893 | 6.1 | 892 | 100 | 3.0713
2020-11-30 14:30:00 | 3.83 | 132.98 | 4.0827 | 139.3847 | 4.618 | 130.0553 | 4.8687 | 140.0973 | 6.06 | 892 | 100 | 8.528
2020-11-30 14:45:00 | 4.5587 | 136.48 | 4.5867 | 122.622 | 5.188 | 133.478 | 5.062 | 123.2487 | 5.3333 | 892 | 100 | 12.844
2020-11-30 15:00:00 | 3.7473 | 147.4067 | 3.828 | 127.7653 | 4.2967 | 144.164 | 4.294 | 128.418 | 5.3067 | 892 | 100 | 10.758
2020-11-30 15:15:00 | 3.6873 | 135.46 | 3.7067 | 131.2027 | 4.3693 | 132.4793 | 4.2133 | 131.8727 | 5.36 | 892 | 100 | 13.9873
2020-11-30 15:30:00 | 3.3033 | 127.4867 | 3.36 | 130.264 | 3.896 | 124.6827 | 3.8347 | 130.928 | 5.4867 | 892 | 100 | 12.1773
2020-11-30 15:45:00 | 3.308 | 128.9667 | 3.384 | 135.0287 | 3.9593 | 126.13 | 3.914 | 135.72 | 5.4933 | 892 | 100 | 11.5747
2020-11-30 16:00:00 | 2.974 | 134.2267 | 3.014 | 129.2787 | 3.5587 | 131.2747 | 3.466 | 129.9387 | 5.3467 | 892 | 100 | 11.6627
2020-11-30 16:15:00 | 2.9673 | 130.9133 | 2.9707 | 133.3913 | 3.4513 | 128.0333 | 3.3213 | 134.0747 | 5.3 | 892 | 100 | 8.9713
2020-11-30 16:30:00 | 2.8293 | 130.2133 | 2.8693 | 124.2453 | 3.2167 | 127.3473 | 3.1847 | 124.8813 | 5.2867 | 892 | 100 | 6.36
2020-11-30 16:45:00 | 3.0687 | 139.7667 | 3.164 | 132.2133 | 3.502 | 136.6927 | 3.5553 | 132.888 | 5.2333 | 892 | 100 | 5.9087
2020-11-30 17:00:00 | 2.9327 | 129.3933 | 3.0373 | 130.9747 | 3.3713 | 126.5467 | 3.4453 | 131.642 | 5.2 | 892 | 100 | 4.8047
2020-11-30 17:15:00 | 2.1513 | 130.9533 | 2.2673 | 133.1387 | 2.414 | 128.0713 | 2.5607 | 133.8193 | 5.2067 | 892 | 100 | 1.672
2020-11-30 17:30:00 | 1.2447 | 133.96 | 1.3887 | 143.752 | 1.388 | 130.7513 | 1.6193 | 144.4873 | 5.3 | 892 | 100 | 1.1227
2020-11-30 17:45:00 | 0.93067 | 104.0933 | 0.926 | 119.518 | 0.99133 | 101.8033 | 0.96267 | 120.13 | 5.3 | 892 | 100 | 0.15
2020-11-30 18:00:00 | 0.94667 | 91.0867 | 0.95533 | 94.3253 | 0.77533 | 89.082 | 0.842 | 94.808 | 5.3467 | 892 | 100 | 0
2020-11-30 18:15:00 | 0.64667 | 58.5933 | 0.686 | 64.6 | 0.62733 | 57.304 | 0.70667 | 64.9313 | 5.52 | 892.4667 | 100 | 0
2020-11-30 18:30:00 | 0.44533 | 239.4733 | 0.434 | 63.8893 | 0.44267 | 234.2053 | 0.422 | 64.2147 | 5.58 | 893 | 100 | 0
2020-11-30 18:45:00 | 0.21133 | 219.18 | 0.23133 | 180.832 | 0.23133 | 214.3567 | 0.26333 | 181.756 | 5.6667 | 893 | 100 | 0
2020-11-30 19:00:00 | 0.336 | 160.7467 | 0.324 | 217.358 | 0.45133 | 157.21 | 0.39667 | 218.4693 | 5.66 | 893 | 100 | 0
2020-11-30 19:15:00 | 1.346 | 331.1933 | 1.424 | 326.098 | 1.7673 | 323.906 | 1.7927 | 327.7647 | 5.5133 | 893 | 100 | 0
2020-11-30 19:30:00 | 1.9587 | 307.66 | 2.1207 | 338.1987 | 2.4047 | 300.892 | 2.5853 | 339.928 | 5.4467 | 893.8 | 100 | 0
2020-11-30 19:45:00 | 2.2067 | 253.76 | 2.274 | 335.5267 | 2.5547 | 248.1787 | 2.588 | 337.2407 | 5.3533 | 894 | 100 | 0
2020-11-30 20:00:00 | 2.2593 | 252.1267 | 2.342 | 325.61 | 2.6647 | 246.5793 | 2.7073 | 327.2733 | 5.3 | 894 | 100 | 0.25467
2020-11-30 20:15:00 | 2.0927 | 312.0667 | 2.1873 | 313.41 | 2.466 | 305.2007 | 2.5413 | 315.0107 | 5.26 | 894 | 100 | 0
2020-11-30 20:30:00 | 1.9453 | 342.5333 | 2.0527 | 307.3913 | 2.3413 | 334.998 | 2.4353 | 308.9627 | 5.26 | 894 | 100 | 0
2020-11-30 20:45:00 | 1.71 | 327.74 | 1.75 | 318.046 | 2.0773 | 320.5293 | 2.0493 | 319.6713 | 5.2867 | 894.4667 | 100 | 0
2020-11-30 21:00:00 | 1.9227 | 326.1133 | 1.97 | 324.3773 | 2.338 | 318.9387 | 2.3127 | 326.0347 | 5.2133 | 895 | 100 | 0
2020-11-30 21:15:00 | 2.2713 | 321.2 | 2.2947 | 319.3293 | 2.7813 | 314.1347 | 2.6793 | 320.9613 | 5.1333 | 895 | 100 | 0.10667
2020-11-30 21:30:00 | 2.3393 | 289.9133 | 2.402 | 311.644 | 2.8973 | 283.5353 | 2.8513 | 313.2373 | 5.1133 | 895 | 100 | 0.718
2020-11-30 21:45:00 | 2.4013 | 318.22 | 2.4833 | 321.768 | 2.882 | 311.766 | 2.898 | 323.4133 | 4.9667 | 895 | 100 | 0.74467
2020-11-30 22:00:00 | 3.0307 | 293.2267 | 3.1887 | 320.7907 | 3.6947 | 286.776 | 3.8053 | 322.4307 | 4.9 | 894.3333 | 100 | 4.108
2020-11-30 22:15:00 | 3.7 | 331.8667 | 3.9233 | 317.654 | 4.5013 | 324.566 | 4.6973 | 319.278 | 4.8667 | 895 | 100 | 7.652
2020-11-30 22:30:00 | 4.5507 | 327.86 | 4.794 | 321.24 | 5.252 | 320.6467 | 5.512 | 322.8833 | 4.82 | 895 | 100 | 11.824
2020-11-30 22:45:00 | 4.8467 | 335.7 | 5.23 | 327.668 | 5.386 | 328.3153 | 5.9573 | 329.344 | 4.76 | 895 | 100 | 16.184
2020-11-30 23:00:00 | 4.7273 | 336.58 | 5.1133 | 330.9627 | 5.43 | 329.1747 | 5.9613 | 332.654 | 4.8 | 895 | 100 | 15.012
2020-11-30 23:15:00 | 4.6227 | 329.8733 | 4.956 | 325.3493 | 5.158 | 322.6153 | 5.6393 | 327.0113 | 4.7933 | 895 | 100 | 12.228
2020-11-30 23:30:00 | 4.6293 | 329.98 | 4.956 | 320.1507 | 5.12 | 322.72 | 5.5953 | 321.7887 | 4.8067 | 895 | 100 | 12.41
2020-11-30 23:45:00 | 4.4433 | 328.7 | 4.786 | 321.3173 | 4.9593 | 321.47 | 5.458 | 322.9613 | 4.8933 | 895 | 100 | 12.9693