## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-01 00:00:00 | 4.5833 | 334.7667 | 4.9313 | 326.3773 | 5.2847 | 327.4013 | 5.74 | 328.0473 | 4.84 | 895 | 100 | 14.0127
2020-12-01 00:15:00 | 4.7227 | 343.3133 | 5.12 | 329.122 | 5.4427 | 335.762 | 5.9887 | 330.8053 | 4.7733 | 895 | 100 | 16.3293
2020-12-01 00:30:00 | 4.9473 | 336.3733 | 5.3847 | 326.0773 | 5.62 | 328.972 | 6.252 | 327.7453 | 4.6933 | 895 | 100 | 17.2913
2020-12-01 00:45:00 | 4.7793 | 335.4933 | 5.1833 | 329.794 | 5.4 | 328.1133 | 5.9833 | 331.48 | 4.62 | 895 | 100 | 15.794
2020-12-01 01:00:00 | 4.2413 | 343.6467 | 4.6233 | 310.086 | 4.8987 | 336.086 | 5.4347 | 311.6693 | 4.6267 | 895 | 100 | 11.1693
2020-12-01 01:15:00 | 3.7627 | 234.1933 | 4.0327 | 311.7793 | 4.258 | 229.0413 | 4.6293 | 313.3733 | 4.6467 | 894.5333 | 100 | 7.61
2020-12-01 01:30:00 | 2.7587 | 169.5333 | 2.8433 | 337.7433 | 3.014 | 165.802 | 3.1 | 339.47 | 4.4667 | 893.8667 | 100 | 2.13
2020-12-01 01:45:00 | 1.4533 | 113.5733 | 1.3907 | 326.3847 | 1.646 | 111.074 | 1.472 | 328.0533 | 4.5133 | 893 | 100 | 0
2020-12-01 02:00:00 | 2.1513 | 269.2 | 2.132 | 314.4727 | 2.6147 | 263.2773 | 2.4413 | 316.0813 | 4.54 | 893.1333 | 100 | 0
2020-12-01 02:15:00 | 2.6653 | 321.0333 | 2.7553 | 303.3673 | 3.158 | 313.8467 | 3.1887 | 304.9193 | 4.5267 | 893.5333 | 100 | 0.888
2020-12-01 02:30:00 | 2.774 | 319.8667 | 2.8707 | 310.7953 | 3.2913 | 312.8293 | 3.324 | 312.3833 | 4.64 | 893 | 100 | 1.7567
2020-12-01 02:45:00 | 2.336 | 320.1933 | 2.436 | 306.6153 | 2.6673 | 313.15 | 2.764 | 308.1827 | 4.6 | 893.4667 | 100 | 0.33786
2020-12-01 03:00:00 | 2.3047 | 313.2133 | 2.4053 | 323.8213 | 2.788 | 306.3233 | 2.8413 | 325.478 | 4.5733 | 894 | 100 | 0.66133
2020-12-01 03:15:00 | 2.9433 | 342.14 | 3.1507 | 325.452 | 3.446 | 334.614 | 3.696 | 327.114 | 4.4933 | 894 | 100 | 2.354
2020-12-01 03:30:00 | 2.8707 | 305.1667 | 3.082 | 329.4093 | 3.342 | 298.452 | 3.604 | 331.094 | 4.5467 | 893.2 | 100 | 2.2193
2020-12-01 03:45:00 | 2.7147 | 283.2467 | 2.91 | 325.6553 | 3.2007 | 277.016 | 3.4313 | 327.3193 | 4.6467 | 893 | 100 | 1.3393
2020-12-01 04:00:00 | 2.3 | 283.9933 | 2.4753 | 330.0353 | 2.7173 | 277.744 | 2.9273 | 331.7233 | 4.7933 | 893 | 100 | 0.29333
2020-12-01 04:15:00 | 2.0087 | 269.5267 | 2.0807 | 229.622 | 2.3293 | 263.5973 | 2.3767 | 230.7953 | 5 | 893 | 100 | 0
2020-12-01 04:30:00 | 1.786 | 183.44 | 1.7727 | 313.168 | 2.1587 | 179.4033 | 2.0267 | 314.7707 | 5.0333 | 893 | 100 | 0
2020-12-01 04:45:00 | 2.1693 | 331.5333 | 2.2427 | 334.8607 | 2.5153 | 324.24 | 2.5567 | 336.5727 | 5.0467 | 893 | 100 | 0
2020-12-01 05:00:00 | 2.768 | 298.76 | 2.9293 | 329.1227 | 3.2747 | 291.874 | 3.432 | 330.806 | 4.86 | 893 | 100 | 1.066
2020-12-01 05:15:00 | 2.7107 | 281.9267 | 2.8807 | 311.5967 | 3.0447 | 275.724 | 3.2713 | 313.1893 | 4.76 | 893 | 100 | 1.5613
2020-12-01 05:30:00 | 2.1427 | 189.44 | 2.2127 | 336.0147 | 2.306 | 185.2713 | 2.394 | 337.7333 | 4.7333 | 893 | 100 | 0
2020-12-01 05:45:00 | 2.1 | 187.0867 | 2.2093 | 328.8633 | 2.4027 | 182.9707 | 2.522 | 330.5433 | 4.6867 | 893 | 100 | 0
2020-12-01 06:00:00 | 1.8067 | 170.42 | 1.8907 | 340.7607 | 2.018 | 166.6707 | 2.1167 | 342.5027 | 4.8 | 893 | 100 | 0
2020-12-01 06:15:00 | 1.7473 | 193.1867 | 1.8107 | 330.9747 | 1.9893 | 188.9373 | 2.0373 | 332.6687 | 4.8333 | 893 | 100 | 0
2020-12-01 06:30:00 | 1.6247 | 171.0267 | 1.6387 | 336.75 | 1.9473 | 167.2647 | 1.8813 | 338.472 | 4.9733 | 893 | 100 | 0
2020-12-01 06:45:00 | 1.5653 | 253.5933 | 1.5813 | 329.7413 | 1.8733 | 248.014 | 1.814 | 331.4287 | 5.0133 | 893 | 100 | 0
2020-12-01 07:00:00 | 1.7347 | 51.1267 | 1.7473 | 330.9813 | 2.0693 | 50.004 | 2.0007 | 332.6733 | 4.9067 | 893 | 100 | 0
2020-12-01 07:15:00 | 1.6027 | 178.16 | 1.5827 | 324.708 | 1.922 | 174.2407 | 1.794 | 326.3687 | 4.8267 | 893 | 100 | 0
2020-12-01 07:30:00 | 1.2673 | 281.28 | 1.2067 | 314.832 | 1.582 | 275.092 | 1.3753 | 316.4413 | 4.7867 | 893 | 100 | 0
2020-12-01 07:45:00 | 1.2427 | 302.4933 | 1.1653 | 312.25 | 1.6713 | 295.838 | 1.3993 | 313.8447 | 4.9667 | 893 | 100 | 0
2020-12-01 08:00:00 | 1.2627 | 289.4 | 1.18 | 316.7153 | 1.6913 | 283.0327 | 1.4087 | 318.3353 | 5.04 | 893 | 100 | 0
2020-12-01 08:15:00 | 1.3913 | 315.02 | 1.3487 | 315.6913 | 1.8293 | 309.628 | 1.614 | 317.3067 | 5 | 893 | 100 | 0
2020-12-01 08:30:00 | 1.4953 | 290.66 | 1.43 | 328.9667 | 1.99 | 284.2667 | 1.7227 | 330.6493 | 5.0133 | 893.8 | 100 | 0
2020-12-01 08:45:00 | 1.8133 | 305.28 | 1.766 | 316.2133 | 2.2707 | 298.564 | 2.0507 | 317.83 | 4.7667 | 894 | 100 | 0
2020-12-01 09:00:00 | 1.96 | 322.3467 | 2.02 | 318.612 | 2.3707 | 315.2547 | 2.3647 | 320.2413 | 4.64 | 894 | 100 | 0
2020-12-01 09:15:00 | 2.136 | 310.5533 | 2.202 | 312.8687 | 2.65 | 303.7207 | 2.6287 | 314.468 | 4.4733 | 894 | 100 | 0.234
2020-12-01 09:30:00 | 2.1273 | 308.68 | 2.192 | 317.114 | 2.7473 | 303.8573 | 2.6927 | 318.7353 | 4.4867 | 894 | 100 | 0.48
2020-12-01 09:45:00 | 2.0947 | 327.2867 | 2.136 | 330.5787 | 2.578 | 320.0867 | 2.5167 | 332.266 | 4.6467 | 894 | 100 | 0.12067
2020-12-01 10:00:00 | 2.4293 | 319.5133 | 2.5327 | 320.8827 | 2.9127 | 312.4833 | 2.9747 | 322.522 | 4.76 | 894 | 100 | 0.89733
2020-12-01 10:15:00 | 1.7433 | 300.9 | 1.752 | 307.3007 | 2.2507 | 294.2793 | 2.1193 | 308.872 | 4.7067 | 894.4667 | 100 | 0.035333
2020-12-01 10:30:00 | 2.182 | 317.7333 | 2.1453 | 324.1467 | 2.7247 | 310.7433 | 2.5007 | 325.804 | 4.7933 | 894.2 | 100 | 0.41533
2020-12-01 10:45:00 | 1.9467 | 330.38 | 1.9567 | 321.1233 | 2.5227 | 323.1107 | 2.3753 | 322.764 | 4.7533 | 894 | 100 | 0.14067
2020-12-01 11:00:00 | 1.854 | 317.7333 | 1.8787 | 320.2553 | 2.3493 | 310.7413 | 2.2507 | 321.8927 | 4.9267 | 894.6667 | 100 | 0
2020-12-01 11:15:00 | 1.92 | 328.5267 | 1.928 | 326.4047 | 2.226 | 321.2993 | 2.154 | 328.072 | 5.08 | 894 | 100 | 0
2020-12-01 11:30:00 | 1.9253 | 340.6467 | 2.004 | 328.7253 | 2.3487 | 333.1527 | 2.374 | 330.4053 | 5.06 | 894.6667 | 100 | 0
2020-12-01 11:45:00 | 1.2927 | 274.76 | 1.2453 | 321.214 | 1.5507 | 268.716 | 1.3873 | 322.856 | 5.1867 | 894 | 100 | 0
2020-12-01 12:00:00 | 1.2187 | 278.8267 | 1.1887 | 304.3473 | 1.546 | 272.6933 | 1.3913 | 305.9033 | 5.18 | 894 | 100 | 0
2020-12-01 12:15:00 | 1.0667 | 258.2 | 1.0307 | 312.1247 | 1.4253 | 252.5193 | 1.2467 | 313.722 | 5.24 | 894 | 100 | 0
2020-12-01 12:30:00 | 0.81533 | 225.1867 | 0.79733 | 303.7273 | 1.098 | 220.2313 | 0.98333 | 305.2807 | 5.3533 | 894 | 100 | 0
2020-12-01 12:45:00 | 0.532 | 182.4533 | 0.54267 | 297.7807 | 0.852 | 178.4387 | 0.77933 | 299.3047 | 5.6467 | 893.5333 | 100 | 0
2020-12-01 13:00:00 | 0.66533 | 247.8067 | 0.68667 | 280.8487 | 0.91333 | 242.3573 | 0.88133 | 282.2853 | 5.82 | 893 | 100 | 0
2020-12-01 13:15:00 | 0.39733 | 162.2733 | 0.42 | 254.326 | 0.60067 | 158.704 | 0.58333 | 255.6267 | 6.1267 | 893 | 100 | 0
2020-12-01 13:30:00 | 0.37467 | 189.1067 | 0.37667 | 251.0727 | 0.52733 | 184.9473 | 0.488 | 252.3553 | 6.12 | 893 | 100 | 0
2020-12-01 13:45:00 | 0.564 | 80.22 | 0.60933 | 138.1213 | 0.53667 | 78.456 | 0.632 | 138.8267 | 6.1867 | 892.5333 | 100 | 0
2020-12-01 14:00:00 | 0.522 | 119.4333 | 0.53467 | 194.8313 | 0.52533 | 116.806 | 0.55 | 195.8267 | 6.1067 | 892 | 100 | 0
2020-12-01 14:15:00 | 0.346 | 146.78 | 0.364 | 235.822 | 0.39 | 143.5507 | 0.41333 | 237.028 | 5.9333 | 892 | 100 | 0
2020-12-01 14:30:00 | 0.51467 | 135.4467 | 0.54 | 303.5707 | 0.464 | 132.4673 | 0.52533 | 305.124 | 6.0133 | 892 | 100 | 0
2020-12-01 14:45:00 | 0.41 | 164.4867 | 0.42133 | 248.0133 | 0.42333 | 160.8667 | 0.44267 | 249.2827 | 6.0467 | 892 | 100 | 0
2020-12-01 15:00:00 | 0.43667 | 132.2067 | 0.48 | 217.482 | 0.61867 | 130.216 | 0.646 | 218.5933 | 6.4867 | 891.8667 | 100 | 0
2020-12-01 15:15:00 | 0.53667 | 34.16 | 0.584 | 133.2947 | 0.72333 | 33.408 | 0.75867 | 133.9767 | 6.46 | 891 | 100 | 0
2020-12-01 15:30:00 | 1 | 277.9467 | 1.02 | 60.89 | 1.1727 | 271.8333 | 1.16 | 61.2027 | 5.9467 | 891 | 100 | 0
2020-12-01 15:45:00 | 1.286 | 330.5067 | 1.3373 | 207.4407 | 1.6227 | 323.2347 | 1.622 | 208.5 | 5.8533 | 891.4667 | 100 | 0
2020-12-01 16:00:00 | 1.7227 | 311.1 | 1.8247 | 223.6367 | 2.068 | 304.2553 | 2.1647 | 224.7807 | 5.6867 | 891.3333 | 100 | 0
2020-12-01 16:15:00 | 2.018 | 314.4933 | 2.1393 | 272.7647 | 2.4907 | 307.5747 | 2.584 | 274.1593 | 5.4133 | 892 | 100 | 0
2020-12-01 16:30:00 | 2.35 | 318.0333 | 2.422 | 278.7427 | 2.978 | 310.9187 | 2.932 | 280.168 | 5.2533 | 891.8667 | 100 | 0.39357
2020-12-01 16:45:00 | 2.444 | 288.58 | 2.5433 | 333.8767 | 3.1727 | 282.23 | 3.1513 | 335.5833 | 5.0667 | 891 | 100 | 1.8027
2020-12-01 17:00:00 | 2.454 | 291 | 2.5753 | 332.7227 | 3.1293 | 284.5973 | 3.166 | 334.4227 | 5.04 | 891.1333 | 100 | 1.7333
2020-12-01 17:15:00 | 2.3967 | 225.0667 | 2.5107 | 313.612 | 3.038 | 220.1147 | 3.0713 | 315.2153 | 4.9933 | 892 | 100 | 1.4313
2020-12-01 17:30:00 | 2.6407 | 334.9067 | 2.8313 | 269.8507 | 3.2987 | 327.792 | 3.4733 | 271.2307 | 4.9533 | 892 | 100 | 1.9347
2020-12-01 17:45:00 | 3 | 343.6067 | 3.2247 | 289.0693 | 3.684 | 336.0467 | 3.9133 | 290.5487 | 4.8467 | 892 | 100 | 3.8407
2020-12-01 18:00:00 | 3.202 | 344.6267 | 3.448 | 331.3987 | 3.9147 | 336.7967 | 4.1707 | 333.0927 | 4.7467 | 892 | 100 | 5.0013
2020-12-01 18:15:00 | 3.392 | 340.7 | 3.6647 | 334.4293 | 3.996 | 333.2047 | 4.3407 | 336.14 | 4.68 | 892 | 100 | 5.8513
2020-12-01 18:30:00 | 3.796 | 343.98 | 4.1173 | 307.9793 | 4.4573 | 336.34 | 4.8747 | 309.554 | 4.5867 | 892 | 100 | 7.854
2020-12-01 18:45:00 | 4.1067 | 345.2667 | 4.418 | 335.1927 | 4.756 | 337.6713 | 5.156 | 336.9067 | 4.54 | 892 | 100 | 9.8787
2020-12-01 19:00:00 | 4.1307 | 325.82 | 4.4747 | 314.3033 | 4.8947 | 318.652 | 5.3293 | 315.9093 | 4.4867 | 892 | 100 | 11.422
2020-12-01 19:15:00 | 4.262 | 304.9733 | 4.576 | 330.368 | 4.934 | 298.2653 | 5.3373 | 332.0567 | 4.4133 | 892 | 100 | 10.5787
2020-12-01 19:30:00 | 4.2633 | 323.66 | 4.548 | 327.662 | 4.9133 | 316.5393 | 5.2627 | 329.3373 | 4.32 | 892 | 100 | 10.5367
2020-12-01 19:45:00 | 4.248 | 302.7 | 4.5407 | 323.3713 | 4.8207 | 296.04 | 5.206 | 325.0253 | 4.3267 | 892 | 100 | 10.658
2020-12-01 20:00:00 | 4.494 | 338.1667 | 4.856 | 318.6913 | 5.264 | 330.356 | 5.7287 | 320.3207 | 4.3733 | 892.8 | 100 | 13.4947
2020-12-01 20:15:00 | 4.67 | 336.1267 | 5.056 | 312.5433 | 5.274 | 328.732 | 5.8273 | 314.1393 | 4.32 | 893 | 100 | 16.2547
2020-12-01 20:30:00 | 5.2107 | 334.6533 | 5.6247 | 324.618 | 5.8967 | 327.2907 | 6.4847 | 326.2787 | 4.32 | 893 | 100 | 20.5907
2020-12-01 20:45:00 | 5.5527 | 339.5133 | 6.0153 | 328.648 | 6.2193 | 332.044 | 6.904 | 330.3273 | 4.2067 | 893 | 100 | 23.798
2020-12-01 21:00:00 | 5.3567 | 339.1667 | 5.826 | 326.0907 | 5.9413 | 331.7047 | 6.6633 | 327.758 | 4.28 | 893.1333 | 100 | 22.4267
2020-12-01 21:15:00 | 5.4893 | 341.4533 | 5.9313 | 323.5107 | 6.1907 | 332.9307 | 6.8313 | 325.1627 | 4.3333 | 894 | 100 | 22.4633
2020-12-01 21:30:00 | 5.3527 | 342.2467 | 5.81 | 321.3713 | 6.0747 | 334.7167 | 6.7327 | 323.014 | 4.16 | 893.2 | 100 | 23.614
2020-12-01 21:45:00 | 5.3753 | 339.52 | 5.8253 | 324.9253 | 5.99 | 332.05 | 6.6667 | 326.5847 | 4.1333 | 893 | 100 | 23.244
2020-12-01 22:00:00 | 5.2993 | 337.92 | 5.7627 | 319.7927 | 6.0353 | 330.486 | 6.6987 | 321.428 | 4.1667 | 893.1333 | 100 | 23.2813
2020-12-01 22:15:00 | 5.78 | 338.9067 | 6.2753 | 320.576 | 6.3767 | 331.4507 | 7.14 | 322.2147 | 4.1333 | 894 | 100 | 27.7147
2020-12-01 22:30:00 | 5.806 | 330.92 | 6.2407 | 326.6 | 6.4667 | 323.6387 | 7.1 | 328.2713 | 4.16 | 893.3333 | 100 | 27.2967
2020-12-01 22:45:00 | 5.784 | 337.7867 | 6.276 | 322.974 | 6.4353 | 330.4207 | 7.172 | 324.626 | 4.1333 | 894 | 100 | 27.1587
2020-12-01 23:00:00 | 6.1507 | 341.6333 | 6.6307 | 328.9207 | 6.9587 | 334.1167 | 7.634 | 330.602 | 4.1533 | 894 | 100 | 28.3327
2020-12-01 23:15:00 | 6.0127 | 339.5067 | 6.458 | 323.488 | 6.782 | 332.0387 | 7.404 | 325.144 | 4.1533 | 894 | 100 | 27.9647
2020-12-01 23:30:00 | 6.1313 | 331.8067 | 6.5313 | 325.27 | 6.772 | 324.5073 | 7.346 | 326.9333 | 4.1133 | 894 | 100 | 28.8767
2020-12-01 23:45:00 | 5.8893 | 337.64 | 6.3547 | 326.1173 | 6.6307 | 330.212 | 7.2927 | 327.7847 | 4.1067 | 894 | 99.5133 | 26.584