## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-02 00:00:00 | 5.774 | 335.9133 | 6.2207 | 323.4367 | 6.4713 | 328.5233 | 7.1127 | 325.0913 | 3.98 | 894 | 98.22 | 26.1787
2020-12-02 00:15:00 | 5.448 | 335.2733 | 5.9287 | 323.366 | 6.264 | 327.8973 | 6.9387 | 325.0187 | 3.9267 | 894 | 98.12 | 25.1153
2020-12-02 00:30:00 | 5.0587 | 341.9933 | 5.48 | 320.32 | 5.732 | 334.4693 | 6.3353 | 321.9593 | 3.92 | 894 | 98.48 | 18.046
2020-12-02 00:45:00 | 4.968 | 340.3533 | 5.3553 | 320.6593 | 5.4567 | 332.8647 | 6.0507 | 322.3 | 3.9 | 894 | 98.36 | 17.5893
2020-12-02 01:00:00 | 4.7367 | 312.8667 | 5.0747 | 322.342 | 5.0673 | 305.984 | 5.6173 | 323.9913 | 3.8333 | 894 | 97.92 | 14.878
2020-12-02 01:15:00 | 4.3953 | 333.56 | 4.696 | 322.87 | 4.8113 | 326.222 | 5.2627 | 324.5207 | 3.7933 | 894 | 98.46 | 12.8293
2020-12-02 01:30:00 | 4.686 | 340.7333 | 5.032 | 328.8307 | 5.3187 | 333.238 | 5.7907 | 330.512 | 3.66 | 894 | 99.2533 | 16.0313
2020-12-02 01:45:00 | 5.2533 | 340.5067 | 5.6687 | 323.2927 | 6.012 | 333.0153 | 6.588 | 324.9453 | 3.58 | 894 | 99.94 | 20.5247
2020-12-02 02:00:00 | 5.3447 | 342.1067 | 5.7487 | 324.7353 | 5.9513 | 334.8793 | 6.546 | 326.396 | 3.56 | 894 | 100 | 20.626
2020-12-02 02:15:00 | 5.4167 | 344.9067 | 5.8347 | 329.8607 | 5.978 | 337.3187 | 6.606 | 331.5467 | 3.5333 | 894 | 100 | 21.968
2020-12-02 02:30:00 | 5.404 | 348.2267 | 5.8267 | 330.4607 | 6.0473 | 340.5647 | 6.662 | 332.1487 | 3.42 | 894 | 100 | 23.4247
2020-12-02 02:45:00 | 5.7773 | 344.1533 | 6.1573 | 327.8 | 6.436 | 336.582 | 6.9667 | 329.4767 | 3.3933 | 894 | 100 | 25.1927
2020-12-02 03:00:00 | 5.7627 | 339.3333 | 6.148 | 327.2107 | 6.42 | 331.868 | 6.958 | 328.886 | 3.3533 | 893.8667 | 100 | 25.2273
2020-12-02 03:15:00 | 5.4 | 343.4733 | 5.8433 | 329.618 | 6.0807 | 335.918 | 6.7253 | 331.3033 | 3.4067 | 893 | 100 | 25.3573
2020-12-02 03:30:00 | 5.4033 | 338.9133 | 5.8353 | 326.3393 | 6.08 | 332.0833 | 6.7013 | 328.0067 | 3.3067 | 893.1333 | 100 | 25.5313
2020-12-02 03:45:00 | 5.4373 | 340.98 | 5.8773 | 330.4593 | 6.2353 | 333.4773 | 6.84 | 332.1473 | 3.2933 | 893.5333 | 100 | 25.54
2020-12-02 04:00:00 | 5.2653 | 336.9533 | 5.726 | 318.6833 | 5.9547 | 329.5413 | 6.63 | 320.3133 | 3.2933 | 893 | 100 | 23.9427
2020-12-02 04:15:00 | 5.5627 | 338.6533 | 6.0507 | 326.45 | 6.226 | 331.202 | 6.9587 | 328.1193 | 3.3133 | 893 | 100 | 26.2413
2020-12-02 04:30:00 | 5.6993 | 337.5 | 6.1627 | 324.474 | 6.48 | 330.0753 | 7.1313 | 326.1333 | 3.34 | 893 | 100 | 28.0853
2020-12-02 04:45:00 | 6.1733 | 341.4133 | 6.65 | 325.2167 | 7.0573 | 333.9027 | 7.7067 | 326.88 | 3.2733 | 893 | 100 | 31.8787
2020-12-02 05:00:00 | 6.3193 | 340.7867 | 6.8373 | 322.5633 | 7.0827 | 333.2887 | 7.8427 | 324.2153 | 3.2333 | 892.8667 | 100 | 33.912
2020-12-02 05:15:00 | 6.1647 | 335.1333 | 6.6327 | 324.4367 | 6.9147 | 328.5487 | 7.59 | 326.0947 | 3.2267 | 892.4667 | 100 | 33.3847
2020-12-02 05:30:00 | 6.8627 | 334.2467 | 7.39 | 320.798 | 7.5107 | 326.8933 | 8.3253 | 322.438 | 3.2667 | 893 | 100 | 36.6813
2020-12-02 05:45:00 | 6.6893 | 335 | 7.108 | 321.8913 | 7.4293 | 327.4653 | 8.0113 | 323.5387 | 3.2933 | 893 | 100 | 33.476
2020-12-02 06:00:00 | 6.668 | 340 | 7.1213 | 323.8413 | 7.4627 | 332.52 | 8.0927 | 325.4973 | 3.3133 | 893 | 99.9867 | 34.4507
2020-12-02 06:15:00 | 7.068 | 338.9133 | 7.5707 | 324.838 | 7.752 | 331.236 | 8.5093 | 326.5 | 3.3067 | 893 | 99.8533 | 35.9447
2020-12-02 06:30:00 | 7.012 | 335.18 | 7.5413 | 322.1193 | 7.7233 | 327.8053 | 8.5233 | 323.768 | 3.3267 | 893 | 99.72 | 36.716
2020-12-02 06:45:00 | 7.3407 | 336.64 | 7.922 | 319.6753 | 8.2967 | 329.2347 | 9.1233 | 321.3093 | 3.28 | 893 | 99.58 | 38.238
2020-12-02 07:00:00 | 7.2947 | 347.4333 | 7.9533 | 324.422 | 8.0873 | 339.79 | 9.1033 | 326.08 | 3.3067 | 893 | 99.3267 | 39.4953
2020-12-02 07:15:00 | 7.084 | 345.4333 | 7.728 | 324.1607 | 7.7947 | 337.8333 | 8.8113 | 325.8193 | 3.3267 | 893 | 98.4933 | 39.3033
2020-12-02 07:30:00 | 7.4547 | 318.9 | 8.0627 | 328.1513 | 8.0613 | 311.8853 | 9.0413 | 329.83 | 3.4133 | 893 | 98.12 | 40.074
2020-12-02 07:45:00 | 7.5307 | 341.1733 | 8.1393 | 326.3767 | 7.9807 | 333.5513 | 9.012 | 328.0467 | 3.4267 | 893.4667 | 98.0067 | 41.2767
2020-12-02 08:00:00 | 7.1087 | 319.1067 | 7.6567 | 326.7947 | 7.702 | 312.0853 | 8.5693 | 328.4667 | 3.26 | 894 | 98.06 | 41.1653
2020-12-02 08:15:00 | 7.3473 | 342.84 | 7.872 | 321.9113 | 8.0033 | 335.2967 | 8.8167 | 323.5587 | 3.22 | 894 | 98.0533 | 40.5853
2020-12-02 08:30:00 | 7.3107 | 340.58 | 7.8527 | 326.4947 | 7.8233 | 333.088 | 8.7087 | 328.1647 | 3.26 | 894 | 97.92 | 40.472
2020-12-02 08:45:00 | 7.5127 | 337.3533 | 7.9973 | 327.552 | 8.0893 | 329.9313 | 8.8447 | 329.2253 | 3.3333 | 894 | 97.8533 | 41.3493
2020-12-02 09:00:00 | 7.3467 | 340.3067 | 7.8887 | 323.9847 | 8.006 | 331.8953 | 8.8487 | 325.6433 | 3.3867 | 894.8 | 97.5733 | 43.038
2020-12-02 09:15:00 | 7.4827 | 336.96 | 8.0267 | 324.506 | 8.0793 | 329.5467 | 8.9387 | 326.1653 | 3.4733 | 895 | 97.12 | 41.8127
2020-12-02 09:30:00 | 7.1407 | 338.0267 | 7.662 | 321.4753 | 7.7167 | 330.59 | 8.542 | 323.1207 | 3.32 | 895 | 96.88 | 38.43
2020-12-02 09:45:00 | 7.0813 | 337.5467 | 7.6133 | 323.2733 | 7.5947 | 330.12 | 8.454 | 324.928 | 3.2533 | 895 | 96.5333 | 39.1033
2020-12-02 10:00:00 | 7.0487 | 333.64 | 7.5547 | 324.188 | 7.756 | 326.2993 | 8.514 | 325.846 | 3.3333 | 895.8 | 96.3867 | 38.6047
2020-12-02 10:15:00 | 6.9553 | 330.3333 | 7.4093 | 318.82 | 7.6513 | 323.0673 | 8.3127 | 320.452 | 3.4133 | 896 | 95.3733 | 39.648
2020-12-02 10:30:00 | 6.8893 | 326.9933 | 7.3147 | 314.4127 | 7.646 | 319.7993 | 8.2353 | 316.0213 | 3.6 | 896 | 94.76 | 40.3033
2020-12-02 10:45:00 | 6.944 | 336.2867 | 7.39 | 318.3133 | 7.6947 | 328.8893 | 8.32 | 319.9413 | 3.66 | 896 | 94.32 | 42.0253
2020-12-02 11:00:00 | 7.1093 | 334.4933 | 7.5207 | 322.9107 | 7.8133 | 327.134 | 8.388 | 324.56 | 3.7467 | 896 | 94.0333 | 42.41
2020-12-02 11:15:00 | 7.1947 | 342.0467 | 7.6213 | 325.89 | 7.8133 | 334.522 | 8.446 | 327.5547 | 3.8 | 896 | 93.52 | 43.3893
2020-12-02 11:30:00 | 7.1 | 312.28 | 7.4853 | 326.0327 | 7.4413 | 305.41 | 8.0747 | 327.6993 | 3.82 | 896 | 93.0133 | 43.5907
2020-12-02 11:45:00 | 7.39 | 318.0067 | 7.7613 | 327.0427 | 7.9267 | 311.01 | 8.48 | 328.7153 | 3.9333 | 896 | 91.6733 | 45.3193
2020-12-02 12:00:00 | 7.4607 | 319.5867 | 7.7807 | 329.1753 | 7.974 | 313.2147 | 8.422 | 330.858 | 4.0933 | 896 | 90.12 | 45.6767
2020-12-02 12:15:00 | 7.316 | 319.3067 | 7.7027 | 327.4787 | 8.2927 | 312.712 | 8.754 | 329.156 | 4.3133 | 896 | 89.0467 | 43.9073
2020-12-02 12:30:00 | 6.8293 | 321.1133 | 7.2673 | 322.7727 | 7.7233 | 314.048 | 8.296 | 324.422 | 4.6333 | 896 | 86.8 | 41.046
2020-12-02 12:45:00 | 6.492 | 276.94 | 6.8913 | 328.8033 | 7.6293 | 270.8467 | 8.0553 | 330.4853 | 4.9 | 896 | 83.4067 | 41.258
2020-12-02 13:00:00 | 6.1 | 253 | 6.5293 | 310.3713 | 7.032 | 247.4347 | 7.5773 | 311.958 | 4.9733 | 896 | 82.7 | 40.6693
2020-12-02 13:15:00 | 6.028 | 255.02 | 6.3927 | 293.0747 | 6.7353 | 248.452 | 7.2213 | 294.5733 | 5.0467 | 896 | 80.9867 | 37.7913
2020-12-02 13:30:00 | 6.0547 | 325.62 | 6.484 | 293.844 | 6.7427 | 318.4567 | 7.3567 | 295.3467 | 5.2133 | 896 | 82.3533 | 35.602
2020-12-02 13:45:00 | 5.1027 | 325.8733 | 5.5313 | 246.1433 | 5.8187 | 318.7047 | 6.422 | 247.4013 | 5.4867 | 896 | 83.3267 | 28.3253
2020-12-02 14:00:00 | 5.052 | 296.0867 | 5.39 | 290.454 | 5.786 | 289.5733 | 6.2147 | 291.938 | 5.68 | 896 | 80.1 | 31.6133
2020-12-02 14:15:00 | 5.244 | 341.6 | 5.7253 | 288.184 | 4.4187 | 334.084 | 5.5713 | 289.6573 | 5.6133 | 896 | 80.2533 | 38.4367
2020-12-02 14:30:00 | 6.1067 | 300.7067 | 6.6013 | 286.6647 | 6.8633 | 294.0907 | 7.5807 | 288.1307 | 5.7867 | 895.8667 | 77.4893 | 34.6813
2020-12-02 14:45:00 | 5.8373 | 211.12 | 6.1653 | 265.176 | 6.4187 | 206.4753 | 6.8713 | 266.5313 | 5.8733 | 895 | 74.42 | 34.8913
2020-12-02 15:00:00 | 6.3033 | 188.9533 | 6.7853 | 292.7467 | 7.1693 | 184.796 | 7.8327 | 294.2453 | 5.6467 | 895.8 | 71.5493 | 37.5207
2020-12-02 15:15:00 | 6.88 | 260.78 | 7.4307 | 207.186 | 7.6593 | 255.0427 | 8.4793 | 208.2447 | 5.4 | 896 | 75.2333 | 42.1987
2020-12-02 15:30:00 | 6.9753 | 122.2333 | 7.522 | 337.0647 | 7.878 | 119.546 | 8.6527 | 338.7873 | 5.32 | 895.8667 | 78.958 | 42.558
2020-12-02 15:45:00 | 6.772 | 147.8533 | 7.242 | 333.2247 | 7.544 | 122.446 | 8.22 | 334.9253 | 5.3333 | 895 | 79.6813 | 46.1067
2020-12-02 16:00:00 | 6.676 | 213.7533 | 7.1973 | 316.0633 | 7.6013 | 209.0513 | 8.3213 | 317.6793 | 5.4867 | 895 | 79.0213 | 45.76
2020-12-02 16:15:00 | 6.616 | 124.5667 | 7.192 | 332.4613 | 7.6267 | 121.826 | 8.4247 | 334.1613 | 5.4133 | 895 | 76.0207 | 43.726
2020-12-02 16:30:00 | 6.3527 | 126.3333 | 6.9213 | 251.0273 | 7.332 | 123.5533 | 8.1247 | 252.3107 | 5.4 | 895 | 78.3707 | 46.634
2020-12-02 16:45:00 | 6.444 | 191.28 | 6.9947 | 314.726 | 7.286 | 187.0727 | 8.086 | 316.3353 | 5.32 | 895 | 79.4473 | 45.5373
2020-12-02 17:00:00 | 6.2873 | 169.4467 | 6.8447 | 335.4987 | 7.1093 | 165.7173 | 7.9307 | 337.2153 | 5.2733 | 895 | 79.9933 | 42.8513
2020-12-02 17:15:00 | 6.3933 | 192.7467 | 6.8853 | 335.2273 | 7.1367 | 188.506 | 7.8553 | 336.94 | 5.1867 | 895 | 80.68 | 43.186
2020-12-02 17:30:00 | 5.8913 | 191.18 | 6.428 | 335.5767 | 6.632 | 186.9733 | 7.4347 | 337.2933 | 5.1867 | 895 | 82.2667 | 38.362
2020-12-02 17:45:00 | 6.2133 | 145.9467 | 6.7813 | 333.178 | 7.078 | 142.7367 | 7.9027 | 334.8807 | 5.1267 | 895 | 82.92 | 39.732
2020-12-02 18:00:00 | 6.224 | 98.5467 | 6.736 | 310.8153 | 6.9913 | 95.8507 | 7.7413 | 312.4047 | 5.0467 | 895 | 83.32 | 39.5907
2020-12-02 18:15:00 | 6.4667 | 141.8333 | 7.03 | 338.402 | 7.2513 | 138.7133 | 8.094 | 340.13 | 5.0333 | 895 | 83.3 | 41.8547
2020-12-02 18:30:00 | 6.3667 | 149.4867 | 6.7967 | 316.502 | 7.1427 | 146.1987 | 7.7347 | 318.1193 | 4.9933 | 895 | 84.1 | 45.4047
2020-12-02 18:45:00 | 6.7333 | 235.0467 | 7.1473 | 336.4 | 7.5847 | 229.8753 | 8.1247 | 338.12 | 4.9933 | 895 | 84.36 | 48.9807
2020-12-02 19:00:00 | 6.974 | 145.1 | 7.3987 | 315.5087 | 7.8213 | 141.9067 | 8.3813 | 317.1213 | 5.0533 | 895.1333 | 83.98 | 50.5007
2020-12-02 19:15:00 | 6.782 | 100.3333 | 7.192 | 339.138 | 7.696 | 98.1267 | 8.2073 | 340.872 | 5.06 | 896 | 84.18 | 48.89
2020-12-02 19:30:00 | 6.9867 | 143.82 | 7.4687 | 295.324 | 7.974 | 162.7393 | 8.6067 | 296.8333 | 4.96 | 896 | 83.68 | 48.8873
2020-12-02 19:45:00 | 7.7027 | 121.4467 | 8.2433 | 316.006 | 8.724 | 118.7747 | 9.4547 | 317.6207 | 4.92 | 896 | 83.8267 | 51.296
2020-12-02 20:00:00 | 7.982 | 190.3133 | 8.5153 | 333.1267 | 9.0027 | 186.1273 | 9.714 | 334.828 | 4.84 | 896 | 84.1267 | 53.5773
2020-12-02 20:15:00 | 7.4113 | 302.0533 | 7.95 | 334.3067 | 8.6547 | 295.4087 | 9.3173 | 336.0153 | 4.7267 | 896 | 84.2867 | 53.8893
2020-12-02 20:30:00 | 7.4433 | 260.2333 | 8.016 | 311.9113 | 8.7707 | 231.564 | 9.4593 | 313.506 | 4.7467 | 896 | 85.4333 | 52.3973
2020-12-02 20:45:00 | 7.464 | 303.7333 | 8.082 | 331.9927 | 8.8367 | 297.0513 | 9.5927 | 333.6893 | 4.6467 | 896 | 85.8333 | 51.466
2020-12-02 21:00:00 | 6.9693 | 231.1333 | 7.47 | 307.3713 | 8.486 | 226.048 | 8.9973 | 308.9433 | 4.6067 | 896.1333 | 85.7333 | 50.066
2020-12-02 21:15:00 | 6.8587 | 278.1867 | 7.334 | 330.3953 | 8.1273 | 272.0653 | 8.66 | 332.084 | 4.6067 | 897 | 85.1533 | 50.0747
2020-12-02 21:30:00 | 7.2653 | 276.2933 | 7.7153 | 307.834 | 8.4167 | 270.2147 | 8.9373 | 309.41 | 4.6333 | 897 | 84.7867 | 52.242
2020-12-02 21:45:00 | 7.23 | 276.7467 | 7.678 | 324.6693 | 8.2853 | 270.6593 | 8.8293 | 326.3307 | 4.6133 | 897 | 84.8867 | 49.9127
2020-12-02 22:00:00 | 6.9573 | 341.58 | 7.324 | 326.4047 | 7.5073 | 334.0653 | 8.048 | 328.072 | 4.52 | 897 | 84.0067 | 50.0527
2020-12-02 22:15:00 | 7.1007 | 299.1667 | 7.5967 | 324.4413 | 7.9753 | 292.584 | 8.6667 | 326.1007 | 4.5 | 897 | 83.38 | 51.4413
2020-12-02 22:30:00 | 6.6787 | 299.5467 | 7.1347 | 325.602 | 7.4333 | 292.9567 | 8.0807 | 327.266 | 4.42 | 897 | 83.1733 | 50.0033
2020-12-02 22:45:00 | 6.596 | 294.96 | 7.0487 | 327.3367 | 7.5533 | 288.472 | 8.1387 | 329.0093 | 4.4133 | 897 | 83.1667 | 47.7767
2020-12-02 23:00:00 | 6.5587 | 321.8 | 7.0393 | 330.9027 | 7.6167 | 314.0747 | 8.2173 | 332.5933 | 4.4133 | 897 | 83.0933 | 47.0447
2020-12-02 23:15:00 | 6.8813 | 298.6733 | 7.4573 | 331.822 | 8.0827 | 292.104 | 8.8233 | 333.5193 | 4.4067 | 897 | 83.2333 | 49.134
2020-12-02 23:30:00 | 6.9587 | 297.7067 | 7.4193 | 324.7233 | 7.988 | 291.1567 | 8.5613 | 326.382 | 4.4 | 897 | 82.2267 | 48.208
2020-12-02 23:45:00 | 6.862 | 252.28 | 7.3167 | 325.6813 | 7.92 | 246.73 | 8.4773 | 327.3467 | 4.3267 | 897 | 82.26 | 48.042