## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-03 00:00:00 | 6.8713 | 295.8667 | 7.2987 | 324.586 | 7.5427 | 289.3573 | 8.162 | 326.2453 | 4.2667 | 896.3333 | 82.8467 | 45.166
2020-12-03 00:15:00 | 6.9613 | 339.1533 | 7.4327 | 325.4007 | 7.3173 | 331.692 | 8.1067 | 327.0627 | 4.2333 | 896.5333 | 82.0933 | 45.186
2020-12-03 00:30:00 | 7.0887 | 317.2067 | 7.5227 | 323.986 | 7.526 | 310.2273 | 8.2267 | 325.6413 | 4.1333 | 896.6667 | 82.8333 | 46.9647
2020-12-03 00:45:00 | 7.358 | 344.3467 | 7.7713 | 327.7013 | 8.2133 | 336.7713 | 8.746 | 329.378 | 4.0733 | 896 | 83.6067 | 49.4673
2020-12-03 01:00:00 | 7.396 | 280.44 | 7.858 | 325.666 | 8.4167 | 274.2713 | 9.0013 | 327.3307 | 4.02 | 896 | 84.0467 | 48.442
2020-12-03 01:15:00 | 7.4387 | 297.26 | 7.9047 | 324.9707 | 7.9713 | 290.72 | 8.702 | 326.632 | 4 | 896 | 83.2133 | 49.0573
2020-12-03 01:30:00 | 7.2187 | 279.3267 | 7.6727 | 330.8393 | 8.0213 | 273.182 | 8.658 | 332.5287 | 3.9267 | 896 | 82.9067 | 50.4133
2020-12-03 01:45:00 | 7.17 | 321.7667 | 7.6667 | 307.0007 | 8.0087 | 314.2773 | 8.7073 | 308.57 | 3.84 | 896 | 82.3333 | 49.9487
2020-12-03 02:00:00 | 6.9033 | 293.5 | 7.3353 | 328.314 | 7.744 | 287.0427 | 8.324 | 329.9933 | 3.84 | 896 | 82.8333 | 48.37
2020-12-03 02:15:00 | 6.8173 | 255.3333 | 7.2987 | 326.3967 | 7.9153 | 249.7167 | 8.5107 | 328.0667 | 3.7933 | 896 | 82.9667 | 50.2193
2020-12-03 02:30:00 | 6.5 | 300.94 | 6.866 | 325.0153 | 7.09 | 294.3187 | 7.614 | 326.6767 | 3.7933 | 896 | 83.14 | 46.7373
2020-12-03 02:45:00 | 6.0207 | 211.7533 | 6.302 | 327.4727 | 6.7633 | 207.0947 | 7.0853 | 329.146 | 3.78 | 896 | 82.9733 | 43.616
2020-12-03 03:00:00 | 6.136 | 299.7867 | 6.574 | 304.8873 | 6.498 | 293.19 | 7.222 | 306.4473 | 3.7467 | 895.8667 | 82.8867 | 45.82
2020-12-03 03:15:00 | 6.572 | 296.2667 | 6.9333 | 324.2907 | 7.1873 | 289.7487 | 7.6973 | 325.9493 | 3.7133 | 895 | 83.1133 | 45.036
2020-12-03 03:30:00 | 6.3833 | 312.06 | 6.8087 | 320.6927 | 6.9573 | 305.194 | 7.5973 | 322.3327 | 3.68 | 895 | 83.3467 | 43.088
2020-12-03 03:45:00 | 6.2253 | 312.6933 | 6.6787 | 325.804 | 6.754 | 307.3713 | 7.4587 | 327.4713 | 3.6333 | 895 | 83.5 | 42.28
2020-12-03 04:00:00 | 6.2913 | 337.6267 | 6.664 | 325.126 | 6.764 | 330.1993 | 7.3373 | 326.7887 | 3.6667 | 895 | 83.2333 | 38.0147
2020-12-03 04:15:00 | 6.022 | 302.1733 | 6.3307 | 330.6093 | 6.5267 | 295.526 | 6.9673 | 332.3 | 3.66 | 895.4667 | 83.4533 | 34.804
2020-12-03 04:30:00 | 5.8753 | 301.6467 | 6.2333 | 324.5327 | 6.488 | 295.0107 | 6.9893 | 326.1907 | 3.56 | 895.2 | 83.62 | 34.272
2020-12-03 04:45:00 | 5.9793 | 342.9067 | 6.4027 | 323.0327 | 6.5893 | 335.0813 | 7.2187 | 324.6847 | 3.5533 | 895 | 83.9067 | 33.0027
2020-12-03 05:00:00 | 5.812 | 335.1133 | 6.254 | 325.27 | 6.5087 | 327.7407 | 7.1467 | 326.9327 | 3.52 | 895 | 83.52 | 31.4133
2020-12-03 05:15:00 | 5.8347 | 340.0133 | 6.1813 | 323.8687 | 6.2067 | 332.5327 | 6.756 | 325.5233 | 3.4933 | 895 | 83.46 | 31.6927
2020-12-03 05:30:00 | 5.7433 | 339.2733 | 6.0973 | 322.0493 | 6.15 | 331.8093 | 6.708 | 323.696 | 3.4867 | 895 | 83.9733 | 29.986
2020-12-03 05:45:00 | 5.762 | 315.54 | 6.152 | 323.5813 | 6.1507 | 309.4787 | 6.788 | 325.2353 | 3.4133 | 895 | 83.74 | 31.9033
2020-12-03 06:00:00 | 6.144 | 338.7067 | 6.5413 | 321.9267 | 6.6653 | 331.2547 | 7.2693 | 323.5727 | 3.3267 | 895 | 83.5467 | 33.8387
2020-12-03 06:15:00 | 6.018 | 335.2733 | 6.386 | 321.846 | 6.4073 | 327.8973 | 6.9967 | 323.4913 | 3.2067 | 895 | 83.2133 | 30.794
2020-12-03 06:30:00 | 6.026 | 335.56 | 6.364 | 324.742 | 6.4733 | 328.178 | 6.986 | 326.4013 | 3.06 | 895 | 83.7933 | 30.2373
2020-12-03 06:45:00 | 5.902 | 336.4 | 6.268 | 325.5693 | 6.4153 | 328.9987 | 6.9647 | 327.2347 | 2.9867 | 895 | 85.12 | 29.6553
2020-12-03 07:00:00 | 5.756 | 337.1533 | 6.132 | 321.2147 | 6.068 | 329.7367 | 6.696 | 322.856 | 2.84 | 895 | 85.8467 | 28.9293
2020-12-03 07:15:00 | 5.9707 | 340.1533 | 6.324 | 324.9107 | 6.4847 | 331.9793 | 7.006 | 326.5727 | 2.7067 | 895 | 87.4067 | 31.018
2020-12-03 07:30:00 | 5.892 | 337.4533 | 6.308 | 323.0653 | 6.3947 | 330.03 | 7.0393 | 324.7167 | 2.6 | 895 | 88.64 | 32.1207
2020-12-03 07:45:00 | 6.0593 | 337.6667 | 6.442 | 326.288 | 6.604 | 330.2373 | 7.172 | 327.9553 | 2.4 | 895 | 89.84 | 33.6567
2020-12-03 08:00:00 | 5.4273 | 318.52 | 5.8693 | 331.0973 | 5.8307 | 311.5113 | 6.5487 | 332.7907 | 2.1267 | 895 | 92.04 | 31.5167
2020-12-03 08:15:00 | 6.0247 | 336.86 | 6.4567 | 326.3593 | 6.502 | 329.4487 | 7.186 | 328.0273 | 1.9667 | 895 | 93.74 | 33.4213
2020-12-03 08:30:00 | 6.0833 | 336.4467 | 6.5933 | 325.8553 | 6.5787 | 329.0453 | 7.4027 | 327.5233 | 1.9333 | 895 | 95.3667 | 32.8667
2020-12-03 08:45:00 | 6.1807 | 334.96 | 6.6673 | 319.29 | 6.8273 | 327.59 | 7.5633 | 320.924 | 1.8867 | 895 | 94.9667 | 32.9753
2020-12-03 09:00:00 | 6.1347 | 338.4733 | 6.61 | 315.606 | 6.5227 | 331.4187 | 7.3073 | 317.22 | 1.8067 | 895.8 | 94.3333 | 30.4333
2020-12-03 09:15:00 | 5.8547 | 338.92 | 6.3013 | 318.644 | 6.3627 | 331.4613 | 7.0607 | 320.274 | 1.7533 | 896 | 94.7533 | 27.3687
2020-12-03 09:30:00 | 5.542 | 335.88 | 5.926 | 320.0267 | 6.102 | 328.49 | 6.6647 | 321.6633 | 1.58 | 896 | 96.3133 | 23.4773
2020-12-03 09:45:00 | 5.5773 | 339.16 | 6.0153 | 319.5073 | 6.2487 | 331.6993 | 6.886 | 321.1387 | 1.5067 | 896 | 98.0867 | 26.628
2020-12-03 10:00:00 | 5.5507 | 341.42 | 6.0193 | 326.294 | 6.1673 | 333.9093 | 6.8753 | 327.9627 | 1.2733 | 896 | 99.16 | 26.1473
2020-12-03 10:15:00 | 5.4413 | 340.0533 | 5.896 | 320.9207 | 6.1647 | 332.572 | 6.8133 | 322.5613 | 1.3533 | 896 | 99.74 | 24.2547
2020-12-03 10:30:00 | 4.9847 | 341.1867 | 5.4427 | 322.844 | 5.6 | 333.6807 | 6.2933 | 324.4953 | 1.42 | 896 | 99.98 | 21.0167
2020-12-03 10:45:00 | 4.9753 | 342.7133 | 5.426 | 326.1053 | 5.63 | 335.1727 | 6.2947 | 327.772 | 1.3933 | 896 | 100 | 20.088
2020-12-03 11:00:00 | 5.32 | 344.1267 | 5.7473 | 325.446 | 5.9973 | 336.5547 | 6.6147 | 327.1087 | 1.4867 | 896 | 100 | 22.1873
2020-12-03 11:15:00 | 5.6027 | 342.9333 | 6.0867 | 322.368 | 6.1713 | 335.39 | 6.9233 | 324.0153 | 1.56 | 896 | 100 | 24.6053
2020-12-03 11:30:00 | 5.6567 | 342.8733 | 6.19 | 320.3527 | 6.3167 | 335.33 | 7.134 | 321.9913 | 1.6 | 896 | 100 | 25.0333
2020-12-03 11:45:00 | 5.766 | 335.3733 | 6.266 | 322.4767 | 6.3913 | 327.9953 | 7.1553 | 324.1273 | 1.48 | 896 | 100 | 25.0867
2020-12-03 12:00:00 | 5.8507 | 333.9667 | 6.336 | 301.9867 | 6.5153 | 326.618 | 7.2453 | 303.532 | 1.54 | 896 | 100 | 27.3013
2020-12-03 12:15:00 | 5.8433 | 336.2067 | 6.3473 | 321.7287 | 6.3827 | 328.8087 | 7.1827 | 323.3747 | 1.44 | 895.5333 | 100 | 26.366
2020-12-03 12:30:00 | 5.904 | 335.9667 | 6.394 | 321.174 | 6.4587 | 328.5747 | 7.2293 | 322.8167 | 1.36 | 895 | 100 | 27.5367
2020-12-03 12:45:00 | 5.77 | 336.0067 | 6.256 | 320.034 | 6.4687 | 328.6153 | 7.186 | 321.6693 | 1.3933 | 895 | 100 | 25.2567
2020-12-03 13:00:00 | 5.8867 | 339.34 | 6.378 | 321.736 | 6.614 | 331.8733 | 7.334 | 323.382 | 1.38 | 895 | 100 | 24.926
2020-12-03 13:15:00 | 5.83 | 333.4333 | 6.3087 | 321.808 | 6.5433 | 326.3587 | 7.2473 | 323.4527 | 1.5133 | 895 | 100 | 26.0013
2020-12-03 13:30:00 | 5.936 | 336.1467 | 6.4207 | 322.1467 | 6.6113 | 328.7507 | 7.338 | 323.7933 | 1.58 | 894.8667 | 100 | 27.4307
2020-12-03 13:45:00 | 6.02 | 336.0667 | 6.4707 | 321.0633 | 6.698 | 328.4707 | 7.3653 | 322.7047 | 1.5467 | 894 | 100 | 28.298
2020-12-03 14:00:00 | 5.8413 | 338.6 | 6.324 | 323.7487 | 6.5467 | 331.1513 | 7.2553 | 325.4067 | 1.6333 | 894 | 100 | 27.4313
2020-12-03 14:15:00 | 6.1293 | 341.28 | 6.6133 | 319.7927 | 6.8487 | 333.524 | 7.5587 | 321.428 | 1.7467 | 894 | 100 | 28.07
2020-12-03 14:30:00 | 5.9447 | 339.4533 | 6.4387 | 319.7533 | 6.5907 | 331.9847 | 7.342 | 321.388 | 1.7133 | 894 | 100 | 27.1773
2020-12-03 14:45:00 | 5.644 | 342.5867 | 6.1053 | 322.0227 | 6.306 | 335.5587 | 6.9947 | 323.6707 | 1.88 | 894 | 100 | 24.604
2020-12-03 15:00:00 | 4.9907 | 340.5667 | 5.44 | 321.8933 | 5.7793 | 332.558 | 6.4 | 323.5393 | 1.9133 | 894 | 100 | 18.882
2020-12-03 15:15:00 | 5.0247 | 335.28 | 5.4507 | 322.8447 | 5.7367 | 327.904 | 6.3353 | 324.4953 | 1.82 | 894 | 100 | 19.4647
2020-12-03 15:30:00 | 5.0847 | 336.2 | 5.5093 | 321.534 | 5.762 | 328.7187 | 6.3807 | 323.178 | 1.8467 | 894 | 100 | 22.2053
2020-12-03 15:45:00 | 5.2233 | 339.1 | 5.6507 | 325.0927 | 5.9127 | 331.6387 | 6.5227 | 326.7553 | 1.9 | 894 | 100 | 22.558
2020-12-03 16:00:00 | 5.2607 | 338.9867 | 5.718 | 327.0427 | 5.8767 | 331.5287 | 6.564 | 328.7147 | 1.9067 | 894 | 100 | 24.276
2020-12-03 16:15:00 | 5.3127 | 343.3867 | 5.7733 | 323.1313 | 5.8553 | 335.8313 | 6.572 | 324.784 | 1.98 | 894 | 100 | 22.4987
2020-12-03 16:30:00 | 5.5907 | 348.9933 | 6.0793 | 325.0533 | 6.094 | 341.1187 | 6.8733 | 326.716 | 1.9933 | 894 | 100 | 26.3053
2020-12-03 16:45:00 | 5.8267 | 347.1333 | 6.3207 | 324.292 | 6.338 | 339.4973 | 7.1267 | 325.9487 | 1.9467 | 894 | 100 | 27.6767
2020-12-03 17:00:00 | 5.782 | 347.6533 | 6.2693 | 322.1867 | 6.1827 | 340.2067 | 6.9933 | 323.8333 | 1.9733 | 894 | 100 | 28.9933
2020-12-03 17:15:00 | 5.5387 | 342.52 | 6.0427 | 320.4447 | 6.202 | 334.986 | 6.964 | 322.084 | 1.9933 | 894 | 100 | 27.0953
2020-12-03 17:30:00 | 5.6353 | 347.4533 | 6.106 | 332.076 | 6.2 | 339.8093 | 6.9333 | 333.7753 | 1.9533 | 894 | 100 | 26.9247
2020-12-03 17:45:00 | 5.7433 | 347.98 | 6.2387 | 335.93 | 6.3253 | 340.0973 | 7.088 | 337.648 | 2.04 | 894 | 100 | 28.568
2020-12-03 18:00:00 | 5.536 | 349.8867 | 6.0053 | 327.746 | 6.218 | 342.1887 | 6.9113 | 329.4227 | 2.0667 | 894 | 100 | 26.062
2020-12-03 18:15:00 | 4.8773 | 259.52 | 5.258 | 327.702 | 5.568 | 253.8107 | 6.0867 | 329.376 | 2.1533 | 894 | 100 | 18.8387
2020-12-03 18:30:00 | 4.5853 | 337.1133 | 4.9693 | 315.5147 | 5.3447 | 329.6973 | 5.8533 | 317.1273 | 2.1467 | 894 | 100 | 16.748
2020-12-03 18:45:00 | 4.9093 | 330.6467 | 5.3633 | 315.7313 | 5.7533 | 323.7947 | 6.3667 | 317.3467 | 2.08 | 894 | 100 | 21.2407
2020-12-03 19:00:00 | 5.6547 | 337.7667 | 6.086 | 323.83 | 6.298 | 330.336 | 6.928 | 325.484 | 2.1467 | 894.1333 | 100 | 27.4907
2020-12-03 19:15:00 | 5.966 | 341.9933 | 6.3993 | 323.6467 | 6.4913 | 334.4687 | 7.1633 | 325.3 | 2.1533 | 895 | 100 | 30.098
2020-12-03 19:30:00 | 5.8773 | 337.26 | 6.334 | 322.082 | 6.4667 | 329.84 | 7.162 | 323.7273 | 2.1 | 895 | 100 | 30.252
2020-12-03 19:45:00 | 5.7473 | 345.2467 | 6.178 | 327.936 | 6.3387 | 337.65 | 6.9873 | 329.6127 | 2.1933 | 895 | 100 | 28.5847
2020-12-03 20:00:00 | 5.7593 | 343.6133 | 6.2427 | 328.294 | 6.4193 | 336.0547 | 7.1467 | 329.9727 | 2.2133 | 895 | 100 | 29.2613
2020-12-03 20:15:00 | 5.8907 | 321.7333 | 6.4073 | 329.3633 | 6.448 | 314.6553 | 7.266 | 331.048 | 2.1467 | 895 | 100 | 29.664
2020-12-03 20:30:00 | 5.826 | 346.76 | 6.3293 | 327.532 | 6.2507 | 339.13 | 7.0767 | 329.206 | 2.1067 | 895 | 100 | 27.8807
2020-12-03 20:45:00 | 5.8173 | 343.78 | 6.312 | 325.478 | 6.4507 | 336.2167 | 7.2033 | 327.1427 | 2.2067 | 895.4667 | 100 | 29.096
2020-12-03 21:00:00 | 5.836 | 342.9467 | 6.3327 | 325.1513 | 6.6707 | 335.956 | 7.368 | 326.8153 | 2.2 | 896 | 99.9333 | 29.7347
2020-12-03 21:15:00 | 5.6613 | 338.3467 | 6.116 | 321.8793 | 6.398 | 330.9033 | 7.048 | 323.5267 | 2.22 | 896 | 99.0333 | 27.394
2020-12-03 21:30:00 | 5.0933 | 340.6867 | 5.404 | 322.9207 | 5.648 | 333.192 | 6.08 | 324.5733 | 2.2867 | 896 | 98.3533 | 22.6073
2020-12-03 21:45:00 | 5.1893 | 341.9867 | 5.5967 | 321.846 | 5.7827 | 334.464 | 6.3813 | 323.492 | 2.26 | 896 | 98.4733 | 23.3733
2020-12-03 22:00:00 | 5.154 | 340.9133 | 5.5807 | 321.1353 | 5.81 | 333.4127 | 6.4313 | 322.7773 | 2.22 | 896 | 98.6467 | 25.0087
2020-12-03 22:15:00 | 5.092 | 342.5133 | 5.5393 | 324.7487 | 5.808 | 334.978 | 6.4467 | 326.4093 | 2.3 | 896 | 98.3467 | 23.342
2020-12-03 22:30:00 | 5.1647 | 343.3733 | 5.5747 | 321.7287 | 5.9273 | 335.818 | 6.482 | 323.3753 | 2.2533 | 896 | 98.1267 | 22.9433
2020-12-03 22:45:00 | 5.2507 | 338.26 | 5.6367 | 320.9333 | 5.95 | 330.82 | 6.478 | 322.576 | 2.2667 | 896 | 97.1133 | 21.5307
2020-12-03 23:00:00 | 4.9933 | 340.4667 | 5.3913 | 322.0367 | 5.662 | 332.9767 | 6.2227 | 323.6827 | 2.3267 | 896 | 97.94 | 19.3353
2020-12-03 23:15:00 | 4.7047 | 336.2733 | 5.0887 | 303.9687 | 5.2753 | 328.876 | 5.8393 | 305.5227 | 2.22 | 896 | 97.7467 | 18.6073
2020-12-03 23:30:00 | 4.7247 | 339.58 | 5.09 | 327.0887 | 5.256 | 332.11 | 5.7947 | 328.76 | 2.2067 | 896 | 97.6533 | 18.4327
2020-12-03 23:45:00 | 4.7113 | 338.6267 | 5.088 | 320.4773 | 5.1993 | 331.176 | 5.776 | 322.1153 | 2.24 | 896 | 97.5667 | 16.3673