## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-04 00:00:00 | 4.3647 | 332.7533 | 4.678 | 320.2027 | 5.0027 | 325.4333 | 5.41 | 321.84 | 2.2 | 896 | 97.0133 | 13.026
2020-12-04 00:15:00 | 4.1827 | 336.1067 | 4.51 | 320.1193 | 4.7393 | 328.712 | 5.1987 | 321.756 | 2.1533 | 896 | 97.1467 | 11.982
2020-12-04 00:30:00 | 4.06 | 336.2733 | 4.3793 | 321.7287 | 4.6693 | 328.7127 | 5.1013 | 323.3747 | 2.0133 | 895.8667 | 97.4667 | 11.212
2020-12-04 00:45:00 | 3.6787 | 335.5533 | 3.9827 | 322.9167 | 4.3267 | 328.4247 | 4.714 | 324.5673 | 1.9733 | 895 | 97.84 | 8.4033
2020-12-04 01:00:00 | 3.598 | 331.7867 | 3.91 | 312.862 | 4.2673 | 324.4873 | 4.6627 | 314.462 | 1.9333 | 895 | 98.3267 | 6.9887
2020-12-04 01:15:00 | 3.5113 | 332.4467 | 3.7707 | 310.4753 | 4.0907 | 324.7087 | 4.416 | 312.0633 | 1.8933 | 895 | 98.7467 | 6.388
2020-12-04 01:30:00 | 3.6067 | 328.8867 | 3.8953 | 316.6107 | 4.1287 | 321.26 | 4.5253 | 318.23 | 1.8133 | 895 | 98.9867 | 7.348
2020-12-04 01:45:00 | 3.886 | 338.7267 | 4.248 | 326.8213 | 4.4727 | 331.2747 | 4.9907 | 328.4927 | 1.6267 | 895 | 99.58 | 9.088
2020-12-04 02:00:00 | 3.836 | 342.6 | 4.1707 | 326.6127 | 4.468 | 335.1593 | 4.916 | 328.2827 | 1.5267 | 895 | 99.98 | 8.7007
2020-12-04 02:15:00 | 3.9333 | 340.3667 | 4.312 | 328.0667 | 4.5573 | 332.878 | 5.0953 | 329.7433 | 1.4667 | 895 | 100 | 9.6733
2020-12-04 02:30:00 | 3.978 | 344.98 | 4.35 | 327.584 | 4.74 | 337.0127 | 5.2207 | 329.258 | 1.48 | 895 | 100 | 10.078
2020-12-04 02:45:00 | 3.9493 | 345.4133 | 4.324 | 329.9893 | 4.6727 | 337.8147 | 5.174 | 331.6773 | 1.48 | 895 | 100 | 10.108
2020-12-04 03:00:00 | 4.0267 | 339.52 | 4.4047 | 322.9673 | 4.82 | 332.0513 | 5.3107 | 324.6193 | 1.3467 | 895 | 100 | 10.0773
2020-12-04 03:15:00 | 4.1247 | 339.0933 | 4.5513 | 323.6267 | 4.8353 | 331.6327 | 5.4347 | 325.2813 | 1.2733 | 895 | 100 | 11.3987
2020-12-04 03:30:00 | 4.3627 | 340.7333 | 4.8453 | 321.892 | 5.0767 | 333.44 | 5.7773 | 323.5373 | 1.3 | 895 | 100 | 14.4927
2020-12-04 03:45:00 | 4.48 | 341.02 | 5.006 | 326.7893 | 5.2553 | 333.518 | 6.0287 | 328.46 | 1.2933 | 894.5333 | 100 | 15.5527
2020-12-04 04:00:00 | 4.5007 | 339.92 | 4.994 | 323.8167 | 5.3553 | 332.4407 | 6.0453 | 325.4707 | 1.2333 | 894 | 100 | 15.916
2020-12-04 04:15:00 | 4.384 | 336.0533 | 4.8653 | 331.9467 | 5.0807 | 329.4813 | 5.7913 | 333.6433 | 1.2933 | 894 | 100 | 15.3173
2020-12-04 04:30:00 | 4.392 | 338.8667 | 4.8807 | 327.0053 | 5.1547 | 331.528 | 5.86 | 328.676 | 1.3 | 894 | 100 | 15.0067
2020-12-04 04:45:00 | 4.552 | 339.2267 | 5.0593 | 326.214 | 5.188 | 331.7627 | 5.9633 | 327.882 | 1.2533 | 894 | 100 | 15.7493
2020-12-04 05:00:00 | 4.6307 | 337.3133 | 5.138 | 328.96 | 5.352 | 329.892 | 6.102 | 330.6407 | 1.1667 | 894 | 100 | 16.39
2020-12-04 05:15:00 | 4.6513 | 337.2333 | 5.124 | 329.124 | 5.3093 | 329.8133 | 6.0153 | 330.8053 | 1.1267 | 894 | 100 | 16.3053
2020-12-04 05:30:00 | 4.5813 | 341.4333 | 5.0633 | 329.084 | 5.342 | 333.9207 | 6.0313 | 330.766 | 1.1 | 894 | 100 | 15.6793
2020-12-04 05:45:00 | 4.4347 | 340.4 | 4.9253 | 325.74 | 5.12 | 333.5953 | 5.856 | 327.404 | 1.0867 | 894 | 100 | 14.3733
2020-12-04 06:00:00 | 4.304 | 337.6933 | 4.758 | 329.456 | 4.8747 | 330.264 | 5.572 | 331.138 | 1.06 | 894 | 100 | 13.1547
2020-12-04 06:15:00 | 4.0573 | 318.6267 | 4.4773 | 331.412 | 4.638 | 311.6167 | 5.2673 | 333.1073 | 1.0267 | 894 | 100 | 10.9593
2020-12-04 06:30:00 | 4.0453 | 341.8333 | 4.464 | 324.342 | 4.714 | 334.3133 | 5.3147 | 326.002 | 0.99333 | 894 | 100 | 10.1253
2020-12-04 06:45:00 | 3.9233 | 342.5 | 4.3207 | 319.9553 | 4.5393 | 335.4407 | 5.1113 | 321.5907 | 0.99333 | 894 | 100 | 9.0473
2020-12-04 07:00:00 | 3.8713 | 345.16 | 4.268 | 323.034 | 4.4633 | 337.5647 | 5.0433 | 324.6853 | 1.0133 | 894 | 100 | 8.5467
2020-12-04 07:15:00 | 3.8847 | 341.2467 | 4.2853 | 319.7853 | 4.5513 | 333.74 | 5.1173 | 321.4207 | 0.98 | 894 | 100 | 8.6333
2020-12-04 07:30:00 | 3.7173 | 338.1533 | 4.0827 | 324.9053 | 4.186 | 330.7133 | 4.7427 | 326.5653 | 0.95333 | 894 | 100 | 7.7373
2020-12-04 07:45:00 | 3.7167 | 342.0533 | 4.0787 | 325.4447 | 4.3573 | 334.528 | 4.86 | 327.1107 | 1.02 | 894 | 100 | 7.4847
2020-12-04 08:00:00 | 3.5514 | 345.0714 | 3.8736 | 328.3357 | 4.1321 | 337.7514 | 4.5771 | 330.0143 | 1 | 894 | 100 | 6.5021
2020-12-04 08:15:00 | 3.2973 | 345.7133 | 3.5687 | 324.5647 | 3.7707 | 338.1067 | 4.154 | 326.2247 | 0.97333 | 894 | 100 | 4.796
2020-12-04 08:30:00 | 3.0707 | 346.0467 | 3.31 | 322.484 | 3.57 | 338.434 | 3.8787 | 324.134 | 0.99333 | 894 | 100 | 3.7333
2020-12-04 08:45:00 | 3.0507 | 345.1933 | 3.264 | 322.9673 | 3.5207 | 337.6 | 3.7913 | 324.618 | 0.9 | 894 | 100 | 3.2527
2020-12-04 09:00:00 | 2.8027 | 346.16 | 2.998 | 323.0407 | 3.2467 | 338.206 | 3.49 | 324.6927 | 0.98 | 894 | 100 | 1.9353
2020-12-04 09:15:00 | 2.502 | 338.0667 | 2.656 | 321.9447 | 3.0133 | 329.9973 | 3.1573 | 323.5913 | 1.0333 | 894 | 100 | 1.11
2020-12-04 09:30:00 | 2.2747 | 316.6667 | 2.368 | 313.234 | 2.8073 | 309.7007 | 2.8267 | 314.8353 | 1.0067 | 894 | 100 | 0.60133
2020-12-04 09:45:00 | 2.122 | 316.0067 | 2.2093 | 323.2607 | 2.6813 | 309.054 | 2.6893 | 324.9153 | 1.0467 | 894 | 100 | 0.48733
2020-12-04 10:00:00 | 1.9553 | 232.9533 | 2.004 | 315.724 | 2.4053 | 227.828 | 2.3667 | 317.338 | 1.0933 | 894 | 100 | 0
2020-12-04 10:15:00 | 1.6513 | 264.8 | 1.6553 | 323.8027 | 1.8167 | 258.974 | 1.7773 | 325.4587 | 1.2333 | 894 | 100 | 0
2020-12-04 10:30:00 | 0.582 | 219.3333 | 0.57333 | 302.58 | 0.876 | 214.5073 | 0.778 | 304.1273 | 1.6267 | 894 | 100 | 0
2020-12-04 10:45:00 | 0.53467 | 170.8 | 0.534 | 288.7773 | 0.82 | 167.042 | 0.73533 | 290.2533 | 1.8867 | 894 | 100 | 0
2020-12-04 11:00:00 | 0.76933 | 283.88 | 0.79 | 294.866 | 1.148 | 277.634 | 1.0793 | 296.376 | 1.7733 | 894.1333 | 100 | 0
2020-12-04 11:15:00 | 0.92 | 283.1867 | 0.908 | 304.2487 | 1.1913 | 276.956 | 1.0893 | 305.8047 | 1.8267 | 894.5333 | 100 | 0
2020-12-04 11:30:00 | 1.2087 | 293.52 | 1.1853 | 311.976 | 1.4593 | 287.062 | 1.344 | 313.5713 | 1.9 | 894 | 100 | 0
2020-12-04 11:45:00 | 1.502 | 308.1467 | 1.484 | 311.962 | 1.8433 | 301.368 | 1.708 | 313.5573 | 1.9133 | 894 | 100 | 0
2020-12-04 12:00:00 | 2.1907 | 310.0733 | 2.2433 | 321.99 | 2.6253 | 303.2513 | 2.6 | 323.6367 | 1.6867 | 894 | 100 | 0
2020-12-04 12:15:00 | 2.1753 | 327.5467 | 2.2707 | 324.586 | 2.6873 | 320.3407 | 2.7187 | 326.2453 | 1.4533 | 894 | 100 | 0.374
2020-12-04 12:30:00 | 2.158 | 279.2867 | 2.2647 | 332.2187 | 2.7813 | 273.142 | 2.8047 | 333.9187 | 1.4933 | 894 | 100 | 0.994
2020-12-04 12:45:00 | 2.2373 | 288.2867 | 2.3427 | 327.1527 | 2.8067 | 281.944 | 2.8413 | 328.8273 | 1.5467 | 893.5333 | 100 | 1.0953
2020-12-04 13:00:00 | 2.096 | 326.1667 | 2.2027 | 317.4847 | 2.594 | 318.9907 | 2.648 | 319.108 | 1.74 | 893 | 100 | 0.442
2020-12-04 13:15:00 | 1.866 | 321.8067 | 1.9353 | 323.3073 | 2.3587 | 314.7273 | 2.3513 | 324.9607 | 1.8533 | 893 | 100 | 0.002667
2020-12-04 13:30:00 | 1.7447 | 305.4 | 1.7827 | 327.748 | 2.1727 | 298.6813 | 2.122 | 329.4247 | 1.8133 | 892.8667 | 100 | 0
2020-12-04 13:45:00 | 1.7167 | 224.04 | 1.7633 | 338.4667 | 2.048 | 219.1107 | 2.0433 | 340.1973 | 1.9 | 892 | 100 | 0
2020-12-04 14:00:00 | 1.5033 | 262.3067 | 1.4793 | 329.5787 | 1.8153 | 257.8727 | 1.684 | 331.264 | 1.9733 | 892 | 100 | 0
2020-12-04 14:15:00 | 1.3347 | 203.1867 | 1.296 | 324.0567 | 1.6887 | 198.7173 | 1.514 | 325.7147 | 1.96 | 892 | 100 | 0
2020-12-04 14:30:00 | 1.5787 | 278.0333 | 1.5427 | 326.0973 | 1.9453 | 271.916 | 1.7727 | 327.766 | 1.9733 | 891.8667 | 100 | 0
2020-12-04 14:45:00 | 1.49 | 267.88 | 1.434 | 320.1133 | 1.8327 | 261.9873 | 1.6287 | 321.7487 | 1.9467 | 891 | 100 | 0
2020-12-04 15:00:00 | 1.7 | 292.12 | 1.662 | 322.2493 | 2.0487 | 285.694 | 1.8767 | 323.8987 | 1.9467 | 891 | 100 | 0
2020-12-04 15:15:00 | 1.88 | 281.5733 | 1.8627 | 327.382 | 2.3353 | 275.378 | 2.1707 | 329.0547 | 1.92 | 891 | 100 | 0
2020-12-04 15:30:00 | 1.7207 | 280.8733 | 1.7293 | 297.482 | 2.0787 | 274.6933 | 1.994 | 299.0033 | 1.9 | 891 | 100 | 0
2020-12-04 15:45:00 | 2.0213 | 301.3667 | 2.0467 | 324.6373 | 2.4413 | 294.736 | 2.3707 | 326.2973 | 1.9267 | 891 | 100 | 0
2020-12-04 16:00:00 | 1.9427 | 248.6133 | 1.9173 | 333.3613 | 2.1833 | 243.144 | 2.07 | 335.0667 | 1.88 | 891 | 100 | 0
2020-12-04 16:15:00 | 1.9033 | 300.88 | 1.9007 | 330.2067 | 2.2293 | 294.2607 | 2.13 | 331.8933 | 1.9067 | 891 | 100 | 0
2020-12-04 16:30:00 | 2.2227 | 308.9067 | 2.2473 | 310.1487 | 2.5987 | 303.7473 | 2.524 | 311.7347 | 1.74 | 891 | 100 | 0
2020-12-04 16:45:00 | 2.3047 | 311.3533 | 2.3553 | 332.3187 | 2.796 | 304.5033 | 2.7493 | 334.018 | 1.6933 | 891 | 100 | 0.29467
2020-12-04 17:00:00 | 2.344 | 270.5067 | 2.3 | 338.0547 | 2.7273 | 264.5567 | 2.5353 | 339.784 | 1.6467 | 891 | 100 | 0.242
2020-12-04 17:15:00 | 2.3773 | 243.7 | 2.3767 | 332.996 | 2.7907 | 238.338 | 2.6753 | 334.6993 | 1.5933 | 891 | 100 | 0.28667
2020-12-04 17:30:00 | 3.034 | 307.1467 | 3.118 | 331.366 | 3.5093 | 300.3893 | 3.5333 | 333.0613 | 1.5933 | 891 | 100 | 1.2813
2020-12-04 17:45:00 | 2.8413 | 312.58 | 2.9513 | 336.9607 | 3.3573 | 305.7053 | 3.416 | 338.6827 | 1.5533 | 891 | 100 | 1.7307
2020-12-04 18:00:00 | 2.8387 | 269.3733 | 2.908 | 331.1313 | 3.29 | 263.4473 | 3.2927 | 332.824 | 1.6267 | 891 | 100 | 1.2167
2020-12-04 18:15:00 | 2.9007 | 294.4067 | 2.9793 | 323.744 | 3.436 | 287.93 | 3.4293 | 325.4 | 1.5067 | 891 | 100 | 1.6747
2020-12-04 18:30:00 | 2.9487 | 332.7467 | 3.086 | 325.6473 | 3.514 | 325.4273 | 3.6113 | 327.314 | 1.42 | 891.8 | 100 | 2.4387
2020-12-04 18:45:00 | 3.2273 | 316.1 | 3.4073 | 336.2893 | 3.6607 | 307.3073 | 3.8833 | 338.0087 | 1.4067 | 892 | 100 | 2.6167
2020-12-04 19:00:00 | 3.2107 | 335.9267 | 3.4227 | 324.8867 | 3.676 | 328.536 | 3.948 | 326.5453 | 1.4067 | 892 | 100 | 3.3847
2020-12-04 19:15:00 | 4.036 | 333.5867 | 4.2787 | 328.902 | 4.2587 | 325.4253 | 4.67 | 330.5827 | 1.4 | 892 | 100 | 5.142
2020-12-04 19:30:00 | 4.1067 | 339.5933 | 4.4747 | 312.2873 | 4.2947 | 332.1227 | 4.936 | 313.8847 | 1.3933 | 892.1333 | 100 | 6.0793
2020-12-04 19:45:00 | 4.8487 | 341.56 | 5.2187 | 329.488 | 4.9667 | 334.0453 | 5.634 | 331.1727 | 1.4067 | 893 | 100 | 9.2587
2020-12-04 20:00:00 | 4.638 | 342.9667 | 5.0153 | 330.414 | 4.7687 | 335.4207 | 5.4473 | 332.1027 | 1.5067 | 893.8 | 100 | 10.2927
2020-12-04 20:15:00 | 4.526 | 335.06 | 4.924 | 328.6733 | 4.6507 | 327.688 | 5.3713 | 330.3547 | 1.5333 | 894 | 100 | 8.624
2020-12-04 20:30:00 | 4.5567 | 341.7133 | 4.936 | 332.5653 | 4.6213 | 334.196 | 5.3247 | 334.266 | 1.4733 | 893.2 | 100 | 7.9153
2020-12-04 20:45:00 | 4.376 | 344.5 | 4.752 | 314.5293 | 4.5193 | 336.9213 | 5.1947 | 316.14 | 1.4333 | 893.4667 | 100 | 8.7513
2020-12-04 21:00:00 | 4.1553 | 322.6133 | 4.5407 | 314.5373 | 4.3693 | 315.5153 | 5.036 | 316.1467 | 1.4 | 893.2 | 100 | 8.0667
2020-12-04 21:15:00 | 3.728 | 240.36 | 4.028 | 163.436 | 3.91 | 235.0713 | 4.426 | 164.274 | 1.4267 | 893 | 100 | 3.8513
2020-12-04 21:30:00 | 2.2173 | 54.5667 | 2.332 | 86.1487 | 2.076 | 53.4967 | 2.352 | 86.5893 | 2.0133 | 893 | 100 | 0
2020-12-04 21:45:00 | 1.686 | 71.56 | 1.6993 | 310.8027 | 1.9813 | 69.9847 | 1.9227 | 312.39 | 1.92 | 893 | 100 | 0
2020-12-04 22:00:00 | 1.5513 | 157.8133 | 1.4633 | 315.5927 | 2.1227 | 154.3407 | 1.794 | 317.208 | 2.2 | 893 | 100 | 0
2020-12-04 22:15:00 | 1.7813 | 322.1133 | 1.7587 | 315.9127 | 2.192 | 315.0267 | 2.0327 | 317.5293 | 2.02 | 893 | 100 | 0
2020-12-04 22:30:00 | 2.4773 | 320.0267 | 2.5533 | 317.2293 | 2.8933 | 312.986 | 2.9187 | 318.8527 | 1.8267 | 893 | 100 | 0.26933
2020-12-04 22:45:00 | 2.258 | 323.3667 | 2.2033 | 311.1807 | 2.786 | 316.252 | 2.53 | 312.7707 | 1.8 | 893 | 100 | 0.47067
2020-12-04 23:00:00 | 2.4333 | 313.7733 | 2.4607 | 317.7073 | 2.944 | 306.8693 | 2.8493 | 319.3313 | 1.7867 | 893 | 100 | 0.93
2020-12-04 23:15:00 | 2.4107 | 287.0467 | 2.5107 | 324.624 | 2.932 | 280.732 | 2.9727 | 326.2847 | 1.8 | 893 | 100 | 0.89533
2020-12-04 23:30:00 | 2.42 | 315.9333 | 2.532 | 312.4913 | 2.8847 | 308.982 | 2.9653 | 314.0893 | 1.66 | 893 | 100 | 0.78733
2020-12-04 23:45:00 | 2.52 | 275.1533 | 2.6333 | 316.8007 | 2.878 | 269.1 | 2.99 | 318.42 | 2 | 893 | 100 | 0.56467