## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-05 00:00:00 | 1.9453 | 226.14 | 1.918 | 340.7547 | 2.198 | 221.2287 | 2.0747 | 342.4987 | 2.0667 | 893 | 100 | 0
2020-12-05 00:15:00 | 1.542 | 123.2 | 1.526 | 329.0113 | 1.9473 | 120.4893 | 1.804 | 330.6947 | 2.0733 | 893 | 100 | 0
2020-12-05 00:30:00 | 1.6607 | 287.38 | 1.644 | 334.392 | 2.0427 | 281.0573 | 1.902 | 336.1 | 2.02 | 893 | 100 | 0
2020-12-05 00:45:00 | 1.5293 | 200.2467 | 1.5447 | 301.9867 | 1.8713 | 195.8413 | 1.802 | 303.53 | 2.2667 | 893 | 100 | 0
2020-12-05 01:00:00 | 1.6693 | 321.4267 | 1.6967 | 315.836 | 2.0407 | 314.356 | 1.99 | 317.4507 | 2.1933 | 892.2 | 100 | 0
2020-12-05 01:15:00 | 1.6547 | 118.5467 | 1.7067 | 309.362 | 2.1 | 115.9387 | 2.0707 | 310.9427 | 2.1 | 892 | 100 | 0
2020-12-05 01:30:00 | 1.4713 | 202.9467 | 1.4647 | 314.668 | 1.8793 | 198.4813 | 1.748 | 316.2767 | 2 | 892 | 100 | 0
2020-12-05 01:45:00 | 0.80667 | 214.02 | 0.79267 | 315.8353 | 1.0793 | 209.312 | 0.972 | 317.45 | 2.1533 | 892 | 100 | 0
2020-12-05 02:00:00 | 0.748 | 246.86 | 0.81267 | 268.3047 | 1.006 | 241.4287 | 1.0567 | 269.676 | 2.3933 | 892 | 100 | 0
2020-12-05 02:15:00 | 0.91867 | 221.5067 | 0.934 | 213.2373 | 0.95133 | 216.634 | 0.96867 | 214.3253 | 2.5 | 892 | 100 | 0
2020-12-05 02:30:00 | 0.88067 | 183.88 | 0.85067 | 170.3353 | 0.842 | 179.8333 | 0.796 | 171.2053 | 2.38 | 892 | 100 | 0
2020-12-05 02:45:00 | 0.89667 | 205.18 | 0.93867 | 183.9533 | 0.86067 | 200.4047 | 0.95133 | 184.896 | 2.36 | 892 | 100 | 0
2020-12-05 03:00:00 | 1.2293 | 216.3333 | 1.298 | 208.64 | 1.0753 | 211.5733 | 1.2507 | 209.7067 | 2.3933 | 892 | 100 | 0
2020-12-05 03:15:00 | 1.5107 | 199.4133 | 1.5413 | 186.2687 | 1.3553 | 195.0273 | 1.464 | 187.222 | 2.4133 | 892 | 100 | 0
2020-12-05 03:30:00 | 1.5967 | 198.3733 | 1.6513 | 180.416 | 1.6733 | 194.0087 | 1.7587 | 181.338 | 2.4933 | 891.3333 | 100 | 0
2020-12-05 03:45:00 | 1.742 | 176.3667 | 1.8273 | 165.908 | 1.8773 | 172.4847 | 2.0007 | 166.756 | 2.5133 | 891.5333 | 100 | 0
2020-12-05 04:00:00 | 1.6153 | 193.0867 | 1.6633 | 177.2007 | 1.6853 | 188.8393 | 1.7567 | 178.106 | 2.5067 | 891.1333 | 100 | 0
2020-12-05 04:15:00 | 1.7093 | 171.8133 | 1.772 | 158.702 | 1.9413 | 168.0327 | 1.9913 | 159.5153 | 2.5 | 891.5333 | 100 | 0
2020-12-05 04:30:00 | 1.4453 | 178.82 | 1.494 | 159.3747 | 1.6433 | 174.9833 | 1.6807 | 160.19 | 2.5 | 891 | 100 | 0
2020-12-05 04:45:00 | 1.4613 | 174.7 | 1.5547 | 164.316 | 1.6633 | 170.8573 | 1.7807 | 165.1567 | 2.44 | 891 | 100 | 0
2020-12-05 05:00:00 | 1.584 | 173.54 | 1.6627 | 156.0807 | 1.7327 | 169.722 | 1.838 | 156.8787 | 2.4867 | 891 | 100 | 0
2020-12-05 05:15:00 | 1.536 | 173.7667 | 1.5907 | 149.7053 | 1.6787 | 169.942 | 1.74 | 150.4707 | 2.4333 | 891 | 100 | 0
2020-12-05 05:30:00 | 1.4567 | 175.1133 | 1.508 | 149.27 | 1.576 | 171.2927 | 1.6427 | 150.0313 | 2.4533 | 891 | 100 | 0
2020-12-05 05:45:00 | 1.826 | 141.1067 | 1.9033 | 139.15 | 1.894 | 138.0867 | 2.0247 | 139.8627 | 2.4533 | 891 | 100 | 0
2020-12-05 06:00:00 | 1.992 | 147.3067 | 2.076 | 144.594 | 2.2013 | 144.066 | 2.3013 | 145.3327 | 2.5 | 891 | 100 | 0
2020-12-05 06:15:00 | 2.2313 | 142.32 | 2.328 | 143.824 | 2.4307 | 139.1887 | 2.5573 | 144.56 | 2.4267 | 891 | 100 | 0.032667
2020-12-05 06:30:00 | 2.1993 | 145.1533 | 2.282 | 148.298 | 2.396 | 141.9593 | 2.498 | 149.0553 | 2.4667 | 891 | 100 | 0.30067
2020-12-05 06:45:00 | 2.24 | 144.9267 | 2.308 | 144.6013 | 2.4113 | 142.9827 | 2.4873 | 145.3393 | 2.5 | 891 | 100 | 0.15667
2020-12-05 07:00:00 | 2.056 | 141.3867 | 2.13 | 146.654 | 2.2513 | 138.2753 | 2.3353 | 147.404 | 2.5 | 891 | 100 | 0.062667
2020-12-05 07:15:00 | 2.156 | 146.5933 | 2.2067 | 143.146 | 2.294 | 143.368 | 2.3513 | 143.8787 | 2.5133 | 891 | 100 | 0.084667
2020-12-05 07:30:00 | 2.0873 | 145.0067 | 2.132 | 141.986 | 2.2367 | 141.816 | 2.278 | 142.7107 | 2.5667 | 891.1333 | 100 | 0.075333
2020-12-05 07:45:00 | 2.0853 | 135.34 | 2.1253 | 141.72 | 2.1813 | 132.0367 | 2.2333 | 142.4427 | 2.4933 | 892 | 100 | 0.166
2020-12-05 08:00:00 | 1.9113 | 138.8 | 1.9087 | 145.5013 | 2.054 | 135.746 | 2.012 | 146.2453 | 2.38 | 892 | 100 | 0.018
2020-12-05 08:15:00 | 2.0087 | 136.82 | 2.0693 | 148.0107 | 2.178 | 133.366 | 2.258 | 148.7667 | 2.3733 | 892 | 100 | 0.146
2020-12-05 08:30:00 | 1.942 | 135.2733 | 2.0393 | 139.6707 | 2.1427 | 132.2973 | 2.2727 | 140.3847 | 2.3667 | 892 | 100 | 0
2020-12-05 08:45:00 | 1.9107 | 141.82 | 2.01 | 137.7413 | 2.156 | 138.6027 | 2.2787 | 137.776 | 2.44 | 892 | 100 | 0
2020-12-05 09:00:00 | 1.7427 | 139.2067 | 1.804 | 138.7913 | 1.9313 | 136.144 | 1.9973 | 139.5007 | 2.4867 | 892 | 100 | 0
2020-12-05 09:15:00 | 1.72 | 151.7933 | 1.8053 | 135.8187 | 1.9333 | 148.4547 | 2.034 | 136.5127 | 2.4133 | 892 | 100 | 0
2020-12-05 09:30:00 | 1.6493 | 158.68 | 1.7293 | 140.826 | 2.0007 | 155.1887 | 2.056 | 141.5453 | 2.3933 | 892 | 100 | 0
2020-12-05 09:45:00 | 2.1553 | 149.7533 | 2.2587 | 144.7693 | 2.3867 | 146.576 | 2.5087 | 145.5107 | 2.5933 | 892 | 100 | 0
2020-12-05 10:00:00 | 2.1407 | 151.3467 | 2.2413 | 148.884 | 2.4093 | 148.0173 | 2.524 | 149.6447 | 2.7067 | 892 | 100 | 0.328
2020-12-05 10:15:00 | 2.3093 | 149.3933 | 2.3733 | 146.0287 | 2.6373 | 146.1067 | 2.6633 | 146.776 | 2.8267 | 892 | 100 | 0.51933
2020-12-05 10:30:00 | 2.2393 | 157.2333 | 2.316 | 149.2293 | 2.4867 | 153.774 | 2.5613 | 149.994 | 2.94 | 892 | 100 | 0.38067
2020-12-05 10:45:00 | 2.0333 | 162.8533 | 2.124 | 157.9207 | 2.2733 | 159.0107 | 2.3813 | 158.728 | 2.98 | 892 | 99.9533 | 0.628
2020-12-05 11:00:00 | 1.8327 | 166.1533 | 1.9247 | 161.5207 | 2.0233 | 161.174 | 2.14 | 162.3453 | 3.0667 | 892 | 99.5933 | 0.94533
2020-12-05 11:15:00 | 1.886 | 175.4133 | 1.9647 | 168.6907 | 2.1287 | 171.2593 | 2.2033 | 169.554 | 3.2467 | 892 | 99.7867 | 1.2373
2020-12-05 11:30:00 | 2.1893 | 161.9867 | 2.3227 | 161.794 | 2.4747 | 158.4227 | 2.6487 | 162.6213 | 3.32 | 892 | 100 | 1.9293
2020-12-05 11:45:00 | 2.168 | 158.5533 | 2.2647 | 157.7907 | 2.6487 | 155.0653 | 2.696 | 158.5973 | 3.3733 | 892 | 100 | 2.328
2020-12-05 12:00:00 | 2.3647 | 145.0067 | 2.3807 | 152.9333 | 2.4973 | 141.8173 | 2.4953 | 153.7153 | 3.3667 | 892 | 100 | 1.782
2020-12-05 12:15:00 | 1.9293 | 176.24 | 1.922 | 150.262 | 1.342 | 172.36 | 1.494 | 151.026 | 3.4067 | 891.5333 | 99.8333 | 1.5833
2020-12-05 12:30:00 | 1.9327 | 173.3133 | 1.9113 | 144.4447 | 1.342 | 169.4987 | 1.4713 | 145.18 | 3.4133 | 891 | 99.54 | 1.986
2020-12-05 12:45:00 | 1.772 | 161.1933 | 1.786 | 159.7273 | 1.234 | 157.6467 | 1.4187 | 160.5427 | 3.4533 | 891 | 99.8933 | 1.964
2020-12-05 13:00:00 | 2.5627 | 156.84 | 2.5907 | 140.8787 | 2.3753 | 153.3893 | 2.484 | 141.5973 | 3.24 | 890.8667 | 99.9867 | 2.3727
2020-12-05 13:15:00 | 2.072 | 129.5867 | 2.048 | 119.244 | 2.26 | 126.6053 | 2.1453 | 119.8553 | 2.6533 | 890 | 99.9467 | 2.126
2020-12-05 13:30:00 | 2.4473 | 149.6267 | 2.4427 | 146.1647 | 2.6733 | 146.3353 | 2.6013 | 146.9127 | 3.32 | 890 | 100 | 1.8627
2020-12-05 13:45:00 | 2.7493 | 145.9333 | 2.804 | 145.14 | 3.132 | 142.7233 | 3.13 | 145.8847 | 3.4333 | 890 | 100 | 1.7793
2020-12-05 14:00:00 | 2.56 | 149.34 | 2.5607 | 149.862 | 2.7753 | 146.0553 | 2.7167 | 150.628 | 3.4333 | 890 | 100 | 1.3687
2020-12-05 14:15:00 | 2.584 | 145.42 | 2.6353 | 143.7933 | 2.9033 | 142.2207 | 2.908 | 144.528 | 3.3333 | 889.5333 | 100 | 1.4293
2020-12-05 14:30:00 | 2.5047 | 150.84 | 2.5233 | 145.338 | 2.8693 | 147.5207 | 2.8047 | 146.08 | 3.3067 | 889 | 100 | 1.0327
2020-12-05 14:45:00 | 2.484 | 150.9133 | 2.5167 | 144.0727 | 2.6647 | 147.594 | 2.6733 | 144.8087 | 3.4733 | 889 | 100 | 0.63067
2020-12-05 15:00:00 | 2.4567 | 160.8 | 2.478 | 146.3207 | 2.5367 | 157.2627 | 2.554 | 147.0693 | 3.52 | 889 | 100 | 0.61133
2020-12-05 15:15:00 | 2.4247 | 154.7867 | 2.4813 | 155.2287 | 2.356 | 151.3807 | 2.4887 | 156.022 | 3.5333 | 889 | 100 | 0.82933
2020-12-05 15:30:00 | 2.1813 | 150.7 | 2.238 | 147.724 | 2.2673 | 147.3833 | 2.352 | 148.4793 | 3.4867 | 889 | 100 | 0.58733
2020-12-05 15:45:00 | 1.8627 | 142.7133 | 1.932 | 147.7573 | 2.0753 | 139.5747 | 2.1493 | 148.5107 | 3.5467 | 889 | 100 | 0.17857
2020-12-05 16:00:00 | 1.936 | 147.88 | 1.968 | 149.222 | 2.152 | 144.7967 | 2.156 | 149.9873 | 3.6 | 889 | 100 | 0.246
2020-12-05 16:15:00 | 1.8973 | 153.7467 | 1.9773 | 148.5853 | 2.0953 | 150.364 | 2.186 | 149.3427 | 3.6267 | 889 | 100 | 0.306
2020-12-05 16:30:00 | 1.6447 | 146.14 | 1.6673 | 146.7767 | 1.6287 | 142.9253 | 1.6807 | 147.528 | 3.5667 | 889 | 100 | 0.156
2020-12-05 16:45:00 | 1.4633 | 147.3667 | 1.5693 | 145.0507 | 1.2613 | 144.406 | 1.5233 | 145.792 | 3.5933 | 889 | 100 | 0.162
2020-12-05 17:00:00 | 0.938 | 96.6067 | 0.97333 | 99.4107 | 0.65667 | 94.4813 | 0.80733 | 99.918 | 2.4467 | 889 | 100 | 0.044667
2020-12-05 17:15:00 | 1.2127 | 147.2667 | 1.2327 | 153.0113 | 0.84667 | 144.026 | 0.98667 | 153.7927 | 3.74 | 889 | 100 | 0
2020-12-05 17:30:00 | 1.142 | 143.52 | 1.1813 | 154.2313 | 0.80133 | 140.3627 | 0.97133 | 155.0193 | 3.8 | 889 | 100 | 0
2020-12-05 17:45:00 | 0.92933 | 143.3 | 0.998 | 153.1347 | 0.654 | 140.1487 | 0.87 | 153.9193 | 3.7467 | 889 | 100 | 0
2020-12-05 18:00:00 | 0.90667 | 160.6067 | 1.02 | 170.766 | 0.816 | 157.0733 | 1.0613 | 171.6373 | 3.7533 | 889 | 100 | 0
2020-12-05 18:15:00 | 0.882 | 173.4267 | 0.97933 | 162.3947 | 0.95733 | 169.61 | 1.12 | 163.2253 | 3.8 | 889 | 100 | 0
2020-12-05 18:30:00 | 0.94733 | 179.9267 | 0.978 | 142.2393 | 0.902 | 175.968 | 0.97667 | 142.9673 | 4 | 889 | 99.8533 | 0
2020-12-05 18:45:00 | 0.82467 | 172.9867 | 0.798 | 117.1507 | 0.734 | 169.1813 | 0.70667 | 117.75 | 4.2067 | 889 | 99.8533 | 0
2020-12-05 19:00:00 | 0.73067 | 115.4067 | 0.74533 | 112.6867 | 0.63267 | 112.8673 | 0.69067 | 113.262 | 4.1467 | 889 | 99.8933 | 0
2020-12-05 19:15:00 | 0.55933 | 71.0867 | 0.57 | 217.814 | 0.768 | 69.524 | 0.72733 | 218.9267 | 4.06 | 889.4667 | 100 | 0
2020-12-05 19:30:00 | 1.1533 | 308.7667 | 1.13 | 335.1993 | 1.43 | 301.9747 | 1.3047 | 336.9133 | 3.9 | 890 | 100 | 0
2020-12-05 19:45:00 | 1.4673 | 329.4733 | 1.4867 | 326.4693 | 1.9633 | 322.226 | 1.8593 | 328.1387 | 3.9467 | 890 | 100 | 0
2020-12-05 20:00:00 | 2.204 | 338.0467 | 2.3287 | 334.978 | 2.7853 | 330.61 | 2.8507 | 336.6913 | 3.8133 | 890 | 100 | 0.152
2020-12-05 20:15:00 | 2.4333 | 310.3267 | 2.5127 | 314.804 | 3.078 | 303.4987 | 3.0433 | 316.4167 | 3.72 | 890 | 100 | 1.0207
2020-12-05 20:30:00 | 3.0747 | 244.72 | 3.186 | 338.9613 | 3.752 | 239.3367 | 3.77 | 340.694 | 3.6133 | 890 | 100 | 2.3453
2020-12-05 20:45:00 | 3.0647 | 315.78 | 3.1833 | 341.2047 | 3.794 | 308.8333 | 3.81 | 342.9487 | 3.6667 | 890 | 100 | 2.9467
2020-12-05 21:00:00 | 3.1787 | 319.0333 | 3.3293 | 334.424 | 3.9033 | 312.016 | 3.9767 | 336.1347 | 3.6867 | 890 | 100 | 3.17
2020-12-05 21:15:00 | 2.9487 | 282.1867 | 3.0373 | 333.4267 | 3.6853 | 275.978 | 3.6393 | 335.1313 | 3.5667 | 890 | 100 | 3.4313
2020-12-05 21:30:00 | 2.9553 | 332.2667 | 3.082 | 331.216 | 3.766 | 324.956 | 3.7727 | 332.9093 | 3.4067 | 890.8 | 100 | 3.814
2020-12-05 21:45:00 | 3.232 | 287.8067 | 3.4447 | 328.014 | 4.0327 | 281.4747 | 4.208 | 329.692 | 3.4733 | 891 | 99.9533 | 4.47
2020-12-05 22:00:00 | 3.504 | 329.2333 | 3.6607 | 331.6327 | 4.3293 | 321.99 | 4.388 | 333.328 | 3.3333 | 891 | 99.7933 | 5.3827
2020-12-05 22:15:00 | 3.318 | 282.5067 | 3.412 | 334.0273 | 4.106 | 276.6507 | 4.0467 | 335.734 | 3.2933 | 891 | 99.46 | 5.7833
2020-12-05 22:30:00 | 3.3233 | 326.56 | 3.4447 | 337.0953 | 4.1587 | 319.3747 | 4.1473 | 338.8207 | 3.2667 | 891 | 99.26 | 5.7907
2020-12-05 22:45:00 | 3.3247 | 335.88 | 3.5253 | 328.9073 | 4.152 | 328.49 | 4.2947 | 330.5887 | 3.4267 | 891 | 99.5 | 5.2173
2020-12-05 23:00:00 | 3.2973 | 337.2 | 3.4873 | 328.4507 | 4.0113 | 329.7813 | 4.1647 | 330.13 | 3.3867 | 891 | 99.58 | 4.4907
2020-12-05 23:15:00 | 3.4727 | 312.7067 | 3.6587 | 327.082 | 4.2433 | 305.8273 | 4.372 | 328.754 | 3.3933 | 891 | 99.4867 | 4.9913
2020-12-05 23:30:00 | 3.46 | 336.8533 | 3.6347 | 324.95 | 4.1207 | 329.4427 | 4.2633 | 326.6107 | 3.3267 | 891 | 99.5133 | 4.8327
2020-12-05 23:45:00 | 3.6793 | 336.44 | 3.814 | 334.4107 | 4.4113 | 329.0387 | 4.46 | 336.1207 | 3.2867 | 891 | 99.5533 | 5.77