## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-06 00:00:00 | 3.7733 | 339.9533 | 3.9167 | 325.3093 | 4.636 | 332.4753 | 4.6587 | 326.9707 | 3.2933 | 891 | 99.57 | 7.1587
2020-12-06 00:15:00 | 3.714 | 332.14 | 3.9267 | 322.9953 | 4.472 | 324.8333 | 4.654 | 324.6453 | 3.32 | 891 | 99.8467 | 6.054
2020-12-06 00:30:00 | 3.4847 | 333.0933 | 3.648 | 321.5607 | 4.2633 | 325.7653 | 4.3473 | 323.204 | 3.2067 | 891 | 99.9133 | 5.0887
2020-12-06 00:45:00 | 3.274 | 308.5133 | 3.4093 | 321.4353 | 3.9933 | 301.726 | 4.042 | 323.0793 | 3.16 | 891 | 100 | 4.0193
2020-12-06 01:00:00 | 3.3047 | 334.3867 | 3.4287 | 317.732 | 4.0453 | 327.0307 | 4.0667 | 319.356 | 3.1267 | 891 | 100 | 4.1053
2020-12-06 01:15:00 | 3.1453 | 319.74 | 3.228 | 316.642 | 3.8793 | 312.7047 | 3.828 | 318.2627 | 3.28 | 890.5333 | 100 | 3.728
2020-12-06 01:30:00 | 3.084 | 335.2267 | 3.1733 | 312.894 | 3.8373 | 327.8513 | 3.79 | 314.494 | 3.2933 | 890 | 100 | 3.7047
2020-12-06 01:45:00 | 2.898 | 306.6533 | 2.9233 | 315.176 | 3.5413 | 299.906 | 3.4047 | 316.7887 | 3.2667 | 890 | 100 | 3.0593
2020-12-06 02:00:00 | 3.0273 | 309.52 | 3.084 | 316.4307 | 3.7193 | 302.71 | 3.6267 | 318.0467 | 3.0867 | 890 | 100 | 3.7233
2020-12-06 02:15:00 | 3.246 | 326.1933 | 3.348 | 318.8607 | 4.1667 | 319.0167 | 4.0947 | 320.4907 | 3.0067 | 890 | 100 | 4.3567
2020-12-06 02:30:00 | 2.9687 | 308.3533 | 3.0087 | 318.9453 | 4.01 | 301.5693 | 3.784 | 320.5767 | 3.1333 | 890 | 100 | 4.8527
2020-12-06 02:45:00 | 3.038 | 331.5067 | 3.126 | 324.7747 | 3.9507 | 324.2147 | 3.8547 | 326.4353 | 3.2067 | 890 | 100 | 4.176
2020-12-06 03:00:00 | 2.7907 | 288.5533 | 2.8387 | 325.002 | 3.6573 | 283.6393 | 3.4987 | 326.6647 | 3.06 | 890 | 100 | 3.6913
2020-12-06 03:15:00 | 2.998 | 311.74 | 3.0607 | 317.4653 | 3.776 | 304.882 | 3.6687 | 319.088 | 3 | 890 | 100 | 4.2587
2020-12-06 03:30:00 | 3.0613 | 326.6267 | 3.1147 | 317.7 | 3.87 | 319.4413 | 3.7373 | 319.3233 | 2.8133 | 890 | 100 | 4.712
2020-12-06 03:45:00 | 3.0053 | 286.7867 | 3.078 | 319.8907 | 3.818 | 279.402 | 3.708 | 321.526 | 2.82 | 890 | 100 | 4.2767
2020-12-06 04:00:00 | 3.1413 | 332.7667 | 3.2207 | 319.1473 | 4.0087 | 325.446 | 3.9053 | 320.778 | 2.7867 | 890 | 100 | 4.5007
2020-12-06 04:15:00 | 3.2767 | 325.4067 | 3.4253 | 323.654 | 4.1887 | 318.248 | 4.2087 | 325.308 | 2.7533 | 890 | 100 | 5.462
2020-12-06 04:30:00 | 3.256 | 332.8933 | 3.394 | 320.3013 | 4.2073 | 325.5693 | 4.1927 | 321.9387 | 2.7067 | 890 | 100 | 6.2273
2020-12-06 04:45:00 | 3.2927 | 307.4867 | 3.388 | 328.5153 | 4.236 | 300.722 | 4.144 | 330.1967 | 2.66 | 890 | 100 | 6.3827
2020-12-06 05:00:00 | 3.262 | 328.4667 | 3.3573 | 325.23 | 4.1773 | 321.24 | 4.092 | 326.8927 | 2.7067 | 889.2 | 100 | 6.3533
2020-12-06 05:15:00 | 3.678 | 329.08 | 3.7927 | 324.6393 | 4.6087 | 322.0153 | 4.568 | 326.2967 | 2.7 | 889 | 100 | 8.446
2020-12-06 05:30:00 | 4.2067 | 323.1733 | 4.3467 | 321.6313 | 5.0313 | 316.064 | 5.0613 | 323.276 | 2.64 | 889 | 100 | 10.9387
2020-12-06 05:45:00 | 5.006 | 312.04 | 5.2913 | 327.4933 | 5.7887 | 305.1747 | 6.102 | 329.1667 | 2.56 | 889 | 100 | 15.7907
2020-12-06 06:00:00 | 5.4847 | 338.4 | 5.854 | 329.338 | 6.376 | 330.9547 | 6.8267 | 331.0213 | 2.5733 | 889 | 100 | 20.9193
2020-12-06 06:15:00 | 5.8973 | 341.1067 | 6.354 | 328.8307 | 6.8907 | 333.6013 | 7.4693 | 330.5113 | 2.6 | 889 | 100 | 24.892
2020-12-06 06:30:00 | 5.9347 | 293.7467 | 6.3247 | 329.488 | 6.8953 | 287.2833 | 7.36 | 331.172 | 2.5 | 889 | 100 | 25.4747
2020-12-06 06:45:00 | 5.8813 | 313.46 | 6.3153 | 328.8047 | 6.6587 | 306.564 | 7.26 | 330.4847 | 2.4933 | 889 | 100 | 24.4833
2020-12-06 07:00:00 | 5.7207 | 338.28 | 6.1007 | 326.144 | 6.534 | 330.838 | 7.02 | 327.8107 | 2.5533 | 889 | 100 | 23.118
2020-12-06 07:15:00 | 5.5473 | 336.4933 | 5.9007 | 320.7447 | 6.32 | 329.09 | 6.766 | 322.3847 | 2.64 | 889 | 100 | 21.4047
2020-12-06 07:30:00 | 5.54 | 336.4067 | 5.8693 | 326.6793 | 6.236 | 329.006 | 6.6627 | 328.3473 | 2.6733 | 889 | 100 | 21.9013
2020-12-06 07:45:00 | 5.9633 | 340.66 | 6.3487 | 323.6593 | 6.7473 | 333.1647 | 7.2513 | 325.3133 | 2.62 | 889 | 100 | 23.5393
2020-12-06 08:00:00 | 5.9187 | 340.8733 | 6.3133 | 327.3893 | 6.5373 | 333.3753 | 7.1113 | 329.0613 | 2.6067 | 889.1333 | 100 | 24.7587
2020-12-06 08:15:00 | 5.724 | 339.0667 | 6.128 | 324.7227 | 6.6193 | 331.6067 | 7.1173 | 326.3813 | 2.5533 | 890 | 100 | 23.832
2020-12-06 08:30:00 | 5.79 | 338.8733 | 6.1893 | 326.078 | 6.5293 | 331.4173 | 7.074 | 327.7453 | 2.5333 | 890 | 100 | 24.4987
2020-12-06 08:45:00 | 5.7513 | 338.8533 | 6.15 | 329.9973 | 6.4873 | 331.398 | 7.0287 | 331.6833 | 2.5667 | 890 | 100 | 24.0747
2020-12-06 09:00:00 | 5.872 | 348.04 | 6.3313 | 330.0033 | 6.4973 | 340.382 | 7.1867 | 331.69 | 2.6267 | 890 | 100 | 24.402
2020-12-06 09:15:00 | 5.962 | 322.8133 | 6.4193 | 327.4873 | 6.6287 | 315.7093 | 7.3053 | 329.1607 | 2.6333 | 890 | 100 | 26.488
2020-12-06 09:30:00 | 5.7893 | 348.2533 | 6.2367 | 327.0173 | 6.5107 | 340.91 | 7.1513 | 328.6887 | 2.6267 | 890.8 | 100 | 25.408
2020-12-06 09:45:00 | 5.6793 | 349.44 | 6.1047 | 327.1347 | 6.374 | 341.752 | 6.9793 | 328.8073 | 2.6933 | 891 | 100 | 23.2793
2020-12-06 10:00:00 | 5.4447 | 340.5867 | 5.8847 | 327.14 | 6.124 | 333.0933 | 6.7647 | 328.8147 | 2.7467 | 891 | 100 | 21.686
2020-12-06 10:15:00 | 5.6567 | 340.1467 | 6.1087 | 322.5893 | 6.3733 | 333.1 | 7.026 | 324.2393 | 2.8067 | 891 | 100 | 23.2907
2020-12-06 10:30:00 | 5.7447 | 337.0467 | 6.234 | 319.916 | 6.6327 | 329.632 | 7.3013 | 321.5527 | 2.8267 | 891 | 100 | 24.6213
2020-12-06 10:45:00 | 5.8187 | 339.4933 | 6.2987 | 321.4893 | 6.6653 | 332.0247 | 7.332 | 323.132 | 2.8333 | 891 | 100 | 23.96
2020-12-06 11:00:00 | 5.1507 | 338.1867 | 5.5133 | 318.704 | 6.2087 | 330.1853 | 6.5867 | 320.3333 | 3.08 | 891 | 100 | 18.744
2020-12-06 11:15:00 | 5.1707 | 343.4733 | 5.5267 | 325.0093 | 6.0747 | 335.916 | 6.4847 | 326.6713 | 3.2667 | 891 | 100 | 17.0313
2020-12-06 11:30:00 | 5.4027 | 337.1733 | 5.7727 | 321.1673 | 6.2313 | 329.756 | 6.6947 | 322.8107 | 3.3933 | 891 | 100 | 18.882
2020-12-06 11:45:00 | 5.5667 | 333.6333 | 5.9287 | 324.1667 | 6.1913 | 326.294 | 6.6993 | 325.8253 | 3.5533 | 891 | 100 | 19.148
2020-12-06 12:00:00 | 5.3793 | 339.9533 | 5.7187 | 321.168 | 6.0787 | 332.4747 | 6.5227 | 322.81 | 3.62 | 891 | 100 | 18.538
2020-12-06 12:15:00 | 5.45 | 314.7067 | 5.8313 | 326.24 | 6.1793 | 307.782 | 6.6867 | 327.9087 | 3.7133 | 891 | 100 | 19.658
2020-12-06 12:30:00 | 5.858 | 339.78 | 6.3267 | 320.4513 | 6.3133 | 332.3047 | 7.0747 | 322.09 | 3.8733 | 890.8667 | 100 | 23.9133
2020-12-06 12:45:00 | 5.796 | 338.8667 | 6.21 | 321.288 | 6.358 | 331.412 | 6.9773 | 322.9293 | 3.92 | 890 | 100 | 23.3513
2020-12-06 13:00:00 | 5.62 | 338.78 | 6.042 | 323.078 | 6.2427 | 331.3267 | 6.8633 | 324.7307 | 3.9267 | 890 | 99.9733 | 22.674
2020-12-06 13:15:00 | 5.6793 | 339.28 | 6.1327 | 326.406 | 6.22 | 332.376 | 6.9173 | 328.074 | 3.9867 | 890 | 99.3467 | 24.124
2020-12-06 13:30:00 | 5.97 | 339.0267 | 6.3807 | 305.3593 | 6.5533 | 331.8613 | 7.1653 | 306.9193 | 4.0267 | 890 | 98.54 | 26.4493
2020-12-06 13:45:00 | 6.154 | 335.3333 | 6.5533 | 324.8853 | 6.5487 | 327.956 | 7.194 | 326.5467 | 4.0067 | 890 | 98.0867 | 28.3727
2020-12-06 14:00:00 | 5.9473 | 343.6933 | 6.294 | 325.074 | 6.2967 | 336.132 | 6.8567 | 326.7373 | 3.94 | 890 | 97.3933 | 25.9047
2020-12-06 14:15:00 | 3.8753 | 355.18 | 4.4807 | 152.4047 | 3.76 | 347.3627 | 4.9367 | 153.184 | 1.9267 | 890 | 97.5867 | 24.1173
2020-12-06 14:30:00 | 6.016 | 356.6 | 6.3973 | 322.238 | 6.33 | 348.75 | 6.9627 | 323.8847 | 4.1333 | 890 | 97.88 | 25.774
2020-12-06 14:45:00 | 5.918 | 356.6 | 6.3227 | 325.154 | 6.36 | 348.75 | 7.0033 | 326.8153 | 4.0867 | 890 | 97.9467 | 25.0567
2020-12-06 15:00:00 | 5.864 | 356.6 | 6.2847 | 329.6187 | 6.4027 | 348.75 | 7.0493 | 331.3027 | 4.08 | 890 | 97.8 | 28.2807
2020-12-06 15:15:00 | 5.472 | 356.6 | 5.9307 | 327.2913 | 5.872 | 348.75 | 6.622 | 328.9653 | 4.0667 | 890 | 96.9 | 28.492
2020-12-06 15:30:00 | 5.8373 | 356.6 | 6.2487 | 327.6053 | 6.2273 | 348.75 | 6.8947 | 329.2793 | 4.02 | 889.8667 | 96.5333 | 31.8727
2020-12-06 15:45:00 | 6.1827 | 356.6 | 6.5513 | 327.506 | 6.5813 | 348.75 | 7.1667 | 329.18 | 4.0667 | 889 | 95.86 | 34.9913
2020-12-06 16:00:00 | 6.3333 | 356.6 | 6.736 | 327.0967 | 7.2767 | 348.75 | 7.77 | 328.768 | 4.12 | 889.8 | 95.44 | 40.9787
2020-12-06 16:15:00 | 6.174 | 356.6 | 6.588 | 328.6267 | 7.0247 | 348.75 | 7.5627 | 330.3073 | 4.16 | 889.5333 | 95.52 | 41.11
2020-12-06 16:30:00 | 6.0473 | 356.6 | 6.46 | 327.3367 | 6.7307 | 348.75 | 7.3173 | 329.01 | 4.1933 | 889.8 | 94.94 | 40.3753
2020-12-06 16:45:00 | 6.218 | 356.6 | 6.626 | 323.3273 | 7.0553 | 348.75 | 7.586 | 324.9793 | 4.1867 | 890 | 94.7867 | 41.7067
2020-12-06 17:00:00 | 6.3053 | 356.6 | 6.682 | 325.328 | 6.9467 | 348.75 | 7.48 | 326.9927 | 4.3467 | 890 | 94.7867 | 41.9553
2020-12-06 17:15:00 | 6.4407 | 356.6 | 6.8087 | 323.7767 | 7.1593 | 348.75 | 7.6527 | 325.4327 | 4.38 | 890 | 94.68 | 43.176
2020-12-06 17:30:00 | 6.3627 | 356.6 | 6.74 | 324.7947 | 7.0767 | 348.75 | 7.5873 | 326.4547 | 4.3133 | 890 | 94.4667 | 43.61
2020-12-06 17:45:00 | 6.212 | 356.6 | 6.5973 | 324.5133 | 6.802 | 348.75 | 7.3593 | 326.172 | 4.2533 | 890 | 94.5867 | 44.464
2020-12-06 18:00:00 | 6.4133 | 356.6 | 6.774 | 324.6427 | 7.028 | 348.75 | 7.5367 | 326.304 | 4.34 | 890 | 94.62 | 45.4547
2020-12-06 18:15:00 | 6.4587 | 356.6 | 6.804 | 325.5427 | 6.976 | 348.75 | 7.486 | 327.2073 | 4.32 | 890.4667 | 94.1533 | 45.6233
2020-12-06 18:30:00 | 6.3467 | 356.6 | 6.7287 | 324.3627 | 7.0767 | 348.75 | 7.5893 | 326.0213 | 4.38 | 891 | 93.6933 | 46.0827
2020-12-06 18:45:00 | 6.504 | 356.6 | 6.8533 | 333.5107 | 7.114 | 348.75 | 7.6013 | 335.2167 | 4.48 | 891 | 93.3733 | 47.0207
2020-12-06 19:00:00 | 6.4867 | 356.6 | 6.8473 | 333.8707 | 7.196 | 348.75 | 7.6793 | 335.576 | 4.52 | 891 | 93.04 | 51.0167
2020-12-06 19:15:00 | 6.496 | 356.6 | 6.8487 | 307.8873 | 7.124 | 348.75 | 7.6153 | 309.4613 | 4.4933 | 891 | 92.5733 | 54.07
2020-12-06 19:30:00 | 6.9067 | 356.6 | 7.2247 | 308.8327 | 7.708 | 348.75 | 8.0833 | 310.4113 | 4.58 | 891 | 92.3333 | 52.7753
2020-12-06 19:45:00 | 7.1433 | 356.6 | 7.452 | 330.0993 | 8.132 | 348.75 | 8.43 | 331.788 | 4.7133 | 891.4667 | 92.6 | 53.5887
2020-12-06 20:00:00 | 6.676 | 356.6 | 7.0487 | 308.1407 | 7.732 | 348.75 | 8.1307 | 309.718 | 4.7667 | 892 | 92.8933 | 49.628
2020-12-06 20:15:00 | 6.0847 | 356.6 | 6.5213 | 325.9147 | 7.0547 | 348.75 | 7.602 | 327.5807 | 4.8333 | 892 | 92.12 | 43.8367
2020-12-06 20:30:00 | 5.4853 | 356.6 | 5.9273 | 326.3853 | 5.7607 | 348.75 | 6.5207 | 328.054 | 4.9067 | 892 | 90.5933 | 34.8853
2020-12-06 20:45:00 | 5.598 | 356.6 | 6.0407 | 326.1493 | 6.0287 | 348.75 | 6.7453 | 327.818 | 5.06 | 892.4667 | 90.14 | 35.398
2020-12-06 21:00:00 | 5.9527 | 356.6 | 6.336 | 327.29 | 6.2013 | 348.75 | 6.8553 | 328.9633 | 5.1333 | 893 | 89.78 | 41.102
2020-12-06 21:15:00 | 5.66 | 356.6 | 6.0953 | 311.382 | 6.0513 | 348.75 | 6.7767 | 312.974 | 5.0933 | 893 | 89.1267 | 44.9673
2020-12-06 21:30:00 | 6.306 | 356.6 | 6.6847 | 330.2973 | 6.944 | 348.75 | 7.4767 | 331.9867 | 5.16 | 893 | 90.1867 | 47.7013
2020-12-06 21:45:00 | 6.4493 | 356.6 | 6.7987 | 336.5227 | 6.9687 | 348.75 | 7.48 | 338.2433 | 5.22 | 893 | 90.3333 | 48.144
2020-12-06 22:00:00 | 6.1607 | 356.6 | 6.5373 | 285.5627 | 6.6307 | 348.75 | 7.206 | 287.0227 | 5.2267 | 893 | 90.82 | 43.022
2020-12-06 22:15:00 | 5.8433 | 356.6 | 6.2387 | 331.7373 | 6.074 | 348.75 | 6.756 | 333.4333 | 5.1867 | 893.4667 | 89.4067 | 41.0367
2020-12-06 22:30:00 | 6.0147 | 356.6 | 6.396 | 310.658 | 6.3407 | 348.75 | 6.972 | 312.2473 | 5.2333 | 894 | 88.78 | 41.9507
2020-12-06 22:45:00 | 6.1553 | 356.6 | 6.5427 | 313.3253 | 6.7187 | 348.75 | 7.2947 | 314.9267 | 5.28 | 894 | 89.1133 | 44.7627
2020-12-06 23:00:00 | 5.7333 | 356.6 | 6.152 | 335.3773 | 6.0993 | 348.75 | 6.7913 | 337.0893 | 5.28 | 894 | 88.5467 | 42.422
2020-12-06 23:15:00 | 5.656 | 356.6 | 6.0573 | 329.1573 | 5.7453 | 348.75 | 6.486 | 330.8387 | 5.2533 | 894 | 87.7267 | 40.7847
2020-12-06 23:30:00 | 5.736 | 356.6 | 6.152 | 327.4153 | 6.0653 | 348.75 | 6.7613 | 329.0893 | 5.2933 | 894 | 87.4533 | 40.5767
2020-12-06 23:45:00 | 5.4507 | 356.6 | 5.8993 | 332.4233 | 5.7487 | 348.75 | 6.5153 | 334.1213 | 5.2667 | 894.4667 | 88.4133 | 39.1113