## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-07 00:00:00 | 5.6313 | 356.6 | 6.0633 | 329.4367 | 5.976 | 348.75 | 6.6953 | 331.1193 | 5.28 | 895 | 88.08 | 39.1107
2020-12-07 00:15:00 | 5.8887 | 356.6 | 6.2927 | 334.208 | 6.29 | 348.75 | 6.9447 | 335.918 | 5.26 | 895 | 88.76 | 43.542
2020-12-07 00:30:00 | 5.7107 | 356.6 | 6.1353 | 315.3653 | 6.1033 | 348.75 | 6.798 | 316.9787 | 5.2533 | 895 | 88.0333 | 43.048
2020-12-07 00:45:00 | 6.0573 | 356.6 | 6.476 | 271.126 | 6.7973 | 348.75 | 7.376 | 272.514 | 5.2067 | 895 | 88.9867 | 42.684
2020-12-07 01:00:00 | 6.5107 | 356.6 | 6.8807 | 336.518 | 7.3407 | 348.75 | 7.804 | 338.238 | 5.0867 | 895 | 88.7067 | 47.136
2020-12-07 01:15:00 | 6.3227 | 356.6 | 6.7247 | 331.574 | 7.2267 | 348.75 | 7.726 | 333.2693 | 5.1267 | 894.5333 | 88 | 48.0913
2020-12-07 01:30:00 | 6.216 | 356.6 | 6.6093 | 307.7393 | 6.9087 | 348.75 | 7.456 | 309.3107 | 5.1067 | 894 | 88.0533 | 44.8913
2020-12-07 01:45:00 | 5.786 | 356.6 | 6.2267 | 309.388 | 6.4327 | 348.75 | 7.084 | 310.9693 | 5.0467 | 894 | 88.0933 | 42.342
2020-12-07 02:00:00 | 5.6033 | 356.6 | 6.0653 | 246.866 | 6.2247 | 348.75 | 6.924 | 248.1287 | 5.0333 | 894 | 88.1133 | 40.4233
2020-12-07 02:15:00 | 5.6753 | 356.6 | 6.1493 | 312.7973 | 6.5227 | 348.75 | 7.178 | 314.396 | 5 | 894 | 87.5067 | 40.6713
2020-12-07 02:30:00 | 5.7073 | 356.6 | 6.1713 | 334.9913 | 6.4627 | 348.75 | 7.1327 | 336.7053 | 4.9533 | 894 | 87.5267 | 40.6247
2020-12-07 02:45:00 | 6.0987 | 356.6 | 6.498 | 315.8087 | 6.6887 | 348.75 | 7.2733 | 317.4227 | 4.9333 | 894 | 87.9267 | 40.81
2020-12-07 03:00:00 | 5.8913 | 356.6 | 6.3187 | 312.772 | 6.5227 | 348.75 | 7.152 | 314.37 | 4.8467 | 894 | 87.3333 | 40.492
2020-12-07 03:15:00 | 6.0587 | 356.6 | 6.4713 | 314.0173 | 6.766 | 348.75 | 7.3473 | 315.622 | 4.74 | 894 | 86.9933 | 42.5993
2020-12-07 03:30:00 | 5.236 | 237.7333 | 5.4173 | 308.6967 | 6.2367 | 232.5 | 6.288 | 310.274 | 4.3333 | 894 | 86.3333 | 43.5287
2020-12-07 03:45:00 | 3.1913 | 70.3533 | 3.1787 | 156.9427 | 4.556 | 68.8053 | 4.1427 | 157.7447 | 2.7467 | 894 | 85.9733 | 33.79
2020-12-07 04:00:00 | 6.1173 | 323.4667 | 6.616 | 334.162 | 6.8027 | 316.3493 | 7.546 | 335.8713 | 4.5667 | 894 | 85.9 | 37.396
2020-12-07 04:15:00 | 6.7727 | 327.8867 | 7.2887 | 309.844 | 7.6007 | 320.672 | 8.34 | 311.4267 | 4.5267 | 894 | 85.9667 | 46.936
2020-12-07 04:30:00 | 7.2613 | 276.8333 | 7.7273 | 333.9093 | 8.2527 | 270.7413 | 8.852 | 335.6153 | 4.4667 | 894 | 86.5467 | 51.962
2020-12-07 04:45:00 | 7.328 | 320.9533 | 7.8627 | 332.604 | 8.3207 | 313.8927 | 9.0433 | 334.3047 | 4.3933 | 894 | 86.1867 | 53.6807
2020-12-07 05:00:00 | 7.7967 | 323.22 | 8.356 | 333.5047 | 8.8967 | 316.1107 | 9.6373 | 335.21 | 4.38 | 894 | 85.0467 | 54.9313
2020-12-07 05:15:00 | 7.6813 | 280.14 | 8.1693 | 334.9387 | 8.9627 | 273.9767 | 9.516 | 336.65 | 4.3533 | 894 | 83.4333 | 53.8593
2020-12-07 05:30:00 | 7.258 | 233.84 | 7.7747 | 308.722 | 8.3907 | 228.6947 | 9.0433 | 310.3007 | 4.32 | 894 | 82.0067 | 53.3547
2020-12-07 05:45:00 | 6.8033 | 298.9733 | 7.3513 | 334.116 | 7.962 | 292.3973 | 8.662 | 335.826 | 4.2867 | 894 | 81.82 | 50.8973
2020-12-07 06:00:00 | 6.8693 | 211.9133 | 7.3713 | 311.3507 | 7.9467 | 207.2513 | 8.5827 | 312.9413 | 4.22 | 894 | 81.4733 | 50.4807
2020-12-07 06:15:00 | 6.5887 | 302.2067 | 7.1187 | 339.458 | 7.474 | 295.5587 | 8.226 | 341.192 | 4.14 | 894 | 80.98 | 47.9907
2020-12-07 06:30:00 | 6.3327 | 301.12 | 6.8587 | 311.52 | 7.218 | 294.4967 | 7.9647 | 313.112 | 4.1 | 894 | 82.8933 | 47.6907
2020-12-07 06:45:00 | 6.2293 | 255.4733 | 6.6107 | 313.99 | 6.9627 | 249.8533 | 7.476 | 315.596 | 4.04 | 894 | 84.0933 | 47.576
2020-12-07 07:00:00 | 6.8287 | 322.7733 | 7.3353 | 312.6667 | 7.756 | 315.6727 | 8.446 | 314.2647 | 3.9133 | 894 | 84.2933 | 49.904
2020-12-07 07:15:00 | 7.138 | 323.56 | 7.596 | 337.148 | 8.0253 | 316.442 | 8.6413 | 338.8733 | 3.84 | 894 | 84.3 | 51.242
2020-12-07 07:30:00 | 6.4027 | 233.0133 | 6.8087 | 289.338 | 7.198 | 227.8867 | 7.738 | 290.818 | 3.7867 | 894.1333 | 84.78 | 49.342
2020-12-07 07:45:00 | 6.3087 | 302.2 | 6.7007 | 310.704 | 6.91 | 295.5507 | 7.4767 | 312.2927 | 3.7867 | 895 | 85.2333 | 46.7947
2020-12-07 08:00:00 | 6.0247 | 254.4067 | 6.4927 | 312.1573 | 6.5453 | 248.81 | 7.2827 | 313.7547 | 3.76 | 895 | 85.7933 | 43.884
2020-12-07 08:15:00 | 6.0833 | 326.2533 | 6.5693 | 338.864 | 6.744 | 319.076 | 7.4753 | 340.5967 | 3.7133 | 895 | 86.6467 | 41.8293
2020-12-07 08:30:00 | 6.4153 | 324.1133 | 6.994 | 315.1767 | 7.178 | 316.9833 | 8.0533 | 316.7887 | 3.7 | 895.1333 | 87.0933 | 38.8327
2020-12-07 08:45:00 | 6.332 | 344.86 | 6.8713 | 334.828 | 6.9993 | 337.2733 | 7.8307 | 336.5387 | 3.5933 | 896 | 86.92 | 36.456
2020-12-07 09:00:00 | 6.3813 | 276.2667 | 6.7893 | 328.4973 | 7.0587 | 270.1887 | 7.638 | 330.1753 | 3.6067 | 896 | 85.8867 | 38.23
2020-12-07 09:15:00 | 6.3293 | 344.7333 | 6.7453 | 326.1953 | 6.9093 | 337.1493 | 7.532 | 327.8627 | 3.6 | 896 | 83.8867 | 39.1213
2020-12-07 09:30:00 | 6.566 | 322.44 | 7.0107 | 324.6307 | 7.174 | 315.346 | 7.844 | 326.29 | 3.6267 | 896 | 82.2933 | 40.8553
2020-12-07 09:45:00 | 6.5607 | 296.26 | 7.0533 | 322.7193 | 7.316 | 289.7413 | 8.0313 | 324.3693 | 3.6267 | 896 | 82.0133 | 41.8153
2020-12-07 10:00:00 | 6.5793 | 322.4467 | 7.0307 | 329.4873 | 7.4027 | 315.3527 | 8.0213 | 331.1733 | 3.76 | 896 | 81.7067 | 42.5553
2020-12-07 10:15:00 | 6.2773 | 321.1333 | 6.848 | 331.7967 | 7.1987 | 314.0687 | 8.0113 | 333.4933 | 3.8067 | 896 | 81.1333 | 40.372
2020-12-07 10:30:00 | 6.3407 | 301.4 | 6.848 | 331.248 | 7.3153 | 294.768 | 7.9947 | 332.942 | 3.86 | 896.8 | 80.8187 | 39.8873
2020-12-07 10:45:00 | 6.47 | 343.4667 | 6.9873 | 334.7887 | 7.4413 | 335.9107 | 8.1407 | 336.5007 | 3.9267 | 897 | 80.1267 | 40.33
2020-12-07 11:00:00 | 6.274 | 232.9733 | 6.7153 | 292.4353 | 7.266 | 227.848 | 7.8153 | 293.9313 | 3.9 | 897 | 79.1813 | 39.2333
2020-12-07 11:15:00 | 6.028 | 326.4333 | 6.5993 | 292.8133 | 7.0713 | 319.252 | 7.8533 | 294.3107 | 4 | 897 | 78.4707 | 37.5887
2020-12-07 11:30:00 | 5.7287 | 322.6867 | 6.3113 | 293.6473 | 6.644 | 315.5873 | 7.482 | 295.15 | 4.0667 | 897 | 77.984 | 33.71
2020-12-07 11:45:00 | 5.5347 | 278.0067 | 6.118 | 296.2553 | 6.65 | 271.8907 | 7.4293 | 297.77 | 4.1467 | 897 | 77.6 | 32.8073
2020-12-07 12:00:00 | 5.5387 | 284.0533 | 6.11 | 272.94 | 6.4953 | 277.8047 | 7.3 | 274.3353 | 4.1867 | 897 | 77.2813 | 31.2833
2020-12-07 12:15:00 | 5.1713 | 257.34 | 5.7047 | 320.836 | 6.0433 | 251.6787 | 6.802 | 322.478 | 4.2133 | 896.5333 | 77.2607 | 29.5873
2020-12-07 12:30:00 | 5.122 | 169.72 | 5.6467 | 228.46 | 6.0107 | 165.9853 | 6.7473 | 229.6287 | 4.2867 | 896 | 77.5147 | 29.1747
2020-12-07 12:45:00 | 5.046 | 191.14 | 5.5627 | 252.4987 | 5.8753 | 186.934 | 6.6133 | 253.7913 | 4.34 | 896 | 76.98 | 29.0587
2020-12-07 13:00:00 | 4.9953 | 262.46 | 5.372 | 208.008 | 5.552 | 256.6873 | 6.1113 | 209.072 | 4.5667 | 896 | 76.158 | 28.1707
2020-12-07 13:15:00 | 5.0713 | 123.0267 | 5.466 | 185.572 | 5.7593 | 120.32 | 6.3053 | 186.5207 | 4.86 | 895.5333 | 74.758 | 29.4467
2020-12-07 13:30:00 | 5.0253 | 193.1133 | 5.4613 | 274.048 | 5.7127 | 188.8647 | 6.3367 | 275.4487 | 4.9467 | 895 | 74.0433 | 32.2607
2020-12-07 13:45:00 | 5.05 | 237.28 | 5.4447 | 211.182 | 5.63 | 232.0593 | 6.212 | 212.2627 | 5 | 895 | 72.7867 | 32.422
2020-12-07 14:00:00 | 5.1213 | 241.5933 | 5.4333 | 251.2093 | 5.8467 | 236.28 | 6.2267 | 252.494 | 5.1733 | 894.2 | 72.4707 | 33.8553
2020-12-07 14:15:00 | 5.1847 | 236.9267 | 5.5853 | 232.4973 | 5.9553 | 231.714 | 6.4887 | 233.6847 | 5.3933 | 894 | 70.8293 | 32.102
2020-12-07 14:30:00 | 5.2327 | 187.6 | 5.634 | 189.9867 | 5.9633 | 183.4733 | 6.512 | 190.956 | 5.5867 | 894 | 67.856 | 32.284
2020-12-07 14:45:00 | 5.16 | 123.5133 | 5.5507 | 169.7947 | 5.7993 | 120.7953 | 6.3547 | 170.6627 | 5.6067 | 894 | 67.0987 | 28.864
2020-12-07 15:00:00 | 3.9113 | 79.08 | 4.1967 | 149.092 | 4.3613 | 77.3407 | 4.7667 | 149.856 | 5.8133 | 894 | 67.0293 | 19.1847
2020-12-07 15:15:00 | 4.26 | 153.4133 | 4.532 | 164.2507 | 4.8627 | 150.0387 | 5.2007 | 165.0907 | 5.8133 | 894 | 66.9067 | 18.136
2020-12-07 15:30:00 | 3.834 | 129.5733 | 4.0353 | 78.7233 | 4.3527 | 126.7233 | 4.588 | 79.126 | 5.9133 | 894 | 67.752 | 15.5553
2020-12-07 15:45:00 | 4.05 | 76.1533 | 4.294 | 103.4927 | 4.2073 | 74.478 | 4.6287 | 104.022 | 5.7933 | 894 | 67.9953 | 16.2487
2020-12-07 16:00:00 | 4.0527 | 51.5133 | 4.298 | 77.576 | 4.4293 | 50.38 | 4.7847 | 77.972 | 5.8867 | 894 | 68.2087 | 14.7307
2020-12-07 16:15:00 | 3.8493 | 84.8533 | 4.126 | 168.5227 | 4.256 | 82.9867 | 4.664 | 169.3853 | 6.1933 | 894 | 65.7313 | 15.1707
2020-12-07 16:30:00 | 4.2833 | 171.2867 | 4.55 | 31.8567 | 4.8773 | 167.5193 | 5.2087 | 32.0213 | 6 | 894.1333 | 63.8267 | 18.316
2020-12-07 16:45:00 | 4.3827 | 103.2133 | 4.7007 | 119.3227 | 5.0087 | 100.9433 | 5.434 | 119.934 | 5.94 | 894.5333 | 67.438 | 19.1007
2020-12-07 17:00:00 | 4.4107 | 147.1067 | 4.7593 | 186.6993 | 4.9 | 143.8693 | 5.4173 | 187.6547 | 5.8267 | 894 | 70.178 | 20.092
2020-12-07 17:15:00 | 4.2513 | 213.2533 | 4.6327 | 232.1447 | 4.7447 | 208.5613 | 5.324 | 233.33 | 5.6533 | 894 | 71.3513 | 16.5747
2020-12-07 17:30:00 | 4.12 | 214.5933 | 4.4847 | 254.182 | 4.6787 | 209.8713 | 5.206 | 255.4807 | 5.5133 | 894 | 72.296 | 14.3513
2020-12-07 17:45:00 | 4.482 | 303.14 | 4.8653 | 319.2047 | 5.0627 | 296.4707 | 5.622 | 320.8387 | 5.3733 | 894 | 73.1487 | 15.99
2020-12-07 18:00:00 | 4.818 | 317.2333 | 5.136 | 337.8213 | 5.394 | 310.2547 | 5.8333 | 339.5487 | 5.2467 | 893.8667 | 74.74 | 17.9273
2020-12-07 18:15:00 | 4.494 | 297.98 | 4.7593 | 328.9073 | 5.1173 | 291.424 | 5.4407 | 330.588 | 5.1867 | 893 | 76.8927 | 18.4787
2020-12-07 18:30:00 | 4.1393 | 336.12 | 4.4193 | 323.0073 | 4.2913 | 328.726 | 4.7833 | 324.6593 | 5.0133 | 893 | 76.4027 | 14.8287
2020-12-07 18:45:00 | 4.3953 | 339.4667 | 4.7193 | 326.9773 | 4.5793 | 331.998 | 5.1453 | 328.65 | 5.0133 | 893.4667 | 75.032 | 15.648
2020-12-07 19:00:00 | 4.7947 | 335.9733 | 5.1453 | 327.4153 | 5.0853 | 328.5813 | 5.668 | 329.088 | 5.0067 | 894 | 74.6673 | 17.8987
2020-12-07 19:15:00 | 4.826 | 338.4333 | 5.1847 | 324.2987 | 5.246 | 330.9873 | 5.804 | 325.956 | 4.9133 | 894 | 74.466 | 19.3147
2020-12-07 19:30:00 | 4.6707 | 342.08 | 5.0193 | 328.2553 | 5.1467 | 334.554 | 5.6707 | 329.934 | 4.8933 | 894 | 75.3007 | 16.982
2020-12-07 19:45:00 | 4.2793 | 319.9133 | 4.5827 | 329.7813 | 4.8853 | 312.8753 | 5.286 | 331.466 | 4.8333 | 894 | 76.9547 | 13.4073
2020-12-07 20:00:00 | 4.1287 | 340.6 | 4.4333 | 326.7367 | 4.596 | 333.1073 | 5.0373 | 328.408 | 4.7667 | 894 | 76.0533 | 10.92
2020-12-07 20:15:00 | 4.1813 | 343.5933 | 4.4933 | 329.5927 | 4.6853 | 336.0333 | 5.134 | 331.2773 | 4.7333 | 894 | 75.3613 | 11.802
2020-12-07 20:30:00 | 3.852 | 343.6267 | 4.1587 | 336.7973 | 4.2827 | 336.0667 | 4.7413 | 338.52 | 4.74 | 894 | 76.5873 | 9.8907
2020-12-07 20:45:00 | 3.714 | 338.6733 | 3.97 | 330.102 | 4.134 | 331.2233 | 4.502 | 331.7887 | 4.7733 | 894 | 76.85 | 7.3307
2020-12-07 21:00:00 | 3.4613 | 342.5667 | 3.7267 | 329.4953 | 3.874 | 335.0307 | 4.2593 | 331.18 | 4.6867 | 894 | 77.84 | 6
2020-12-07 21:15:00 | 3.3267 | 324.4 | 3.5507 | 329.0387 | 3.6793 | 317.264 | 4.002 | 330.722 | 4.7267 | 894.4667 | 77.5467 | 4.4233
2020-12-07 21:30:00 | 3.2407 | 347.3867 | 3.5007 | 323.6527 | 3.6927 | 339.7453 | 4.0513 | 325.3067 | 4.6067 | 895 | 78.4167 | 4.4433
2020-12-07 21:45:00 | 2.81 | 337.0133 | 3.0313 | 317.0087 | 3.3247 | 329.5987 | 3.5993 | 318.6287 | 4.5333 | 895 | 78.4413 | 2.6193
2020-12-07 22:00:00 | 2.2907 | 338 | 2.432 | 311.6947 | 2.734 | 330.5647 | 2.8747 | 313.2893 | 4.48 | 895 | 79.7067 | 0.59667
2020-12-07 22:15:00 | 2.1527 | 252.4667 | 2.282 | 318.7827 | 2.568 | 246.9127 | 2.6927 | 320.412 | 4.42 | 894.5333 | 81.46 | 0.248
2020-12-07 22:30:00 | 2.2187 | 268.3 | 2.3467 | 321.9827 | 2.58 | 262.3967 | 2.7173 | 323.63 | 4.3067 | 894.1333 | 81.6933 | 0.298
2020-12-07 22:45:00 | 2.1187 | 290.6267 | 2.2073 | 320.5567 | 2.5927 | 284.2333 | 2.6227 | 322.194 | 4.2867 | 895 | 82.7267 | 0.30533
2020-12-07 23:00:00 | 1.8453 | 249.52 | 1.8907 | 328.034 | 2.2947 | 244.03 | 2.252 | 329.7113 | 4.22 | 894.8667 | 82.2733 | 0
2020-12-07 23:15:00 | 1.868 | 188 | 1.9013 | 335.3967 | 2.2747 | 183.8647 | 2.2213 | 337.11 | 4.12 | 894 | 81.7133 | 0
2020-12-07 23:30:00 | 1.826 | 95.5267 | 1.868 | 331.596 | 2.112 | 93.4247 | 2.1147 | 333.2893 | 4.1133 | 894 | 81.8533 | 0
2020-12-07 23:45:00 | 1.7007 | 186.3267 | 1.7087 | 271.91 | 1.9093 | 182.228 | 1.8653 | 273.3007 | 4.1133 | 894 | 79.862 | 0