## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-08 00:00:00 | 1.9433 | 216.0867 | 1.948 | 336.1253 | 2.312 | 211.332 | 2.2153 | 337.8453 | 4.0333 | 894 | 79.6627 | 0
2020-12-08 00:15:00 | 1.692 | 186.7267 | 1.7013 | 331.9993 | 2.084 | 182.618 | 1.9893 | 333.696 | 4.0333 | 894 | 79.9287 | 0
2020-12-08 00:30:00 | 1.1893 | 155.4733 | 1.168 | 336.5947 | 1.5407 | 152.0527 | 1.3987 | 338.3153 | 4.1267 | 894 | 79.6933 | 0
2020-12-08 00:45:00 | 0.628 | 164.9267 | 0.634 | 206.4553 | 0.95067 | 161.2987 | 0.86667 | 207.5107 | 4.44 | 894 | 78.8573 | 0
2020-12-08 01:00:00 | 0.62267 | 141.4667 | 0.66 | 226.902 | 0.806 | 138.3527 | 0.82267 | 228.062 | 4.3267 | 893.8667 | 79.7627 | 0
2020-12-08 01:15:00 | 0.616 | 147.7933 | 0.64267 | 271.1593 | 0.986 | 144.5407 | 0.93 | 272.5473 | 4.3 | 893.4667 | 80.32 | 0
2020-12-08 01:30:00 | 0.48667 | 107.4667 | 0.534 | 155.138 | 0.866 | 105.102 | 0.84533 | 155.9293 | 4.3333 | 893.2 | 81.3333 | 0
2020-12-08 01:45:00 | 0.47533 | 190.4333 | 0.49867 | 200.294 | 0.82867 | 186.244 | 0.768 | 201.3173 | 4.3533 | 893.4667 | 82.32 | 0
2020-12-08 02:00:00 | 0.41267 | 82.1867 | 0.46467 | 69.8873 | 0.36133 | 80.3787 | 0.47467 | 70.2447 | 4.32 | 893.2 | 81.8733 | 0
2020-12-08 02:15:00 | 0.478 | 109.3467 | 0.522 | 88.45 | 0.588 | 106.9407 | 0.63733 | 88.9033 | 4.2867 | 893 | 81.38 | 0
2020-12-08 02:30:00 | 0.65933 | 153.0933 | 0.70267 | 145.2787 | 0.80533 | 149.7253 | 0.84133 | 146.022 | 4.18 | 893 | 81.16 | 0
2020-12-08 02:45:00 | 0.76933 | 149.3267 | 0.794 | 155.802 | 0.772 | 146.0413 | 0.81867 | 156.5973 | 4.14 | 893 | 80.5267 | 0
2020-12-08 03:00:00 | 0.84333 | 133.5467 | 0.85133 | 154.2227 | 0.85 | 130.9347 | 0.86133 | 155.0133 | 3.9467 | 893 | 80.5067 | 0
2020-12-08 03:15:00 | 0.98333 | 133.4333 | 1.01 | 150.4173 | 1.008 | 130.4987 | 1.0553 | 151.1847 | 3.8067 | 893 | 81.8467 | 0
2020-12-08 03:30:00 | 1.2593 | 162.6267 | 1.3053 | 165.646 | 1.2693 | 159.0493 | 1.3533 | 166.4933 | 3.8 | 893 | 84.5 | 0
2020-12-08 03:45:00 | 1.5867 | 174.0733 | 1.63 | 163.9847 | 1.7647 | 170.242 | 1.7967 | 164.8233 | 3.6933 | 892.5333 | 85.3267 | 0.418
2020-12-08 04:00:00 | 1.8627 | 183.26 | 1.8827 | 171.046 | 2.0187 | 179.2293 | 2.0127 | 171.92 | 3.5867 | 892 | 86.7667 | 1.0607
2020-12-08 04:15:00 | 1.9547 | 193.18 | 2.0753 | 184.724 | 2.188 | 188.9313 | 2.3487 | 185.6687 | 3.4 | 892 | 88.9733 | 1.3027
2020-12-08 04:30:00 | 2.3047 | 192.96 | 2.4513 | 180.988 | 2.5313 | 188.7147 | 2.7453 | 181.9153 | 3.3933 | 892 | 91.2667 | 1.232
2020-12-08 04:45:00 | 2.1967 | 191.3267 | 2.3593 | 178.882 | 2.5607 | 187.1173 | 2.766 | 179.7967 | 3.3 | 892 | 91.2133 | 1.572
2020-12-08 05:00:00 | 2.1907 | 186.82 | 2.3067 | 187.3273 | 2.3687 | 182.7093 | 2.5387 | 188.2833 | 3.24 | 891.8667 | 91.0667 | 2.288
2020-12-08 05:15:00 | 2.4327 | 183.9867 | 2.5193 | 173.5553 | 2.4733 | 179.938 | 2.626 | 174.4433 | 3.0533 | 891 | 91.48 | 2.1327
2020-12-08 05:30:00 | 2.2593 | 174.5867 | 2.36 | 169.266 | 2.454 | 170.7453 | 2.5907 | 170.13 | 3.0267 | 891 | 91.76 | 1.99
2020-12-08 05:45:00 | 2.4687 | 177.3333 | 2.5787 | 166.242 | 2.772 | 173.4313 | 2.8933 | 167.0907 | 2.8467 | 891 | 92.3 | 2.4593
2020-12-08 06:00:00 | 2.536 | 162.8 | 2.6367 | 158.3507 | 2.61 | 159.218 | 2.7847 | 159.1607 | 2.8933 | 891 | 91.8667 | 3.4393
2020-12-08 06:15:00 | 2.2667 | 155.8467 | 2.3727 | 158.1753 | 2.4207 | 152.4193 | 2.5813 | 158.9833 | 2.76 | 891 | 91.54 | 2.816
2020-12-08 06:30:00 | 2.4947 | 155.1133 | 2.58 | 155.886 | 2.6947 | 151.7007 | 2.8013 | 156.6833 | 2.8667 | 890.2 | 91.5267 | 3.442
2020-12-08 06:45:00 | 2.53 | 156.4533 | 2.632 | 154.0547 | 2.7027 | 153.0113 | 2.844 | 154.8433 | 2.7267 | 890 | 93.9333 | 3.5213
2020-12-08 07:00:00 | 2.256 | 157.92 | 2.3533 | 161.7293 | 2.222 | 154.444 | 2.4193 | 162.5547 | 2.6933 | 890.1333 | 96.64 | 3.0353
2020-12-08 07:15:00 | 2.258 | 169.7 | 2.3533 | 158.8093 | 2.5007 | 165.966 | 2.616 | 159.6207 | 2.64 | 891 | 98.2333 | 2.812
2020-12-08 07:30:00 | 2.1367 | 176.5867 | 2.192 | 154.5173 | 2.35 | 172.7007 | 2.3953 | 155.3067 | 2.7 | 891 | 98.0667 | 2.5567
2020-12-08 07:45:00 | 2.49 | 182.4333 | 2.56 | 163.174 | 2.714 | 178.42 | 2.7847 | 164.0107 | 2.88 | 891 | 97.3867 | 2.6033
2020-12-08 08:00:00 | 2.6333 | 172.0533 | 2.7027 | 155.072 | 2.8227 | 168.2673 | 2.9033 | 155.864 | 3.1067 | 891 | 97.3733 | 2.8513
2020-12-08 08:15:00 | 2.4487 | 149.8733 | 2.4853 | 143.348 | 2.498 | 146.5753 | 2.56 | 144.0807 | 3.0867 | 891 | 97.7533 | 2.2607
2020-12-08 08:30:00 | 2.168 | 127.7933 | 2.23 | 135.0553 | 2.2987 | 124.9813 | 2.38 | 135.7453 | 3.1333 | 891 | 98.46 | 0.93333
2020-12-08 08:45:00 | 2.3407 | 131.9 | 2.3873 | 128.66 | 2.66 | 128.998 | 2.6587 | 129.3173 | 2.9867 | 891 | 99.24 | 2.2973
2020-12-08 09:00:00 | 2.9793 | 126.7733 | 3.072 | 126.938 | 3.4827 | 123.984 | 3.5153 | 127.5873 | 3.04 | 891 | 99.7867 | 4.598
2020-12-08 09:15:00 | 3.4653 | 133.3733 | 3.5573 | 127.9153 | 3.9693 | 130.44 | 4.0013 | 128.57 | 3 | 891 | 100 | 6.428
2020-12-08 09:30:00 | 2.8853 | 136.4667 | 2.8727 | 125.086 | 3.1747 | 133.464 | 3.07 | 125.7273 | 3.1 | 891 | 100 | 4.8087
2020-12-08 09:45:00 | 3.0053 | 136.5133 | 3.1 | 128.6587 | 3.398 | 133.5087 | 3.4673 | 129.316 | 3.2933 | 891 | 100 | 4.3047
2020-12-08 10:00:00 | 3.138 | 135.1867 | 3.1607 | 125.9213 | 3.738 | 132.2107 | 3.608 | 126.564 | 3.34 | 891 | 100 | 5.614
2020-12-08 10:15:00 | 3.5807 | 129.08 | 3.4853 | 127.3647 | 4.164 | 126.236 | 3.812 | 128.016 | 3.3067 | 891 | 100 | 9.312
2020-12-08 10:30:00 | 3.63 | 126.6 | 3.53 | 126.94 | 4.21 | 123.81 | 3.85 | 127.59 | 3.3 | 891 | 100 | 10.164
2020-12-08 10:45:00 | 3.63 | 126.6 | 3.53 | 126.94 | 4.21 | 123.81 | 3.85 | 127.59 | 3.3 | 891 | 100 | 5.736
2020-12-08 11:00:00 | 3.63 | 126.6 | 3.53 | 126.94 | 4.21 | 123.81 | 3.85 | 127.59 | 3.3 | 891 | 100 | 4.0607
2020-12-08 11:15:00 | 3.2887 | 135.6467 | 3.2227 | 129.8287 | 3.7773 | 132.6587 | 3.508 | 130.494 | 3.3733 | 891 | 100 | 3.862
2020-12-08 11:30:00 | 1.9673 | 169.0733 | 2.0513 | 166.866 | 2.1813 | 165.3533 | 2.28 | 167.7193 | 3.6667 | 890.2 | 100 | 3.1987
2020-12-08 11:45:00 | 2.2693 | 181.82 | 2.3387 | 161.788 | 2.5787 | 177.82 | 2.6207 | 162.6153 | 3.6 | 890 | 100 | 4.892
2020-12-08 12:00:00 | 2.5433 | 194.1 | 2.708 | 165.216 | 2.9993 | 189.8307 | 3.1793 | 166.062 | 3.5533 | 890 | 100 | 6.5847
2020-12-08 12:15:00 | 2.6893 | 198.02 | 2.86 | 170.8493 | 3.1253 | 193.6647 | 3.322 | 171.7233 | 3.54 | 890 | 100 | 7.818
2020-12-08 12:30:00 | 2.5173 | 194.98 | 2.6453 | 170.432 | 2.8613 | 190.69 | 3.0013 | 171.304 | 3.6067 | 889.2 | 100 | 6.444
2020-12-08 12:45:00 | 2.5993 | 186.5733 | 2.6987 | 172.5127 | 2.8967 | 182.4693 | 3.0027 | 173.394 | 3.7 | 889 | 100 | 5.68
2020-12-08 13:00:00 | 2.3387 | 186.66 | 2.49 | 171.5607 | 2.6473 | 182.554 | 2.844 | 172.4387 | 3.78 | 888.8667 | 100 | 4.7733
2020-12-08 13:15:00 | 2.4427 | 194.7467 | 2.6 | 172.82 | 2.8833 | 190.4627 | 3.0527 | 173.7033 | 3.8067 | 888 | 100 | 5.7627
2020-12-08 13:30:00 | 2.3113 | 191.0733 | 2.4293 | 166.4933 | 2.6353 | 186.8693 | 2.7653 | 167.346 | 3.8133 | 888 | 100 | 4.6327
2020-12-08 13:45:00 | 2.122 | 187.4267 | 2.2367 | 168.0727 | 2.4907 | 183.304 | 2.6027 | 168.9313 | 3.7933 | 888 | 100 | 4.0187
2020-12-08 14:00:00 | 2.104 | 197.58 | 2.1433 | 178.4393 | 2.3993 | 193.2333 | 2.3887 | 179.352 | 3.8667 | 887.8667 | 100 | 2.9127
2020-12-08 14:15:00 | 1.7113 | 218.16 | 1.8047 | 193.1413 | 1.8973 | 213.36 | 2.0227 | 194.1293 | 3.9933 | 887 | 100 | 2.03
2020-12-08 14:30:00 | 1.778 | 206.1133 | 1.8547 | 183.3673 | 2.0833 | 201.5793 | 2.144 | 184.306 | 3.9333 | 887 | 100 | 1.818
2020-12-08 14:45:00 | 1.598 | 207.1867 | 1.7907 | 155.712 | 1.9253 | 202.6293 | 2.1913 | 156.5073 | 3.9533 | 887 | 100 | 1.242
2020-12-08 15:00:00 | 2.0567 | 183.64 | 2.1833 | 164.102 | 2.5673 | 179.6 | 2.6607 | 164.94 | 3.9067 | 887 | 100 | 0.40267
2020-12-08 15:15:00 | 1.8667 | 189.16 | 1.9453 | 190.2213 | 2.0447 | 184.9987 | 2.1507 | 191.1933 | 3.8867 | 887 | 100 | 0
2020-12-08 15:30:00 | 1.6387 | 194.3067 | 1.7747 | 176.6273 | 2.0153 | 190.0313 | 2.1627 | 177.53 | 3.9667 | 887 | 100 | 0
2020-12-08 15:45:00 | 1.8213 | 169.1067 | 1.9447 | 161.4167 | 2.0387 | 165.386 | 2.2093 | 162.24 | 4.0267 | 887 | 100 | 0
2020-12-08 16:00:00 | 1.682 | 169.8533 | 1.7747 | 163.632 | 1.938 | 166.116 | 2.0373 | 164.4693 | 4.06 | 887 | 100 | 0
2020-12-08 16:15:00 | 1.39 | 165.78 | 1.4273 | 149.2567 | 1.4647 | 162.1333 | 1.5153 | 150.0187 | 4.06 | 887 | 100 | 0
2020-12-08 16:30:00 | 1.1427 | 152.5867 | 1.1833 | 160.6767 | 1.1533 | 149.2287 | 1.2287 | 161.5 | 4.1267 | 887 | 100 | 0
2020-12-08 16:45:00 | 0.99133 | 180.4 | 1.012 | 157.6147 | 0.91533 | 176.4313 | 0.978 | 158.42 | 4.22 | 887 | 100 | 0
2020-12-08 17:00:00 | 0.78733 | 177.3867 | 0.81133 | 152.772 | 0.79933 | 173.4847 | 0.84533 | 153.5513 | 4.3133 | 887 | 100 | 0
2020-12-08 17:15:00 | 0.62 | 143.7933 | 0.612 | 132.1467 | 0.56933 | 140.6293 | 0.57067 | 132.8227 | 4.4467 | 887 | 100 | 0
2020-12-08 17:30:00 | 0.89933 | 149.7733 | 0.91667 | 135.89 | 0.79267 | 146.4793 | 0.86 | 136.5847 | 4.4733 | 887 | 100 | 0
2020-12-08 17:45:00 | 0.73267 | 154 | 0.72533 | 138.2953 | 0.592 | 150.612 | 0.61867 | 139.004 | 4.44 | 887 | 100 | 0
2020-12-08 18:00:00 | 0.68867 | 168.5867 | 0.694 | 141.902 | 0.60533 | 164.8787 | 0.64 | 142.6273 | 4.4333 | 887 | 100 | 0.31067
2020-12-08 18:15:00 | 0.64533 | 137.9067 | 0.61867 | 140.0033 | 0.53867 | 134.872 | 0.51667 | 140.7187 | 4.42 | 887 | 100 | 0.16533
2020-12-08 18:30:00 | 0.34467 | 107.4333 | 0.37867 | 192.002 | 0.394 | 105.07 | 0.442 | 192.982 | 4.54 | 887 | 100 | 0.20267
2020-12-08 18:45:00 | 0.356 | 89.58 | 0.38667 | 144.444 | 0.57133 | 87.608 | 0.56467 | 145.184 | 4.6733 | 887 | 100 | 0.21933
2020-12-08 19:00:00 | 0.32133 | 29.0467 | 0.33 | 244.1093 | 0.49733 | 28.4087 | 0.46467 | 245.3573 | 4.58 | 887.8 | 100 | 0.14467
2020-12-08 19:15:00 | 0.40867 | 127.62 | 0.43067 | 273.3587 | 0.716 | 124.8133 | 0.66733 | 274.7547 | 4.7533 | 888 | 100 | 0.13133
2020-12-08 19:30:00 | 0.864 | 182.92 | 0.88867 | 321.45 | 1.3173 | 178.8953 | 1.2353 | 323.0927 | 4.5067 | 888 | 100 | 0
2020-12-08 19:45:00 | 1.5733 | 342.2 | 1.6207 | 330.81 | 2.1893 | 334.672 | 2.0987 | 332.5027 | 4.3533 | 888 | 100 | 0
2020-12-08 20:00:00 | 2.5807 | 321.26 | 2.7547 | 325.27 | 3.0573 | 314.1927 | 3.25 | 326.9327 | 4.1333 | 888 | 100 | 0.31067
2020-12-08 20:15:00 | 2.4693 | 307.28 | 2.5533 | 321.7747 | 3.0533 | 300.52 | 3.0467 | 323.4207 | 4.1 | 888 | 100 | 1.49
2020-12-08 20:30:00 | 2.5667 | 337.7067 | 2.6553 | 324.1093 | 3.268 | 330.276 | 3.2333 | 325.7673 | 4.0267 | 888 | 100 | 1.8253
2020-12-08 20:45:00 | 2.4853 | 290.9867 | 2.5333 | 326.5407 | 3.142 | 284.586 | 3.048 | 328.2107 | 3.9333 | 888 | 100 | 1.5747
2020-12-08 21:00:00 | 2.4127 | 316.4133 | 2.4673 | 334.8073 | 3.0627 | 309.452 | 2.978 | 336.52 | 3.9 | 888 | 100 | 1.4127
2020-12-08 21:15:00 | 2.594 | 293.5267 | 2.6833 | 316.9047 | 3.1293 | 287.0693 | 3.1447 | 318.526 | 3.8467 | 888 | 100 | 1.544
2020-12-08 21:30:00 | 2.5433 | 311.24 | 2.6207 | 317.9147 | 3.1367 | 304.3927 | 3.1133 | 319.54 | 3.8467 | 888 | 100 | 1.4107
2020-12-08 21:45:00 | 2.5633 | 332.6667 | 2.6187 | 322.408 | 3.08 | 325.348 | 3.0387 | 324.0567 | 3.8333 | 888 | 100 | 1.4807
2020-12-08 22:00:00 | 3.2027 | 332.5533 | 3.4027 | 318.2813 | 3.6967 | 325.236 | 3.9333 | 319.9067 | 3.7867 | 888.1333 | 100 | 3.5487
2020-12-08 22:15:00 | 3.422 | 343.74 | 3.6893 | 331.9787 | 3.992 | 336.1773 | 4.3327 | 333.6753 | 3.7933 | 889 | 100 | 4.312
2020-12-08 22:30:00 | 3.406 | 329.18 | 3.636 | 323.7427 | 4.1147 | 321.9373 | 4.3493 | 325.3987 | 3.6333 | 889 | 100 | 4.9467
2020-12-08 22:45:00 | 3.302 | 317.3067 | 3.4853 | 332.4353 | 4.0587 | 310.3247 | 4.1867 | 334.134 | 3.6 | 889 | 100 | 5.4613
2020-12-08 23:00:00 | 3.2133 | 327.9333 | 3.3887 | 326.2807 | 3.8567 | 320.718 | 4.0007 | 327.9493 | 3.58 | 889 | 100 | 5.3873
2020-12-08 23:15:00 | 3.0673 | 335.5467 | 3.258 | 327.5313 | 3.8727 | 328.1647 | 3.9993 | 329.206 | 3.5067 | 889 | 100 | 4.194
2020-12-08 23:30:00 | 3.1293 | 335.04 | 3.3407 | 336.484 | 3.8547 | 327.67 | 4.0447 | 338.206 | 3.4067 | 889 | 100 | 3.888
2020-12-08 23:45:00 | 2.468 | 315.9467 | 2.5473 | 310.5793 | 2.992 | 308.9953 | 2.992 | 312.168 | 3.54 | 889 | 100 | 1.0813