## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-09 00:00:00 | 2.2893 | 290.1267 | 2.3133 | 328.4327 | 2.84 | 283.744 | 2.7313 | 330.11 | 3.7733 | 889 | 100 | 0.72267
2020-12-09 00:15:00 | 1.7473 | 288.18 | 1.726 | 312.5353 | 2.198 | 281.84 | 2.03 | 314.1333 | 3.8267 | 888.5333 | 100 | 0
2020-12-09 00:30:00 | 1.9033 | 307.24 | 1.9107 | 326.8547 | 2.2533 | 300.48 | 2.168 | 328.5247 | 3.86 | 888 | 100 | 0
2020-12-09 00:45:00 | 2.196 | 331.2933 | 2.1853 | 317.7313 | 2.728 | 324.0047 | 2.5567 | 319.3567 | 3.84 | 888 | 100 | 0.38067
2020-12-09 01:00:00 | 2.628 | 339.0733 | 2.6793 | 318.522 | 3.248 | 331.616 | 3.1687 | 320.15 | 3.76 | 888 | 100 | 1.4633
2020-12-09 01:15:00 | 2.864 | 289.1267 | 2.9527 | 315.952 | 3.5967 | 282.7667 | 3.5553 | 317.568 | 3.8333 | 888 | 100 | 2.5653
2020-12-09 01:30:00 | 3.1193 | 291 | 3.2273 | 316.3113 | 3.9727 | 284.5973 | 3.932 | 317.9287 | 3.7533 | 888 | 100 | 4.2227
2020-12-09 01:45:00 | 3.2733 | 327.9533 | 3.4147 | 318.8993 | 4.0947 | 320.7373 | 4.1273 | 320.53 | 3.4533 | 888 | 100 | 5.388
2020-12-09 02:00:00 | 3.4293 | 340.8067 | 3.6327 | 328.3793 | 4.0933 | 333.3087 | 4.2853 | 330.0567 | 3.28 | 888 | 100 | 5.586
2020-12-09 02:15:00 | 3.5193 | 317.68 | 3.6947 | 321.8787 | 4.2493 | 310.6907 | 4.3727 | 323.5247 | 3.1467 | 888 | 100 | 6.7687
2020-12-09 02:30:00 | 3.688 | 314.2667 | 3.876 | 327.2073 | 4.5033 | 307.354 | 4.6287 | 328.88 | 3.0667 | 888 | 100 | 8.0353
2020-12-09 02:45:00 | 4.1033 | 335.1 | 4.3367 | 319.6293 | 4.9207 | 327.728 | 5.13 | 321.2653 | 3.2 | 888 | 100 | 10.5367
2020-12-09 03:00:00 | 3.6393 | 311.2267 | 3.8073 | 326.9053 | 4.3607 | 304.3793 | 4.4747 | 328.5773 | 3.2067 | 887.8667 | 100 | 7.0793
2020-12-09 03:15:00 | 3.0593 | 328.1 | 3.1527 | 320.874 | 3.8327 | 320.8807 | 3.7853 | 322.5153 | 3.2267 | 887.4667 | 100 | 4.864
2020-12-09 03:30:00 | 3.48 | 333.36 | 3.6587 | 322.1273 | 4.2547 | 326.0267 | 4.3653 | 323.7733 | 3.2333 | 888 | 100 | 6.0347
2020-12-09 03:45:00 | 4.234 | 331.3267 | 4.4667 | 323.4253 | 5.0493 | 324.0373 | 5.2573 | 325.0787 | 3.2267 | 888 | 100 | 10.9193
2020-12-09 04:00:00 | 4.8333 | 333.3667 | 5.1407 | 325.7453 | 5.49 | 326.0327 | 5.884 | 327.412 | 3.2467 | 888 | 100 | 13.348
2020-12-09 04:15:00 | 4.9607 | 340.0867 | 5.3287 | 326 | 5.626 | 332.606 | 6.1333 | 327.6673 | 3.1267 | 888 | 100 | 16.048
2020-12-09 04:30:00 | 5.028 | 344.1267 | 5.4593 | 327.5853 | 5.8107 | 336.5553 | 6.3987 | 329.2613 | 2.9667 | 888 | 100 | 19.2247
2020-12-09 04:45:00 | 4.7627 | 337.7267 | 5.132 | 329.7753 | 5.4007 | 330.2967 | 5.916 | 331.4613 | 2.9267 | 887.5333 | 100 | 15.946
2020-12-09 05:00:00 | 4.888 | 337.0667 | 5.2607 | 323.2153 | 5.6227 | 329.652 | 6.1147 | 324.8687 | 2.94 | 887 | 100 | 16.3233
2020-12-09 05:15:00 | 4.6693 | 344.5533 | 5.0067 | 322.2833 | 5.3467 | 336.9727 | 5.7913 | 323.9307 | 3.0267 | 887 | 100 | 13.288
2020-12-09 05:30:00 | 4.5033 | 339.8933 | 4.8407 | 320.5887 | 5.2713 | 332.416 | 5.69 | 322.228 | 3.0133 | 887 | 100 | 13.896
2020-12-09 05:45:00 | 4.6573 | 339.44 | 4.9927 | 321.6053 | 5.3613 | 331.972 | 5.794 | 323.2493 | 2.9667 | 887 | 100 | 14.6467
2020-12-09 06:00:00 | 4.55 | 323.22 | 4.8747 | 322.2447 | 5.2187 | 316.1093 | 5.6393 | 323.8927 | 2.9133 | 887 | 100 | 13.3773
2020-12-09 06:15:00 | 4.268 | 347.4467 | 4.5827 | 320.8367 | 4.988 | 339.8027 | 5.378 | 322.476 | 2.8733 | 887 | 100 | 11.136
2020-12-09 06:30:00 | 4.5467 | 349.8667 | 4.8767 | 319.5247 | 5.3087 | 342.1707 | 5.714 | 321.1587 | 2.92 | 887 | 100 | 13.7167
2020-12-09 06:45:00 | 4.5367 | 349.58 | 4.846 | 324.996 | 5.222 | 341.8887 | 5.608 | 326.6573 | 2.98 | 887 | 100 | 12.878
2020-12-09 07:00:00 | 4.518 | 344.5533 | 4.7993 | 314.8833 | 5.3213 | 336.9733 | 5.626 | 316.4947 | 3.0333 | 887 | 100 | 13.59
2020-12-09 07:15:00 | 5.0167 | 343.2467 | 5.2973 | 317.674 | 5.798 | 335.6947 | 6.1047 | 319.298 | 3.0867 | 887.4667 | 100 | 15.8207
2020-12-09 07:30:00 | 4.9833 | 345.4333 | 5.2853 | 322.4133 | 5.7593 | 337.8333 | 6.1053 | 324.062 | 3.0867 | 888 | 100 | 15.2547
2020-12-09 07:45:00 | 4.6253 | 344.5933 | 4.912 | 327.4793 | 5.452 | 337.0107 | 5.7593 | 329.1533 | 3.1267 | 888 | 100 | 13.388
2020-12-09 08:00:00 | 4.6133 | 346.6067 | 4.9013 | 323.3273 | 5.4187 | 338.9807 | 5.7333 | 324.98 | 3.08 | 888 | 100 | 13.6873
2020-12-09 08:15:00 | 5.2007 | 341.4533 | 5.4973 | 324.2007 | 5.87 | 333.9407 | 6.242 | 325.858 | 3.22 | 888 | 100 | 18.3253
2020-12-09 08:30:00 | 5.0353 | 343.22 | 5.3773 | 327.1873 | 5.648 | 335.67 | 6.118 | 328.8593 | 3.2867 | 888 | 100 | 18.7407
2020-12-09 08:45:00 | 4.0713 | 320.1667 | 4.404 | 324.5467 | 4.6727 | 313.1213 | 5.1287 | 326.2053 | 3.1733 | 888 | 100 | 14.7267
2020-12-09 09:00:00 | 4.52 | 344.4467 | 4.8807 | 324.4353 | 4.886 | 336.8687 | 5.4667 | 326.0933 | 3.1867 | 888 | 100 | 15.3613
2020-12-09 09:15:00 | 5.0013 | 341.9867 | 5.3333 | 322.0167 | 5.5493 | 334.462 | 6.02 | 323.662 | 3.22 | 888 | 100 | 20.1427
2020-12-09 09:30:00 | 5.4193 | 338.22 | 5.76 | 331.7627 | 6.1007 | 330.7773 | 6.5487 | 333.4593 | 3.3467 | 888.8 | 100 | 23.16
2020-12-09 09:45:00 | 6.1133 | 343.9533 | 6.4647 | 333.0347 | 6.9273 | 336.3873 | 7.358 | 334.7373 | 3.3933 | 889 | 100 | 31.3307
2020-12-09 10:00:00 | 6.8493 | 345.4467 | 7.216 | 325.57 | 7.3787 | 337.8473 | 7.9253 | 327.234 | 3.64 | 889 | 100 | 34.3067
2020-12-09 10:15:00 | 7.0347 | 344.8 | 7.458 | 327.0707 | 7.6467 | 337.214 | 8.2787 | 328.7427 | 3.7267 | 889 | 100 | 36.368
2020-12-09 10:30:00 | 7.296 | 343.8467 | 7.81 | 327.3827 | 8.212 | 336.2813 | 8.9213 | 329.056 | 3.8133 | 889 | 100 | 36.8507
2020-12-09 10:45:00 | 6.9467 | 346.0867 | 7.4673 | 324.0827 | 7.7487 | 338.4713 | 8.496 | 325.7407 | 3.86 | 889 | 100 | 35.3567
2020-12-09 11:00:00 | 6.636 | 339.6333 | 7.1947 | 323.6673 | 7.482 | 332.1633 | 8.2973 | 325.3207 | 3.98 | 889 | 100 | 31.9
2020-12-09 11:15:00 | 6.3073 | 340.2067 | 6.8647 | 324.264 | 7.3447 | 332.722 | 8.0967 | 325.924 | 3.8867 | 889 | 100 | 29.0827
2020-12-09 11:30:00 | 5.99 | 337.08 | 6.508 | 318.7633 | 6.9913 | 329.6647 | 7.682 | 320.3927 | 3.94 | 889.6667 | 100 | 28.366
2020-12-09 11:45:00 | 5.7787 | 338.6733 | 6.3747 | 322.968 | 6.7 | 331.2227 | 7.5553 | 324.618 | 4.02 | 889.4667 | 99.6667 | 28.29
2020-12-09 12:00:00 | 5.4553 | 335.9933 | 6.0113 | 321.9053 | 6.288 | 328.6013 | 7.1013 | 323.5507 | 4.1 | 889.8667 | 98.42 | 26.156
2020-12-09 12:15:00 | 5.7127 | 342.9333 | 6.2933 | 299.106 | 6.55 | 335.3887 | 7.4033 | 300.6353 | 4.16 | 889 | 97.6 | 28.1347
2020-12-09 12:30:00 | 5.9413 | 345.6467 | 6.566 | 319.9367 | 6.8173 | 338.0427 | 7.7447 | 321.5713 | 4.1667 | 889 | 96.42 | 29.9993
2020-12-09 12:45:00 | 5.9873 | 348.8667 | 6.6187 | 327.6573 | 6.9373 | 341.1907 | 7.8593 | 329.332 | 4.32 | 889 | 96.1 | 30.968
2020-12-09 13:00:00 | 5.5193 | 304.0067 | 6.132 | 330.5313 | 6.342 | 297.3193 | 7.2607 | 332.2213 | 4.6467 | 889 | 95.8133 | 26.488
2020-12-09 13:15:00 | 5.4413 | 351.0133 | 5.9813 | 329.286 | 6.2073 | 343.2913 | 7.0087 | 330.97 | 4.6867 | 889 | 94.8667 | 23.4053
2020-12-09 13:30:00 | 5.446 | 349.58 | 5.98 | 328.3527 | 6.182 | 341.8893 | 6.9847 | 330.0327 | 4.6133 | 888.2 | 93.4733 | 22.0773
2020-12-09 13:45:00 | 5.414 | 342.4267 | 5.838 | 330.128 | 5.9173 | 334.8927 | 6.5733 | 331.816 | 4.8533 | 888 | 91.7667 | 21.006
2020-12-09 14:00:00 | 5.1913 | 345.1133 | 5.6193 | 328.7767 | 5.5967 | 337.5207 | 6.29 | 330.4587 | 4.8867 | 888 | 91.64 | 21.0327
2020-12-09 14:15:00 | 4.664 | 325.6067 | 5.116 | 325.27 | 5.2053 | 318.444 | 5.9053 | 326.932 | 4.9467 | 888 | 91.2733 | 19.406
2020-12-09 14:30:00 | 4.378 | 326.2 | 4.81 | 329.3713 | 4.9767 | 319.024 | 5.624 | 331.0553 | 5.06 | 888 | 90.6733 | 18.264
2020-12-09 14:45:00 | 4.4687 | 303.7933 | 4.878 | 264.4647 | 5.2447 | 297.1093 | 5.796 | 265.816 | 5.18 | 888 | 89.8533 | 19.0767
2020-12-09 15:00:00 | 4.738 | 279.4467 | 5.0487 | 330.2907 | 5.262 | 273.298 | 5.7013 | 331.9787 | 5.2133 | 888 | 90.0933 | 20.266
2020-12-09 15:15:00 | 4.5967 | 275.5867 | 5.0187 | 331.152 | 5.1467 | 269.5233 | 5.7853 | 332.8447 | 5.26 | 888 | 89.38 | 20.7187
2020-12-09 15:30:00 | 4.6647 | 276.7533 | 5.0453 | 328.9073 | 5.284 | 270.664 | 5.828 | 330.5887 | 5.3333 | 888 | 88.5867 | 22.5787
2020-12-09 15:45:00 | 4.8753 | 305.2333 | 5.256 | 310.606 | 5.4413 | 298.518 | 5.998 | 312.194 | 5.4533 | 888 | 87.64 | 23.6087
2020-12-09 16:00:00 | 4.8353 | 304.86 | 5.204 | 333.9547 | 5.352 | 298.156 | 5.9013 | 335.6607 | 5.5667 | 888 | 87.26 | 22.6507
2020-12-09 16:15:00 | 4.5453 | 304.68 | 4.9247 | 292.6247 | 5.1207 | 297.9773 | 5.674 | 294.1193 | 5.58 | 888 | 87.5467 | 22.0247
2020-12-09 16:30:00 | 4.8613 | 144.1667 | 5.18 | 267.5807 | 5.2407 | 140.9953 | 5.7367 | 268.95 | 5.74 | 888 | 86.28 | 25.254
2020-12-09 16:45:00 | 4.7527 | 263.2067 | 5.064 | 311.7607 | 5.3093 | 257.416 | 5.7367 | 313.354 | 5.82 | 888 | 85.9933 | 23.914
2020-12-09 17:00:00 | 4.8 | 304.54 | 5.096 | 290.4867 | 5.468 | 297.8407 | 5.8327 | 291.9707 | 5.9 | 888 | 86.54 | 23.4773
2020-12-09 17:15:00 | 4.67 | 280.2 | 4.9233 | 314.956 | 5.0893 | 274.036 | 5.4493 | 316.5647 | 5.9 | 888 | 88.1933 | 21.806
2020-12-09 17:30:00 | 4.4067 | 283.1067 | 4.7093 | 288.5873 | 4.792 | 276.8787 | 5.2567 | 290.0633 | 5.9133 | 888.1333 | 88.4267 | 18.584
2020-12-09 17:45:00 | 3.8533 | 281.1467 | 4.008 | 333.4327 | 4.0487 | 274.962 | 4.2853 | 335.138 | 5.8267 | 889 | 88.8733 | 13.442
2020-12-09 18:00:00 | 3.206 | 233.6133 | 3.3307 | 330.1713 | 3.2113 | 228.4733 | 3.4467 | 331.8613 | 5.7667 | 889 | 87.3467 | 10.332
2020-12-09 18:15:00 | 3.6073 | 321.8067 | 3.7687 | 334.3973 | 3.732 | 314.726 | 4.0053 | 336.1087 | 5.86 | 889 | 86.4667 | 9.884
2020-12-09 18:30:00 | 3.9153 | 345.26 | 4.0707 | 314.7533 | 4.2347 | 337.6627 | 4.4393 | 316.362 | 5.8533 | 889 | 87.6933 | 12.4267
2020-12-09 18:45:00 | 3.9727 | 301.3667 | 4.098 | 272.574 | 4.312 | 294.7367 | 4.4547 | 273.9687 | 5.8467 | 889 | 89.46 | 13.5147
2020-12-09 19:00:00 | 4.2493 | 212.5933 | 4.434 | 340.428 | 4.4867 | 207.9167 | 4.768 | 342.168 | 5.82 | 889.1333 | 90.1533 | 16.8753
2020-12-09 19:15:00 | 4.1533 | 214.1533 | 4.3547 | 319.936 | 4.4227 | 209.442 | 4.7307 | 321.5733 | 5.78 | 890 | 91.8733 | 16.8387
2020-12-09 19:30:00 | 3.9607 | 121.62 | 4.1607 | 320.5753 | 4.1287 | 118.9453 | 4.462 | 322.2147 | 5.6867 | 890 | 93.16 | 14.1467
2020-12-09 19:45:00 | 4.1027 | 55.14 | 4.3053 | 233.69 | 4.4187 | 53.9273 | 4.7133 | 234.8847 | 5.7067 | 890 | 92.4733 | 16.354
2020-12-09 20:00:00 | 4.0993 | 59.9733 | 4.316 | 143.538 | 4.426 | 58.654 | 4.7407 | 144.2713 | 5.6867 | 890 | 92.5467 | 16.354
2020-12-09 20:15:00 | 4.5147 | 79.4333 | 4.7513 | 206.8993 | 4.8527 | 77.6853 | 5.2073 | 207.9567 | 5.8 | 890 | 91.62 | 19.792
2020-12-09 20:30:00 | 4.3853 | 148.4333 | 4.6087 | 278.1813 | 4.8053 | 145.168 | 5.11 | 279.6047 | 5.7 | 890 | 91.3933 | 19.1907
2020-12-09 20:45:00 | 3.9113 | 147.9067 | 4.1293 | 317.2507 | 4.382 | 144.652 | 4.66 | 318.8727 | 5.48 | 890 | 91.1867 | 15.2967
2020-12-09 21:00:00 | 3.728 | 101.48 | 3.9107 | 341.088 | 4.0607 | 99.2473 | 4.3133 | 342.8307 | 5.3267 | 890.8 | 89.92 | 13.9887
2020-12-09 21:15:00 | 3.846 | 80.2867 | 4.1073 | 274.8973 | 4.2013 | 78.52 | 4.5933 | 276.302 | 5.3067 | 891 | 89.7533 | 15.2107
2020-12-09 21:30:00 | 4.3053 | 78.1267 | 4.6047 | 278.2427 | 4.71 | 76.408 | 5.1647 | 279.6633 | 5.3867 | 891 | 91.4467 | 18.072
2020-12-09 21:45:00 | 4.2967 | 59.6533 | 4.5587 | 277.284 | 4.6913 | 58.342 | 5.0747 | 278.6993 | 5.54 | 891 | 91.8333 | 16.6213
2020-12-09 22:00:00 | 4.002 | 14.1267 | 4.2653 | 317.6667 | 4.24 | 13.8167 | 4.6713 | 319.2927 | 5.62 | 891 | 89.58 | 13.9987
2020-12-09 22:15:00 | 4.0207 | 149.6133 | 4.3587 | 315.978 | 4.2613 | 146.3207 | 4.834 | 317.5947 | 5.48 | 891 | 85.0067 | 15.5247
2020-12-09 22:30:00 | 4.9207 | 213.3533 | 5.2413 | 334.026 | 5.304 | 208.66 | 5.802 | 335.734 | 5.4067 | 891 | 82.2733 | 23.3153
2020-12-09 22:45:00 | 5.922 | 281.3 | 6.4027 | 334.6513 | 6.4353 | 275.1113 | 7.1987 | 336.364 | 5.3867 | 891 | 82.4467 | 33.2573
2020-12-09 23:00:00 | 6.9373 | 347.5 | 7.3833 | 334.1113 | 7.7253 | 339.8553 | 8.3467 | 335.82 | 5.3267 | 891 | 82.4933 | 45.008
2020-12-09 23:15:00 | 8.0593 | 348.1533 | 8.5747 | 335.2987 | 8.8687 | 340.4927 | 9.6053 | 337.012 | 5.3267 | 891 | 85.2467 | 50.448
2020-12-09 23:30:00 | 8.0133 | 329.54 | 8.6027 | 333.2887 | 8.7587 | 322.2907 | 9.6653 | 334.9933 | 5.3267 | 891 | 86.18 | 48.5313
2020-12-09 23:45:00 | 7.5353 | 326.0867 | 8.144 | 340.6447 | 8.358 | 318.9147 | 9.274 | 342.3873 | 5.4533 | 891 | 86.8733 | 45.5113