## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-10 00:00:00 | 6.9233 | 349.9533 | 7.4187 | 339.934 | 7.5813 | 342.2547 | 8.3273 | 341.6713 | 5.5733 | 891 | 86.1933 | 42.8893
2020-12-10 00:15:00 | 6.4833 | 347.9333 | 6.9853 | 332.788 | 7.086 | 340.2787 | 7.8607 | 334.4893 | 5.5933 | 891 | 83.84 | 36.88
2020-12-10 00:30:00 | 5.672 | 346.38 | 6.1733 | 325.184 | 6.2587 | 338.76 | 7.038 | 326.8473 | 5.12 | 891 | 83.0467 | 30.4453
2020-12-10 00:45:00 | 5.2467 | 341.76 | 5.642 | 320.6273 | 5.8073 | 334.2427 | 6.3953 | 322.2673 | 4.9133 | 890.5333 | 81.9933 | 26.3553
2020-12-10 01:00:00 | 5.5013 | 340.56 | 5.8907 | 316.964 | 6.038 | 333.068 | 6.62 | 318.582 | 5.12 | 890 | 83.12 | 25.4393
2020-12-10 01:15:00 | 5.6693 | 348.92 | 6.0847 | 325.2753 | 6.328 | 341.244 | 6.9247 | 326.94 | 5.18 | 890 | 84.3667 | 26.3887
2020-12-10 01:30:00 | 5.332 | 348.7867 | 5.68 | 325.27 | 6.0167 | 341.1133 | 6.4807 | 326.9327 | 5.2267 | 890 | 85.0867 | 23.172
2020-12-10 01:45:00 | 5.328 | 348.72 | 5.686 | 328.588 | 6.048 | 341.0473 | 6.5193 | 330.2673 | 5.2533 | 890 | 85.7867 | 22.6053
2020-12-10 02:00:00 | 5.1527 | 346.22 | 5.46 | 328.6133 | 5.8447 | 338.602 | 6.2267 | 330.2947 | 4.8733 | 890 | 87.4533 | 23.04
2020-12-10 02:15:00 | 5.2253 | 349.0733 | 5.5367 | 328.054 | 5.8333 | 341.394 | 6.2493 | 329.7313 | 4.5667 | 890 | 88.88 | 23.1867
2020-12-10 02:30:00 | 5.5633 | 326.3267 | 5.8907 | 330.962 | 6.1887 | 319.1473 | 6.6293 | 332.6547 | 4.5 | 890 | 90.1067 | 27.5947
2020-12-10 02:45:00 | 5.2553 | 348.3133 | 5.5367 | 332.188 | 5.8533 | 340.6507 | 6.2153 | 333.886 | 4.5933 | 890 | 90.38 | 23.8467
2020-12-10 03:00:00 | 5.0153 | 327.22 | 5.2593 | 334.2867 | 5.5353 | 320.022 | 5.848 | 335.9973 | 4.7133 | 889.3333 | 91.74 | 20.32
2020-12-10 03:15:00 | 4.7553 | 327.2267 | 4.9947 | 334.3393 | 5.2473 | 320.0273 | 5.5593 | 336.048 | 4.42 | 889.5333 | 92.9267 | 17.5953
2020-12-10 03:30:00 | 4.6973 | 237.28 | 4.918 | 327.5513 | 5.1373 | 232.0607 | 5.4307 | 329.2267 | 4.0267 | 889 | 92.8267 | 16.244
2020-12-10 03:45:00 | 4.7733 | 191.7467 | 5.0013 | 332.0513 | 5.2567 | 187.5287 | 5.55 | 333.748 | 3.9733 | 889 | 94.1333 | 16.712
2020-12-10 04:00:00 | 4.8573 | 235.2 | 5.0553 | 330.0227 | 5.3407 | 230.024 | 5.5787 | 331.7093 | 3.8 | 889 | 94.6067 | 17.2847
2020-12-10 04:15:00 | 4.9947 | 304.8 | 5.19 | 329.8347 | 5.5547 | 298.0947 | 5.7633 | 331.5213 | 4.0667 | 889 | 94.48 | 19.0813
2020-12-10 04:30:00 | 4.9073 | 324.4 | 5.1 | 327.1933 | 5.59 | 317.264 | 5.7613 | 328.8653 | 4.0533 | 888.8667 | 92.5333 | 19.486
2020-12-10 04:45:00 | 5.2873 | 344.2333 | 5.4893 | 327.624 | 6.0393 | 336.6593 | 6.2027 | 329.2993 | 4.0133 | 888 | 90.6533 | 22.9393
2020-12-10 05:00:00 | 5.3473 | 344.6667 | 5.5453 | 330.0933 | 6.092 | 337.0833 | 6.2527 | 331.7813 | 4 | 888 | 91.48 | 22.75
2020-12-10 05:15:00 | 4.9707 | 324.2933 | 5.184 | 325.934 | 5.7873 | 317.1593 | 5.9553 | 327.6013 | 3.8067 | 888 | 91.62 | 21.11
2020-12-10 05:30:00 | 5.0773 | 303.4533 | 5.3013 | 329.1367 | 5.8987 | 296.7773 | 6.086 | 330.82 | 3.6333 | 888 | 92.6467 | 22.4547
2020-12-10 05:45:00 | 5.5093 | 349.5 | 5.7607 | 331.8667 | 6.3593 | 341.812 | 6.5907 | 333.5647 | 3.5 | 888 | 94.1067 | 25.9293
2020-12-10 06:00:00 | 5.354 | 259.2133 | 5.62 | 330.1927 | 6.1787 | 253.51 | 6.444 | 331.8813 | 3.4067 | 888 | 94.8467 | 25.6407
2020-12-10 06:15:00 | 5.47 | 329.8467 | 5.722 | 330.5193 | 6.316 | 322.59 | 6.5467 | 332.208 | 3.2333 | 888 | 94.0467 | 27.73
2020-12-10 06:30:00 | 5.616 | 162.5267 | 5.8533 | 333.0607 | 6.398 | 158.9507 | 6.626 | 334.7627 | 3.42 | 888 | 93.4333 | 27.762
2020-12-10 06:45:00 | 5.1387 | 255.2333 | 5.3933 | 324.1947 | 6.0273 | 249.6173 | 6.2567 | 325.852 | 3.2133 | 888 | 93.8533 | 24.164
2020-12-10 07:00:00 | 5.1273 | 345.9867 | 5.406 | 326.7253 | 6.0887 | 338.3747 | 6.3433 | 328.394 | 3.0733 | 888 | 94.16 | 22.2347
2020-12-10 07:15:00 | 5.2387 | 345.1133 | 5.548 | 326.1573 | 6.196 | 337.52 | 6.508 | 327.8247 | 2.8867 | 888 | 93.4667 | 22.1147
2020-12-10 07:30:00 | 5.1007 | 347.7333 | 5.438 | 329.1367 | 6.0727 | 340.0827 | 6.4347 | 330.8193 | 2.9667 | 888 | 92.6133 | 21.5333
2020-12-10 07:45:00 | 5.0847 | 348.5867 | 5.4413 | 326.352 | 6.024 | 340.918 | 6.424 | 328.0213 | 3.16 | 888 | 94.0267 | 20.3647
2020-12-10 08:00:00 | 4.6273 | 351.6867 | 4.942 | 325.12 | 5.6093 | 343.9493 | 5.9213 | 326.7813 | 3.18 | 888 | 94.8733 | 16.406
2020-12-10 08:15:00 | 4.718 | 330.1133 | 5.0053 | 323.8947 | 5.714 | 322.8527 | 5.9693 | 325.5493 | 3.1667 | 888 | 95.22 | 16.746
2020-12-10 08:30:00 | 4.7167 | 282.2067 | 5.0107 | 323.17 | 5.736 | 275.9973 | 5.9973 | 324.8227 | 3.2933 | 888.1333 | 94.6733 | 17.0067
2020-12-10 08:45:00 | 5.1033 | 350.3467 | 5.4693 | 323.38 | 6.0233 | 342.6393 | 6.4507 | 325.032 | 3.24 | 889 | 92.9733 | 20.6927
2020-12-10 09:00:00 | 4.92 | 325.24 | 5.2973 | 325.3993 | 5.9273 | 318.084 | 6.348 | 327.0633 | 2.96 | 889 | 92.62 | 19.9247
2020-12-10 09:15:00 | 5.0507 | 351.42 | 5.4327 | 327.05 | 6.092 | 343.6887 | 6.512 | 328.7233 | 3.0133 | 889 | 93.0933 | 20.8847
2020-12-10 09:30:00 | 5.2053 | 349.5867 | 5.6127 | 322.596 | 6.122 | 341.8953 | 6.6233 | 324.2467 | 3.1 | 889 | 93.2067 | 21.2273
2020-12-10 09:45:00 | 5.0713 | 297.9733 | 5.4153 | 327.2193 | 6.074 | 291.4173 | 6.4353 | 328.892 | 3.0867 | 889 | 91.2333 | 20.03
2020-12-10 10:00:00 | 4.7227 | 322.74 | 5.0707 | 323.2613 | 5.702 | 315.6387 | 6.0733 | 324.9133 | 3.0533 | 889.1333 | 89.4067 | 16.5367
2020-12-10 10:15:00 | 4.4827 | 343.08 | 4.848 | 321.996 | 5.4327 | 335.532 | 5.844 | 323.6433 | 3.1333 | 890 | 88.74 | 14.9533
2020-12-10 10:30:00 | 4.4353 | 347.8133 | 4.7053 | 326.606 | 5.354 | 340.162 | 5.6047 | 328.2767 | 3.18 | 890 | 88.0733 | 13.9427
2020-12-10 10:45:00 | 4.1867 | 335.5733 | 4.386 | 322.376 | 5.0733 | 328.1913 | 5.1973 | 324.0233 | 3.2267 | 890 | 87.22 | 11.4067
2020-12-10 11:00:00 | 3.862 | 336.7933 | 3.9853 | 325.244 | 4.7293 | 329.3833 | 4.7107 | 326.9067 | 3.06 | 890 | 86.3267 | 8.9407
2020-12-10 11:15:00 | 3.6967 | 340.7467 | 3.8513 | 321.2007 | 4.6193 | 333.25 | 4.6447 | 322.844 | 3 | 890 | 85.9533 | 8.982
2020-12-10 11:30:00 | 3.254 | 330.6667 | 3.3427 | 325.8247 | 4.114 | 323.3927 | 4.034 | 327.49 | 3.0267 | 890 | 85.5933 | 7.0333
2020-12-10 11:45:00 | 3.21 | 328.7533 | 3.25 | 319.8453 | 4.0887 | 321.5207 | 3.91 | 321.4807 | 3.1 | 890 | 85.5867 | 6.776
2020-12-10 12:00:00 | 3.1693 | 309.5867 | 3.192 | 325.3993 | 4.0387 | 302.7753 | 3.8307 | 327.064 | 3.1533 | 889.8667 | 86.2267 | 6.3353
2020-12-10 12:15:00 | 3.722 | 316.06 | 3.9073 | 322.6547 | 4.536 | 309.106 | 4.652 | 324.3053 | 3.3133 | 889 | 85.8333 | 7.954
2020-12-10 12:30:00 | 3.9713 | 322.9867 | 4.2213 | 319.5113 | 4.7393 | 315.882 | 4.9933 | 321.1447 | 3.6 | 889 | 85.9667 | 7.8947
2020-12-10 12:45:00 | 3.776 | 345.5867 | 4.018 | 323.9973 | 4.4967 | 337.9833 | 4.75 | 325.6547 | 3.6867 | 889 | 85.4667 | 7.2187
2020-12-10 13:00:00 | 3.638 | 335.8267 | 3.834 | 323.1707 | 4.324 | 328.4393 | 4.5007 | 324.822 | 3.9067 | 888.8667 | 85.7867 | 6.2293
2020-12-10 13:15:00 | 3.4973 | 343.9 | 3.7007 | 328.138 | 4.2713 | 336.334 | 4.4347 | 329.8153 | 3.9733 | 888 | 84.5133 | 5.7187
2020-12-10 13:30:00 | 3.436 | 345.26 | 3.6467 | 329.742 | 4.228 | 337.6627 | 4.3987 | 331.428 | 4.0667 | 888 | 83.7 | 5.5687
2020-12-10 13:45:00 | 3.202 | 348.3733 | 3.3967 | 326.5607 | 3.988 | 340.71 | 4.128 | 328.2307 | 4.06 | 887.5333 | 82.9533 | 4.4133
2020-12-10 14:00:00 | 3.0873 | 340.0933 | 3.242 | 322.8633 | 3.828 | 332.6107 | 3.9053 | 324.5153 | 4.1267 | 887 | 83.08 | 3.642
2020-12-10 14:15:00 | 2.734 | 342.46 | 2.8353 | 325.034 | 3.3307 | 334.9247 | 3.3507 | 326.6967 | 4.2867 | 887 | 83.58 | 2.5093
2020-12-10 14:30:00 | 2.6173 | 329.7067 | 2.6607 | 319.5593 | 3.1333 | 322.4527 | 3.0667 | 321.194 | 4.2867 | 887 | 82.9533 | 2.0567
2020-12-10 14:45:00 | 2.8773 | 316.8267 | 2.9173 | 322.244 | 3.3867 | 309.858 | 3.3167 | 323.892 | 4.26 | 887 | 84.2333 | 2.6727
2020-12-10 15:00:00 | 2.918 | 313.1667 | 2.9567 | 321.7087 | 3.5253 | 306.2773 | 3.4267 | 323.3547 | 4.2867 | 887 | 83.5333 | 2.968
2020-12-10 15:15:00 | 3.178 | 317.84 | 3.274 | 321.7873 | 3.8833 | 310.848 | 3.864 | 323.4327 | 4.2533 | 887 | 83.5667 | 4.1073
2020-12-10 15:30:00 | 3.5187 | 343.9867 | 3.7333 | 327.4793 | 4.342 | 336.4187 | 4.5087 | 329.1547 | 4.2733 | 887 | 82.88 | 6.0847
2020-12-10 15:45:00 | 3.6073 | 341.1133 | 3.836 | 326.398 | 4.4087 | 333.6087 | 4.6113 | 328.0667 | 4.3267 | 887 | 83.2467 | 6.4773
2020-12-10 16:00:00 | 3.8167 | 345.6067 | 4.0513 | 325.5687 | 4.6693 | 338.004 | 4.8653 | 327.2333 | 4.26 | 887 | 83.7733 | 7.466
2020-12-10 16:15:00 | 3.9753 | 346.7533 | 4.222 | 306.7847 | 4.7773 | 339.1253 | 5.0127 | 308.3533 | 4.2 | 887 | 84.1333 | 8.6873
2020-12-10 16:30:00 | 4.1353 | 328.52 | 4.4073 | 324.8013 | 4.9453 | 321.2933 | 5.226 | 326.462 | 4.2 | 887 | 83.9 | 9.7087
2020-12-10 16:45:00 | 4.126 | 352.5 | 4.444 | 325.9353 | 4.9993 | 344.7447 | 5.35 | 327.6027 | 4.2 | 887 | 83.72 | 10.506
2020-12-10 17:00:00 | 4.1487 | 326.48 | 4.4687 | 323.6647 | 4.964 | 319.2973 | 5.3347 | 325.3213 | 4.3133 | 887 | 84.1867 | 10.7007
2020-12-10 17:15:00 | 4.3867 | 325.4 | 4.6833 | 322.576 | 5.0873 | 318.2407 | 5.4447 | 324.2253 | 4.3133 | 887 | 85.5733 | 11.482
2020-12-10 17:30:00 | 4.368 | 330.0867 | 4.6907 | 319.402 | 5.0487 | 322.8253 | 5.4647 | 321.0333 | 4.3467 | 887 | 85.92 | 12.0307
2020-12-10 17:45:00 | 4.056 | 331.3933 | 4.3947 | 319.8707 | 4.6347 | 324.1027 | 5.108 | 321.5067 | 4.2467 | 887 | 85.2867 | 10.042
2020-12-10 18:00:00 | 3.458 | 144.4067 | 3.7467 | 316.116 | 3.8747 | 141.2293 | 4.3033 | 317.7313 | 4.2333 | 887 | 85.5267 | 6.1927
2020-12-10 18:15:00 | 3.308 | 233.6467 | 3.5447 | 320.862 | 3.8513 | 228.5067 | 4.1453 | 322.5027 | 4.4667 | 887 | 85.7667 | 5.18
2020-12-10 18:30:00 | 3.7467 | 352.1733 | 4.0927 | 322.5253 | 4.2493 | 344.4253 | 4.7573 | 324.1733 | 4.4733 | 887 | 85.4067 | 7.7813
2020-12-10 18:45:00 | 4.1513 | 352.12 | 4.4467 | 326.02 | 4.6547 | 344.3733 | 5.066 | 327.686 | 4.5267 | 887 | 86.0333 | 9.8587
2020-12-10 19:00:00 | 4.2027 | 303.8333 | 4.5493 | 327.128 | 4.8733 | 297.1487 | 5.3353 | 328.8007 | 4.5733 | 887.8 | 86.6733 | 11.198
2020-12-10 19:15:00 | 4.2967 | 350.4667 | 4.6413 | 318.9767 | 4.952 | 342.7567 | 5.424 | 320.6087 | 4.58 | 888 | 88.2667 | 12.35
2020-12-10 19:30:00 | 4.6547 | 336.0733 | 4.9747 | 314.154 | 5.256 | 328.6793 | 5.6887 | 315.76 | 4.8933 | 888 | 88.4667 | 13.7327
2020-12-10 19:45:00 | 4.8913 | 335.96 | 5.214 | 317.1073 | 5.4207 | 328.5693 | 5.8813 | 318.728 | 4.86 | 888 | 88.76 | 15.2507
2020-12-10 20:00:00 | 4.8067 | 338.48 | 5.1247 | 320.3993 | 5.3547 | 331.0333 | 5.8 | 322.038 | 4.8533 | 888 | 90.32 | 16.2907
2020-12-10 20:15:00 | 4.4467 | 342.3867 | 4.7087 | 321.1213 | 5.162 | 334.8547 | 5.4507 | 322.764 | 4.6133 | 888 | 91.2467 | 15.0207
2020-12-10 20:30:00 | 4.1493 | 316.7933 | 4.4087 | 325.5693 | 4.8693 | 309.8233 | 5.1527 | 327.2333 | 4.4067 | 888 | 91.52 | 12.4493
2020-12-10 20:45:00 | 3.7913 | 341.7467 | 4.07 | 325.4653 | 4.3833 | 334.2273 | 4.7453 | 327.13 | 4.3533 | 888 | 92.22 | 10.2693
2020-12-10 21:00:00 | 3.664 | 338.02 | 4.0133 | 327.1933 | 4.218 | 330.584 | 4.718 | 328.8667 | 4.1667 | 888.8 | 94.0133 | 9.1267
2020-12-10 21:15:00 | 3.554 | 344.74 | 3.922 | 331.666 | 4.2187 | 337.1553 | 4.722 | 333.3613 | 4.1067 | 889 | 95.1533 | 8.7847
2020-12-10 21:30:00 | 3.9527 | 340.5867 | 4.288 | 328.8167 | 4.5933 | 333.0933 | 5.0447 | 330.5 | 3.94 | 888.2 | 95.4267 | 10.6147
2020-12-10 21:45:00 | 4.164 | 340.4533 | 4.5253 | 325.74 | 4.846 | 332.9633 | 5.332 | 327.4047 | 3.9067 | 888.4667 | 94.8467 | 10.984
2020-12-10 22:00:00 | 4.586 | 349.1067 | 4.9333 | 324.2067 | 5.3373 | 341.4253 | 5.7767 | 325.866 | 4.0467 | 889 | 94.3533 | 12.9373
2020-12-10 22:15:00 | 4.76 | 349.3733 | 5.0907 | 323.882 | 5.618 | 341.6867 | 5.996 | 325.5367 | 4.2067 | 889 | 95.02 | 14.3907
2020-12-10 22:30:00 | 4.5467 | 345.6133 | 4.866 | 324.0967 | 5.3107 | 338.0093 | 5.7 | 325.7527 | 4.06 | 888.3333 | 95.9333 | 13.5393
2020-12-10 22:45:00 | 4.8147 | 345.8533 | 5.1347 | 325.348 | 5.6 | 338.244 | 5.98 | 327.01 | 4.0067 | 889 | 95.6067 | 15.0113
2020-12-10 23:00:00 | 4.732 | 342.1333 | 5.04 | 324.664 | 5.502 | 334.6067 | 5.862 | 326.3227 | 4.0133 | 889 | 95.8533 | 15.134
2020-12-10 23:15:00 | 4.438 | 347.26 | 4.7027 | 325.0413 | 5.1927 | 339.6193 | 5.48 | 326.7033 | 3.8733 | 889 | 96.2933 | 12.3187
2020-12-10 23:30:00 | 4.102 | 345.0933 | 4.4027 | 326.372 | 4.8653 | 337.5013 | 5.2147 | 328.0407 | 3.6867 | 889 | 96.18 | 11.268
2020-12-10 23:45:00 | 4.1893 | 349.2867 | 4.5013 | 323.2027 | 5.0147 | 341.602 | 5.3693 | 324.8553 | 3.42 | 889 | 95.7067 | 12.8127