## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-11 00:00:00 | 4.32 | 350.6933 | 4.6273 | 325.6213 | 5.132 | 342.9773 | 5.482 | 327.2873 | 3.3 | 889 | 95.84 | 14.3533
2020-12-11 00:15:00 | 4.602 | 352.22 | 4.8853 | 322.824 | 5.444 | 344.4713 | 5.7353 | 324.4753 | 3.6133 | 889 | 96.14 | 15.7707
2020-12-11 00:30:00 | 4.6993 | 351.52 | 4.9667 | 328.5367 | 5.5607 | 343.786 | 5.818 | 330.216 | 3.4267 | 889 | 97.0467 | 17.4453
2020-12-11 00:45:00 | 5.082 | 327.2667 | 5.3427 | 326.7113 | 5.93 | 320.066 | 6.1827 | 328.3807 | 3.2667 | 889 | 96.7533 | 21.1093
2020-12-11 01:00:00 | 5.584 | 349.7533 | 5.884 | 326.2153 | 6.478 | 342.058 | 6.788 | 327.882 | 3.06 | 888.2 | 96.9133 | 26.5587
2020-12-11 01:15:00 | 5.9233 | 344.7467 | 6.2693 | 326.104 | 6.7987 | 337.162 | 7.2033 | 327.7713 | 3.1933 | 888 | 96.7267 | 29.8353
2020-12-11 01:30:00 | 5.956 | 347.5267 | 6.338 | 328.7113 | 6.8527 | 339.8807 | 7.3173 | 330.3927 | 3.2 | 888 | 96.14 | 31.6693
2020-12-11 01:45:00 | 5.9333 | 352.74 | 6.2953 | 327.5447 | 6.7987 | 344.98 | 7.232 | 329.22 | 3.46 | 888 | 96.3933 | 30.708
2020-12-11 02:00:00 | 5.876 | 352.7733 | 6.2153 | 326.3133 | 6.8287 | 345.0113 | 7.1987 | 327.9807 | 3.16 | 888 | 96.88 | 30.256
2020-12-11 02:15:00 | 5.7767 | 326.14 | 6.0627 | 326.0847 | 6.6547 | 318.966 | 6.9447 | 327.7513 | 3.2667 | 888 | 96.8333 | 27.2113
2020-12-11 02:30:00 | 5.7347 | 349.2667 | 6.0327 | 322.7713 | 6.638 | 341.5833 | 6.946 | 324.422 | 3.14 | 888 | 96.6 | 27.6407
2020-12-11 02:45:00 | 5.35 | 326.88 | 5.5567 | 323.822 | 6.2993 | 319.688 | 6.4187 | 325.478 | 3.3333 | 888 | 96.8867 | 23.506
2020-12-11 03:00:00 | 5.3427 | 342.8333 | 5.6333 | 323.0527 | 6.254 | 335.2907 | 6.544 | 324.7027 | 3.2267 | 888 | 97.4867 | 21.4373
2020-12-11 03:15:00 | 5.8067 | 327.7733 | 6.1453 | 326.3787 | 6.7913 | 320.5627 | 7.1453 | 328.046 | 2.8733 | 888 | 97.5867 | 27.3873
2020-12-11 03:30:00 | 5.6673 | 349.3467 | 5.992 | 335.1807 | 6.5107 | 341.662 | 6.8833 | 336.894 | 3.06 | 887.8667 | 98.2067 | 28.3473
2020-12-11 03:45:00 | 5.4833 | 348.5667 | 5.8073 | 333.4913 | 6.07 | 340.8973 | 6.5147 | 335.196 | 3.3333 | 887 | 98.74 | 26.6527
2020-12-11 04:00:00 | 5.5007 | 347.3533 | 5.8853 | 328.7967 | 6.2967 | 339.7127 | 6.7987 | 330.478 | 2.9067 | 887 | 99.04 | 25.7013
2020-12-11 04:15:00 | 5.8807 | 350.7333 | 6.282 | 323.7767 | 6.7833 | 343.0167 | 7.284 | 325.4313 | 3.08 | 887 | 99.12 | 27.5993
2020-12-11 04:30:00 | 6.3047 | 345.54 | 6.7447 | 320.7053 | 7.146 | 337.938 | 7.7333 | 322.3453 | 3.2533 | 887 | 99.0133 | 31.958
2020-12-11 04:45:00 | 6.582 | 344.9733 | 7.0533 | 329.2273 | 7.4387 | 337.3847 | 8.0833 | 330.9107 | 3.2267 | 887 | 99.1267 | 34.5987
2020-12-11 05:00:00 | 6.6413 | 345.7067 | 7.17 | 326.926 | 7.604 | 338.1 | 8.3247 | 328.5993 | 2.8867 | 887 | 99.34 | 34.8553
2020-12-11 05:15:00 | 6.6653 | 344.04 | 7.1913 | 325.8107 | 7.6393 | 336.4713 | 8.3547 | 327.4767 | 2.9 | 887 | 99.8067 | 35.764
2020-12-11 05:30:00 | 6.9107 | 344.7667 | 7.4327 | 329.5667 | 7.7087 | 337.1827 | 8.4673 | 331.2527 | 2.64 | 887 | 99.98 | 40.5827
2020-12-11 05:45:00 | 7.116 | 347.56 | 7.5987 | 334.822 | 8.0767 | 339.9133 | 8.7193 | 336.5333 | 2.2733 | 887 | 100 | 43.0127
2020-12-11 06:00:00 | 7.398 | 347.44 | 7.89 | 330.942 | 8.308 | 339.7967 | 8.98 | 332.6333 | 2.24 | 886.8667 | 100 | 46.868
2020-12-11 06:15:00 | 7.3173 | 351.8467 | 7.85 | 331.9787 | 8.0293 | 344.1053 | 8.8327 | 333.6753 | 2.06 | 886 | 100 | 46.3727
2020-12-11 06:30:00 | 7.1127 | 328.9267 | 7.6133 | 329.7093 | 7.9213 | 321.6893 | 8.626 | 331.3967 | 2.12 | 886 | 100 | 45.0013
2020-12-11 06:45:00 | 6.9753 | 327.58 | 7.44 | 329.99 | 7.776 | 320.3733 | 8.426 | 331.678 | 2.3333 | 886 | 100 | 44.984
2020-12-11 07:00:00 | 6.3273 | 283.0667 | 6.684 | 327.14 | 6.9867 | 276.8393 | 7.472 | 328.8133 | 2.6733 | 886 | 100 | 40.286
2020-12-11 07:15:00 | 5.568 | 214.5533 | 5.8687 | 324.3313 | 6.226 | 209.8327 | 6.6047 | 325.99 | 2.3333 | 886 | 100 | 29.6453
2020-12-11 07:30:00 | 5.1333 | 166.6533 | 5.4033 | 320.824 | 5.9287 | 162.9873 | 6.2113 | 322.4627 | 2.2867 | 886 | 100 | 23.4567
2020-12-11 07:45:00 | 5.7393 | 253.6133 | 6.1347 | 315.346 | 6.796 | 248.0333 | 7.2407 | 316.9587 | 2.8133 | 886.4667 | 100 | 30.2433
2020-12-11 08:00:00 | 6.8493 | 345.8133 | 7.4353 | 321.9307 | 7.9833 | 338.206 | 8.766 | 323.5773 | 2.9267 | 886.8667 | 100 | 39.9847
2020-12-11 08:15:00 | 6.9793 | 274.82 | 7.6467 | 311.2173 | 8.064 | 268.774 | 9.02 | 312.8107 | 2.9533 | 886.4667 | 100 | 39.2367
2020-12-11 08:30:00 | 6.7767 | 344.7067 | 7.306 | 317.6347 | 7.7973 | 337.1233 | 8.504 | 319.2593 | 3.26 | 887 | 99.9467 | 35.596
2020-12-11 08:45:00 | 7.0113 | 344.3267 | 7.538 | 322.6367 | 7.9107 | 336.752 | 8.6527 | 324.2853 | 3.3533 | 887 | 98.8533 | 36.8707
2020-12-11 09:00:00 | 6.5853 | 342.08 | 7.1047 | 318.4373 | 7.4873 | 334.5547 | 8.2127 | 320.0647 | 3.9733 | 887.8 | 98.6133 | 37.0547
2020-12-11 09:15:00 | 6.076 | 340.7467 | 6.4733 | 327.454 | 6.988 | 333.2507 | 7.4773 | 329.1273 | 3.7533 | 888 | 97.6267 | 32.4707
2020-12-11 09:30:00 | 5.5147 | 315.9733 | 5.766 | 332.402 | 6.5087 | 309.0227 | 6.7013 | 334.102 | 3.6733 | 888.1333 | 94.8133 | 26.684
2020-12-11 09:45:00 | 4.8333 | 341.6733 | 5.0153 | 332.748 | 5.65 | 334.156 | 5.758 | 334.4507 | 3.7533 | 889 | 92.54 | 19.8133
2020-12-11 10:00:00 | 5.178 | 335.5533 | 5.444 | 328.9007 | 5.946 | 328.1707 | 6.2313 | 330.584 | 3.9733 | 889 | 89.1267 | 20.4907
2020-12-11 10:15:00 | 6.2453 | 339.8333 | 6.616 | 329.5133 | 7.002 | 332.3573 | 7.4873 | 331.198 | 4.1667 | 889 | 88.28 | 30.9273
2020-12-11 10:30:00 | 6.4667 | 343.8867 | 6.8553 | 328.2027 | 7.1973 | 336.32 | 7.7213 | 329.8813 | 4.38 | 889 | 87.8733 | 34.4433
2020-12-11 10:45:00 | 6.4973 | 342.4267 | 6.8667 | 327.596 | 7.2687 | 334.892 | 7.7467 | 329.272 | 4.36 | 889 | 88.08 | 34.332
2020-12-11 11:00:00 | 6.542 | 341.9267 | 6.9607 | 329.0513 | 7.2193 | 334.404 | 7.818 | 330.7347 | 4.3933 | 889 | 83.0747 | 33.2867
2020-12-11 11:15:00 | 6.398 | 340.5 | 6.8033 | 330.08 | 7.064 | 333.0087 | 7.644 | 331.7693 | 4.6933 | 889 | 78.3207 | 33.436
2020-12-11 11:30:00 | 5.8447 | 343.6667 | 6.2333 | 329.3453 | 6.1947 | 336.106 | 6.836 | 331.0287 | 5.0667 | 889 | 77.154 | 30.7887
2020-12-11 11:45:00 | 5.638 | 348.76 | 5.9687 | 331.3327 | 6.1513 | 341.088 | 6.6293 | 333.0273 | 5.4933 | 889 | 74.7853 | 27.606
2020-12-11 12:00:00 | 5.6713 | 344.7733 | 6.0727 | 325.902 | 6.2633 | 337.188 | 6.8567 | 327.568 | 5.8733 | 889 | 72.778 | 26.7387
2020-12-11 12:15:00 | 5.6413 | 320.4867 | 6.026 | 331.1307 | 6.0407 | 313.4367 | 6.6573 | 332.824 | 6.0467 | 889 | 72.4167 | 25.4433
2020-12-11 12:30:00 | 5.258 | 320.5933 | 5.626 | 325.9147 | 5.7707 | 313.54 | 6.3207 | 327.5807 | 6.3733 | 889 | 69.346 | 22.606
2020-12-11 12:45:00 | 5.258 | 343.48 | 5.648 | 331.3007 | 5.8267 | 335.924 | 6.4013 | 332.9953 | 6.6267 | 889 | 69.1213 | 21.646
2020-12-11 13:00:00 | 5.062 | 327.4333 | 5.4607 | 308.8587 | 5.5747 | 320.2293 | 6.1773 | 310.4387 | 6.6133 | 889 | 67.7107 | 19.6833
2020-12-11 13:15:00 | 4.7153 | 304.98 | 4.998 | 312.6593 | 4.9933 | 298.27 | 5.4547 | 314.2587 | 6.84 | 889 | 66.16 | 15.488
2020-12-11 13:30:00 | 4.3953 | 229.1933 | 4.6193 | 330.1713 | 4.7153 | 224.1513 | 5.0507 | 331.86 | 6.9667 | 888.8667 | 63.4927 | 14.1253
2020-12-11 13:45:00 | 4.1387 | 301.5667 | 4.3967 | 313.2927 | 4.6773 | 294.9333 | 5.012 | 314.894 | 7.1 | 888 | 60.9587 | 14.1927
2020-12-11 14:00:00 | 3.9967 | 231.32 | 4.2287 | 286.938 | 4.498 | 226.23 | 4.7933 | 288.406 | 7.2667 | 888 | 62.6787 | 12.8407
2020-12-11 14:15:00 | 3.926 | 350.0733 | 4.184 | 307.9053 | 4.2167 | 342.372 | 4.6267 | 309.4813 | 7.58 | 888 | 60.5507 | 10.3733
2020-12-11 14:30:00 | 3.6733 | 322.5 | 3.858 | 285.452 | 3.9427 | 315.4053 | 4.2193 | 286.9107 | 7.7 | 888 | 57.6787 | 7.6747
2020-12-11 14:45:00 | 3.3747 | 319.1933 | 3.5653 | 261.0673 | 3.7287 | 312.1713 | 3.9953 | 262.4027 | 8.0067 | 888 | 57.5273 | 6.4433
2020-12-11 15:00:00 | 3.1327 | 231.64 | 3.2673 | 326.7753 | 3.572 | 226.5433 | 3.6993 | 328.446 | 7.98 | 888 | 53.9667 | 6.18
2020-12-11 15:15:00 | 2.594 | 218.0933 | 2.68 | 194.544 | 2.8307 | 213.2947 | 2.9293 | 195.538 | 7.96 | 888 | 54.59 | 2.2027
2020-12-11 15:30:00 | 2.1947 | 129.6267 | 2.2713 | 244.5067 | 2.2633 | 126.7753 | 2.3907 | 245.7567 | 8.68 | 887.2 | 54.3253 | 0.60133
2020-12-11 15:45:00 | 1.9653 | 223.98 | 2.0327 | 322.29 | 2.1727 | 219.054 | 2.24 | 323.936 | 9.0533 | 887.4667 | 50.2247 | 0.27133
2020-12-11 16:00:00 | 2.3327 | 336.4333 | 2.5067 | 299.502 | 2.672 | 329.032 | 2.906 | 301.0347 | 9.1133 | 888 | 50.1193 | 0.246
2020-12-11 16:15:00 | 1.7153 | 290.94 | 1.856 | 228.056 | 2.0487 | 284.5393 | 2.218 | 229.222 | 9.6 | 888 | 49.396 | 0
2020-12-11 16:30:00 | 1.8773 | 269.2 | 1.9667 | 301.7127 | 2.3573 | 263.2773 | 2.388 | 303.2553 | 9.6733 | 888 | 51.844 | 0
2020-12-11 16:45:00 | 2.154 | 286.7267 | 2.2673 | 334.7553 | 2.5347 | 280.4193 | 2.6387 | 336.4673 | 9.5133 | 888 | 53.6207 | 0
2020-12-11 17:00:00 | 2.0813 | 328.4667 | 2.2513 | 207.5587 | 2.47 | 321.24 | 2.6773 | 208.6193 | 9.42 | 888 | 54.4253 | 0
2020-12-11 17:15:00 | 2.0587 | 331.18 | 2.212 | 327.3813 | 2.4553 | 323.8933 | 2.632 | 329.056 | 9.2 | 888 | 57.8453 | 0.15733
2020-12-11 17:30:00 | 2.332 | 312.3133 | 2.4873 | 316.206 | 2.6507 | 305.4427 | 2.854 | 317.8227 | 8.8667 | 888 | 60.334 | 0.61467
2020-12-11 17:45:00 | 2.5673 | 336.4333 | 2.7213 | 327.344 | 2.9007 | 329.0307 | 3.0947 | 329.0167 | 8.5733 | 887.5333 | 63.0873 | 0.82533
2020-12-11 18:00:00 | 2.6393 | 338.18 | 2.7987 | 323.1773 | 2.8633 | 330.738 | 3.1067 | 324.8287 | 8.42 | 887 | 64.18 | 0.76333
2020-12-11 18:15:00 | 2.0253 | 323.5333 | 2.1947 | 288.6407 | 2.2767 | 316.4167 | 2.524 | 290.1167 | 8.4067 | 887 | 64.6827 | 0
2020-12-11 18:30:00 | 1.5467 | 56.04 | 1.5753 | 141.08 | 1.782 | 54.8073 | 1.7667 | 141.8013 | 8.36 | 887 | 64.7953 | 0
2020-12-11 18:45:00 | 1.1047 | 214.28 | 1.046 | 11.1813 | 1.1347 | 209.566 | 1.0167 | 11.2393 | 8.2533 | 887.4667 | 65.932 | 0
2020-12-11 19:00:00 | 0.58133 | 153.1067 | 0.57533 | 17.4347 | 0.67333 | 149.7367 | 0.63533 | 17.524 | 8.1933 | 888 | 66.244 | 0
2020-12-11 19:15:00 | 0.508 | 118.9733 | 0.576 | 90.7653 | 0.59867 | 116.3553 | 0.69867 | 91.2293 | 8.1133 | 888 | 65.204 | 0
2020-12-11 19:30:00 | 1.454 | 140.1133 | 1.578 | 136.8153 | 1.794 | 137.0293 | 1.9267 | 137.5147 | 7.8933 | 888 | 62.8527 | 0
2020-12-11 19:45:00 | 1.5033 | 151.0867 | 1.5693 | 153.1353 | 1.814 | 147.7633 | 1.8507 | 153.918 | 7.68 | 888 | 65.6267 | 0
2020-12-11 20:00:00 | 1.0253 | 151.7733 | 1.016 | 182.078 | 1.3787 | 148.4347 | 1.26 | 183.0073 | 7.76 | 888.8 | 67.642 | 0
2020-12-11 20:15:00 | 1.408 | 133.1133 | 1.5227 | 143.5827 | 1.788 | 130.1847 | 1.894 | 144.3167 | 7.5867 | 889 | 68.742 | 0
2020-12-11 20:30:00 | 1.8033 | 128.06 | 1.966 | 127.108 | 2.0787 | 125.2447 | 2.308 | 127.758 | 7.3133 | 889 | 71.2167 | 0
2020-12-11 20:45:00 | 1.9887 | 124.14 | 2.15 | 133.9487 | 2.3173 | 121.4087 | 2.5293 | 134.632 | 7.2 | 889 | 73.0687 | 0
2020-12-11 21:00:00 | 2.0233 | 125.62 | 2.146 | 127.4453 | 2.2973 | 122.8553 | 2.454 | 128.0987 | 6.9467 | 889 | 74.6293 | 0
2020-12-11 21:15:00 | 1.9967 | 125.3733 | 2.064 | 124.174 | 2.2553 | 122.6147 | 2.3107 | 124.808 | 6.76 | 889 | 75.9 | 0
2020-12-11 21:30:00 | 1.562 | 147.62 | 1.662 | 121.8127 | 2.032 | 144.372 | 2.084 | 122.4373 | 6.82 | 889.8 | 76.6713 | 0
2020-12-11 21:45:00 | 1.278 | 154.5067 | 1.3467 | 117.1653 | 1.6913 | 151.108 | 1.7 | 117.7613 | 6.72 | 890 | 76.5473 | 0
2020-12-11 22:00:00 | 1.0067 | 129.88 | 1.0893 | 136.554 | 1.3227 | 127.0233 | 1.386 | 137.252 | 7.0667 | 890 | 77.008 | 0
2020-12-11 22:15:00 | 1.316 | 119.3667 | 1.42 | 108.396 | 1.638 | 116.74 | 1.7433 | 108.948 | 6.74 | 890 | 75.824 | 0
2020-12-11 22:30:00 | 1.636 | 127.8867 | 1.7693 | 119.5247 | 1.9153 | 125.0727 | 2.0853 | 120.136 | 6.6467 | 890 | 75.0987 | 0
2020-12-11 22:45:00 | 2.13 | 128.9 | 2.2467 | 131.032 | 2.2553 | 126.064 | 2.4433 | 131.7013 | 6.5133 | 890 | 75.7447 | 0
2020-12-11 23:00:00 | 1.994 | 131.8933 | 2.096 | 135.5047 | 2.2447 | 128.992 | 2.3673 | 136.1987 | 6.5133 | 890 | 77.592 | 0
2020-12-11 23:15:00 | 2.128 | 129.9 | 2.2893 | 132.5 | 2.2987 | 127.0413 | 2.5553 | 133.1773 | 6.54 | 890 | 79.006 | 0
2020-12-11 23:30:00 | 2.5713 | 128.5733 | 2.6953 | 121.4087 | 2.882 | 125.7447 | 3.032 | 122.03 | 6.3467 | 889.8667 | 79.5633 | 0.622
2020-12-11 23:45:00 | 2.4607 | 138.46 | 2.5907 | 130.126 | 2.77 | 135.4147 | 2.928 | 130.7907 | 6.1333 | 889 | 80.15 | 0.91