## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-12 00:00:00 | 1.9667 | 131.2733 | 2.056 | 125.1067 | 2.216 | 128.3847 | 2.3153 | 125.7453 | 5.9933 | 889 | 79.5227 | 0.13
2020-12-12 00:15:00 | 2.1287 | 140.7867 | 2.2427 | 129.9947 | 2.3407 | 137.69 | 2.496 | 130.6593 | 6.04 | 889 | 80.124 | 0.21267
2020-12-12 00:30:00 | 2.0913 | 141.2933 | 2.2307 | 135.2833 | 2.3187 | 138.1847 | 2.5147 | 135.9747 | 5.8533 | 889 | 80.9867 | 0.19067
2020-12-12 00:45:00 | 1.9233 | 142.18 | 2.0147 | 147.6847 | 2.2293 | 139.052 | 2.314 | 148.438 | 5.8267 | 889 | 80.41 | 0.444
2020-12-12 01:00:00 | 1.96 | 138.9733 | 2.0593 | 138.9153 | 2.268 | 135.9167 | 2.366 | 139.6253 | 5.7733 | 889 | 80.2067 | 0.58733
2020-12-12 01:15:00 | 1.842 | 137.96 | 1.9847 | 141.6787 | 2.14 | 134.9247 | 2.326 | 142.4027 | 5.7867 | 889 | 81.1933 | 0.11286
2020-12-12 01:30:00 | 1.5473 | 130.8067 | 1.6327 | 132.9233 | 1.8187 | 127.9293 | 1.904 | 133.6027 | 5.8933 | 889 | 83.3533 | 0
2020-12-12 01:45:00 | 1.7787 | 120.44 | 1.8653 | 125.9727 | 2.044 | 117.7913 | 2.1307 | 126.6173 | 5.8467 | 888.5333 | 84.04 | 0
2020-12-12 02:00:00 | 1.8767 | 117.3933 | 1.982 | 127.7 | 2.0227 | 114.8113 | 2.1787 | 128.354 | 5.6667 | 888 | 85.5133 | 0
2020-12-12 02:15:00 | 1.554 | 118.3067 | 1.6887 | 136.3513 | 1.66 | 115.7033 | 1.8807 | 137.0487 | 5.1 | 888 | 86.2333 | 0
2020-12-12 02:30:00 | 1.7133 | 122.4867 | 1.7767 | 126.6047 | 1.536 | 119.792 | 1.7113 | 127.252 | 5.4467 | 888 | 86.3933 | 0.092667
2020-12-12 02:45:00 | 1.5453 | 125.24 | 1.5867 | 125.79 | 1.2833 | 122.4847 | 1.434 | 126.4333 | 5.5333 | 888 | 88.06 | 0.021429
2020-12-12 03:00:00 | 1.8547 | 124.58 | 1.946 | 127.0487 | 1.804 | 121.8387 | 1.9913 | 127.698 | 5.6333 | 888 | 89.2133 | 0
2020-12-12 03:15:00 | 1.8607 | 124.4 | 1.9567 | 124.8833 | 1.7633 | 121.6633 | 1.978 | 125.522 | 5.5467 | 887.5333 | 87.78 | 0.01
2020-12-12 03:30:00 | 1.7267 | 110.4333 | 1.79 | 123.3853 | 1.6207 | 108.0033 | 1.7747 | 124.0167 | 5.4733 | 887 | 85.8133 | 0
2020-12-12 03:45:00 | 1.5327 | 116.44 | 1.5813 | 123.776 | 1.4593 | 113.8787 | 1.5753 | 124.408 | 5.2533 | 887 | 86.0533 | 0
2020-12-12 04:00:00 | 1.0147 | 144.34 | 0.992 | 138.054 | 0.99533 | 141.1647 | 0.96267 | 138.76 | 5.0867 | 887 | 87.1933 | 0
2020-12-12 04:15:00 | 0.63933 | 191.64 | 0.596 | 157.048 | 0.55733 | 187.4253 | 0.5 | 157.8487 | 4.9733 | 887 | 87.1333 | 0.198
2020-12-12 04:30:00 | 0.66533 | 188.86 | 0.628 | 146.7847 | 0.61 | 184.7053 | 0.556 | 147.536 | 4.9733 | 887 | 86.6933 | 0
2020-12-12 04:45:00 | 0.462 | 162.9667 | 0.43467 | 151.7793 | 0.456 | 159.382 | 0.406 | 152.5547 | 5.0733 | 887 | 87.6533 | 0
2020-12-12 05:00:00 | 0.87133 | 145.3733 | 0.87 | 156.768 | 0.81667 | 142.1747 | 0.83 | 157.568 | 5.2 | 887 | 89.3133 | 0
2020-12-12 05:15:00 | 0.48133 | 123.8067 | 0.52 | 126.012 | 0.536 | 121.084 | 0.59267 | 126.656 | 5.2133 | 887 | 91.1467 | 0
2020-12-12 05:30:00 | 0.67733 | 111.3 | 0.75 | 133.0147 | 0.76933 | 108.8513 | 0.88067 | 133.6947 | 5.2067 | 887 | 91.4467 | 0
2020-12-12 05:45:00 | 0.886 | 109.36 | 0.97533 | 100.786 | 1.0293 | 106.9527 | 1.1553 | 101.3007 | 5.0867 | 887 | 90.6333 | 0
2020-12-12 06:00:00 | 0.86867 | 119.3933 | 0.97 | 116.6893 | 1.04 | 116.7667 | 1.1787 | 117.286 | 5.0867 | 887 | 90.9133 | 0
2020-12-12 06:15:00 | 0.67533 | 123.14 | 0.77867 | 140.3027 | 0.726 | 120.4313 | 0.908 | 141.0207 | 5.18 | 887 | 90.06 | 0
2020-12-12 06:30:00 | 0.684 | 107.2333 | 0.79267 | 67.306 | 0.79067 | 104.874 | 0.96667 | 67.65 | 5.08 | 887 | 90.2267 | 0
2020-12-12 06:45:00 | 0.688 | 80.2333 | 0.78867 | 40.6193 | 0.916 | 78.468 | 1.0373 | 40.826 | 5.2133 | 887 | 90.4533 | 0
2020-12-12 07:00:00 | 1.0213 | 67.92 | 1.08 | 85.432 | 1.3553 | 66.426 | 1.3693 | 85.8687 | 5.12 | 887 | 91.3933 | 0
2020-12-12 07:15:00 | 1.542 | 119.4467 | 1.516 | 257.3947 | 2.0193 | 116.8193 | 1.8327 | 258.7127 | 4.4867 | 886.5333 | 91.8 | 0
2020-12-12 07:30:00 | 1.962 | 151.36 | 1.9593 | 272.0553 | 2.5393 | 148.0293 | 2.368 | 273.444 | 4.46 | 886 | 93.0133 | 0.21867
2020-12-12 07:45:00 | 1.6253 | 156.2133 | 1.55 | 289.678 | 2.056 | 152.7767 | 1.792 | 291.1573 | 4.1467 | 886 | 93.2133 | 0
2020-12-12 08:00:00 | 1.5053 | 74.26 | 1.5133 | 171.3533 | 1.9967 | 72.6273 | 1.8727 | 172.228 | 4.42 | 886 | 93.0733 | 0
2020-12-12 08:15:00 | 1.174 | 120.2133 | 1.1167 | 261.4773 | 1.676 | 117.568 | 1.4233 | 262.8153 | 4.4933 | 886.4667 | 93.1533 | 0
2020-12-12 08:30:00 | 1.802 | 163.4067 | 1.738 | 330.2447 | 2.3047 | 159.8107 | 2.0387 | 331.932 | 4.3 | 887 | 92.26 | 0.10733
2020-12-12 08:45:00 | 2.1887 | 202.9267 | 2.14 | 321.312 | 2.5953 | 198.462 | 2.388 | 322.9553 | 3.9733 | 887 | 91.66 | 0.62267
2020-12-12 09:00:00 | 2.2627 | 214.9133 | 2.2367 | 321.768 | 2.8173 | 210.186 | 2.6087 | 323.414 | 3.8467 | 887 | 91.8 | 1.5327
2020-12-12 09:15:00 | 1.404 | 171.8267 | 1.36 | 309.6013 | 1.9113 | 168.0467 | 1.68 | 311.1847 | 4.2867 | 887 | 92.0467 | 0.26133
2020-12-12 09:30:00 | 1.394 | 306.1067 | 1.384 | 316.1093 | 1.936 | 299.3733 | 1.7613 | 317.7253 | 5.0333 | 887 | 90.82 | 0
2020-12-12 09:45:00 | 1.8867 | 298.8 | 1.9073 | 303.0873 | 2.4507 | 292.226 | 2.3247 | 304.6387 | 5.16 | 887 | 89.64 | 0.308
2020-12-12 10:00:00 | 2.038 | 322.6533 | 2.1207 | 302.188 | 2.5353 | 315.556 | 2.5473 | 303.7327 | 5.1867 | 887.8 | 88.7067 | 0.17067
2020-12-12 10:15:00 | 1.9553 | 320.8867 | 1.978 | 316.246 | 2.492 | 313.8267 | 2.378 | 317.8633 | 4.74 | 888 | 88.2867 | 0.081333
2020-12-12 10:30:00 | 2.03 | 321.08 | 2.0293 | 328.8167 | 2.3693 | 314.016 | 2.2733 | 330.4987 | 4.2667 | 888 | 88.7 | 0.50067
2020-12-12 10:45:00 | 1.4887 | 313.1933 | 1.4947 | 313.1493 | 1.9107 | 306.302 | 1.798 | 314.7507 | 4.6667 | 888 | 88.7467 | 0
2020-12-12 11:00:00 | 1.8007 | 329.4267 | 1.822 | 319.5987 | 2.1987 | 322.178 | 2.1253 | 321.2333 | 4.7267 | 888 | 88.8467 | 0
2020-12-12 11:15:00 | 2.1827 | 273.4 | 2.2047 | 325.2893 | 2.62 | 267.386 | 2.536 | 326.952 | 4.76 | 888 | 88.5533 | 0.332
2020-12-12 11:30:00 | 2.492 | 297.08 | 2.5013 | 326.1373 | 3.0947 | 290.5447 | 2.9353 | 327.804 | 4.4533 | 888 | 88.8533 | 2.264
2020-12-12 11:45:00 | 3.0647 | 337.98 | 3.1867 | 330.916 | 3.8107 | 330.5433 | 3.8273 | 332.608 | 4.3933 | 888 | 87.3267 | 3.2607
2020-12-12 12:00:00 | 3.0313 | 312.98 | 3.148 | 331.66 | 3.8193 | 306.094 | 3.8113 | 333.3553 | 4.34 | 888 | 84.8333 | 2.9653
2020-12-12 12:15:00 | 2.8627 | 314.5667 | 2.9947 | 324.56 | 3.68 | 307.646 | 3.6927 | 326.2207 | 4.72 | 888 | 85.26 | 2.1413
2020-12-12 12:30:00 | 2.3693 | 299.2467 | 2.5167 | 324.5993 | 3.0353 | 292.6633 | 3.1193 | 326.2573 | 5.2467 | 887.8667 | 84 | 0.876
2020-12-12 12:45:00 | 2.2407 | 209.0733 | 2.4273 | 328.8767 | 2.826 | 204.474 | 3.008 | 330.5567 | 5.6667 | 887 | 81.8667 | 0.35467
2020-12-12 13:00:00 | 1.9133 | 181.34 | 2.0213 | 249.344 | 2.304 | 177.3493 | 2.3973 | 250.6187 | 6.2067 | 887 | 79.338 | 0
2020-12-12 13:15:00 | 1.504 | 184.1733 | 1.5167 | 232.1507 | 1.746 | 180.1207 | 1.702 | 233.3387 | 6.5267 | 887 | 77.6587 | 0
2020-12-12 13:30:00 | 0.902 | 273.5467 | 0.91933 | 170.088 | 1.0813 | 267.5273 | 1.0627 | 170.9567 | 7.1133 | 886.2 | 75.028 | 0
2020-12-12 13:45:00 | 0.71867 | 241.8 | 0.67467 | 143.2373 | 0.75533 | 236.48 | 0.66133 | 143.97 | 8.02 | 886 | 75.82 | 0
2020-12-12 14:00:00 | 1.2747 | 172.4933 | 1.3193 | 134.6573 | 1.3767 | 168.698 | 1.4367 | 135.346 | 8.5333 | 886 | 71.3353 | 0
2020-12-12 14:15:00 | 1.594 | 191.9733 | 1.6833 | 149.0733 | 1.728 | 187.7493 | 1.862 | 149.8353 | 8.48 | 886 | 71.946 | 0
2020-12-12 14:30:00 | 1.7753 | 183.14 | 1.8567 | 163.3193 | 2.052 | 179.1107 | 2.1253 | 164.154 | 8.4133 | 886 | 75.2253 | 0
2020-12-12 14:45:00 | 1.9527 | 191.1867 | 2.0787 | 157.38 | 2.1507 | 186.9807 | 2.332 | 158.184 | 8.12 | 886 | 73.8073 | 0
2020-12-12 15:00:00 | 1.5427 | 181.42 | 1.624 | 124.4927 | 1.7473 | 177.4307 | 1.8467 | 125.1267 | 8.08 | 885.8667 | 71.2527 | 0
2020-12-12 15:15:00 | 1.618 | 194.4733 | 1.7053 | 137.3893 | 1.8007 | 190.1947 | 1.9173 | 138.0927 | 8.3333 | 885 | 70.9947 | 0
2020-12-12 15:30:00 | 1.684 | 172.16 | 1.748 | 158.71 | 1.9833 | 168.3733 | 2.0207 | 159.522 | 8.32 | 885 | 71.24 | 0
2020-12-12 15:45:00 | 1.9593 | 182.4733 | 2.012 | 138.2573 | 2.1007 | 178.4593 | 2.1613 | 138.9633 | 8.0467 | 885 | 71.8827 | 0.08
2020-12-12 16:00:00 | 2.01 | 185.06 | 2.1147 | 142.5673 | 2.1587 | 180.9887 | 2.3113 | 143.2973 | 8.0333 | 885 | 72.0873 | 0.034
2020-12-12 16:15:00 | 1.2967 | 188.9667 | 1.42 | 142.7753 | 1.5707 | 184.8093 | 1.7213 | 143.5047 | 8.1267 | 885 | 71.59 | 0
2020-12-12 16:30:00 | 0.98467 | 207.9867 | 1.074 | 176.4907 | 1.2147 | 203.4107 | 1.32 | 177.3913 | 8.08 | 885 | 70.8347 | 0
2020-12-12 16:45:00 | 0.86467 | 191.58 | 0.912 | 153.1027 | 1.092 | 187.3647 | 1.1147 | 153.8853 | 8.12 | 885 | 72.462 | 0
2020-12-12 17:00:00 | 0.81067 | 169.02 | 0.83667 | 153.768 | 0.94267 | 165.3013 | 0.95333 | 154.554 | 7.9067 | 885 | 75.7813 | 0
2020-12-12 17:15:00 | 0.55067 | 181.6733 | 0.58667 | 189.406 | 0.678 | 177.6767 | 0.714 | 190.374 | 7.86 | 885 | 76.89 | 0
2020-12-12 17:30:00 | 0.54667 | 210.8733 | 0.60667 | 195.3713 | 0.66067 | 206.2327 | 0.744 | 196.37 | 7.94 | 885 | 78.0473 | 0
2020-12-12 17:45:00 | 0.36467 | 205.76 | 0.43333 | 224.836 | 0.486 | 201.232 | 0.58133 | 225.9847 | 8.0867 | 885 | 77.7587 | 0
2020-12-12 18:00:00 | 0.28133 | 224.2067 | 0.32267 | 306.16 | 0.26467 | 219.2733 | 0.346 | 307.7253 | 8.0533 | 885 | 77.6713 | 0
2020-12-12 18:15:00 | 0.76267 | 328.3733 | 0.754 | 339.0793 | 0.80667 | 321.1487 | 0.77667 | 340.8133 | 7.84 | 885 | 77.8713 | 0
2020-12-12 18:30:00 | 1.2233 | 36.3933 | 1.2387 | 337.9907 | 1.2827 | 35.5933 | 1.2947 | 339.7187 | 7.6533 | 884.8667 | 79.8107 | 0
2020-12-12 18:45:00 | 1.6227 | 13.0933 | 1.6833 | 276.7593 | 1.808 | 12.8053 | 1.8727 | 278.1747 | 7.46 | 884 | 80.7267 | 0
2020-12-12 19:00:00 | 1.732 | 16.0133 | 1.7953 | 254.286 | 1.9493 | 15.66 | 2.01 | 255.5873 | 7.4467 | 884.8 | 80.656 | 0
2020-12-12 19:15:00 | 1.5867 | 16.7 | 1.5953 | 310.4173 | 1.8173 | 16.3327 | 1.7667 | 312.0033 | 7.5067 | 885 | 80.2113 | 0
2020-12-12 19:30:00 | 1.8753 | 187.24 | 1.948 | 329.2933 | 2.1813 | 183.1213 | 2.23 | 330.9767 | 7.4533 | 885 | 81.72 | 0
2020-12-12 19:45:00 | 2.002 | 340.94 | 2.1253 | 335.0953 | 2.3133 | 333.4393 | 2.4573 | 336.808 | 7.4133 | 885 | 82.7333 | 0
2020-12-12 20:00:00 | 1.9167 | 301.1733 | 2.02 | 318.8127 | 2.2633 | 294.5473 | 2.36 | 320.4447 | 7.2667 | 885.8 | 83.2533 | 0.090667
2020-12-12 20:15:00 | 1.5833 | 332.06 | 1.7 | 312.934 | 1.7967 | 324.7547 | 1.958 | 314.5347 | 7.38 | 885.5333 | 83.3933 | 0
2020-12-12 20:30:00 | 0.86533 | 194.7533 | 0.916 | 315.0267 | 0.94733 | 190.4687 | 1.0227 | 316.638 | 7.6133 | 885.8 | 82.2867 | 0
2020-12-12 20:45:00 | 0.63867 | 181.9067 | 0.628 | 321.3587 | 0.55733 | 177.9047 | 0.56267 | 323.0007 | 7.7067 | 886 | 80.6973 | 0
2020-12-12 21:00:00 | 0.72 | 310.5133 | 0.76 | 304.146 | 0.75933 | 303.682 | 0.826 | 305.6987 | 7.7333 | 886 | 79.4673 | 0
2020-12-12 21:15:00 | 0.94133 | 248.3667 | 0.97467 | 301.9733 | 0.95 | 242.9033 | 1.0113 | 303.5173 | 7.7133 | 886 | 78.5633 | 0
2020-12-12 21:30:00 | 1.3173 | 249.76 | 1.3447 | 183.2907 | 1.4287 | 244.2647 | 1.4507 | 184.2267 | 7.7067 | 886 | 78.902 | 0
2020-12-12 21:45:00 | 0.48267 | 95.56 | 0.46267 | 58.8953 | 0.45533 | 93.458 | 0.42467 | 59.1953 | 7.7 | 886.4667 | 80.04 | 0
2020-12-12 22:00:00 | 0.84533 | 243.0667 | 0.86533 | 267.1307 | 0.82533 | 237.718 | 0.87067 | 268.498 | 7.66 | 887 | 81.5 | 0
2020-12-12 22:15:00 | 1.8193 | 213.5667 | 1.8887 | 337.7293 | 1.8887 | 208.87 | 2.0007 | 339.4567 | 7.48 | 886.5333 | 80.6267 | 0
2020-12-12 22:30:00 | 1.89 | 318.0933 | 1.94 | 336.5487 | 2.1033 | 311.094 | 2.1353 | 338.27 | 7.32 | 886.1333 | 81.7 | 0.69733
2020-12-12 22:45:00 | 3.0287 | 273.5533 | 3.236 | 324.9893 | 3.408 | 267.534 | 3.6927 | 326.65 | 7.2533 | 887 | 82.8733 | 3.0213
2020-12-12 23:00:00 | 3.3233 | 259.4 | 3.5587 | 329.8993 | 3.7693 | 253.6927 | 4.0887 | 331.5867 | 7.16 | 887 | 84.5133 | 7.6947
2020-12-12 23:15:00 | 3.1673 | 321.32 | 3.338 | 326.926 | 3.664 | 314.2507 | 3.8453 | 328.598 | 7.1533 | 887 | 87.7467 | 6.5147
2020-12-12 23:30:00 | 3.474 | 349.2333 | 3.694 | 326.912 | 3.9127 | 341.5493 | 4.2067 | 328.5847 | 7.0867 | 887 | 88.44 | 8.126
2020-12-12 23:45:00 | 3.572 | 348.4133 | 3.7847 | 330.708 | 3.9547 | 340.748 | 4.2467 | 332.3987 | 7.02 | 887 | 87.4933 | 8.6473