## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-13 00:00:00 | 3.796 | 325.0733 | 3.988 | 329.488 | 4.1773 | 317.9227 | 4.4353 | 331.1733 | 7.16 | 887 | 87.7333 | 9.3387
2020-12-13 00:15:00 | 3.6467 | 320 | 3.84 | 327.792 | 4.1067 | 312.9587 | 4.3433 | 329.4687 | 7.2933 | 887 | 87.6267 | 8.3587
2020-12-13 00:30:00 | 4.266 | 344.2133 | 4.4833 | 332.4867 | 4.7367 | 337.2993 | 5.018 | 334.1867 | 7.2333 | 886.8667 | 86.6267 | 13.728
2020-12-13 00:45:00 | 4.972 | 339.8533 | 5.2207 | 327.6233 | 5.4753 | 332.3767 | 5.8047 | 329.298 | 6.9933 | 886 | 88.18 | 21.76
2020-12-13 01:00:00 | 5.1153 | 348.8533 | 5.398 | 332.872 | 5.688 | 341.178 | 6.0567 | 334.574 | 7.08 | 886 | 88.36 | 23.3707
2020-12-13 01:15:00 | 4.784 | 298.2533 | 4.9967 | 324.4607 | 5.434 | 291.6913 | 5.6513 | 326.1207 | 7.0667 | 886 | 87.1867 | 21.3613
2020-12-13 01:30:00 | 5.1547 | 335.2533 | 5.38 | 322.7667 | 5.6893 | 327.8767 | 5.9627 | 324.4153 | 7.0333 | 886 | 86.08 | 25.3133
2020-12-13 01:45:00 | 5.4 | 337.4067 | 5.734 | 320.9727 | 5.9007 | 329.9833 | 6.3893 | 322.614 | 7.0933 | 886 | 85.14 | 27.306
2020-12-13 02:00:00 | 5.2727 | 337.3467 | 5.596 | 327.0307 | 5.8687 | 329.924 | 6.31 | 328.7007 | 7.3133 | 886.6667 | 85.8667 | 28.782
2020-12-13 02:15:00 | 5.2227 | 341.5733 | 5.538 | 330.186 | 5.596 | 334.0587 | 6.088 | 331.8747 | 7.1533 | 886 | 88.32 | 30.0567
2020-12-13 02:30:00 | 6.278 | 324.5067 | 6.6227 | 332.7547 | 6.902 | 317.3667 | 7.3813 | 334.4567 | 6.9 | 885.8667 | 87.4 | 42.174
2020-12-13 02:45:00 | 7.046 | 257.1533 | 7.4193 | 336.464 | 8.0433 | 251.496 | 8.4593 | 338.184 | 6.8867 | 885 | 85.8 | 49.0533
2020-12-13 03:00:00 | 6.4193 | 322.34 | 6.778 | 331.0267 | 7.1473 | 315.2473 | 7.616 | 332.7187 | 6.6267 | 885 | 83.1933 | 45.602
2020-12-13 03:15:00 | 6.5227 | 337.3467 | 6.8867 | 323.9007 | 7.1307 | 329.9253 | 7.6493 | 325.556 | 6.6667 | 885.4667 | 78.132 | 46.9487
2020-12-13 03:30:00 | 6.6727 | 343.12 | 7.0973 | 323.5993 | 7.5387 | 335.5713 | 8.0907 | 325.2553 | 6.7667 | 886 | 77.23 | 50.6353
2020-12-13 03:45:00 | 6.6927 | 319.4533 | 7.0987 | 331.1187 | 7.2647 | 312.4253 | 7.872 | 332.8113 | 6.7533 | 886 | 76.8013 | 47.554
2020-12-13 04:00:00 | 6.3533 | 337.32 | 6.786 | 324.3113 | 6.816 | 329.8993 | 7.5027 | 325.97 | 6.72 | 886 | 77.3493 | 45.318
2020-12-13 04:15:00 | 6.8047 | 339.84 | 7.2393 | 325.81 | 7.262 | 332.362 | 7.9573 | 327.4767 | 6.6333 | 886 | 75.7293 | 47.1027
2020-12-13 04:30:00 | 6.1627 | 322.6733 | 6.5193 | 325.4473 | 6.6047 | 315.574 | 7.1567 | 327.1107 | 6.6133 | 886 | 72.7707 | 48.3667
2020-12-13 04:45:00 | 6.5147 | 344.4133 | 6.9027 | 325.856 | 7.1013 | 336.836 | 7.67 | 327.522 | 6.6267 | 886 | 72.312 | 46.404
2020-12-13 05:00:00 | 6.4887 | 340.3267 | 6.88 | 308.096 | 7.294 | 332.8407 | 7.8027 | 309.6713 | 6.6533 | 886 | 70.8013 | 48.7967
2020-12-13 05:15:00 | 6.6073 | 279.8667 | 6.9613 | 331.574 | 7.4967 | 273.7087 | 7.9107 | 333.2687 | 6.7933 | 885.5333 | 70.1273 | 49.3473
2020-12-13 05:30:00 | 6.412 | 254.9733 | 6.8033 | 288.4647 | 7.3947 | 249.364 | 7.8507 | 289.9393 | 6.72 | 885 | 68.9253 | 48.546
2020-12-13 05:45:00 | 6.0447 | 270.4733 | 6.4173 | 325.3153 | 6.736 | 264.5227 | 7.238 | 326.9793 | 6.4267 | 885 | 66.36 | 44.6073
2020-12-13 06:00:00 | 5.9587 | 320.7333 | 6.2247 | 324.416 | 6.484 | 313.6787 | 6.8373 | 326.0753 | 6.3533 | 885 | 65.97 | 43.81
2020-12-13 06:15:00 | 6.0273 | 320.1067 | 6.424 | 328.7207 | 6.2913 | 313.064 | 6.9727 | 330.3987 | 6.3 | 885.4667 | 65.394 | 43.498
2020-12-13 06:30:00 | 6.3113 | 259.4733 | 6.7207 | 332.832 | 6.9867 | 253.7647 | 7.572 | 334.5353 | 6.2667 | 885.8667 | 67.446 | 43.7427
2020-12-13 06:45:00 | 6.65 | 261.3933 | 7.122 | 332.246 | 7.4147 | 255.642 | 8.086 | 333.9453 | 6.1667 | 885 | 68.8553 | 45.96
2020-12-13 07:00:00 | 6.3167 | 298.2 | 6.738 | 332.2193 | 7.0907 | 291.6393 | 7.6667 | 333.9187 | 6.08 | 885 | 67.6153 | 44.4547
2020-12-13 07:15:00 | 6.372 | 317.7933 | 6.832 | 330.85 | 6.8573 | 310.8013 | 7.592 | 332.5413 | 6.1 | 885 | 66.2867 | 41.3327
2020-12-13 07:30:00 | 6.4127 | 341.7933 | 6.8773 | 328.7333 | 6.774 | 334.274 | 7.5513 | 330.4127 | 6.0467 | 885.1333 | 67.4533 | 40.3213
2020-12-13 07:45:00 | 6.2833 | 340.56 | 6.7627 | 328.0927 | 6.8673 | 333.0673 | 7.608 | 329.7707 | 6.0067 | 886 | 66.3973 | 40.646
2020-12-13 08:00:00 | 6.1967 | 296.28 | 6.684 | 331.0393 | 6.8267 | 289.7613 | 7.57 | 332.7327 | 6.02 | 886 | 66.7273 | 40.856
2020-12-13 08:15:00 | 5.7053 | 341.9 | 6.1993 | 328.1127 | 6.1107 | 334.3773 | 6.9313 | 329.79 | 5.9867 | 886 | 66.2467 | 36.5647
2020-12-13 08:30:00 | 5.928 | 317.4933 | 6.4113 | 330.6107 | 6.4347 | 310.508 | 7.2067 | 332.3 | 6.0867 | 886 | 65.302 | 36.0933
2020-12-13 08:45:00 | 6.1307 | 342.48 | 6.5893 | 329.1627 | 6.5147 | 334.9453 | 7.2747 | 330.8453 | 5.9733 | 886 | 63.156 | 39.058
2020-12-13 09:00:00 | 6.1427 | 339.6333 | 6.604 | 328.034 | 6.61 | 332.1613 | 7.352 | 329.7093 | 5.9333 | 886.8 | 62.3947 | 40.8153
2020-12-13 09:15:00 | 6.0593 | 319.3 | 6.5067 | 328.94 | 6.6113 | 312.2753 | 7.3007 | 330.6213 | 5.8733 | 887 | 63.0793 | 39.9733
2020-12-13 09:30:00 | 6.4613 | 342.3933 | 6.95 | 330.2827 | 7.0247 | 334.86 | 7.79 | 331.9727 | 5.8733 | 887 | 63.054 | 41.6767
2020-12-13 09:45:00 | 6.5453 | 339.4667 | 7.0133 | 326.3647 | 7.038 | 331.9973 | 7.784 | 328.0327 | 5.8067 | 887 | 62.8687 | 44.7787
2020-12-13 10:00:00 | 6.5507 | 342.96 | 7.0227 | 310.338 | 7.0327 | 335.4153 | 7.7887 | 311.9253 | 5.7867 | 887 | 61.7307 | 44.5953
2020-12-13 10:15:00 | 6.4967 | 342.18 | 7.042 | 334.124 | 7.3207 | 334.6527 | 8.114 | 335.8327 | 5.76 | 887 | 62.4447 | 48.436
2020-12-13 10:30:00 | 6.9333 | 300.8467 | 7.4127 | 328.718 | 7.87 | 294.2293 | 8.5087 | 330.3993 | 5.7133 | 887.8 | 62.0013 | 50.23
2020-12-13 10:45:00 | 6.836 | 323.8467 | 7.3307 | 306.974 | 7.7333 | 316.7227 | 8.408 | 308.544 | 5.64 | 888 | 61.2847 | 50.7067
2020-12-13 11:00:00 | 6.8847 | 319.2133 | 7.352 | 335.6293 | 7.8427 | 312.19 | 8.4553 | 337.346 | 5.5533 | 888 | 60.7107 | 52.1333
2020-12-13 11:15:00 | 7.2547 | 346.3 | 7.784 | 307.3847 | 8.2287 | 338.6813 | 8.9507 | 308.9573 | 5.3933 | 888 | 60.448 | 51.69
2020-12-13 11:30:00 | 6.9113 | 342.2733 | 7.3947 | 308.4027 | 7.8753 | 334.7433 | 8.5133 | 309.9793 | 5.22 | 888 | 61.1887 | 50.724
2020-12-13 11:45:00 | 6.984 | 346.6333 | 7.4767 | 305.8147 | 7.8 | 339.0087 | 8.4967 | 307.378 | 4.96 | 888 | 62.3093 | 48.2413
2020-12-13 12:00:00 | 7.1707 | 295.12 | 7.618 | 327.4933 | 7.8573 | 288.6293 | 8.5073 | 329.168 | 4.7067 | 888 | 63.0607 | 50.848
2020-12-13 12:15:00 | 7.2913 | 318.3333 | 7.7253 | 306.2827 | 7.988 | 311.3307 | 8.6127 | 307.8487 | 4.3533 | 888 | 64.378 | 52.3033
2020-12-13 12:30:00 | 7.624 | 315.9733 | 8.1753 | 329.802 | 8.4987 | 309.022 | 9.2867 | 331.49 | 4 | 887.8667 | 66.9793 | 53.39
2020-12-13 12:45:00 | 7.566 | 341.1667 | 8.0973 | 321.1027 | 8.1993 | 333.662 | 9.028 | 322.744 | 3.6333 | 887 | 71.7927 | 52.524
2020-12-13 13:00:00 | 7.5007 | 318.7533 | 8 | 325.9227 | 8.1633 | 311.7413 | 8.9247 | 327.5893 | 3.18 | 887 | 74.7527 | 52.8167
2020-12-13 13:15:00 | 7.786 | 337.3 | 8.344 | 327.0367 | 8.588 | 329.8787 | 9.4113 | 328.7087 | 2.8867 | 887 | 77.9987 | 52.9573
2020-12-13 13:30:00 | 7.894 | 339.86 | 8.4613 | 327.8513 | 8.5573 | 332.3813 | 9.4413 | 329.528 | 2.6133 | 886.8667 | 80.514 | 53.7887
2020-12-13 13:45:00 | 8.0147 | 338.1867 | 8.5913 | 307.0333 | 8.6133 | 330.746 | 9.5373 | 308.6033 | 2.3667 | 886 | 83.12 | 54.4613
2020-12-13 14:00:00 | 8.1327 | 296.32 | 8.7487 | 307.32 | 9.07 | 289.8007 | 9.9627 | 308.8913 | 2.2 | 886 | 85.7733 | 55.706
2020-12-13 14:15:00 | 7.984 | 342.2733 | 8.684 | 315.0587 | 9.072 | 334.7427 | 10.0767 | 316.6693 | 1.96 | 886 | 88.3333 | 55.5227
2020-12-13 14:30:00 | 8.1173 | 318.6933 | 8.7593 | 309.9527 | 9.2413 | 311.6827 | 10.1347 | 311.538 | 1.82 | 886 | 90.1667 | 54.132
2020-12-13 14:45:00 | 8.2767 | 273.6933 | 8.7793 | 310.0513 | 9.4847 | 267.672 | 10.0893 | 311.6373 | 1.6467 | 886 | 91.1467 | 55.0427
2020-12-13 15:00:00 | 8.2033 | 320.1467 | 8.8393 | 333.204 | 9.2893 | 313.1027 | 10.1807 | 334.908 | 1.4933 | 886 | 91.82 | 53.7587
2020-12-13 15:15:00 | 8.3727 | 301.2 | 9.0407 | 287.65 | 9.5793 | 294.572 | 10.496 | 289.1187 | 1.3867 | 886 | 92.2333 | 53.6807
2020-12-13 15:30:00 | 8.7327 | 342.4667 | 9.4513 | 331.9593 | 9.8507 | 334.9327 | 10.888 | 333.656 | 1.2467 | 886 | 92.6667 | 55.0033
2020-12-13 15:45:00 | 8.7213 | 340.58 | 9.3847 | 328.856 | 9.9373 | 333.086 | 10.8427 | 330.5367 | 1.0333 | 886 | 93.38 | 53.7233
2020-12-13 16:00:00 | 8.6833 | 274.12 | 9.3713 | 313.324 | 10.0587 | 268.0907 | 10.9627 | 314.928 | 0.84 | 886 | 95 | 55.0753
2020-12-13 16:15:00 | 8.9027 | 317.4933 | 9.5373 | 329.9507 | 10.1927 | 310.508 | 11.0233 | 331.6393 | 0.66667 | 886.4667 | 96.1667 | 55.576
2020-12-13 16:30:00 | 9.0533 | 297.94 | 9.808 | 334.1893 | 10.4753 | 291.3853 | 11.4967 | 335.898 | 0.48 | 887 | 97.3133 | 55.942
2020-12-13 16:45:00 | 9.058 | 280.0267 | 9.7853 | 335.766 | 10.5927 | 273.866 | 11.5267 | 337.4827 | 0.34 | 887 | 98.0067 | 58.574
2020-12-13 17:00:00 | 9.4367 | 299.2267 | 10.266 | 310.3527 | 11.03 | 292.644 | 12.1393 | 311.938 | 0.23333 | 887 | 98.26 | 59.0727
2020-12-13 17:15:00 | 9.8347 | 345.2267 | 10.6893 | 271.206 | 11.398 | 337.632 | 12.5647 | 272.592 | 0.19333 | 887 | 98.14 | 59.296
2020-12-13 17:30:00 | 10.0187 | 344.1867 | 10.9053 | 331.4953 | 11.5473 | 336.6147 | 12.782 | 333.192 | 0.20667 | 887 | 97.42 | 59.4433
2020-12-13 17:45:00 | 9.5727 | 326.4133 | 10.504 | 287.1847 | 11.2607 | 319.2327 | 12.534 | 288.654 | 0.29333 | 887 | 96.4267 | 59.2987
2020-12-13 18:00:00 | 9.4913 | 277.32 | 10.3307 | 310.7373 | 11.3253 | 271.2187 | 12.38 | 312.3267 | 0.38667 | 887 | 95.02 | 59.2673
2020-12-13 18:15:00 | 10.25 | 322.78 | 11.1253 | 333.276 | 11.7793 | 315.6793 | 12.9953 | 334.9813 | 0.44 | 887 | 93.5733 | 60.0273
2020-12-13 18:30:00 | 10.5847 | 327.02 | 11.4027 | 313.1553 | 12.0547 | 319.826 | 13.1787 | 314.756 | 0.53333 | 887.8 | 91.7067 | 60.752
2020-12-13 18:45:00 | 10.158 | 277.24 | 10.956 | 289.1227 | 11.7293 | 271.1413 | 12.7907 | 290.6027 | 0.63333 | 888 | 89.1867 | 60.926
2020-12-13 19:00:00 | 10.36 | 300.7733 | 11.18 | 286.17 | 11.7887 | 294.1573 | 12.934 | 287.6327 | 0.62667 | 888 | 87.8933 | 60.284
2020-12-13 19:15:00 | 10.5327 | 297.0933 | 11.3273 | 290.596 | 12.0453 | 290.5573 | 13.116 | 292.0813 | 0.73333 | 888 | 86.9533 | 61.0353
2020-12-13 19:30:00 | 10.5193 | 279.9067 | 11.254 | 291.8927 | 12.1773 | 273.7493 | 13.086 | 293.3867 | 0.82667 | 888.8 | 86.3067 | 60.72
2020-12-13 19:45:00 | 10.67 | 303.3 | 11.54 | 333.6013 | 12.4367 | 296.628 | 13.5753 | 335.3067 | 0.82 | 889 | 85.5667 | 60.0933
2020-12-13 20:00:00 | 9.9353 | 207.56 | 10.6653 | 333.9933 | 11.72 | 202.9927 | 12.5853 | 335.7027 | 0.81333 | 889 | 84.3133 | 61.0647
2020-12-13 20:15:00 | 9.794 | 317.7533 | 10.604 | 312.504 | 11.4213 | 310.7633 | 12.4867 | 314.1013 | 0.87333 | 889 | 84.02 | 59.4007
2020-12-13 20:30:00 | 9.8887 | 301.6867 | 10.6127 | 310.3713 | 11.4573 | 295.0487 | 12.3773 | 311.9593 | 0.84 | 889.8 | 83.58 | 59.6373
2020-12-13 20:45:00 | 9.956 | 277.2533 | 10.6267 | 332.436 | 11.508 | 271.152 | 12.33 | 334.1353 | 0.8 | 890 | 83.32 | 59.704
2020-12-13 21:00:00 | 9.8913 | 258.8 | 10.586 | 310.612 | 11.5373 | 253.1067 | 12.3793 | 312.2013 | 0.72 | 890 | 82.0267 | 57.0493
2020-12-13 21:15:00 | 9.8753 | 279.2 | 10.568 | 306.72 | 11.3193 | 273.058 | 12.2127 | 308.2893 | 0.66 | 890 | 80.9133 | 57.9153
2020-12-13 21:30:00 | 9.6607 | 301.4133 | 10.386 | 223.4213 | 11.372 | 294.782 | 12.2513 | 224.564 | 0.57333 | 890.1333 | 81.7467 | 58.168
2020-12-13 21:45:00 | 9.2373 | 250.86 | 9.9427 | 306.2047 | 11.0553 | 245.3407 | 11.8673 | 307.7707 | 0.46667 | 891 | 82.2333 | 58.2833
2020-12-13 22:00:00 | 9.3027 | 274.9933 | 9.8833 | 307.7893 | 10.9193 | 268.9427 | 11.5493 | 309.362 | 0.42 | 891 | 82.8733 | 58.026
2020-12-13 22:15:00 | 8.8767 | 215.2933 | 9.5087 | 330.2833 | 10.4807 | 210.5567 | 11.2107 | 331.9713 | 0.4 | 891 | 82.7467 | 57.0587
2020-12-13 22:30:00 | 8.4007 | 277.8667 | 8.9193 | 312.8233 | 9.6433 | 271.754 | 10.2693 | 314.4213 | 0.32667 | 891 | 83.0867 | 57.4753
2020-12-13 22:45:00 | 8.206 | 324.3733 | 8.8147 | 267.8267 | 9.726 | 317.236 | 10.4373 | 269.198 | 0.38 | 891 | 82.5467 | 56.91
2020-12-13 23:00:00 | 7.98 | 210.2867 | 8.5787 | 315.504 | 9.6673 | 205.6607 | 10.3127 | 317.1167 | 0.38 | 891.6667 | 82.2533 | 57.614
2020-12-13 23:15:00 | 7.7713 | 274.9867 | 8.28 | 307.4573 | 9.3093 | 268.9373 | 9.8273 | 309.0293 | 0.25333 | 891.4667 | 82.1733 | 57.07
2020-12-13 23:30:00 | 8.0687 | 282.22 | 8.622 | 309.5487 | 9.5353 | 276.0107 | 10.1593 | 311.1327 | 0.21333 | 892 | 82.18 | 56.9253
2020-12-13 23:45:00 | 8.1607 | 275.6467 | 8.6687 | 311.154 | 9.5613 | 269.5827 | 10.1213 | 312.7453 | 0.21333 | 892 | 82.7 | 57.7533