## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-15 00:00:00 | 6.0833 | 340.6133 | 6.494 | 322.642 | 6.6987 | 333.1193 | 7.3 | 324.2913 | 0.58667 | 894 | 72.5753 | 35.5073
2020-12-15 00:15:00 | 6.12 | 317.1133 | 6.5173 | 327.368 | 6.474 | 310.1373 | 7.1253 | 329.0433 | 0.57333 | 894 | 72.3427 | 34.8953
2020-12-15 00:30:00 | 6.0093 | 342.6133 | 6.3847 | 325.2233 | 6.3493 | 335.076 | 6.9607 | 326.8873 | 0.66667 | 894 | 73.0987 | 33.5747
2020-12-15 00:45:00 | 5.9407 | 341.82 | 6.3587 | 326.6913 | 6.4347 | 334.2987 | 7.0867 | 328.362 | 0.64 | 893.5333 | 71.8947 | 32.028
2020-12-15 01:00:00 | 6.0353 | 341.4733 | 6.4633 | 324.4607 | 6.466 | 333.9607 | 7.154 | 326.1213 | 0.5 | 893 | 71.2953 | 32.706
2020-12-15 01:15:00 | 6.02 | 344.8667 | 6.4733 | 325.478 | 6.6293 | 337.2787 | 7.316 | 327.1427 | 0.34667 | 893 | 70.7433 | 33.0553
2020-12-15 01:30:00 | 5.8553 | 319.0867 | 6.328 | 323.9207 | 6.4573 | 312.0667 | 7.1833 | 325.5767 | 0.2 | 893 | 71.3553 | 33.0607
2020-12-15 01:45:00 | 5.912 | 342.7867 | 6.43 | 329.6527 | 6.5993 | 335.2447 | 7.382 | 331.336 | 0.2 | 893 | 72.664 | 32.276
2020-12-15 02:00:00 | 5.7827 | 343.1533 | 6.2573 | 326.8213 | 6.3393 | 335.6027 | 7.0753 | 328.492 | 0.22 | 892.2 | 73.2233 | 31.0913
2020-12-15 02:15:00 | 5.9047 | 341.46 | 6.3787 | 324.578 | 6.4867 | 333.9467 | 7.22 | 326.238 | 0.11333 | 892 | 73.1547 | 31.3027
2020-12-15 02:30:00 | 5.948 | 342.38 | 6.4267 | 327.798 | 6.5233 | 334.8467 | 7.2633 | 329.4747 | 0.12 | 892 | 72.898 | 31.4627
2020-12-15 02:45:00 | 6.0167 | 340.8067 | 6.4833 | 322.4873 | 6.7267 | 333.31 | 7.408 | 324.1333 | 0.14 | 892 | 72.5633 | 31.9613
2020-12-15 03:00:00 | 5.636 | 336.9733 | 6.0953 | 322.108 | 6.3047 | 329.56 | 6.984 | 323.7547 | 0.066667 | 892.1333 | 73.1033 | 28.1353
2020-12-15 03:15:00 | 5.416 | 338.4133 | 5.8767 | 323.8807 | 5.934 | 330.968 | 6.6567 | 325.5367 | 0.073333 | 893 | 73.8647 | 25.6167
2020-12-15 03:30:00 | 5.7453 | 338.24 | 6.1513 | 327.538 | 6.3193 | 330.798 | 6.9267 | 329.214 | 0.066667 | 893 | 74.1187 | 30.1073
2020-12-15 03:45:00 | 5.846 | 343.8333 | 6.2207 | 329.0187 | 6.5133 | 336.2687 | 7.0347 | 330.7013 | 0.013333 | 892.5333 | 75.05 | 30.9867
2020-12-15 04:00:00 | 5.7993 | 337.8933 | 6.22 | 326.444 | 6.5747 | 330.4593 | 7.1533 | 328.112 | 0 | 892 | 75.3707 | 30.3587
2020-12-15 04:15:00 | 5.4873 | 336.84 | 5.8907 | 325.7327 | 6.1473 | 329.4293 | 6.7213 | 327.398 | -0.026667 | 892 | 75.0013 | 28.484
2020-12-15 04:30:00 | 5.428 | 340.2733 | 5.8347 | 322.896 | 5.934 | 332.7873 | 6.5587 | 324.548 | -0.026667 | 892 | 75.4867 | 27.1287
2020-12-15 04:45:00 | 5.746 | 337.7 | 6.182 | 322.5967 | 6.1867 | 330.2707 | 6.8847 | 324.246 | 0 | 892 | 75.6693 | 30.3127
2020-12-15 05:00:00 | 5.982 | 340.54 | 6.4373 | 326.5013 | 6.8007 | 333.0473 | 7.424 | 328.1707 | -0.033333 | 892 | 76.2807 | 32.8907
2020-12-15 05:15:00 | 5.8667 | 318.4 | 6.3293 | 323.32 | 6.736 | 311.3967 | 7.362 | 324.974 | -0.066667 | 892 | 76.8047 | 34.198
2020-12-15 05:30:00 | 5.6127 | 339.3267 | 6.0713 | 326.502 | 6.4407 | 331.8613 | 7.0727 | 328.172 | -0.16667 | 892 | 77.1787 | 32.262
2020-12-15 05:45:00 | 5.602 | 336.0933 | 6.0807 | 322.668 | 6.3373 | 328.6987 | 7.0327 | 324.3167 | -0.12 | 892 | 77.9713 | 31.1973
2020-12-15 06:00:00 | 5.6733 | 338.4933 | 6.1807 | 321.6247 | 6.468 | 331.0467 | 7.1987 | 323.2693 | -0.14 | 892 | 77.826 | 30.438
2020-12-15 06:15:00 | 5.684 | 338.4867 | 6.1747 | 322.74 | 6.3587 | 331.0407 | 7.0933 | 324.3907 | -0.11333 | 892 | 77.792 | 29.5173
2020-12-15 06:30:00 | 5.832 | 331.7867 | 6.2947 | 322.186 | 6.4467 | 324.4873 | 7.1447 | 323.834 | -0.10667 | 892 | 77.9427 | 31.2453
2020-12-15 06:45:00 | 5.8953 | 335.8467 | 6.3807 | 327.5253 | 6.7127 | 328.458 | 7.3967 | 329.1993 | -0.16667 | 892 | 78.1553 | 32.4527
2020-12-15 07:00:00 | 5.856 | 333.46 | 6.322 | 323.124 | 6.6047 | 326.1233 | 7.2733 | 324.7773 | -0.10667 | 892 | 78.3733 | 30.9707
2020-12-15 07:15:00 | 5.8807 | 337.68 | 6.3613 | 323.854 | 6.6147 | 330.2507 | 7.3127 | 325.5107 | -0.1 | 892 | 78.1793 | 29.6993
2020-12-15 07:30:00 | 5.8553 | 312.28 | 6.3307 | 327.0633 | 6.6607 | 305.4107 | 7.326 | 328.7347 | 0.026667 | 892 | 78.5073 | 30.8933
2020-12-15 07:45:00 | 5.744 | 333.7267 | 6.224 | 302.9773 | 6.4833 | 326.3853 | 7.1753 | 304.526 | 0.006667 | 892 | 79.0213 | 29.8573
2020-12-15 08:00:00 | 5.4673 | 338.14 | 5.93 | 321.1627 | 6.1713 | 330.7007 | 6.846 | 322.806 | -0.033333 | 892 | 79.0667 | 27.4693
2020-12-15 08:15:00 | 5.0267 | 336.6333 | 5.5093 | 324.2 | 5.788 | 329.2267 | 6.4827 | 325.8587 | 0 | 892 | 79.2047 | 24.4973
2020-12-15 08:30:00 | 5.0213 | 336.9533 | 5.47 | 325.1767 | 5.6713 | 329.54 | 6.3333 | 326.8413 | -0.026667 | 892.1333 | 79.2367 | 22.8133
2020-12-15 08:45:00 | 5.1413 | 333.24 | 5.5507 | 325.198 | 5.8273 | 325.9087 | 6.4053 | 326.8607 | -0.013333 | 893 | 79.826 | 23.368
2020-12-15 09:00:00 | 5.4613 | 333.5533 | 5.8827 | 326.8553 | 6.0467 | 326.214 | 6.6793 | 328.526 | -0.086667 | 893 | 79.8493 | 25.6627
2020-12-15 09:15:00 | 5.5467 | 340.1667 | 5.9993 | 323.2493 | 6.2253 | 332.6827 | 6.8887 | 324.9007 | -0.066667 | 893 | 80.0467 | 26.902
2020-12-15 09:30:00 | 5.4207 | 335.5933 | 5.8327 | 324.3427 | 6.21 | 328.2093 | 6.76 | 326.0013 | -0.08 | 893.8 | 80.44 | 25.94
2020-12-15 09:45:00 | 5.4633 | 334.84 | 5.86 | 320.6727 | 6.2567 | 327.4733 | 6.778 | 322.3133 | -0.06 | 894 | 80.7533 | 26.0493
2020-12-15 10:00:00 | 5.4447 | 333.68 | 5.888 | 323.6467 | 6.278 | 326.3387 | 6.8767 | 325.3013 | -0.013333 | 894 | 80.58 | 27.642
2020-12-15 10:15:00 | 5.6953 | 335.4933 | 6.1367 | 323.0793 | 6.6453 | 328.112 | 7.2033 | 324.732 | 0 | 894 | 80.7867 | 28.56
2020-12-15 10:30:00 | 5.618 | 332.26 | 6.0273 | 319.1927 | 6.4607 | 324.95 | 6.992 | 320.8253 | 0 | 894.1333 | 81.0533 | 26.5833
2020-12-15 10:45:00 | 5.1713 | 332.3333 | 5.6 | 325.4713 | 5.9293 | 325.0213 | 6.524 | 327.1353 | -0.04 | 895 | 81.7467 | 21.3027
2020-12-15 11:00:00 | 4.7553 | 332.82 | 5.1807 | 322.7733 | 5.4673 | 325.4973 | 6.072 | 324.4233 | -0.006667 | 895 | 81.5267 | 18.668
2020-12-15 11:15:00 | 4.5507 | 332.0267 | 4.944 | 323.1633 | 5.1853 | 324.722 | 5.748 | 324.8167 | 0 | 895 | 81.1133 | 15.4567
2020-12-15 11:30:00 | 4.6087 | 336.54 | 4.93 | 319.0753 | 5.2513 | 329.1367 | 5.6773 | 320.708 | 0 | 894.3333 | 81.5533 | 15.9887
2020-12-15 11:45:00 | 4.866 | 289.8067 | 5.0993 | 322.6353 | 5.488 | 283.4307 | 5.7507 | 324.286 | 0 | 894.5333 | 81.9467 | 16.7133
2020-12-15 12:00:00 | 5.2367 | 337.5667 | 5.5547 | 326.606 | 6.0093 | 330.1407 | 6.3893 | 328.276 | 0 | 894 | 81.8933 | 20.114
2020-12-15 12:15:00 | 5.4853 | 332.9133 | 5.846 | 326.9253 | 6.2207 | 325.59 | 6.6913 | 328.5973 | 0 | 894 | 81.62 | 22.928
2020-12-15 12:30:00 | 5.2613 | 336.1733 | 5.568 | 322.74 | 5.954 | 328.7773 | 6.3307 | 324.39 | 0.06 | 894 | 81.3867 | 21.5087
2020-12-15 12:45:00 | 5.3887 | 334.6933 | 5.7013 | 326.2993 | 5.986 | 327.3293 | 6.41 | 327.9687 | 0.16667 | 894 | 81.9133 | 20.3667
2020-12-15 13:00:00 | 5.128 | 334.3267 | 5.438 | 326.0327 | 5.7293 | 326.9713 | 6.1427 | 327.6993 | 0.19333 | 893.8667 | 81.9133 | 18.86
2020-12-15 13:15:00 | 5.3267 | 335.3533 | 5.676 | 324.4167 | 5.9013 | 327.9767 | 6.3987 | 326.0747 | 0.18 | 893 | 82.1133 | 20.3073
2020-12-15 13:30:00 | 5.144 | 335.8267 | 5.476 | 304.1587 | 5.7193 | 328.438 | 6.1813 | 305.712 | 0.20667 | 893 | 82.0267 | 19.6767
2020-12-15 13:45:00 | 5.32 | 333.1133 | 5.6587 | 320.4727 | 5.9893 | 325.784 | 6.4393 | 322.1093 | 0.16 | 893 | 82.1067 | 20.4987
2020-12-15 14:00:00 | 5.3147 | 334.5467 | 5.63 | 327.4867 | 5.926 | 327.1867 | 6.3467 | 329.1613 | 0.25333 | 892.2 | 82.4667 | 21.4653
2020-12-15 14:15:00 | 5.4807 | 337.4467 | 5.8353 | 322.0613 | 6.0367 | 330.022 | 6.5513 | 323.7093 | 0.29333 | 892 | 82.6133 | 23.274
2020-12-15 14:30:00 | 5.5013 | 314.2467 | 5.8093 | 323.6193 | 6.1467 | 307.3327 | 6.5473 | 325.274 | 0.33333 | 892 | 82.3933 | 22.804
2020-12-15 14:45:00 | 5.4807 | 336.4 | 5.8147 | 321.3827 | 6.166 | 328.998 | 6.6053 | 323.026 | 0.4 | 892 | 82.62 | 22.768
2020-12-15 15:00:00 | 5.536 | 334.76 | 5.9673 | 323.3207 | 6.154 | 327.394 | 6.7947 | 324.974 | 0.38667 | 892 | 82.82 | 25.932
2020-12-15 15:15:00 | 5.6787 | 333.3133 | 6.068 | 321.6513 | 6.352 | 325.98 | 6.898 | 323.296 | 0.44667 | 892 | 83.3933 | 26.7307
2020-12-15 15:30:00 | 5.7673 | 340.12 | 6.1513 | 327.4927 | 6.65 | 332.638 | 7.1247 | 329.168 | 0.39333 | 892 | 83.8667 | 28.6747
2020-12-15 15:45:00 | 5.86 | 337.02 | 6.2613 | 323.028 | 6.7393 | 329.6053 | 7.2447 | 324.6793 | 0.39333 | 892 | 83.8 | 29.9353
2020-12-15 16:00:00 | 6.088 | 338.26 | 6.5333 | 324.826 | 6.6333 | 330.8193 | 7.3187 | 326.488 | 0.36667 | 891.8667 | 83.8867 | 31.7873
2020-12-15 16:15:00 | 6.036 | 341.88 | 6.504 | 327.5907 | 6.686 | 334.3587 | 7.3847 | 329.266 | 0.34 | 891.4667 | 84.2933 | 33.6753
2020-12-15 16:30:00 | 6.3013 | 339.8333 | 6.778 | 324.7987 | 6.744 | 332.3573 | 7.5227 | 326.4607 | 0.44667 | 892 | 84.4667 | 35.6787
2020-12-15 16:45:00 | 6.2873 | 340.7867 | 6.78 | 329.3973 | 6.9687 | 333.2893 | 7.704 | 331.0807 | 0.43333 | 892 | 84.8333 | 37
2020-12-15 17:00:00 | 6.2933 | 336.9867 | 6.7793 | 327.0227 | 6.9393 | 329.5727 | 7.6727 | 328.6953 | 0.48667 | 892 | 85.0467 | 36.968
2020-12-15 17:15:00 | 6.3387 | 319.08 | 6.78 | 322.7333 | 6.9853 | 312.0593 | 7.634 | 324.3847 | 0.50667 | 892 | 85.2867 | 39.628
2020-12-15 17:30:00 | 6.6253 | 337.9333 | 7.1067 | 323.308 | 7.342 | 330.4987 | 8.0473 | 324.9607 | 0.48 | 892 | 85.5533 | 41.2573
2020-12-15 17:45:00 | 6.9133 | 345.7333 | 7.428 | 328.4007 | 7.4833 | 338.1273 | 8.2947 | 330.078 | 0.48 | 892 | 85.6867 | 42.626
2020-12-15 18:00:00 | 7.0367 | 321.7533 | 7.524 | 327.1213 | 7.454 | 314.676 | 8.2553 | 328.7933 | 0.62 | 892 | 85.32 | 45.1733
2020-12-15 18:15:00 | 6.8347 | 338.4667 | 7.2913 | 326.9333 | 7.138 | 331.0193 | 7.922 | 328.604 | 0.61333 | 892 | 85 | 43.9127
2020-12-15 18:30:00 | 6.8953 | 337.6133 | 7.3373 | 321.0973 | 7.4447 | 330.1853 | 8.1227 | 322.7373 | 0.76 | 892.1333 | 84.4267 | 43.2747
2020-12-15 18:45:00 | 6.7253 | 335.9667 | 7.2293 | 321.364 | 7.4647 | 328.5753 | 8.206 | 323.008 | 0.75333 | 893 | 83.8867 | 42.5807
2020-12-15 19:00:00 | 6.4353 | 339.9 | 6.88 | 317.986 | 7.05 | 332.4213 | 7.7147 | 319.6127 | 0.69333 | 893 | 82.7867 | 41.924
2020-12-15 19:15:00 | 6.6747 | 340.3733 | 7.0987 | 323.47 | 7.1793 | 332.886 | 7.838 | 325.1227 | 0.69333 | 893 | 82.1 | 42.8727
2020-12-15 19:30:00 | 6.8707 | 341.36 | 7.2867 | 325.2307 | 7.568 | 333.8487 | 8.158 | 326.8947 | 0.78 | 893 | 81.6867 | 44.2193
2020-12-15 19:45:00 | 6.9213 | 343.7867 | 7.3753 | 327.9233 | 7.5033 | 336.2227 | 8.196 | 329.6 | 0.82 | 893 | 81.7467 | 44.85
2020-12-15 20:00:00 | 7.0033 | 341.9867 | 7.4793 | 330.8773 | 7.6933 | 334.462 | 8.3953 | 332.5687 | 0.8 | 893.8 | 81.52 | 45.994
2020-12-15 20:15:00 | 7.11 | 341.8067 | 7.59 | 326.562 | 7.684 | 334.2867 | 8.432 | 328.2307 | 0.92667 | 894 | 81.5 | 47.1973
2020-12-15 20:30:00 | 7.0393 | 340.54 | 7.4873 | 324.7933 | 7.4987 | 333.0467 | 8.2147 | 326.4547 | 0.92667 | 894 | 81.78 | 47.0773
2020-12-15 20:45:00 | 7.2213 | 343.7 | 7.6527 | 320.8047 | 7.7233 | 336.138 | 8.4027 | 322.444 | 0.97333 | 894 | 81.6267 | 47.9407
2020-12-15 21:00:00 | 7.0433 | 342.0067 | 7.4853 | 324.5453 | 7.5733 | 334.4833 | 8.2573 | 326.2053 | 0.92667 | 894 | 81.9133 | 49.094
2020-12-15 21:15:00 | 7.2553 | 342.7733 | 7.7067 | 325.6807 | 7.7773 | 335.232 | 8.4827 | 327.3473 | 0.94667 | 894 | 81.3133 | 49.068
2020-12-15 21:30:00 | 6.82 | 316.2333 | 7.2053 | 321.7693 | 7.208 | 309.276 | 7.8327 | 323.414 | 1.0133 | 894 | 81.1067 | 47.2793
2020-12-15 21:45:00 | 6.8533 | 319.98 | 7.2327 | 325.132 | 7.3607 | 312.9413 | 7.9353 | 326.7947 | 1.0867 | 894 | 81.0067 | 47.3
2020-12-15 22:00:00 | 7.0133 | 296.7133 | 7.356 | 325.348 | 7.6947 | 290.1853 | 8.1507 | 327.0113 | 1.0667 | 894 | 80.94 | 47.396
2020-12-15 22:15:00 | 7.0993 | 342.08 | 7.4813 | 326.8807 | 7.6207 | 334.5533 | 8.1953 | 328.5513 | 1.0933 | 894 | 80.9933 | 48.1907
2020-12-15 22:30:00 | 6.624 | 279.2667 | 6.8073 | 329.3373 | 7.1607 | 273.1233 | 7.3593 | 331.0213 | 1.0867 | 894.8 | 81.26 | 47.0907
2020-12-15 22:45:00 | 6.4067 | 340.88 | 6.6547 | 325.6013 | 6.6767 | 333.3813 | 7.0713 | 327.2673 | 1.0467 | 895 | 81.4667 | 44.8147
2020-12-15 23:00:00 | 6.2413 | 294.82 | 6.4307 | 329.356 | 6.5933 | 288.334 | 6.854 | 331.0407 | 1.1467 | 895 | 81.5067 | 42.3007
2020-12-15 23:15:00 | 6.264 | 299.5933 | 6.4493 | 326.0333 | 6.574 | 293.0007 | 6.84 | 327.7 | 1.1933 | 895 | 81.6 | 43.788
2020-12-15 23:30:00 | 6.464 | 318.9867 | 6.6873 | 321.646 | 6.9367 | 311.9693 | 7.226 | 323.29 | 1.1733 | 895 | 81.4933 | 47.1967
2020-12-15 23:45:00 | 6.8213 | 318.7533 | 7.0753 | 326.554 | 7.2333 | 311.7413 | 7.6 | 328.2233 | 1.2267 | 894.5333 | 81.28 | 48.8273