## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-16 00:00:00 | 6.902 | 274.3 | 7.12 | 325.308 | 7.476 | 268.2647 | 7.7273 | 326.9713 | 1.3067 | 894 | 81.2 | 48.9293
2020-12-16 00:15:00 | 6.766 | 313.6133 | 7.0413 | 322.108 | 7.2433 | 306.714 | 7.628 | 323.754 | 1.2533 | 894 | 80.8933 | 49.6547
2020-12-16 00:30:00 | 7.3913 | 340.38 | 7.7067 | 322.9927 | 7.8473 | 332.8913 | 8.318 | 324.6453 | 1.2933 | 894 | 81.1733 | 52.4487
2020-12-16 00:45:00 | 7.0533 | 317.7933 | 7.322 | 327.036 | 7.5553 | 310.802 | 7.9253 | 328.7093 | 1.2267 | 894 | 81.3733 | 51.6907
2020-12-16 01:00:00 | 7.1867 | 319.1067 | 7.422 | 326.9393 | 7.5033 | 312.0873 | 7.8633 | 328.6107 | 1.1667 | 894 | 81.3467 | 52.0433
2020-12-16 01:15:00 | 7.49 | 338.2067 | 7.8133 | 332.0707 | 7.8813 | 330.7653 | 8.382 | 333.7687 | 1.2333 | 894 | 81.78 | 53.2033
2020-12-16 01:30:00 | 7.6493 | 318.8333 | 7.9193 | 327.564 | 8.2167 | 311.818 | 8.57 | 329.24 | 1.2867 | 894 | 81.7133 | 54.388
2020-12-16 01:45:00 | 7.4453 | 344.6733 | 7.7573 | 327.0433 | 7.95 | 337.09 | 8.398 | 328.7173 | 1.2467 | 894 | 81.4533 | 54.55
2020-12-16 02:00:00 | 7.0827 | 297.2933 | 7.3493 | 331.2267 | 7.36 | 290.754 | 7.7913 | 332.9213 | 1.2533 | 894 | 81.5267 | 52.0707
2020-12-16 02:15:00 | 6.7613 | 323.8933 | 7.1393 | 332.084 | 7.1693 | 316.7667 | 7.7693 | 333.7807 | 1.22 | 894 | 81.8067 | 51.0027
2020-12-16 02:30:00 | 6.4473 | 296.3867 | 6.7793 | 327.284 | 6.9053 | 289.866 | 7.404 | 328.9573 | 1.3 | 894 | 81.9 | 49.332
2020-12-16 02:45:00 | 6.3013 | 342.44 | 6.7133 | 329.93 | 6.8327 | 334.9053 | 7.462 | 331.618 | 1.3533 | 894.4667 | 81.1533 | 43.736
2020-12-16 03:00:00 | 6.42 | 297.7 | 6.8133 | 329.058 | 7.0533 | 291.1507 | 7.616 | 330.7393 | 1.42 | 895 | 81.0733 | 42.0867
2020-12-16 03:15:00 | 6.494 | 347.02 | 6.8847 | 330.3953 | 6.9393 | 339.386 | 7.5553 | 332.0833 | 1.3667 | 895 | 80.68 | 41.2733
2020-12-16 03:30:00 | 6.1993 | 343.7133 | 6.6393 | 324.4673 | 6.5507 | 336.1507 | 7.286 | 326.1267 | 1.46 | 894.2 | 80.2107 | 38.2333
2020-12-16 03:45:00 | 5.8767 | 342.9333 | 6.3327 | 324.742 | 6.3333 | 335.3887 | 7.0653 | 326.402 | 1.48 | 894 | 80.566 | 34.4627
2020-12-16 04:00:00 | 6.176 | 342.9933 | 6.642 | 323.478 | 6.6673 | 335.4467 | 7.41 | 325.1307 | 1.4733 | 894 | 80.5533 | 36.3647
2020-12-16 04:15:00 | 6.3813 | 347.52 | 6.8733 | 325.2887 | 6.8507 | 339.8753 | 7.652 | 326.952 | 1.4933 | 894 | 80.6133 | 39.5753
2020-12-16 04:30:00 | 6.6567 | 319.7733 | 7.1707 | 326.2687 | 7.4013 | 312.7373 | 8.1627 | 327.936 | 1.2133 | 894 | 80.2693 | 41.976
2020-12-16 04:45:00 | 6.3427 | 341.6333 | 6.9093 | 327.918 | 6.8573 | 334.1167 | 7.784 | 329.594 | 1.22 | 894 | 79.7147 | 38.7547
2020-12-16 05:00:00 | 6.2847 | 342.7867 | 6.7967 | 330.5967 | 6.7027 | 335.246 | 7.554 | 332.286 | 1.2467 | 894 | 80.496 | 37.234
2020-12-16 05:15:00 | 6.1993 | 344.9333 | 6.7533 | 332.206 | 6.8287 | 337.344 | 7.698 | 333.906 | 1.16 | 894 | 81.3867 | 36.4167
2020-12-16 05:30:00 | 6.1167 | 341.3133 | 6.656 | 329.898 | 6.6847 | 333.806 | 7.5453 | 331.5867 | 1.0867 | 894 | 81.4733 | 35.208
2020-12-16 05:45:00 | 5.676 | 341.7333 | 6.1367 | 326.9447 | 6.092 | 334.216 | 6.8447 | 328.616 | 1.1 | 894 | 81.76 | 32.2873
2020-12-16 06:00:00 | 5.63 | 344.76 | 6.134 | 329.2987 | 6.1053 | 337.174 | 6.9173 | 330.9827 | 1.1067 | 894 | 81.4467 | 30.356
2020-12-16 06:15:00 | 5.6153 | 322.36 | 6.0533 | 329.52 | 5.972 | 315.2687 | 6.702 | 331.2053 | 1.1133 | 894 | 81.8733 | 29.6493
2020-12-16 06:30:00 | 5.4653 | 350.38 | 5.9273 | 321.2607 | 5.8593 | 342.672 | 6.6227 | 322.904 | 1.12 | 894 | 81.54 | 28.018
2020-12-16 06:45:00 | 5.3607 | 346.8533 | 5.79 | 327.3313 | 5.58 | 339.222 | 6.3373 | 329.0033 | 1.26 | 894 | 81.34 | 26.0233
2020-12-16 07:00:00 | 5.3433 | 346.2333 | 5.808 | 323.568 | 5.6867 | 338.6153 | 6.4713 | 325.2207 | 1.2867 | 894 | 81.7133 | 26.2693
2020-12-16 07:15:00 | 5.3947 | 346.2867 | 5.8307 | 328.0927 | 5.86 | 338.668 | 6.5507 | 329.7707 | 1.2533 | 894 | 81.8467 | 27.2013
2020-12-16 07:30:00 | 5.628 | 346.2267 | 6.068 | 328.452 | 6.2253 | 338.61 | 6.8873 | 330.1307 | 1.2467 | 894 | 82.3067 | 28.798
2020-12-16 07:45:00 | 5.336 | 342.1933 | 5.7533 | 325.766 | 5.7973 | 334.6647 | 6.458 | 327.4307 | 1.2133 | 894 | 82.5 | 26.6867
2020-12-16 08:00:00 | 5.1407 | 340.6067 | 5.5487 | 325.8067 | 5.7313 | 333.1133 | 6.33 | 327.47 | 1.1733 | 894 | 82.52 | 24.736
2020-12-16 08:15:00 | 5.2127 | 342.6267 | 5.6247 | 329.428 | 5.6187 | 335.088 | 6.284 | 331.1133 | 1.0933 | 894.4667 | 83.44 | 24.5307
2020-12-16 08:30:00 | 5.216 | 340.22 | 5.5947 | 326.99 | 5.6847 | 332.736 | 6.266 | 328.6627 | 1.0533 | 895 | 84.3 | 24.7373
2020-12-16 08:45:00 | 5.2413 | 339.12 | 5.6427 | 325.616 | 5.7353 | 331.658 | 6.3527 | 327.2807 | 1.04 | 895 | 85.04 | 25.9493
2020-12-16 09:00:00 | 5.4513 | 341.5133 | 5.8847 | 306.6033 | 5.934 | 334.0007 | 6.6153 | 308.17 | 1.0267 | 895 | 85.92 | 27.348
2020-12-16 09:15:00 | 5.5633 | 340.6067 | 5.9693 | 319.5053 | 6.136 | 333.1133 | 6.7413 | 321.14 | 0.89333 | 895 | 87.2 | 26.8127
2020-12-16 09:30:00 | 5.2473 | 335.4133 | 5.632 | 323.652 | 5.832 | 328.032 | 6.3913 | 325.3073 | 0.86 | 895 | 87.6467 | 22.6933
2020-12-16 09:45:00 | 5.222 | 339.4067 | 5.624 | 327.964 | 5.7673 | 331.94 | 6.376 | 329.64 | 0.85333 | 895 | 88.3933 | 22.0807
2020-12-16 10:00:00 | 5.1153 | 341.4867 | 5.4787 | 326.854 | 5.5993 | 333.976 | 6.1453 | 328.5253 | 0.80667 | 895.1333 | 89.04 | 19.0733
2020-12-16 10:15:00 | 4.7113 | 345.3867 | 5.0287 | 327.2653 | 5.318 | 337.7893 | 5.744 | 328.9387 | 0.74 | 896 | 89.9 | 16.398
2020-12-16 10:30:00 | 4.4567 | 344.3267 | 4.7687 | 321.532 | 5.0473 | 336.75 | 5.4693 | 323.178 | 0.57333 | 896 | 90.6067 | 14.6887
2020-12-16 10:45:00 | 4.2987 | 339.3667 | 4.5873 | 322.5447 | 4.8413 | 331.8987 | 5.2353 | 324.194 | 0.63333 | 896 | 91.4267 | 12.85
2020-12-16 11:00:00 | 4.232 | 337.44 | 4.5427 | 322.8327 | 4.7607 | 330.0153 | 5.1973 | 324.4827 | 0.65333 | 896 | 91.5 | 12.41
2020-12-16 11:15:00 | 4.3493 | 336.6733 | 4.7 | 324.7087 | 4.96 | 329.2667 | 5.444 | 326.3693 | 0.58667 | 896 | 91.58 | 13.1493
2020-12-16 11:30:00 | 4.6907 | 337.6533 | 5.0673 | 322.4927 | 5.3233 | 330.2253 | 5.8573 | 324.1413 | 0.64 | 896 | 92.0133 | 16.5167
2020-12-16 11:45:00 | 4.9087 | 336.6333 | 5.252 | 326.462 | 5.3573 | 329.2287 | 5.8793 | 328.1333 | 0.58667 | 896 | 92.78 | 16.4993
2020-12-16 12:00:00 | 4.846 | 319.2733 | 5.2013 | 327.3573 | 5.4467 | 312.2493 | 5.9467 | 329.0307 | 0.63333 | 895.2 | 93.7333 | 16.566
2020-12-16 12:15:00 | 4.964 | 338.8267 | 5.3427 | 326.442 | 5.4067 | 331.3727 | 5.9993 | 328.112 | 0.59333 | 895 | 94.2733 | 17.3773
2020-12-16 12:30:00 | 4.926 | 340.1733 | 5.3067 | 325.3353 | 5.5467 | 332.6893 | 6.086 | 326.9973 | 0.59333 | 895 | 94.44 | 17.382
2020-12-16 12:45:00 | 4.878 | 336.12 | 5.19 | 326.22 | 5.342 | 328.7253 | 5.8053 | 327.89 | 0.5 | 895 | 94.9133 | 17.1967
2020-12-16 13:00:00 | 5.0667 | 335.1867 | 5.412 | 325.2107 | 5.4907 | 327.8133 | 6.0273 | 326.8733 | 0.48667 | 894.2 | 95.4467 | 17.174
2020-12-16 13:15:00 | 4.808 | 335.0133 | 5.1447 | 323.052 | 5.184 | 327.6427 | 5.7133 | 324.7047 | 0.48667 | 894 | 95.3533 | 16.074
2020-12-16 13:30:00 | 4.7127 | 337.1467 | 5.0893 | 325.6407 | 5.2327 | 329.7293 | 5.7927 | 327.306 | 0.38667 | 894 | 95.1667 | 14.878
2020-12-16 13:45:00 | 4.6213 | 335.6133 | 5.0027 | 325.5827 | 5.216 | 328.2293 | 5.7693 | 327.248 | 0.42667 | 893.5333 | 95.24 | 14.6353
2020-12-16 14:00:00 | 4.8313 | 337.5267 | 5.196 | 324.9373 | 5.3907 | 330.1013 | 5.9213 | 326.598 | 0.34 | 893 | 95.2333 | 16.1047
2020-12-16 14:15:00 | 4.7673 | 336.9867 | 5.1347 | 324.3053 | 5.1253 | 329.574 | 5.716 | 325.962 | 0.42 | 893 | 95.18 | 15.7087
2020-12-16 14:30:00 | 4.876 | 338.1 | 5.252 | 324.3773 | 5.3973 | 330.6607 | 5.962 | 326.0347 | 0.34 | 892.8667 | 95.04 | 16.564
2020-12-16 14:45:00 | 4.8753 | 337 | 5.2453 | 327.114 | 5.3627 | 329.586 | 5.922 | 328.786 | 0.37333 | 892 | 95.06 | 16.5187
2020-12-16 15:00:00 | 4.8707 | 338.7933 | 5.2393 | 326.964 | 5.3347 | 331.34 | 5.9007 | 328.636 | 0.36667 | 892 | 95.32 | 16.4413
2020-12-16 15:15:00 | 4.846 | 339.26 | 5.19 | 326.7307 | 5.396 | 331.7967 | 5.8887 | 328.4007 | 0.38667 | 892 | 95.52 | 16.7707
2020-12-16 15:30:00 | 4.9227 | 334.7133 | 5.2593 | 326.384 | 5.334 | 327.35 | 5.8547 | 328.0527 | 0.43333 | 892 | 95.9 | 16.24
2020-12-16 15:45:00 | 4.91 | 316.46 | 5.29 | 321.2733 | 5.42 | 309.4973 | 5.992 | 322.9153 | 0.31333 | 892 | 96.44 | 17.0093
2020-12-16 16:00:00 | 5.0627 | 337.0667 | 5.4413 | 323.418 | 5.6507 | 329.6507 | 6.2007 | 325.072 | 0.36 | 892 | 96.8667 | 18.5387
2020-12-16 16:15:00 | 5.234 | 342.9 | 5.6667 | 320.934 | 5.9593 | 335.3553 | 6.572 | 322.5733 | 0.22 | 892 | 97.38 | 20.618
2020-12-16 16:30:00 | 5.0927 | 343.3667 | 5.5433 | 320.9533 | 5.8373 | 335.8133 | 6.4747 | 322.5953 | 0.27333 | 892 | 97.8067 | 21.2853
2020-12-16 16:45:00 | 5.3847 | 333.18 | 5.824 | 319.1413 | 6.108 | 325.8493 | 6.734 | 320.7727 | 0.23333 | 892 | 98.0933 | 23.6013
2020-12-16 17:00:00 | 5.5127 | 338.3667 | 5.9953 | 325.2627 | 6.2927 | 330.9227 | 6.978 | 326.9253 | 0.2 | 892 | 98.2933 | 25.894
2020-12-16 17:15:00 | 5.884 | 339.0667 | 6.3187 | 332.4993 | 6.406 | 331.6073 | 7.0807 | 334.1993 | 0.21333 | 892 | 98.4933 | 27.25
2020-12-16 17:30:00 | 5.6253 | 343.8933 | 6.1067 | 327.3753 | 6.368 | 336.3273 | 7.064 | 329.0487 | 0.2 | 892 | 98.7867 | 27.8093
2020-12-16 17:45:00 | 5.7693 | 346.9333 | 6.2487 | 328.1773 | 6.47 | 339.3013 | 7.172 | 329.856 | 0.19333 | 892 | 99.2067 | 29.4327
2020-12-16 18:00:00 | 5.8193 | 345.9267 | 6.3327 | 326.952 | 6.6493 | 338.3147 | 7.3833 | 328.6233 | 0.12667 | 892 | 99.5667 | 30.3893
2020-12-16 18:15:00 | 5.948 | 343.3867 | 6.4467 | 322.694 | 6.8153 | 335.832 | 7.5087 | 324.3427 | 0.12667 | 892 | 99.8467 | 31.2547
2020-12-16 18:30:00 | 6.052 | 342.3733 | 6.5393 | 326.2147 | 6.8653 | 334.8413 | 7.5547 | 327.8847 | 0.093333 | 892 | 99.98 | 32.1907
2020-12-16 18:45:00 | 6.0607 | 343.6267 | 6.5753 | 327.6367 | 6.8133 | 336.0667 | 7.572 | 329.3127 | 0.033333 | 892 | 100 | 31.5533
2020-12-16 19:00:00 | 6.0147 | 344.6067 | 6.5193 | 326.2467 | 6.8367 | 337.0247 | 7.5513 | 327.9153 | 0.073333 | 892 | 100 | 31.8653
2020-12-16 19:15:00 | 5.948 | 346.6867 | 6.482 | 328.6867 | 6.7933 | 339.06 | 7.5607 | 330.366 | 0.046667 | 892 | 100 | 31.442
2020-12-16 19:30:00 | 5.798 | 318.74 | 6.2907 | 322.9607 | 6.75 | 311.7273 | 7.4087 | 324.6127 | 0.1 | 892.8 | 100 | 30.2533
2020-12-16 19:45:00 | 5.798 | 339.2733 | 6.2873 | 323.8227 | 6.744 | 331.81 | 7.3933 | 325.4787 | 0.04 | 893 | 100 | 30.1827
2020-12-16 20:00:00 | 5.8287 | 312.8733 | 6.2693 | 326.2153 | 6.5913 | 305.9907 | 7.2047 | 327.884 | 0 | 893 | 100 | 29.4247
2020-12-16 20:15:00 | 5.8633 | 337.7533 | 6.338 | 323.88 | 6.5707 | 330.3233 | 7.2673 | 325.5373 | 0 | 893 | 100 | 30.648
2020-12-16 20:30:00 | 5.8313 | 338.1733 | 6.324 | 326.3727 | 6.7 | 330.7333 | 7.3773 | 328.0393 | 0 | 893 | 100 | 29.4127
2020-12-16 20:45:00 | 5.5427 | 336.8467 | 6.0073 | 322.5773 | 6.4353 | 329.436 | 7.0553 | 324.2267 | 0 | 893 | 100 | 27.3607
2020-12-16 21:00:00 | 5.7373 | 339.9067 | 6.1793 | 325.896 | 6.5687 | 332.428 | 7.1647 | 327.562 | -0.033333 | 893 | 100 | 28.8653
2020-12-16 21:15:00 | 5.556 | 340.4467 | 5.9993 | 327.3687 | 6.3593 | 332.9573 | 6.9667 | 329.042 | -0.093333 | 893 | 100 | 27.4907
2020-12-16 21:30:00 | 5.4707 | 339.1267 | 5.9127 | 331.112 | 6.3 | 331.6667 | 6.9007 | 332.804 | -0.073333 | 893 | 100 | 27.08
2020-12-16 21:45:00 | 5.8793 | 336.2 | 6.32 | 326.958 | 6.6953 | 328.8033 | 7.2907 | 328.63 | -0.08 | 893 | 100 | 29.328
2020-12-16 22:00:00 | 5.8947 | 338.8333 | 6.3253 | 325.138 | 6.7747 | 331.3793 | 7.3407 | 326.8007 | 0 | 893 | 100 | 29.98
2020-12-16 22:15:00 | 5.9767 | 338.98 | 6.444 | 323.306 | 6.7433 | 331.5213 | 7.4053 | 324.9607 | 0 | 893 | 100 | 31.286
2020-12-16 22:30:00 | 6.2307 | 342.4267 | 6.72 | 324.9307 | 7.0787 | 334.8933 | 7.7613 | 326.5933 | 0 | 893 | 100 | 32.9633
2020-12-16 22:45:00 | 6.5587 | 340.6 | 7.0793 | 327.3173 | 7.3567 | 333.106 | 8.1153 | 328.9907 | -0.02 | 893.4667 | 100 | 34.6613
2020-12-16 23:00:00 | 6.5253 | 337.9533 | 7.0547 | 326.098 | 7.2833 | 330.5167 | 8.07 | 327.7647 | 0.013333 | 893.3333 | 100 | 34.712
2020-12-16 23:15:00 | 6.3887 | 338.32 | 6.9707 | 321.874 | 7.34 | 330.8767 | 8.1633 | 323.518 | 0.006667 | 894 | 100 | 32.3447
2020-12-16 23:30:00 | 6.1927 | 338.5 | 6.7593 | 324.122 | 7.096 | 331.0527 | 7.9053 | 325.7793 | 0.013333 | 893.8667 | 100 | 32.014
2020-12-16 23:45:00 | 6.2227 | 337.58 | 6.7493 | 326.9787 | 7.104 | 330.1533 | 7.8507 | 328.6493 | 0.026667 | 893 | 99.8333 | 32.668