## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-17 00:00:00 | 6.2827 | 335.92 | 6.7993 | 322.5767 | 6.96 | 328.5287 | 7.744 | 324.2253 | 0.02 | 893.8 | 99.4867 | 32.234
2020-12-17 00:15:00 | 6.1413 | 335.8267 | 6.6953 | 322.818 | 6.978 | 328.438 | 7.78 | 324.4693 | 0.10667 | 894 | 99.4 | 31.8913
2020-12-17 00:30:00 | 6.246 | 338.92 | 6.7987 | 324.4993 | 7.1053 | 331.4633 | 7.9053 | 326.1593 | 0.12 | 893.2 | 99.3067 | 32.9167
2020-12-17 00:45:00 | 6.3947 | 337.9067 | 6.962 | 317.6347 | 7.38 | 330.4733 | 8.1647 | 319.258 | 0.086667 | 893 | 99.1533 | 33.9673
2020-12-17 01:00:00 | 6.686 | 333.8933 | 7.2647 | 319.454 | 7.6087 | 326.5473 | 8.4387 | 321.0873 | 0.16 | 893 | 98.9267 | 35.8373
2020-12-17 01:15:00 | 6.8047 | 336.1667 | 7.3687 | 321.678 | 7.6007 | 328.7727 | 8.4393 | 323.322 | 0.11333 | 893 | 98.7533 | 37.3867
2020-12-17 01:30:00 | 6.646 | 336.2333 | 7.218 | 319.8847 | 7.4987 | 328.836 | 8.336 | 321.52 | 0.086667 | 893 | 98.8067 | 36.8573
2020-12-17 01:45:00 | 6.1213 | 340.46 | 6.6733 | 324.1607 | 6.7267 | 332.97 | 7.6013 | 325.8193 | 0.08 | 893 | 99.0467 | 33.328
2020-12-17 02:00:00 | 5.9147 | 341.42 | 6.4647 | 320.7713 | 6.7473 | 333.908 | 7.5453 | 322.4107 | 0.10667 | 893 | 99.1267 | 30.148
2020-12-17 02:15:00 | 5.7673 | 338.36 | 6.2913 | 322.8773 | 6.5073 | 330.9167 | 7.2833 | 324.5287 | 0.12 | 893 | 98.66 | 29.104
2020-12-17 02:30:00 | 5.8973 | 336.72 | 6.3273 | 319.4347 | 6.5587 | 329.312 | 7.1793 | 321.068 | 0.046667 | 892.8667 | 98.1533 | 30.1153
2020-12-17 02:45:00 | 5.4747 | 336.2867 | 5.9133 | 324.1687 | 5.9673 | 328.8893 | 6.658 | 325.824 | 0.006667 | 892.4667 | 97.4667 | 26.91
2020-12-17 03:00:00 | 5.8187 | 337.9333 | 6.248 | 303.0827 | 6.4813 | 330.4987 | 7.106 | 304.632 | 0.14 | 892.2 | 96.86 | 30.5767
2020-12-17 03:15:00 | 6.006 | 337.02 | 6.4873 | 318.9247 | 6.662 | 329.6053 | 7.386 | 320.556 | 0.06 | 892 | 97.1733 | 31.2273
2020-12-17 03:30:00 | 6.2147 | 336.0933 | 6.6873 | 323.2487 | 6.8513 | 328.6987 | 7.5627 | 324.9007 | 0.14667 | 892 | 97.5733 | 32.6693
2020-12-17 03:45:00 | 6.134 | 341.8667 | 6.6187 | 328.3607 | 6.7287 | 334.3453 | 7.4747 | 330.04 | 0.093333 | 892 | 97.4867 | 32.41
2020-12-17 04:00:00 | 6.3067 | 342.8 | 6.8007 | 324.1533 | 6.98 | 335.2587 | 7.7227 | 325.8107 | 0.06 | 892 | 97.1 | 32.9273
2020-12-17 04:15:00 | 6.0793 | 337.8133 | 6.5727 | 323.164 | 6.8227 | 330.3807 | 7.5427 | 324.8153 | 0 | 892 | 97.1 | 32.82
2020-12-17 04:30:00 | 6.0167 | 341.2333 | 6.4953 | 325.6607 | 6.752 | 333.7267 | 7.45 | 327.3253 | 0 | 892 | 96.5867 | 31.202
2020-12-17 04:45:00 | 6.1473 | 334.4733 | 6.6447 | 322.5053 | 6.7853 | 327.114 | 7.5467 | 324.1547 | 0.04 | 892 | 96.0867 | 32.4293
2020-12-17 05:00:00 | 6.142 | 334.3733 | 6.6327 | 318.6513 | 6.8687 | 327.018 | 7.5913 | 320.2807 | 0.013333 | 892 | 96.5067 | 32.6573
2020-12-17 05:15:00 | 6.0727 | 334.6467 | 6.5927 | 318.462 | 6.852 | 327.2833 | 7.608 | 320.0913 | 0.033333 | 892 | 96.7467 | 32.0087
2020-12-17 05:30:00 | 5.9727 | 338.2067 | 6.508 | 322.6433 | 6.8247 | 330.7673 | 7.5907 | 324.2913 | 0 | 891.2 | 96.9867 | 32.626
2020-12-17 05:45:00 | 6.1927 | 336.0333 | 6.6967 | 300.762 | 6.9673 | 328.64 | 7.6973 | 302.2987 | 0 | 891 | 97.1 | 34.3873
2020-12-17 06:00:00 | 6.2967 | 340.9467 | 6.8127 | 322.2107 | 7.1747 | 333.4453 | 7.9 | 323.8587 | 0.06 | 891.6667 | 96.5933 | 34.7093
2020-12-17 06:15:00 | 6.0687 | 342.48 | 6.5713 | 319.904 | 6.798 | 334.944 | 7.5433 | 321.54 | 0.10667 | 891 | 96.1933 | 32.5867
2020-12-17 06:30:00 | 6.4773 | 344.26 | 7.032 | 322.4407 | 7.0893 | 336.6867 | 7.9607 | 324.088 | 0.086667 | 891.8 | 96.3667 | 32.342
2020-12-17 06:45:00 | 6.512 | 344.8133 | 7.11 | 323.9067 | 7.326 | 337.2267 | 8.226 | 325.5627 | 0.13333 | 892 | 96.3 | 35.1887
2020-12-17 07:00:00 | 6.544 | 340.08 | 7.104 | 322.8633 | 7.3387 | 332.5987 | 8.1647 | 324.5133 | 0.066667 | 891.3333 | 95.3867 | 36.8233
2020-12-17 07:15:00 | 6.422 | 341.3 | 6.9867 | 320.042 | 7.2867 | 333.7907 | 8.1027 | 321.6773 | 0.066667 | 892 | 94.6 | 35.7507
2020-12-17 07:30:00 | 6.3613 | 340.6067 | 6.8987 | 324.82 | 7.2453 | 333.1127 | 8.008 | 326.4807 | 0.12 | 892 | 94.62 | 36.1727
2020-12-17 07:45:00 | 6.4647 | 342.8533 | 6.9887 | 324.832 | 7.2527 | 335.3107 | 8.0173 | 326.4927 | 0.086667 | 892 | 94.1667 | 36.8707
2020-12-17 08:00:00 | 6.558 | 340.7467 | 7.0953 | 327.0947 | 7.2807 | 333.2507 | 8.0907 | 328.766 | 0.19333 | 892 | 93.6467 | 36.5493
2020-12-17 08:15:00 | 6.4913 | 344.2333 | 7.0267 | 328.6727 | 7.2587 | 336.66 | 8.0513 | 330.3533 | 0.12 | 892 | 93.5933 | 36.324
2020-12-17 08:30:00 | 6.3893 | 344.42 | 6.898 | 327.0307 | 7.3233 | 336.842 | 8.0173 | 328.7013 | 0.18667 | 892 | 93.6533 | 35.572
2020-12-17 08:45:00 | 6.4387 | 342.3267 | 6.9607 | 324.2587 | 7.4027 | 334.796 | 8.11 | 325.9167 | 0.24667 | 892 | 93.5333 | 35.156
2020-12-17 09:00:00 | 6.3253 | 346.2667 | 6.8013 | 328.2487 | 7.192 | 338.6487 | 7.8487 | 329.928 | 0.28667 | 892 | 93.6 | 35.0067
2020-12-17 09:15:00 | 6.352 | 321.2867 | 6.7833 | 327.9293 | 7.2147 | 314.2187 | 7.7833 | 329.606 | 0.34667 | 892.4667 | 92.96 | 35.1807
2020-12-17 09:30:00 | 6.2907 | 343.5933 | 6.7627 | 327.6693 | 7.1427 | 336.0333 | 7.7907 | 329.3447 | 0.46667 | 893 | 92.6933 | 33.1387
2020-12-17 09:45:00 | 6.1673 | 346.4533 | 6.6547 | 328.726 | 6.9207 | 338.832 | 7.6187 | 330.406 | 0.5 | 893 | 92.4733 | 33.7553
2020-12-17 10:00:00 | 5.8333 | 343.9867 | 6.334 | 326.9113 | 6.5527 | 336.4187 | 7.292 | 328.5847 | 0.58667 | 893 | 91.52 | 32.0127
2020-12-17 10:15:00 | 5.942 | 345.4267 | 6.454 | 330.7407 | 6.3313 | 337.828 | 7.1853 | 332.43 | 0.74 | 893.4667 | 90.2733 | 31.434
2020-12-17 10:30:00 | 5.9627 | 338.54 | 6.4647 | 326.3847 | 6.2947 | 331.0913 | 7.1467 | 328.0527 | 0.78667 | 894 | 89.7333 | 28.846
2020-12-17 10:45:00 | 5.6847 | 338.5933 | 6.1293 | 326.8153 | 5.9353 | 331.144 | 6.706 | 328.486 | 0.94 | 894 | 89.4 | 27.876
2020-12-17 11:00:00 | 5.5793 | 336.6 | 6.0093 | 320.9147 | 5.8727 | 329.1947 | 6.6013 | 322.5553 | 1.1 | 894 | 87.72 | 25.1253
2020-12-17 11:15:00 | 5.164 | 337.4067 | 5.528 | 325.5707 | 5.5393 | 329.984 | 6.1233 | 327.2347 | 1.14 | 894 | 86.68 | 21.1033
2020-12-17 11:30:00 | 4.632 | 332.5533 | 4.9007 | 325.6933 | 4.91 | 325.2387 | 5.336 | 327.3587 | 1.3067 | 894 | 85.5133 | 15.49
2020-12-17 11:45:00 | 4.3573 | 333.5 | 4.6353 | 320.738 | 4.8527 | 326.1627 | 5.242 | 322.378 | 1.5067 | 894 | 84.5333 | 13.0153
2020-12-17 12:00:00 | 4.218 | 336.3333 | 4.538 | 326.228 | 4.5353 | 328.934 | 5.0527 | 327.896 | 1.5067 | 894 | 83.12 | 12.734
2020-12-17 12:15:00 | 3.5913 | 289.7267 | 3.7693 | 323.4247 | 3.9293 | 283.352 | 4.172 | 325.0773 | 1.6667 | 894 | 83.06 | 8.6593
2020-12-17 12:30:00 | 3.5327 | 314.7333 | 3.746 | 326.7693 | 3.99 | 307.8087 | 4.26 | 328.4413 | 1.94 | 894 | 81.7733 | 6.468
2020-12-17 12:45:00 | 3.648 | 333.8933 | 3.8767 | 327.2973 | 4.128 | 326.5487 | 4.4233 | 328.9707 | 1.9867 | 893.5333 | 80.5 | 7.4287
2020-12-17 13:00:00 | 3.68 | 341.96 | 3.8613 | 303.128 | 4.0747 | 334.4367 | 4.306 | 304.678 | 2.14 | 893 | 79.3073 | 7.7853
2020-12-17 13:15:00 | 3.6287 | 297.84 | 3.7767 | 320.7187 | 4.1327 | 291.2867 | 4.2707 | 322.358 | 2.3 | 893 | 77.8267 | 7.202
2020-12-17 13:30:00 | 3.6967 | 253.3867 | 3.8727 | 323.392 | 4.3053 | 247.8127 | 4.4647 | 325.0467 | 2.5067 | 892.8667 | 76.4847 | 9.6127
2020-12-17 13:45:00 | 3.3213 | 268.7667 | 3.488 | 307.008 | 3.918 | 262.8527 | 4.062 | 308.5773 | 2.8867 | 892 | 74.968 | 10.8433
2020-12-17 14:00:00 | 3.5553 | 299.2667 | 3.9093 | 292.2327 | 4.15 | 292.6827 | 4.6493 | 293.7273 | 3.04 | 892 | 74.2053 | 12.1127
2020-12-17 14:15:00 | 3.948 | 319.8267 | 4.2433 | 308.592 | 4.48 | 312.792 | 4.8867 | 310.1693 | 2.9067 | 892 | 73.6053 | 13.4693
2020-12-17 14:30:00 | 3.9687 | 276.6 | 4.246 | 304.914 | 4.452 | 270.5133 | 4.84 | 306.474 | 2.9333 | 892 | 73.602 | 14.684
2020-12-17 14:45:00 | 3.7633 | 345.5267 | 4.084 | 242.2127 | 4.2653 | 337.924 | 4.728 | 243.4507 | 3.18 | 891.5333 | 73.7133 | 15.664
2020-12-17 15:00:00 | 3.9733 | 343.5067 | 4.362 | 290.8513 | 4.7127 | 335.9487 | 5.2367 | 292.3373 | 3.3533 | 891 | 73.1893 | 16.894
2020-12-17 15:15:00 | 3.7827 | 272.8733 | 4.1133 | 288.8153 | 4.2493 | 266.87 | 4.7427 | 290.2947 | 3.3933 | 891 | 72.7527 | 14.5287
2020-12-17 15:30:00 | 3.4913 | 277.32 | 3.7707 | 183.048 | 3.9153 | 271.2187 | 4.3227 | 183.9853 | 3.4333 | 891 | 71.93 | 12.68
2020-12-17 15:45:00 | 3.458 | 261.2667 | 3.7567 | 251.0907 | 3.9487 | 255.5193 | 4.3733 | 252.374 | 3.4467 | 891 | 71.558 | 12.136
2020-12-17 16:00:00 | 3.692 | 303.48 | 4.0107 | 253.8167 | 4.24 | 296.8027 | 4.684 | 255.1153 | 3.4933 | 891 | 71.1887 | 13.9947
2020-12-17 16:15:00 | 3.6847 | 187.78 | 3.8293 | 250.322 | 4.0187 | 183.6487 | 4.1947 | 251.6013 | 3.5067 | 891 | 71.34 | 11.5453
2020-12-17 16:30:00 | 3.884 | 231.76 | 4.1287 | 248.1893 | 4.4227 | 226.662 | 4.7273 | 249.4593 | 3.4733 | 891 | 71.908 | 10.8767
2020-12-17 16:45:00 | 3.2433 | 303.5733 | 3.4567 | 314.9293 | 3.6487 | 296.8947 | 3.9373 | 316.538 | 3.4467 | 891 | 72.6593 | 8.05
2020-12-17 17:00:00 | 3.4787 | 190.8333 | 3.6533 | 274.232 | 3.8153 | 186.6347 | 4.0527 | 275.632 | 3.4 | 891 | 73.5867 | 9.6707
2020-12-17 17:15:00 | 3.5133 | 169.6933 | 3.7013 | 253.3673 | 4.0693 | 165.96 | 4.2653 | 254.6633 | 3.4133 | 891 | 73.3893 | 11.6713
2020-12-17 17:30:00 | 4.0973 | 167.72 | 4.2887 | 229.1707 | 4.6213 | 164.0307 | 4.8373 | 230.3433 | 3.3 | 891 | 73.3687 | 13.452
2020-12-17 17:45:00 | 3.9087 | 153.32 | 4.13 | 182.736 | 4.6013 | 149.9467 | 4.8213 | 183.6693 | 3.2067 | 891 | 74.226 | 14.746
2020-12-17 18:00:00 | 3.9213 | 172.96 | 4.1867 | 227.306 | 4.6947 | 169.1527 | 4.9747 | 228.4687 | 3.1267 | 891.8 | 75.5047 | 14.8353
2020-12-17 18:15:00 | 3.874 | 171.26 | 4.118 | 271.4993 | 4.6933 | 167.4927 | 4.9187 | 272.8887 | 3.1067 | 892 | 77.4173 | 14.1193
2020-12-17 18:30:00 | 3.9827 | 215.3333 | 4.226 | 292.9427 | 4.6447 | 210.5953 | 4.918 | 294.4407 | 3.0867 | 892 | 78.2007 | 13.6807
2020-12-17 18:45:00 | 3.9927 | 124.3067 | 4.2887 | 294.5733 | 4.7107 | 121.572 | 5.062 | 296.0793 | 3.0067 | 892 | 79.1613 | 14.984
2020-12-17 19:00:00 | 3.9547 | 121.64 | 4.2293 | 294.332 | 4.7453 | 118.9633 | 5.0393 | 295.838 | 2.8933 | 892 | 79.266 | 16.8767
2020-12-17 19:15:00 | 4.0427 | 168.9133 | 4.3327 | 317.5767 | 4.7587 | 165.1973 | 5.1033 | 319.2 | 2.8067 | 892 | 79.7733 | 16.7873
2020-12-17 19:30:00 | 3.6073 | 145.94 | 3.826 | 316.662 | 4.3773 | 142.728 | 4.5693 | 318.2833 | 2.8133 | 892.1333 | 81.3267 | 13.8667
2020-12-17 19:45:00 | 3.7573 | 171.5733 | 3.9273 | 296.0347 | 4.2727 | 167.7993 | 4.448 | 297.548 | 2.8 | 893 | 82.5667 | 13.6007
2020-12-17 20:00:00 | 4.2227 | 259.3667 | 4.3933 | 320.8173 | 4.4633 | 253.66 | 4.72 | 322.4567 | 2.7733 | 893 | 83.0267 | 16.9527
2020-12-17 20:15:00 | 4.2407 | 166.6933 | 4.356 | 318.7967 | 4.6273 | 163.026 | 4.734 | 320.426 | 2.66 | 893 | 83.9933 | 18.6947
2020-12-17 20:30:00 | 4.3213 | 260.44 | 4.4453 | 297.344 | 4.7167 | 254.7093 | 4.838 | 298.8647 | 2.6333 | 893 | 84.04 | 17.9613
2020-12-17 20:45:00 | 4.3833 | 214.5333 | 4.5353 | 294.2667 | 4.736 | 209.8127 | 4.9253 | 295.7727 | 2.6867 | 893 | 84.76 | 20.1533
2020-12-17 21:00:00 | 4.876 | 141.5333 | 5.0467 | 337.8533 | 5.194 | 138.4193 | 5.4273 | 339.58 | 2.7 | 893 | 85.6467 | 27.0713
2020-12-17 21:15:00 | 4.364 | 208.18 | 4.5907 | 292.5533 | 4.7733 | 203.5987 | 5.0913 | 294.048 | 2.7067 | 893 | 85.4133 | 25.8607
2020-12-17 21:30:00 | 4.5987 | 235.1267 | 4.7687 | 270.2807 | 4.8073 | 229.954 | 5.074 | 271.662 | 2.7133 | 893.1333 | 85.0267 | 27.172
2020-12-17 21:45:00 | 4.2427 | 209.94 | 4.4067 | 289.6313 | 4.6907 | 205.3213 | 4.8727 | 291.1127 | 2.6933 | 894 | 83.9733 | 22.9833
2020-12-17 22:00:00 | 4.6693 | 186.6667 | 4.8887 | 225.428 | 5.134 | 182.56 | 5.4167 | 226.5807 | 2.7467 | 894 | 83.5667 | 26.3487
2020-12-17 22:15:00 | 4.516 | 233.9 | 4.754 | 314.2573 | 5.082 | 228.7553 | 5.37 | 315.8647 | 2.76 | 894 | 83.9933 | 26.3333
2020-12-17 22:30:00 | 4.314 | 235.64 | 4.552 | 269.8173 | 4.7993 | 230.4567 | 5.1093 | 271.1953 | 2.7533 | 894 | 83.6867 | 23.5627
2020-12-17 22:45:00 | 4.1033 | 327.5267 | 4.4647 | 203.9853 | 4.6047 | 320.3207 | 5.1447 | 205.0287 | 2.7733 | 894 | 82.5333 | 25.64
2020-12-17 23:00:00 | 4.4347 | 235.8667 | 4.7107 | 294.9127 | 4.7333 | 230.678 | 5.172 | 296.4207 | 2.8933 | 894 | 82.0467 | 26.2187
2020-12-17 23:15:00 | 4.9407 | 193.5267 | 5.2433 | 291.4107 | 5.302 | 189.2687 | 5.7713 | 292.902 | 2.8933 | 894 | 81.3667 | 30.122
2020-12-17 23:30:00 | 4.966 | 278.9867 | 5.354 | 329.0253 | 5.4647 | 272.8487 | 6.058 | 330.7093 | 2.9267 | 894 | 81.18 | 28.4167
2020-12-17 23:45:00 | 5.592 | 276.2267 | 6.0233 | 331.712 | 6.1713 | 270.1513 | 6.8253 | 333.4087 | 2.9267 | 894 | 81.7067 | 31.8133