## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-18 00:00:00 | 6.56 | 300.7667 | 7.028 | 331.9347 | 7.3033 | 294.1493 | 7.9753 | 333.63 | 2.9133 | 894.6667 | 79.19 | 42.6813
2020-12-18 00:15:00 | 6.8513 | 276.0267 | 7.3153 | 311.506 | 7.596 | 269.9527 | 8.2633 | 313.0993 | 2.8867 | 894.4667 | 78.0867 | 47.9273
2020-12-18 00:30:00 | 7.1453 | 276.8733 | 7.5627 | 328.5027 | 7.9487 | 270.782 | 8.5093 | 330.184 | 2.8133 | 894.2 | 79.2127 | 53.676
2020-12-18 00:45:00 | 7.5153 | 341.3733 | 8.036 | 331.822 | 8.546 | 333.8633 | 9.236 | 333.5193 | 2.7733 | 894 | 78.842 | 56.5207
2020-12-18 01:00:00 | 7.882 | 323.1 | 8.3007 | 329.1553 | 8.9453 | 315.992 | 9.4273 | 330.8393 | 2.5867 | 894.8 | 77.8967 | 56.0387
2020-12-18 01:15:00 | 7.2987 | 275.82 | 7.7147 | 286.7293 | 8.46 | 269.7527 | 8.914 | 288.1947 | 2.4067 | 895 | 79.902 | 52.4893
2020-12-18 01:30:00 | 6.246 | 209.2533 | 6.54 | 310.072 | 7.2553 | 204.65 | 7.5207 | 311.656 | 2.3267 | 894.3333 | 81.3067 | 48.4573
2020-12-18 01:45:00 | 5.808 | 204.9133 | 6.1273 | 307.7627 | 6.6687 | 200.4053 | 7.0247 | 309.336 | 2.2867 | 895 | 81.84 | 44.8887
2020-12-18 02:00:00 | 5.964 | 271.5467 | 6.24 | 328.4847 | 6.678 | 265.5727 | 6.998 | 330.1633 | 2.22 | 895 | 81.24 | 42.974
2020-12-18 02:15:00 | 5.7447 | 275.2467 | 6.0087 | 307.6653 | 6.4807 | 269.1907 | 6.77 | 309.2373 | 2.2133 | 895 | 81.6533 | 42.9453
2020-12-18 02:30:00 | 6.364 | 298.6933 | 6.6627 | 286.9573 | 7.1147 | 292.1207 | 7.468 | 288.426 | 2.1933 | 895 | 82.3133 | 45.6067
2020-12-18 02:45:00 | 6.4567 | 298.62 | 6.742 | 290.1213 | 7.472 | 292.0507 | 7.7227 | 291.6033 | 2.08 | 894.5333 | 81.94 | 47.464
2020-12-18 03:00:00 | 6.6 | 261.7333 | 6.97 | 333.7253 | 7.6413 | 255.9753 | 8.0427 | 335.4327 | 1.8267 | 894 | 81.72 | 48.376
2020-12-18 03:15:00 | 6.7787 | 301.7067 | 7.2033 | 291.3853 | 7.8147 | 295.0687 | 8.3213 | 292.874 | 1.54 | 894 | 82.7533 | 49.32
2020-12-18 03:30:00 | 6.9873 | 317.9133 | 7.4433 | 309.0073 | 7.9187 | 310.9187 | 8.5113 | 310.588 | 1.4 | 894 | 84.0333 | 51.44
2020-12-18 03:45:00 | 7.2273 | 281.06 | 7.6367 | 333.1273 | 8.148 | 274.876 | 8.6593 | 334.8307 | 1.3333 | 894 | 84.5933 | 52.014
2020-12-18 04:00:00 | 7.0427 | 320.4467 | 7.4773 | 309.8493 | 8.054 | 313.3973 | 8.576 | 311.434 | 1.24 | 894 | 84.9133 | 51.8273
2020-12-18 04:15:00 | 7.2773 | 322.3733 | 7.7013 | 330.8907 | 8.1733 | 315.282 | 8.7187 | 332.5813 | 1.2067 | 894 | 84.8867 | 52.6653
2020-12-18 04:30:00 | 7.218 | 344.6667 | 7.6427 | 329.1367 | 8.0067 | 337.0833 | 8.5867 | 330.8187 | 1.24 | 894 | 84.8467 | 52.6293
2020-12-18 04:45:00 | 7.102 | 341.0867 | 7.51 | 329.5713 | 7.9733 | 333.582 | 8.5007 | 331.2587 | 1.14 | 894 | 84.8333 | 53.1953
2020-12-18 05:00:00 | 7.1227 | 297.7933 | 7.532 | 334.2353 | 7.924 | 291.2427 | 8.4687 | 335.944 | 1.2067 | 894 | 84.4133 | 52.868
2020-12-18 05:15:00 | 6.9027 | 325.4667 | 7.2907 | 331.1313 | 7.7507 | 318.3073 | 8.2427 | 332.8247 | 1.2 | 894 | 84.0733 | 50.924
2020-12-18 05:30:00 | 6.6873 | 321.7267 | 7.0747 | 329.9367 | 7.526 | 314.6493 | 8.0187 | 331.626 | 1.2333 | 894 | 83.02 | 48.6713
2020-12-18 05:45:00 | 6.2573 | 319.8667 | 6.6047 | 330.74 | 7.074 | 312.8293 | 7.4947 | 332.4307 | 1.2333 | 894 | 82.4867 | 46.3053
2020-12-18 06:00:00 | 5.9753 | 323.2067 | 6.2767 | 330.4533 | 6.7427 | 316.0947 | 7.0953 | 332.1433 | 1.16 | 894 | 83.0667 | 43.6427
2020-12-18 06:15:00 | 5.916 | 322.68 | 6.2773 | 333.53 | 6.626 | 315.5813 | 7.108 | 335.2353 | 1.1133 | 894 | 84.12 | 42.0127
2020-12-18 06:30:00 | 5.7393 | 296.6133 | 6.04 | 332.956 | 6.3647 | 290.0873 | 6.7567 | 334.6587 | 1.2067 | 894 | 82.4733 | 39.0753
2020-12-18 06:45:00 | 5.6827 | 321.4133 | 5.964 | 326.5987 | 6.2807 | 314.3427 | 6.638 | 328.2693 | 1.22 | 894 | 81.3267 | 37.1893
2020-12-18 07:00:00 | 5.466 | 293.7 | 5.726 | 327.4793 | 6.1093 | 287.2387 | 6.418 | 329.1533 | 1.2 | 894 | 80.4 | 37.9413
2020-12-18 07:15:00 | 5.7333 | 281.62 | 6.0353 | 327.5587 | 6.316 | 275.4233 | 6.7213 | 329.232 | 1.1333 | 894 | 79.8387 | 40.172
2020-12-18 07:30:00 | 5.9013 | 276.14 | 6.164 | 330.9687 | 6.5527 | 270.064 | 6.8613 | 332.66 | 1.24 | 894 | 80.0827 | 42.1927
2020-12-18 07:45:00 | 5.8007 | 299.42 | 6.0987 | 332.97 | 6.4993 | 292.832 | 6.862 | 334.672 | 1.2133 | 894 | 78.5587 | 43.3353
2020-12-18 08:00:00 | 6.07 | 304.12 | 6.3847 | 314.3487 | 6.8133 | 297.4287 | 7.196 | 315.9547 | 1.24 | 894 | 78.3433 | 44.8093
2020-12-18 08:15:00 | 6.3793 | 235.7733 | 6.7427 | 335.0873 | 7.2207 | 230.5867 | 7.668 | 336.802 | 1.24 | 894 | 77.3267 | 47.6707
2020-12-18 08:30:00 | 5.824 | 257.4067 | 6.1393 | 331.4967 | 6.696 | 251.7447 | 7.04 | 333.192 | 1.34 | 894.8 | 75.7907 | 42.556
2020-12-18 08:45:00 | 5.6587 | 258.9267 | 5.99 | 329.2547 | 6.6353 | 253.2307 | 6.976 | 330.9373 | 1.38 | 895 | 74.2147 | 39.9927
2020-12-18 09:00:00 | 5.4027 | 232.6467 | 5.7133 | 330.1653 | 6.2287 | 227.5267 | 6.578 | 331.8547 | 1.4333 | 895 | 72.2127 | 34.8693
2020-12-18 09:15:00 | 5.128 | 233.5133 | 5.4453 | 328.8033 | 6.1533 | 228.3767 | 6.4607 | 330.486 | 1.4467 | 895.4667 | 69.514 | 34.1587
2020-12-18 09:30:00 | 5.6573 | 213.9467 | 6.0307 | 329.2073 | 6.7973 | 209.24 | 7.1727 | 330.89 | 1.6067 | 896 | 67.3407 | 36.4333
2020-12-18 09:45:00 | 5.8587 | 209.86 | 6.2053 | 314.2113 | 6.734 | 205.2433 | 7.1427 | 315.82 | 1.7733 | 896 | 63.6333 | 38.1827
2020-12-18 10:00:00 | 5.8947 | 106.48 | 6.2027 | 313.052 | 6.8527 | 104.1373 | 7.158 | 314.6527 | 1.8133 | 896.8 | 61.892 | 38.2353
2020-12-18 10:15:00 | 5.6933 | 189.6267 | 6.0453 | 274.4473 | 6.724 | 185.454 | 7.0967 | 275.8493 | 1.96 | 897 | 60.4953 | 36.4193
2020-12-18 10:30:00 | 5.7173 | 215.5867 | 6.134 | 313.82 | 6.7033 | 210.8447 | 7.2067 | 315.4253 | 2.08 | 897 | 58.9913 | 37.0327
2020-12-18 10:45:00 | 5.4527 | 212.9 | 5.8107 | 251.9127 | 6.2793 | 208.2167 | 6.7167 | 253.2 | 2.0667 | 897 | 57.5387 | 37.3793
2020-12-18 11:00:00 | 5.526 | 257.2267 | 5.9193 | 273.09 | 6.268 | 251.568 | 6.8007 | 274.4867 | 2.2 | 897.1333 | 55.3067 | 37.0193
2020-12-18 11:15:00 | 5.3753 | 258.32 | 5.7753 | 246.1953 | 6.2633 | 252.636 | 6.77 | 247.4553 | 2.34 | 897.5333 | 55.0427 | 35.652
2020-12-18 11:30:00 | 5.3473 | 215.2 | 5.652 | 313.39 | 5.998 | 210.4653 | 6.39 | 314.9933 | 2.2333 | 897 | 53.352 | 34.7547
2020-12-18 11:45:00 | 5.492 | 305.62 | 6.0733 | 250.6413 | 6.582 | 298.8973 | 7.3673 | 251.924 | 2.44 | 897 | 52.9313 | 37.7967
2020-12-18 12:00:00 | 5.548 | 233.3867 | 5.9953 | 225.1367 | 6.486 | 228.252 | 7.0647 | 226.2867 | 2.5067 | 897 | 52.242 | 35.5973
2020-12-18 12:15:00 | 5.2107 | 325.1733 | 5.658 | 294.3913 | 6.1927 | 318.02 | 6.7553 | 295.8967 | 2.52 | 897 | 52.188 | 33.804
2020-12-18 12:30:00 | 5.2573 | 285.4333 | 5.6433 | 291.2013 | 5.9993 | 279.1547 | 6.518 | 292.6913 | 2.56 | 896.8667 | 51.7327 | 32.758
2020-12-18 12:45:00 | 5.0647 | 259.42 | 5.4047 | 316.1613 | 5.9067 | 253.712 | 6.306 | 317.778 | 2.6667 | 896 | 51.3553 | 28.7547
2020-12-18 13:00:00 | 4.8587 | 189.1133 | 5.264 | 274.7913 | 5.7853 | 184.9527 | 6.2873 | 276.196 | 2.84 | 896 | 50.73 | 28.4507
2020-12-18 13:15:00 | 4.9793 | 216.62 | 5.262 | 317.908 | 5.7353 | 211.854 | 6.056 | 319.534 | 2.7667 | 896 | 49.2393 | 29.396
2020-12-18 13:30:00 | 4.7967 | 278.82 | 5.1013 | 225.482 | 5.354 | 272.6853 | 5.7733 | 226.634 | 2.9867 | 896 | 48.794 | 26.2353
2020-12-18 13:45:00 | 4.4367 | 166.76 | 4.7667 | 270.364 | 5.0487 | 163.0913 | 5.4973 | 271.748 | 3.32 | 895.5333 | 48.18 | 24.136
2020-12-18 14:00:00 | 4.626 | 258.26 | 4.9727 | 186.934 | 5.132 | 252.58 | 5.642 | 187.8907 | 3.6 | 895 | 45.9567 | 23.722
2020-12-18 14:15:00 | 4.4993 | 346.3867 | 4.8067 | 223.7467 | 5.0707 | 338.766 | 5.4867 | 224.8907 | 3.6933 | 895 | 43.822 | 21.696
2020-12-18 14:30:00 | 4.7527 | 275.4667 | 5.1353 | 291.444 | 5.5273 | 269.4073 | 6.0267 | 292.9333 | 3.86 | 895 | 43.3487 | 23.72
2020-12-18 14:45:00 | 4.1687 | 233.1867 | 4.4027 | 267.458 | 4.7853 | 228.0573 | 5.0507 | 268.8247 | 3.8333 | 895 | 41.898 | 20.266
2020-12-18 15:00:00 | 4.024 | 256.3 | 4.3733 | 180.1813 | 4.6453 | 250.6607 | 5.1287 | 181.102 | 4.1133 | 895.1333 | 41.5093 | 19.4487
2020-12-18 15:15:00 | 4.2387 | 318.3667 | 4.578 | 226.7793 | 4.9893 | 311.3627 | 5.4153 | 227.9367 | 4.1933 | 895.5333 | 41.2427 | 18.7807
2020-12-18 15:30:00 | 4.2073 | 253.6333 | 4.5073 | 119.1467 | 4.7767 | 248.054 | 5.182 | 119.756 | 4.1667 | 895 | 41.768 | 17.568
2020-12-18 15:45:00 | 4.0113 | 262.4933 | 4.3007 | 120.332 | 4.6347 | 256.7187 | 5 | 120.948 | 4.0867 | 895 | 42.324 | 16.0333
2020-12-18 16:00:00 | 3.6853 | 234.8933 | 3.904 | 204.9947 | 4.1687 | 229.724 | 4.444 | 206.0433 | 4.0933 | 895 | 43.0447 | 13.9273
2020-12-18 16:15:00 | 3.8833 | 300.6 | 4.068 | 312.9533 | 4.5093 | 293.986 | 4.678 | 314.5527 | 4.0733 | 895 | 44.726 | 18.5927
2020-12-18 16:30:00 | 4.3387 | 275.8067 | 4.55 | 271.0493 | 4.8233 | 269.7387 | 5.09 | 272.4353 | 3.94 | 895 | 46.4747 | 17.204
2020-12-18 16:45:00 | 4.05 | 255.8667 | 4.2887 | 315.7627 | 4.484 | 250.2387 | 4.816 | 317.3787 | 3.9 | 895 | 49.1307 | 16.9387
2020-12-18 17:00:00 | 4.254 | 212.14 | 4.5593 | 248.9587 | 4.8527 | 207.472 | 5.258 | 250.232 | 3.7933 | 895 | 52.2893 | 18.9327
2020-12-18 17:15:00 | 4.3487 | 192.7 | 4.612 | 252.096 | 4.8953 | 188.46 | 5.2387 | 253.384 | 3.6 | 895 | 54.492 | 22.2927
2020-12-18 17:30:00 | 4.806 | 282.44 | 5.056 | 318.1573 | 5.2813 | 276.226 | 5.6213 | 319.7833 | 3.3467 | 895 | 54.944 | 26.1353
2020-12-18 17:45:00 | 5.02 | 216.3667 | 5.3427 | 294.6313 | 5.6333 | 211.608 | 6.068 | 296.1367 | 3.18 | 895 | 56.3867 | 27.6727
2020-12-18 18:00:00 | 4.6593 | 193.3733 | 4.994 | 294.5087 | 5.4267 | 189.12 | 5.8387 | 296.0133 | 3.02 | 895 | 56.7053 | 26.128
2020-12-18 18:15:00 | 4.5213 | 171.04 | 4.7593 | 296.5287 | 5.1373 | 167.278 | 5.412 | 298.0453 | 2.86 | 895 | 58.642 | 22.8487
2020-12-18 18:30:00 | 4.584 | 215.2867 | 4.8667 | 310.704 | 5.0753 | 210.5493 | 5.472 | 312.2927 | 2.7933 | 895 | 58.4147 | 21.6873
2020-12-18 18:45:00 | 4.5307 | 192.86 | 4.8093 | 316.6173 | 4.9747 | 188.6167 | 5.3773 | 318.236 | 2.7333 | 895 | 60.0247 | 20.4527
2020-12-18 19:00:00 | 4.5927 | 191.12 | 4.868 | 340.97 | 5.07 | 186.9167 | 5.4587 | 342.7133 | 2.64 | 895.1333 | 60.556 | 22.3633
2020-12-18 19:15:00 | 4.868 | 214.74 | 5.1413 | 319.6353 | 5.3007 | 210.0153 | 5.6953 | 321.2707 | 2.5 | 896 | 61.788 | 25.804
2020-12-18 19:30:00 | 5.2953 | 213.4133 | 5.626 | 277.7073 | 5.95 | 208.7187 | 6.3873 | 279.126 | 2.3867 | 896 | 62.638 | 31.04
2020-12-18 19:45:00 | 5.428 | 257.7 | 5.7913 | 275.3267 | 6.0033 | 252.032 | 6.5287 | 276.7347 | 2.2267 | 896 | 62.0553 | 30.7887
2020-12-18 20:00:00 | 5.77 | 233.28 | 6.1407 | 343.1413 | 6.552 | 228.1493 | 7.03 | 344.8953 | 2.18 | 896 | 63.346 | 29.4567
2020-12-18 20:15:00 | 5.3727 | 304.88 | 5.788 | 272.8167 | 6.0787 | 298.1713 | 6.662 | 274.2107 | 2.1733 | 896 | 64.3373 | 26.7367
2020-12-18 20:30:00 | 4.968 | 324.7667 | 5.3247 | 330.3427 | 5.456 | 317.622 | 5.9933 | 332.0313 | 1.94 | 896.1333 | 65.266 | 22.1987
2020-12-18 20:45:00 | 4.8927 | 343.9867 | 5.332 | 330.186 | 5.39 | 336.42 | 6.0827 | 331.8747 | 1.8667 | 897 | 66.0507 | 26.5167
2020-12-18 21:00:00 | 5.032 | 341.76 | 5.416 | 325.224 | 5.3893 | 334.242 | 6.0213 | 326.8873 | 1.6867 | 897 | 66.91 | 24.8773
2020-12-18 21:15:00 | 4.7967 | 345.0333 | 5.2227 | 322.7007 | 5.2373 | 337.442 | 5.918 | 324.35 | 1.5 | 897 | 66.8793 | 22.9593
2020-12-18 21:30:00 | 5.2193 | 345.5267 | 5.6013 | 323.7173 | 5.5067 | 337.9247 | 6.1487 | 325.3733 | 1.3333 | 897 | 66.8267 | 25.03
2020-12-18 21:45:00 | 4.938 | 343.0667 | 5.33 | 330.5773 | 5.2013 | 335.5187 | 5.8667 | 332.2667 | 1.3533 | 897 | 68.434 | 24.886
2020-12-18 22:00:00 | 5.352 | 351.4533 | 5.8033 | 331.412 | 5.8253 | 343.722 | 6.5427 | 333.106 | 1.4133 | 897 | 69.252 | 25.698
2020-12-18 22:15:00 | 5.112 | 348.5467 | 5.5667 | 322.512 | 5.5427 | 340.8793 | 6.2747 | 324.1613 | 1.3 | 897 | 68.9093 | 23.6507
2020-12-18 22:30:00 | 5.15 | 343.86 | 5.558 | 324.7547 | 5.6313 | 336.2953 | 6.2647 | 326.414 | 1.36 | 897.1333 | 68.348 | 22.734
2020-12-18 22:45:00 | 5.3013 | 338.8867 | 5.6867 | 320.042 | 5.8033 | 331.4307 | 6.3873 | 321.6767 | 1.36 | 897.5333 | 68.44 | 24.3193
2020-12-18 23:00:00 | 5.356 | 341.8667 | 5.7973 | 323.9533 | 5.8947 | 334.3453 | 6.576 | 325.608 | 1.2333 | 897.1333 | 67.744 | 26.266
2020-12-18 23:15:00 | 5.2953 | 340.8467 | 5.7067 | 319.206 | 5.8113 | 333.348 | 6.4413 | 320.8373 | 1.1933 | 898 | 68.494 | 24.92
2020-12-18 23:30:00 | 5.5333 | 339.6467 | 5.9267 | 318.6187 | 6.2807 | 332.174 | 6.8107 | 320.248 | 1.24 | 898 | 67.504 | 28.102
2020-12-18 23:45:00 | 5.708 | 342.08 | 6.1667 | 322.9553 | 6.2233 | 334.5547 | 6.9427 | 324.6067 | 1.2867 | 898 | 66.632 | 29.0753