## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-19 00:00:00 | 6.0667 | 343.5333 | 6.51 | 331.9727 | 6.7587 | 335.9753 | 7.4 | 333.6707 | 1.28 | 898 | 67.8387 | 30.6767
2020-12-19 00:15:00 | 6.002 | 340.1933 | 6.4793 | 332.624 | 6.6093 | 332.71 | 7.3387 | 334.3247 | 1.2333 | 898 | 68.0013 | 31.5773
2020-12-19 00:30:00 | 5.9447 | 343.5467 | 6.5173 | 331.124 | 6.7933 | 335.988 | 7.63 | 332.8193 | 1.1533 | 898 | 68.188 | 34.5227
2020-12-19 00:45:00 | 6.034 | 340.6333 | 6.5653 | 330.1013 | 6.766 | 333.1393 | 7.56 | 331.7893 | 1.0133 | 898 | 68.5533 | 39.4067
2020-12-19 01:00:00 | 6.16 | 342.46 | 6.6833 | 327.9627 | 6.6113 | 334.926 | 7.4753 | 329.6393 | 1.02 | 898 | 68.812 | 40.1753
2020-12-19 01:15:00 | 5.934 | 342.62 | 6.5173 | 304.164 | 6.4267 | 335.0827 | 7.3913 | 305.72 | 0.86 | 898 | 70.4967 | 39.5073
2020-12-19 01:30:00 | 6.3667 | 344.26 | 6.9087 | 329.7487 | 7.014 | 336.6853 | 7.856 | 331.4347 | 0.87333 | 898 | 72.262 | 39.142
2020-12-19 01:45:00 | 6.22 | 347.3867 | 6.706 | 336.81 | 6.698 | 339.7433 | 7.4873 | 338.5327 | 1.1 | 898 | 73.29 | 33.8667
2020-12-19 02:00:00 | 5.978 | 342.8133 | 6.436 | 331.608 | 6.4553 | 335.2707 | 7.186 | 333.304 | 1.0333 | 898 | 69.8373 | 30.922
2020-12-19 02:15:00 | 6.0533 | 347.2133 | 6.5313 | 333.036 | 6.536 | 339.5747 | 7.3013 | 334.738 | 1.1933 | 898 | 67.3113 | 30.22
2020-12-19 02:30:00 | 5.6567 | 347.0067 | 6.026 | 332.3487 | 6.014 | 339.372 | 6.6127 | 334.05 | 1.28 | 897.2 | 66.0847 | 27.8
2020-12-19 02:45:00 | 5.2173 | 346.9933 | 5.5767 | 329.0593 | 5.5647 | 339.3593 | 6.1447 | 330.7393 | 1.2133 | 897 | 67.5173 | 24.7287
2020-12-19 03:00:00 | 5.0553 | 347.4333 | 5.3987 | 328.1067 | 5.4367 | 339.7887 | 5.9773 | 329.7847 | 1.1933 | 897 | 68.8807 | 21.7513
2020-12-19 03:15:00 | 4.8787 | 345.8867 | 5.2187 | 324.434 | 5.3567 | 338.2773 | 5.862 | 326.094 | 1.2867 | 897 | 68.5287 | 19.5167
2020-12-19 03:30:00 | 4.596 | 330.2667 | 4.9593 | 329.3253 | 5.1207 | 322.9993 | 5.6593 | 331.0087 | 1.14 | 897 | 70.1807 | 16.8427
2020-12-19 03:45:00 | 4.6887 | 346.9733 | 4.9893 | 323.7707 | 5.23 | 339.34 | 5.6433 | 325.426 | 1.0667 | 897 | 71.4807 | 17.0107
2020-12-19 04:00:00 | 4.7807 | 323.22 | 5.1287 | 325.6867 | 5.278 | 316.1093 | 5.7907 | 327.3513 | 1.1467 | 897 | 70.6093 | 17.6733
2020-12-19 04:15:00 | 5.2913 | 344.6667 | 5.6933 | 321.7493 | 5.8793 | 337.0847 | 6.4693 | 323.394 | 1.0933 | 897 | 71.0067 | 23.1107
2020-12-19 04:30:00 | 5.7027 | 339.62 | 6.1547 | 328.848 | 6.3333 | 332.148 | 7.01 | 330.5313 | 0.96667 | 897 | 70.886 | 27.75
2020-12-19 04:45:00 | 5.618 | 348.92 | 6.1147 | 331.914 | 6.238 | 341.2447 | 6.9973 | 333.61 | 0.87333 | 897 | 72.792 | 26.4453
2020-12-19 05:00:00 | 5.19 | 340.3933 | 5.64 | 329.8007 | 5.816 | 332.9047 | 6.486 | 331.486 | 1.06 | 897 | 75.0267 | 22.0373
2020-12-19 05:15:00 | 5.2367 | 346.2867 | 5.6773 | 330.05 | 5.722 | 338.668 | 6.4167 | 331.7367 | 1.04 | 897 | 72.764 | 23.0573
2020-12-19 05:30:00 | 5.1533 | 348.2 | 5.578 | 332.7807 | 5.5367 | 340.5407 | 6.2287 | 334.482 | 1.06 | 897 | 70.1213 | 23.088
2020-12-19 05:45:00 | 4.804 | 281.94 | 5.192 | 339.502 | 5.1813 | 275.7387 | 5.81 | 341.2387 | 1.22 | 897 | 69.1733 | 18.2687
2020-12-19 06:00:00 | 4.296 | 189.0133 | 4.71 | 333.2187 | 4.7873 | 184.8553 | 5.4307 | 334.922 | 1.06 | 897 | 69.7027 | 14.5227
2020-12-19 06:15:00 | 3.6427 | 211.8867 | 4.0307 | 336.1387 | 4.046 | 207.2267 | 4.6627 | 337.8573 | 0.98667 | 897 | 69.854 | 10.72
2020-12-19 06:30:00 | 3.28 | 55.1133 | 3.5993 | 275.0527 | 3.7813 | 53.9 | 4.2447 | 276.4587 | 0.98 | 897 | 69.9747 | 8.0447
2020-12-19 06:45:00 | 2.9873 | 101.2133 | 3.1533 | 209.2793 | 3.3387 | 98.988 | 3.5507 | 210.3487 | 1.22 | 897 | 70.902 | 4.902
2020-12-19 07:00:00 | 2.8633 | 209.9733 | 2.9773 | 295.134 | 3.3567 | 205.3533 | 3.4313 | 296.642 | 1.2933 | 897 | 72.4847 | 3.5467
2020-12-19 07:15:00 | 3.188 | 303.2333 | 3.4087 | 324.9753 | 3.8413 | 296.5633 | 4.07 | 326.638 | 1.1067 | 897 | 73.4507 | 5.3567
2020-12-19 07:30:00 | 3.084 | 299.2333 | 3.2927 | 325.9093 | 3.722 | 292.65 | 3.9353 | 327.5747 | 1.0267 | 897 | 73.778 | 3.884
2020-12-19 07:45:00 | 3.384 | 346.9467 | 3.5813 | 320.1253 | 4.102 | 339.316 | 4.268 | 321.7633 | 0.84667 | 897.4667 | 75.0213 | 5.3093
2020-12-19 08:00:00 | 3.5687 | 352.6533 | 3.7987 | 326.1367 | 4.246 | 344.894 | 4.4853 | 327.8047 | 0.65333 | 897.3333 | 76.6053 | 7.1593
2020-12-19 08:15:00 | 3.928 | 345.26 | 4.1813 | 319.338 | 4.646 | 337.6647 | 4.9187 | 320.9693 | 0.47333 | 897.5333 | 78.1253 | 10.3753
2020-12-19 08:30:00 | 4.262 | 341.5667 | 4.5567 | 324.2267 | 4.954 | 334.0527 | 5.3113 | 325.884 | 0.60667 | 897.8 | 77.802 | 14.0327
2020-12-19 08:45:00 | 4.704 | 341.9067 | 5.0713 | 322.1533 | 5.51 | 334.3853 | 5.9713 | 323.7993 | 0.34 | 898 | 77.0987 | 18.392
2020-12-19 09:00:00 | 4.7047 | 348.0133 | 5.0487 | 332.864 | 5.464 | 340.3553 | 5.8987 | 334.5673 | 0.42667 | 898 | 76.046 | 19.288
2020-12-19 09:15:00 | 4.9273 | 329.2133 | 5.276 | 332.0447 | 5.6407 | 321.9713 | 6.0933 | 333.742 | 0.56667 | 898.4667 | 74.3393 | 20.0067
2020-12-19 09:30:00 | 4.978 | 188.9333 | 5.3513 | 324.598 | 5.6567 | 184.7767 | 6.1667 | 326.258 | 0.77333 | 899 | 72.0573 | 19.9347
2020-12-19 09:45:00 | 4.4493 | 302.48 | 4.8053 | 322.454 | 4.9513 | 295.824 | 5.4787 | 324.1013 | 0.90667 | 899 | 69.4833 | 14.5033
2020-12-19 10:00:00 | 4.148 | 347.5067 | 4.4807 | 323.3533 | 4.568 | 339.8613 | 5.078 | 325.0073 | 1.18 | 899.1333 | 67.2367 | 11.1773
2020-12-19 10:15:00 | 4.0047 | 335.4667 | 4.3433 | 317.7073 | 4.3307 | 328.086 | 4.8787 | 319.3313 | 1.4267 | 900 | 65.9013 | 10.7673
2020-12-19 10:30:00 | 4.1113 | 333.78 | 4.3593 | 323.2427 | 4.362 | 326.4367 | 4.7613 | 324.8953 | 1.6533 | 900.1333 | 65.406 | 10.4807
2020-12-19 10:45:00 | 4.0987 | 332.72 | 4.3767 | 327.89 | 4.3873 | 325.4 | 4.832 | 329.5653 | 2.06 | 901 | 63.7887 | 9.896
2020-12-19 11:00:00 | 3.952 | 332.6667 | 4.2073 | 329.5287 | 4.334 | 325.348 | 4.71 | 331.212 | 2.1667 | 900.8667 | 63.6593 | 8.2853
2020-12-19 11:15:00 | 3.5187 | 263.24 | 3.7353 | 328.086 | 4.13 | 257.4487 | 4.3653 | 329.7633 | 2.3867 | 900 | 61.8907 | 5.6967
2020-12-19 11:30:00 | 3.1373 | 294.96 | 3.304 | 246.162 | 3.816 | 288.4713 | 3.9367 | 247.4207 | 2.66 | 900 | 61.6887 | 3.644
2020-12-19 11:45:00 | 2.71 | 312.3667 | 2.8687 | 293.818 | 3.2693 | 305.4947 | 3.4087 | 295.3187 | 3.1533 | 900 | 58.0473 | 1.4447
2020-12-19 12:00:00 | 1.7173 | 272.5 | 1.7413 | 308.9053 | 2.0427 | 266.504 | 1.9967 | 310.484 | 3.8733 | 899.8667 | 58.4433 | 0
2020-12-19 12:15:00 | 1.616 | 270.2867 | 1.6887 | 227.2807 | 1.9813 | 264.3407 | 2.0113 | 228.4427 | 4.3733 | 899 | 56.9087 | 0
2020-12-19 12:30:00 | 1.59 | 207.6733 | 1.7453 | 192.1053 | 1.8507 | 203.104 | 2.0707 | 193.0867 | 4.94 | 899 | 54.5647 | 0
2020-12-19 12:45:00 | 1.5273 | 157.6267 | 1.706 | 262.0067 | 1.6753 | 154.158 | 1.97 | 263.3467 | 5.1133 | 899 | 54.79 | 0
2020-12-19 13:00:00 | 1.644 | 157.7867 | 1.8267 | 194.14 | 2.1653 | 154.3153 | 2.3567 | 195.132 | 5.4333 | 898.2 | 53.8907 | 0
2020-12-19 13:15:00 | 2.3233 | 173.0733 | 2.442 | 124.4213 | 2.5407 | 169.2667 | 2.702 | 125.058 | 4.9867 | 898 | 52.3613 | 0
2020-12-19 13:30:00 | 1.59 | 208.4133 | 1.5893 | 126.182 | 1.8013 | 203.8273 | 1.7407 | 126.8267 | 5.04 | 898 | 49.4267 | 0
2020-12-19 13:45:00 | 1.0853 | 180.7733 | 1.1727 | 171.1433 | 1.356 | 176.796 | 1.4413 | 172.0187 | 5.6 | 898 | 48.728 | 0
2020-12-19 14:00:00 | 1.0033 | 141.7933 | 1.1293 | 217.1033 | 1.3 | 138.674 | 1.4533 | 218.212 | 5.8 | 898 | 47.084 | 0
2020-12-19 14:15:00 | 1.0107 | 103.2333 | 1.092 | 206.8733 | 1.1467 | 100.96 | 1.2633 | 207.9307 | 6.0067 | 898 | 46.6073 | 0
2020-12-19 14:30:00 | 1.456 | 98.1867 | 1.4527 | 235.638 | 1.4473 | 96.026 | 1.4453 | 236.844 | 5.3333 | 898 | 45.1527 | 0
2020-12-19 14:45:00 | 1.328 | 63.0933 | 1.3513 | 298.1127 | 1.5167 | 61.7047 | 1.5053 | 299.6367 | 5.3 | 898 | 48.4907 | 0
2020-12-19 15:00:00 | 1.2347 | 162.42 | 1.26 | 281.33 | 1.584 | 158.8473 | 1.5287 | 282.7707 | 5.8067 | 897.8667 | 50.9313 | 0
2020-12-19 15:15:00 | 1.5367 | 212.52 | 1.5413 | 305.8973 | 1.8993 | 207.8427 | 1.8013 | 307.4627 | 6.1667 | 897 | 47.116 | 0
2020-12-19 15:30:00 | 1.916 | 164.1533 | 2.092 | 220.4607 | 2.3707 | 160.542 | 2.5747 | 221.5887 | 6.0533 | 897 | 45.6227 | 0
2020-12-19 15:45:00 | 2.0393 | 303.3533 | 2.1813 | 64.1113 | 2.25 | 296.68 | 2.46 | 64.4387 | 5.6133 | 897 | 45.258 | 0
2020-12-19 16:00:00 | 1.9627 | 181.12 | 2.054 | 195.4633 | 2.5593 | 177.136 | 2.558 | 196.4613 | 5.7333 | 897 | 43.8973 | 0
2020-12-19 16:15:00 | 2.1693 | 313.36 | 2.3027 | 266.002 | 2.286 | 306.4667 | 2.5087 | 267.362 | 6.08 | 897 | 42.662 | 0
2020-12-19 16:30:00 | 1.88 | 320.9133 | 1.9827 | 305.1947 | 2.1167 | 313.8527 | 2.2447 | 306.754 | 6.0933 | 897.1333 | 43.298 | 0
2020-12-19 16:45:00 | 1.4273 | 316.1133 | 1.486 | 317.236 | 1.6547 | 309.1593 | 1.6993 | 318.858 | 6.2533 | 898 | 44.7727 | 0
2020-12-19 17:00:00 | 1.2113 | 334.2 | 1.3053 | 297.6793 | 1.4187 | 326.8467 | 1.534 | 299.1987 | 6.2333 | 897.8667 | 46.9073 | 0
2020-12-19 17:15:00 | 0.83867 | 292.38 | 0.884 | 269.942 | 1.1287 | 285.9467 | 1.1287 | 271.3213 | 6.1 | 897 | 50.052 | 0
2020-12-19 17:30:00 | 0.32467 | 212.8467 | 0.35467 | 274.184 | 0.47333 | 208.164 | 0.48667 | 275.5867 | 6.56 | 897 | 50.974 | 0
2020-12-19 17:45:00 | 0.41133 | 177.4267 | 0.47867 | 132.1333 | 0.48 | 173.524 | 0.58867 | 132.81 | 6.3333 | 897 | 50.8993 | 0
2020-12-19 18:00:00 | 1.2587 | 189.2733 | 1.376 | 139.978 | 1.448 | 185.1087 | 1.616 | 140.6947 | 5.4667 | 897 | 51.4247 | 0
2020-12-19 18:15:00 | 1.5433 | 187.2733 | 1.6353 | 182.978 | 1.878 | 183.1547 | 1.954 | 183.912 | 5.0067 | 897 | 53.9793 | 0
2020-12-19 18:30:00 | 1.7753 | 166 | 1.8527 | 172.4153 | 2.0973 | 162.3487 | 2.1527 | 173.296 | 4.8133 | 897 | 54.4113 | 0
2020-12-19 18:45:00 | 1.8453 | 135.5467 | 1.9287 | 164.8707 | 2.146 | 132.5647 | 2.2173 | 165.7147 | 4.74 | 897 | 54.9993 | 0
2020-12-19 19:00:00 | 1.504 | 130.78 | 1.5513 | 119.3487 | 1.6513 | 127.9033 | 1.6987 | 119.96 | 4.4133 | 897.1333 | 56.7607 | 0
2020-12-19 19:15:00 | 2.2227 | 150.4 | 2.3907 | 133.7847 | 2.4847 | 147.0907 | 2.7307 | 134.4673 | 4.18 | 898 | 60.866 | 0.35933
2020-12-19 19:30:00 | 3.154 | 130.9 | 3.3453 | 132.91 | 3.3033 | 128.0207 | 3.624 | 133.5893 | 3.94 | 898 | 63.6953 | 4.502
2020-12-19 19:45:00 | 3.0493 | 138.8333 | 3.21 | 130.4907 | 3.422 | 135.7787 | 3.6147 | 131.1593 | 3.6533 | 898 | 64.976 | 5.2913
2020-12-19 20:00:00 | 3.1287 | 143.38 | 3.292 | 132.93 | 3.6593 | 140.224 | 3.8167 | 133.6093 | 3.4533 | 898 | 66.7093 | 6.57
2020-12-19 20:15:00 | 2.676 | 141.84 | 2.7573 | 135.108 | 3.1327 | 138.7207 | 3.1553 | 135.796 | 3.3267 | 898 | 68.6093 | 6.0893
2020-12-19 20:30:00 | 2.5373 | 133.4 | 2.568 | 129.9627 | 2.8833 | 130.466 | 2.8433 | 130.628 | 3.2933 | 898 | 69.844 | 4.5947
2020-12-19 20:45:00 | 2.7747 | 153.9067 | 2.9 | 136.5613 | 3.1193 | 150.5207 | 3.256 | 137.2587 | 3.28 | 898 | 70.9807 | 4.4793
2020-12-19 21:00:00 | 2.624 | 144.4867 | 2.722 | 136.196 | 2.944 | 141.308 | 3.04 | 136.8927 | 3.0733 | 898 | 72.0407 | 4.2233
2020-12-19 21:15:00 | 2.2827 | 143.86 | 2.3473 | 140.5453 | 2.5733 | 140.6947 | 2.6127 | 141.2627 | 3.1133 | 898.4667 | 73.058 | 3.1173
2020-12-19 21:30:00 | 1.9727 | 153.1133 | 2.0873 | 158.1747 | 2.3093 | 149.746 | 2.432 | 158.984 | 3.2267 | 899 | 73.8227 | 2.2987
2020-12-19 21:45:00 | 1.914 | 156.0333 | 2.034 | 156.5907 | 2.164 | 152.6007 | 2.3207 | 157.3913 | 3.26 | 899 | 74.176 | 2.368
2020-12-19 22:00:00 | 1.814 | 153.8867 | 1.92 | 152.888 | 1.9727 | 150.5 | 2.128 | 153.6693 | 3.1733 | 899 | 73.8373 | 1.538
2020-12-19 22:15:00 | 1.6727 | 145.62 | 1.7727 | 144.6067 | 1.898 | 142.416 | 2.026 | 145.3453 | 3.1133 | 899 | 74.0547 | 0.85267
2020-12-19 22:30:00 | 1.648 | 140.6 | 1.7033 | 134.5587 | 1.9053 | 137.506 | 1.9313 | 135.2473 | 3.0667 | 899 | 74.832 | 0.56467
2020-12-19 22:45:00 | 1.4133 | 153.1467 | 1.4287 | 152.268 | 1.572 | 149.7787 | 1.5553 | 153.046 | 3.1333 | 899 | 75.4567 | 0.083333
2020-12-19 23:00:00 | 1.8407 | 151.4667 | 1.9227 | 150.3133 | 2.0867 | 148.1327 | 2.1733 | 151.08 | 3.1133 | 899 | 75.0267 | 0.642
2020-12-19 23:15:00 | 1.888 | 140.0467 | 2.0027 | 140.9293 | 2.106 | 136.9653 | 2.2593 | 141.6513 | 2.9267 | 899 | 75.644 | 0.51533
2020-12-19 23:30:00 | 1.6733 | 136.9733 | 1.7767 | 137.9113 | 1.9327 | 133.96 | 2.0527 | 138.6167 | 2.94 | 899 | 76.49 | 0
2020-12-19 23:45:00 | 1.5833 | 133.2933 | 1.6707 | 142.7687 | 1.8073 | 130.3613 | 1.9113 | 143.4987 | 3 | 899 | 76.1667 | 0