## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-20 00:00:00 | 1.1633 | 136.1667 | 1.2273 | 144.6273 | 1.3793 | 133.1707 | 1.438 | 145.366 | 3 | 899 | 75.7813 | 0
2020-12-20 00:15:00 | 1.0487 | 154.3 | 1.1533 | 159.6167 | 1.1693 | 150.9047 | 1.3327 | 160.4327 | 3.0067 | 899 | 77.728 | 0
2020-12-20 00:30:00 | 1.5107 | 147.26 | 1.59 | 155.2873 | 1.6473 | 144.0207 | 1.7573 | 156.0807 | 2.9133 | 899 | 78.164 | 0
2020-12-20 00:45:00 | 1.4047 | 122.02 | 1.4327 | 146.5693 | 1.4487 | 119.3353 | 1.49 | 147.3193 | 2.8667 | 899 | 75.9707 | 0
2020-12-20 01:00:00 | 1.3547 | 132.5667 | 1.3973 | 146.5887 | 1.5707 | 129.6493 | 1.5893 | 147.3387 | 2.8667 | 899 | 76.342 | 0
2020-12-20 01:15:00 | 1.6293 | 117.5933 | 1.7187 | 128.3593 | 1.8273 | 115.006 | 1.9433 | 129.016 | 2.72 | 898.5333 | 77.2973 | 0
2020-12-20 01:30:00 | 1.586 | 112.2467 | 1.6633 | 125.952 | 1.6347 | 109.7773 | 1.7667 | 126.596 | 2.6933 | 898 | 77.432 | 0
2020-12-20 01:45:00 | 1.7393 | 119.9467 | 1.8587 | 119.2173 | 1.7887 | 117.3067 | 1.9967 | 119.828 | 2.5533 | 898 | 78.5307 | 0
2020-12-20 02:00:00 | 1.646 | 130.4733 | 1.7453 | 127.4333 | 1.6673 | 127.604 | 1.848 | 128.0847 | 2.5867 | 898 | 79.772 | 0
2020-12-20 02:15:00 | 1.482 | 127.6 | 1.58 | 131.0647 | 1.5033 | 124.792 | 1.6793 | 131.7353 | 2.4267 | 898 | 79.6513 | 0
2020-12-20 02:30:00 | 1.5093 | 123.04 | 1.642 | 135.4067 | 1.6353 | 120.3333 | 1.8507 | 136.0993 | 2.2533 | 898 | 80.2773 | 0
2020-12-20 02:45:00 | 1.7787 | 130.74 | 1.898 | 139.6513 | 1.8547 | 127.8633 | 2.0607 | 140.3653 | 2.2667 | 898 | 81.56 | 0
2020-12-20 03:00:00 | 1.6313 | 117.24 | 1.726 | 131.9927 | 1.6707 | 114.6607 | 1.8413 | 132.666 | 2.2467 | 898 | 82.02 | 0
2020-12-20 03:15:00 | 1.6867 | 108.3267 | 1.7733 | 116.7987 | 1.8127 | 105.944 | 1.9433 | 117.396 | 2.2067 | 898 | 82.4333 | 0
2020-12-20 03:30:00 | 1.6907 | 118.4333 | 1.7813 | 131.704 | 1.8187 | 115.8273 | 1.9573 | 132.3767 | 2.2133 | 897.2 | 84.7 | 0
2020-12-20 03:45:00 | 1.466 | 127.8867 | 1.54 | 142.8213 | 1.5873 | 125.0727 | 1.6953 | 143.552 | 1.84 | 897 | 85.24 | 0
2020-12-20 04:00:00 | 1.248 | 128.22 | 1.3253 | 149.0793 | 1.364 | 125.3987 | 1.474 | 149.8427 | 1.7467 | 897 | 83.32 | 0
2020-12-20 04:15:00 | 1.3307 | 115.8667 | 1.4173 | 127.826 | 1.282 | 113.3173 | 1.46 | 128.478 | 1.78 | 897 | 85.54 | 0
2020-12-20 04:30:00 | 1.4173 | 136.8733 | 1.4353 | 138.0547 | 1.3693 | 133.8627 | 1.4173 | 138.76 | 1.7733 | 897 | 87.2333 | 0
2020-12-20 04:45:00 | 1.1027 | 162.2133 | 1.108 | 156.03 | 1.174 | 158.646 | 1.1653 | 156.8273 | 1.6133 | 897 | 87.7067 | 0
2020-12-20 05:00:00 | 0.81733 | 148.0533 | 0.808 | 146.5633 | 0.834 | 144.7973 | 0.81 | 147.3133 | 1.4667 | 897 | 87.6333 | 0
2020-12-20 05:15:00 | 0.782 | 123.28 | 0.75933 | 126.488 | 0.66333 | 120.568 | 0.65733 | 127.134 | 1.52 | 897 | 87.4867 | 0
2020-12-20 05:30:00 | 0.95933 | 93.0267 | 0.95067 | 106.5027 | 0.822 | 90.98 | 0.846 | 107.0487 | 1.5867 | 897 | 88.32 | 0
2020-12-20 05:45:00 | 1.2167 | 90.4 | 1.314 | 90.328 | 1.0927 | 88.41 | 1.3147 | 90.79 | 1.5333 | 897 | 88.28 | 0
2020-12-20 06:00:00 | 1.4867 | 94.28 | 1.61 | 98.0867 | 1.4833 | 92.206 | 1.7173 | 98.5867 | 1.48 | 897 | 88.3067 | 0
2020-12-20 06:15:00 | 1.3247 | 120.88 | 1.3887 | 116.2267 | 1.29 | 118.2213 | 1.4207 | 116.82 | 1.3733 | 897 | 88.76 | 0
2020-12-20 06:30:00 | 1.5633 | 108.8867 | 1.6353 | 108.518 | 1.4787 | 106.4907 | 1.642 | 109.074 | 1.38 | 896.8667 | 89.32 | 0
2020-12-20 06:45:00 | 1.772 | 134.5333 | 1.8427 | 135.152 | 1.756 | 131.5747 | 1.8953 | 135.8447 | 1.3067 | 896.4667 | 89.3133 | 0.172
2020-12-20 07:00:00 | 1.26 | 127.7867 | 1.312 | 133.374 | 1.2087 | 124.974 | 1.32 | 134.0547 | 1.1867 | 897 | 89.0867 | 0.049333
2020-12-20 07:15:00 | 0.91867 | 139.3867 | 0.94733 | 144.96 | 0.98533 | 136.3193 | 1.0213 | 145.6987 | 1.1 | 897 | 88.96 | 0.071333
2020-12-20 07:30:00 | 0.90733 | 107.1067 | 0.88933 | 105.604 | 0.72533 | 104.7493 | 0.744 | 106.1427 | 1.0733 | 897 | 88.6267 | 0
2020-12-20 07:45:00 | 1.1487 | 106.1467 | 1.1933 | 111.3953 | 0.94667 | 103.81 | 1.0933 | 111.9647 | 1.1067 | 897 | 89.2933 | 0
2020-12-20 08:00:00 | 1.0613 | 107.1533 | 1.126 | 101.328 | 0.91133 | 104.7947 | 1.0773 | 101.8453 | 1.1467 | 897 | 90.7467 | 0
2020-12-20 08:15:00 | 1.182 | 109.68 | 1.3147 | 93.7973 | 1.2953 | 107.2653 | 1.5147 | 94.2767 | 1.3467 | 897 | 91.8067 | 0
2020-12-20 08:30:00 | 1.198 | 114.9867 | 1.3313 | 121.7687 | 1.3687 | 112.456 | 1.5733 | 122.39 | 1.52 | 897 | 91.7467 | 0
2020-12-20 08:45:00 | 0.99867 | 131.7333 | 1.0327 | 140.9693 | 1.068 | 128.8347 | 1.114 | 141.69 | 1.5333 | 897 | 90.68 | 0
2020-12-20 09:00:00 | 0.70533 | 126.0733 | 0.71267 | 149.2293 | 0.73267 | 123.2987 | 0.73933 | 149.9947 | 1.5933 | 897 | 89.6 | 0
2020-12-20 09:15:00 | 0.58467 | 156.0467 | 0.62867 | 136.0587 | 0.71733 | 152.6133 | 0.76333 | 136.7547 | 1.8 | 897.4667 | 89.4733 | 0
2020-12-20 09:30:00 | 0.60333 | 165.2067 | 0.61867 | 158.9253 | 0.80667 | 161.5713 | 0.77667 | 159.738 | 1.9133 | 898 | 88.6667 | 0
2020-12-20 09:45:00 | 0.43933 | 195.1933 | 0.44533 | 165.582 | 0.67533 | 190.8987 | 0.61533 | 166.4273 | 2.0533 | 898 | 87.84 | 0
2020-12-20 10:00:00 | 0.37533 | 126.56 | 0.416 | 157.81 | 0.594 | 123.776 | 0.608 | 158.6173 | 2.36 | 898 | 86.78 | 0
2020-12-20 10:15:00 | 0.56133 | 116.5333 | 0.59 | 103.4533 | 0.75667 | 113.97 | 0.75267 | 103.9827 | 2.0867 | 898 | 86.6467 | 0
2020-12-20 10:30:00 | 0.95067 | 80.3333 | 0.93533 | 248.6007 | 1.0693 | 78.566 | 1.004 | 249.8713 | 1.0533 | 898.8 | 86.6533 | 0
2020-12-20 10:45:00 | 0.592 | 160.2333 | 0.61267 | 130.2693 | 0.818 | 156.708 | 0.78733 | 130.9347 | 1.76 | 899 | 85.7333 | 0
2020-12-20 11:00:00 | 0.50467 | 98.4133 | 0.51333 | 61.77 | 0.59333 | 96.2487 | 0.58333 | 62.086 | 1.9467 | 899 | 84.36 | 0
2020-12-20 11:15:00 | 0.49733 | 90.4867 | 0.51333 | 111.608 | 0.824 | 88.496 | 0.75533 | 112.1807 | 2.3933 | 899 | 82.4867 | 0
2020-12-20 11:30:00 | 0.938 | 91.0867 | 0.91933 | 144.96 | 1.2753 | 89.0833 | 1.142 | 145.7007 | 2.1933 | 899 | 80.61 | 0
2020-12-20 11:45:00 | 0.72333 | 164.7 | 0.692 | 64.1887 | 0.85533 | 161.0767 | 0.75667 | 64.5167 | 2.6867 | 899 | 80.2467 | 0
2020-12-20 12:00:00 | 0.91267 | 40.3467 | 0.91267 | 109.0413 | 1.0433 | 39.4587 | 1.0067 | 109.598 | 2.7667 | 899 | 80.2707 | 0
2020-12-20 12:15:00 | 0.93667 | 76.1067 | 0.94333 | 37.8673 | 1.054 | 74.432 | 1.0313 | 38.0627 | 3.3933 | 898.5333 | 79.542 | 0
2020-12-20 12:30:00 | 1.1227 | 109.4667 | 1.11 | 81.0373 | 1.0913 | 107.0593 | 1.08 | 81.452 | 3.0467 | 898 | 78.2767 | 0
2020-12-20 12:45:00 | 1.0293 | 183.2933 | 1.0307 | 83.4293 | 1.0647 | 179.2593 | 1.0593 | 83.856 | 3.0867 | 898 | 77.0733 | 0
2020-12-20 13:00:00 | 0.84067 | 54.3333 | 0.85067 | 111.3953 | 0.85 | 53.1373 | 0.86667 | 111.962 | 3.1733 | 897.8667 | 77.8447 | 0
2020-12-20 13:15:00 | 0.94667 | 62.5533 | 0.96067 | 33.78 | 0.97667 | 61.1773 | 0.99533 | 33.952 | 3.4667 | 897 | 77.3687 | 0
2020-12-20 13:30:00 | 0.97467 | 84.4467 | 1.0227 | 230.56 | 0.99533 | 82.5887 | 1.0787 | 231.7373 | 3.72 | 897 | 75.5167 | 0
2020-12-20 13:45:00 | 0.716 | 94.7533 | 0.77467 | 169.5007 | 0.764 | 92.6687 | 0.85667 | 170.3667 | 3.9533 | 897 | 75.104 | 0
2020-12-20 14:00:00 | 0.78733 | 72.18 | 0.86267 | 124.78 | 0.99067 | 70.592 | 1.0733 | 125.4167 | 4.22 | 897 | 73.516 | 0
2020-12-20 14:15:00 | 0.91933 | 63.3 | 0.92867 | 115.05 | 1.1147 | 61.9073 | 1.076 | 115.64 | 4.48 | 897 | 72.3907 | 0
2020-12-20 14:30:00 | 1.3713 | 80.62 | 1.3853 | 128.9393 | 1.4993 | 78.846 | 1.4907 | 129.598 | 4.7733 | 896.8667 | 71.6187 | 0
2020-12-20 14:45:00 | 1.366 | 143.1333 | 1.3693 | 150.3247 | 1.5773 | 139.986 | 1.522 | 151.094 | 5.4067 | 896 | 71.2933 | 0
2020-12-20 15:00:00 | 1.184 | 225.16 | 1.1987 | 132.8973 | 1.4647 | 220.206 | 1.412 | 133.5753 | 5.5667 | 896 | 69.2973 | 0
2020-12-20 15:15:00 | 0.83267 | 58.1067 | 0.87333 | 206.7747 | 1.0733 | 56.8293 | 1.08 | 207.832 | 6.1133 | 896 | 63.8513 | 0
2020-12-20 15:30:00 | 1.0333 | 183.34 | 0.97867 | 67.9387 | 1.044 | 179.306 | 0.94067 | 68.2853 | 5.82 | 896 | 62.8067 | 0
2020-12-20 15:45:00 | 1.1373 | 98.24 | 1.1693 | 52.7407 | 1.3133 | 96.0793 | 1.3193 | 53.01 | 5.6867 | 896 | 62.5287 | 0
2020-12-20 16:00:00 | 1.0087 | 125.7133 | 1.0293 | 104.5867 | 1.1053 | 122.948 | 1.118 | 105.1213 | 5.68 | 896 | 64.5 | 0
2020-12-20 16:15:00 | 1.134 | 292 | 1.1033 | 324.0953 | 1.152 | 285.576 | 1.0913 | 325.7527 | 5.54 | 896.4667 | 59.948 | 0
2020-12-20 16:30:00 | 1.03 | 190.7 | 1.0513 | 306.0487 | 1.0327 | 186.504 | 1.0733 | 307.6133 | 5.4733 | 897 | 58.752 | 0
2020-12-20 16:45:00 | 1.0493 | 157.4933 | 1.114 | 322.3667 | 1.2527 | 154.0287 | 1.3133 | 324.018 | 5.5933 | 897 | 60.3287 | 0
2020-12-20 17:00:00 | 1.0887 | 227.6 | 1.1107 | 319.8527 | 1.2653 | 222.592 | 1.2547 | 321.488 | 5.46 | 897 | 61.6587 | 0
2020-12-20 17:15:00 | 1.2767 | 284.8467 | 1.3493 | 309.5753 | 1.568 | 278.5793 | 1.622 | 311.1587 | 5.3667 | 897 | 63.7567 | 0
2020-12-20 17:30:00 | 1.126 | 318.9867 | 1.226 | 307.7107 | 1.582 | 311.9693 | 1.6353 | 309.286 | 5.2933 | 896.2 | 66.698 | 0
2020-12-20 17:45:00 | 1.2107 | 273.0267 | 1.2887 | 26.106 | 1.5033 | 267.0193 | 1.5693 | 26.24 | 5.1933 | 896 | 68.2553 | 0
2020-12-20 18:00:00 | 0.67267 | 92.3267 | 0.642 | 52.6033 | 0.91933 | 90.2947 | 0.78867 | 52.8707 | 5.1533 | 896 | 69.268 | 0
2020-12-20 18:15:00 | 0.51867 | 81.3067 | 0.474 | 42.7067 | 0.59667 | 79.5187 | 0.48867 | 42.9247 | 5.1 | 896 | 70.8567 | 0
2020-12-20 18:30:00 | 0.39 | 141.6267 | 0.36467 | 83.1367 | 0.41067 | 138.5107 | 0.35667 | 83.5627 | 5.1 | 896 | 70.052 | 0
2020-12-20 18:45:00 | 0.20267 | 236.16 | 0.20267 | 160.7887 | 0.268 | 230.9653 | 0.25 | 161.6113 | 5.08 | 896 | 69.7513 | 0
2020-12-20 19:00:00 | 0.48733 | 281.42 | 0.48 | 299.2947 | 0.548 | 275.228 | 0.51667 | 300.8253 | 5.0267 | 896.8 | 68.7733 | 0
2020-12-20 19:15:00 | 0.642 | 262.2733 | 0.68333 | 288.47 | 0.646 | 256.5027 | 0.72267 | 289.946 | 5.1 | 897 | 69.6593 | 0
2020-12-20 19:30:00 | 0.53067 | 226.1867 | 0.584 | 286.156 | 0.43667 | 221.2107 | 0.568 | 287.6193 | 5.1533 | 897 | 69.444 | 0
2020-12-20 19:45:00 | 1.024 | 205.5867 | 1.0713 | 210.1853 | 1.0427 | 201.064 | 1.1253 | 211.2587 | 5.02 | 897 | 69.4353 | 0
2020-12-20 20:00:00 | 1.342 | 198.74 | 1.3967 | 186.3873 | 1.5567 | 194.3667 | 1.6 | 187.3393 | 4.9 | 897.1333 | 67.8313 | 0
2020-12-20 20:15:00 | 1.5907 | 184.44 | 1.682 | 171.3967 | 1.802 | 180.3827 | 1.9113 | 172.274 | 4.9 | 898 | 67.6487 | 0
2020-12-20 20:30:00 | 1.572 | 184.74 | 1.694 | 172.492 | 1.6427 | 180.676 | 1.8533 | 173.3747 | 4.8333 | 898 | 68.4833 | 0
2020-12-20 20:45:00 | 1.5967 | 195.66 | 1.6867 | 177.866 | 1.632 | 191.356 | 1.7933 | 178.776 | 4.6067 | 898 | 69.6347 | 0
2020-12-20 21:00:00 | 1.768 | 193.22 | 1.862 | 180.8647 | 1.9293 | 188.97 | 2.06 | 181.7893 | 4.4267 | 898 | 71.0933 | 0
2020-12-20 21:15:00 | 1.8527 | 191.04 | 1.966 | 178.9093 | 2.0227 | 186.836 | 2.194 | 179.8227 | 4.1467 | 898 | 71.5453 | 0.44467
2020-12-20 21:30:00 | 1.8047 | 165.7 | 1.8947 | 170.1787 | 2.0587 | 162.054 | 2.1547 | 171.0493 | 3.8533 | 898 | 72.6033 | 0.64067
2020-12-20 21:45:00 | 1.8093 | 161.8867 | 1.9213 | 159.9947 | 2.0213 | 158.3267 | 2.172 | 160.812 | 3.7067 | 898 | 74.136 | 0.32667
2020-12-20 22:00:00 | 1.7453 | 150.56 | 1.8207 | 140.494 | 2.0307 | 147.2467 | 2.0967 | 141.2113 | 3.4667 | 898 | 76.2967 | 0.021333
2020-12-20 22:15:00 | 1.5307 | 131.2733 | 1.6073 | 142.6513 | 1.864 | 128.384 | 1.9133 | 143.38 | 3.5467 | 898 | 77.5493 | 0
2020-12-20 22:30:00 | 1.8793 | 129.1133 | 1.9767 | 121.5847 | 2.2387 | 126.272 | 2.3213 | 122.2073 | 3.36 | 898 | 76.9647 | 0
2020-12-20 22:45:00 | 1.848 | 152.2067 | 1.9453 | 136.052 | 2.1433 | 148.8587 | 2.24 | 136.7487 | 3.3 | 898 | 76.7627 | 0
2020-12-20 23:00:00 | 2.0767 | 143.4267 | 2.2213 | 146.602 | 2.296 | 140.2713 | 2.5053 | 147.3513 | 3.24 | 898 | 76.4973 | 0
2020-12-20 23:15:00 | 2.6733 | 131.9467 | 2.8 | 133.1527 | 2.8887 | 129.0447 | 3.0687 | 133.832 | 3 | 898 | 77.22 | 1.6347
2020-12-20 23:30:00 | 2.46 | 139.7267 | 2.5467 | 137.7213 | 2.8413 | 136.652 | 2.896 | 138.426 | 2.94 | 898 | 77.622 | 2.62
2020-12-20 23:45:00 | 2.3713 | 138.4667 | 2.468 | 139.4687 | 2.734 | 135.42 | 2.8127 | 140.1827 | 2.76 | 898 | 77.3713 | 3.1847