## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-21 00:00:00 | 2.0587 | 141.3133 | 2.1167 | 131.306 | 2.376 | 138.204 | 2.4 | 131.978 | 2.66 | 897.8667 | 78.6687 | 2.2407
2020-12-21 00:15:00 | 2.0027 | 133.8267 | 2.0933 | 132.9827 | 2.2427 | 130.8813 | 2.346 | 133.6613 | 2.6867 | 897 | 79.086 | 1.86
2020-12-21 00:30:00 | 2.498 | 135.7667 | 2.6087 | 135.6227 | 2.818 | 132.78 | 2.936 | 136.3167 | 2.38 | 897 | 79.6087 | 2.8673
2020-12-21 00:45:00 | 1.5807 | 122.2133 | 1.6413 | 133.2027 | 1.916 | 119.5247 | 1.93 | 133.884 | 2.4933 | 897 | 79.6787 | 1.7733
2020-12-21 01:00:00 | 1.4807 | 116.62 | 1.5873 | 123.9773 | 1.8133 | 114.054 | 1.92 | 124.612 | 2.6133 | 897 | 80.4927 | 0.24333
2020-12-21 01:15:00 | 1.8333 | 123.58 | 1.9467 | 112.926 | 2.06 | 120.8613 | 2.2093 | 113.504 | 2.44 | 897 | 80.7267 | 0
2020-12-21 01:30:00 | 2.2673 | 126.26 | 2.43 | 131.5533 | 2.4667 | 123.482 | 2.7167 | 132.2267 | 2.4067 | 897 | 82.5067 | 0.254
2020-12-21 01:45:00 | 2.178 | 125.2733 | 2.3067 | 124.5773 | 2.404 | 122.5173 | 2.5827 | 125.214 | 2.5133 | 897 | 83.4333 | 0.63467
2020-12-21 02:00:00 | 2.8647 | 128.0667 | 2.994 | 130.362 | 3.1667 | 125.25 | 3.3287 | 131.0273 | 2.4 | 896.2 | 83.2267 | 2.914
2020-12-21 02:15:00 | 3.1753 | 124.92 | 3.3053 | 125.0593 | 3.3887 | 122.1733 | 3.578 | 125.7 | 2.38 | 896 | 83.68 | 4.6907
2020-12-21 02:30:00 | 3.1013 | 126.5067 | 3.2353 | 131.7433 | 3.3627 | 123.722 | 3.5427 | 132.4167 | 2.3533 | 896 | 84.9133 | 5.5687
2020-12-21 02:45:00 | 3.1107 | 130.1467 | 3.214 | 125.7187 | 3.4213 | 127.2847 | 3.53 | 126.3627 | 2.32 | 896 | 84.1533 | 6.4033
2020-12-21 03:00:00 | 3.058 | 122.4933 | 3.1813 | 123.5613 | 3.2833 | 120.5673 | 3.458 | 124.3893 | 2.3733 | 896 | 84.8067 | 5.1193
2020-12-21 03:15:00 | 2.9113 | 123.04 | 3.034 | 123.0393 | 3.3327 | 120.334 | 3.442 | 123.6673 | 2.18 | 895.5333 | 84.68 | 3.9187
2020-12-21 03:30:00 | 2.5993 | 121.76 | 2.756 | 119.746 | 3.1267 | 119.082 | 3.2727 | 120.3587 | 1.92 | 895 | 85.8667 | 2.698
2020-12-21 03:45:00 | 2.566 | 125.1467 | 2.7173 | 118.2533 | 2.9947 | 122.3933 | 3.1573 | 118.8567 | 2.0267 | 895 | 86.3867 | 2.318
2020-12-21 04:00:00 | 2.6853 | 125.56 | 2.7987 | 121.5467 | 3.074 | 122.7987 | 3.1787 | 122.1667 | 2.0133 | 895 | 86.6533 | 2.9773
2020-12-21 04:15:00 | 2.832 | 133.24 | 2.9827 | 133.8027 | 2.9993 | 130.3073 | 3.242 | 134.4873 | 1.58 | 895 | 87.22 | 4.8893
2020-12-21 04:30:00 | 3.2353 | 131.2 | 3.4007 | 132.6693 | 3.5327 | 128.314 | 3.764 | 133.3473 | 1.3267 | 894.2 | 88.94 | 5.9253
2020-12-21 04:45:00 | 3.1873 | 126.8667 | 3.3293 | 138.1447 | 3.4707 | 124.0767 | 3.6613 | 138.852 | 1.4267 | 894 | 89.9533 | 5.6407
2020-12-21 05:00:00 | 3.1533 | 128.92 | 3.2893 | 134.9313 | 3.48 | 126.0833 | 3.6447 | 135.62 | 1.0867 | 894 | 91.0733 | 5.698
2020-12-21 05:15:00 | 3.1913 | 129.5533 | 3.3793 | 129.7147 | 3.5773 | 126.7027 | 3.828 | 130.3787 | 0.98667 | 894 | 92.18 | 6.494
2020-12-21 05:30:00 | 2.744 | 134.82 | 2.9413 | 121.7213 | 3.1507 | 131.8547 | 3.4067 | 122.3433 | 0.62 | 894 | 92.2267 | 5.2127
2020-12-21 05:45:00 | 2.5967 | 139.9067 | 2.724 | 129.24 | 3.0713 | 136.8293 | 3.176 | 129.8993 | 0.60667 | 894 | 91.6867 | 4.7393
2020-12-21 06:00:00 | 2.6073 | 140.5267 | 2.6687 | 129.6293 | 3.148 | 137.434 | 3.11 | 130.2933 | 0.55333 | 894 | 92.3533 | 6.0607
2020-12-21 06:15:00 | 2.298 | 135.0867 | 2.4087 | 128.7707 | 2.884 | 132.1153 | 2.9247 | 129.428 | 0.4 | 894 | 92.9933 | 4.0793
2020-12-21 06:30:00 | 2.5247 | 138.56 | 2.6773 | 133.4627 | 2.988 | 135.5127 | 3.144 | 134.1467 | 0.16 | 894 | 93.42 | 4.3147
2020-12-21 06:45:00 | 2.8173 | 131.8067 | 2.9607 | 132.456 | 3.266 | 128.908 | 3.412 | 133.1307 | 0.41333 | 893.5333 | 93.2267 | 4.422
2020-12-21 07:00:00 | 2.6753 | 136.24 | 2.8567 | 139.096 | 2.9687 | 133.2433 | 3.2313 | 139.81 | 0.74667 | 893.8 | 92.26 | 2.7953
2020-12-21 07:15:00 | 2.6253 | 133.9933 | 2.7613 | 139.2733 | 2.874 | 131.046 | 3.064 | 139.9867 | 0.72 | 894 | 92.02 | 3.6013
2020-12-21 07:30:00 | 2.6713 | 133.5067 | 2.7753 | 139.418 | 2.8593 | 130.5707 | 3.0053 | 140.13 | 0.92667 | 894 | 91.06 | 3.7953
2020-12-21 07:45:00 | 2.7753 | 135.3333 | 2.8693 | 137.8907 | 3.1227 | 132.356 | 3.2027 | 138.5953 | 0.98667 | 894 | 91.4067 | 3.7453
2020-12-21 08:00:00 | 2.4667 | 144.56 | 2.5467 | 139.4953 | 2.7427 | 141.3793 | 2.814 | 140.2087 | 0.89333 | 894 | 91.48 | 3.6007
2020-12-21 08:15:00 | 2.656 | 151.4867 | 2.804 | 141.5493 | 2.9293 | 148.154 | 3.1273 | 142.272 | 0.64 | 894 | 91.8533 | 3.2293
2020-12-21 08:30:00 | 2.6473 | 146.0333 | 2.7887 | 144.8547 | 2.9 | 142.82 | 3.0947 | 145.5953 | 0.68 | 894 | 92.5133 | 3.8147
2020-12-21 08:45:00 | 2.716 | 147.5933 | 2.8573 | 146.4973 | 3.0207 | 144.3453 | 3.1993 | 147.2467 | 0.64 | 894 | 92.9933 | 3.96
2020-12-21 09:00:00 | 2.5527 | 162.8933 | 2.6413 | 162.152 | 2.8253 | 159.31 | 2.9153 | 162.9813 | 0.86 | 894 | 93.18 | 3.2447
2020-12-21 09:15:00 | 2.2247 | 190.1933 | 2.2767 | 172.9433 | 2.4207 | 186.01 | 2.4633 | 173.8267 | 1.0333 | 894 | 93.2 | 2.2973
2020-12-21 09:30:00 | 1.9667 | 210.7467 | 2.112 | 172.1853 | 2.4 | 206.11 | 2.55 | 173.0673 | 1.02 | 894 | 93.1133 | 1.572
2020-12-21 09:45:00 | 1.7927 | 215.9933 | 1.9053 | 191.4007 | 2.066 | 211.2413 | 2.2033 | 192.3813 | 1.3467 | 894 | 93.06 | 1.0847
2020-12-21 10:00:00 | 1.7733 | 217.4 | 1.8327 | 186.9213 | 2.064 | 212.6187 | 2.0933 | 187.8767 | 1.72 | 894.1333 | 92.2467 | 0.72533
2020-12-21 10:15:00 | 1.6953 | 221.8467 | 1.758 | 188.676 | 2.042 | 216.966 | 2.064 | 189.6413 | 2.02 | 895 | 91.4533 | 0.52333
2020-12-21 10:30:00 | 1.7587 | 211.24 | 1.8387 | 184.3593 | 2.1273 | 206.592 | 2.1733 | 185.3013 | 2.1267 | 895 | 90.6733 | 0.70933
2020-12-21 10:45:00 | 1.8393 | 204.9133 | 1.9307 | 177.0313 | 2.21 | 200.4053 | 2.274 | 177.936 | 1.9067 | 895 | 90.0533 | 1.0253
2020-12-21 11:00:00 | 1.7373 | 207.06 | 1.8067 | 182.488 | 2.0687 | 202.5053 | 2.1007 | 183.4213 | 1.8733 | 895 | 89.84 | 0.78667
2020-12-21 11:15:00 | 1.8753 | 212.6933 | 1.9753 | 193.5853 | 2.2667 | 208.0127 | 2.342 | 194.576 | 1.8867 | 895 | 89.42 | 0.75467
2020-12-21 11:30:00 | 1.6167 | 190.5733 | 1.656 | 188.518 | 1.928 | 186.3813 | 1.9133 | 189.4827 | 2.1533 | 895 | 89.0333 | 0.22333
2020-12-21 11:45:00 | 1.792 | 216.9667 | 1.8373 | 171.4693 | 2.2047 | 212.194 | 2.176 | 172.3467 | 2.1267 | 895 | 87.9867 | 0.33
2020-12-21 12:00:00 | 2.2453 | 208.9867 | 2.3167 | 183.8713 | 2.568 | 204.3887 | 2.612 | 184.81 | 2.0533 | 895 | 87.1267 | 0.92533
2020-12-21 12:15:00 | 2.3627 | 213.9733 | 2.5433 | 177.442 | 2.65 | 209.266 | 2.908 | 178.35 | 2.0333 | 895 | 86.4667 | 1.6953
2020-12-21 12:30:00 | 2.35 | 198.1533 | 2.404 | 172.004 | 2.6293 | 193.7947 | 2.6527 | 172.884 | 2.1467 | 894.8667 | 87.8533 | 1.9053
2020-12-21 12:45:00 | 2.2473 | 206.9667 | 2.332 | 171.352 | 2.5867 | 202.4147 | 2.6527 | 172.2287 | 2.4267 | 894 | 86.9667 | 2.0727
2020-12-21 13:00:00 | 2.1127 | 193.4067 | 2.222 | 166.808 | 2.4887 | 189.1513 | 2.5913 | 167.66 | 2.5733 | 893.8667 | 86.0533 | 1.5967
2020-12-21 13:15:00 | 2.1367 | 186.2067 | 2.212 | 164.8787 | 2.3867 | 182.1093 | 2.458 | 165.7207 | 2.8133 | 893 | 85.7 | 1.8287
2020-12-21 13:30:00 | 2.1387 | 176.6533 | 2.212 | 156.9947 | 2.378 | 172.7673 | 2.4507 | 157.7987 | 2.7 | 893 | 85.54 | 1.7447
2020-12-21 13:45:00 | 2.0867 | 167.9533 | 2.15 | 145.03 | 2.45 | 164.2593 | 2.4673 | 145.7713 | 2.4067 | 893 | 86.0333 | 1.0293
2020-12-21 14:00:00 | 1.4407 | 160.4467 | 1.4773 | 147.86 | 1.6647 | 156.9167 | 1.6693 | 148.6173 | 2.4067 | 892.2 | 86.4467 | 0.61933
2020-12-21 14:15:00 | 1.06 | 177.0333 | 1.112 | 152.8613 | 1.326 | 173.1387 | 1.3473 | 153.6413 | 2.5733 | 892 | 86.04 | 0.314
2020-12-21 14:30:00 | 1.08 | 206.5667 | 1.14 | 167.792 | 1.0713 | 202.0207 | 1.186 | 168.6507 | 2.8467 | 892 | 84.8333 | 0.17533
2020-12-21 14:45:00 | 0.98933 | 202.9333 | 0.984 | 175.7207 | 0.92867 | 198.4693 | 0.938 | 176.6193 | 3.0533 | 892 | 84 | 0
2020-12-21 15:00:00 | 1.138 | 171.1267 | 1.2207 | 168.6193 | 1.33 | 167.3633 | 1.4353 | 169.482 | 3.2733 | 892 | 83.66 | 0.046667
2020-12-21 15:15:00 | 0.932 | 181.0933 | 0.93867 | 163.4833 | 1.2113 | 177.11 | 1.14 | 164.3173 | 3.3133 | 892 | 83.5467 | 0.068
2020-12-21 15:30:00 | 0.98067 | 199.7933 | 1.0433 | 159.1013 | 1.212 | 195.3987 | 1.2613 | 159.914 | 3.3867 | 891.2 | 83.8067 | 0
2020-12-21 15:45:00 | 0.736 | 195.2467 | 0.768 | 168.6673 | 1.0107 | 190.9507 | 0.99 | 169.528 | 3.32 | 891 | 83.5667 | 0
2020-12-21 16:00:00 | 0.78867 | 233.26 | 0.818 | 191.5693 | 0.90467 | 228.1287 | 0.92067 | 192.5507 | 3.3 | 891.6667 | 83.8067 | 0
2020-12-21 16:15:00 | 0.70667 | 215.8667 | 0.73067 | 202.6413 | 0.73733 | 211.1193 | 0.772 | 203.6787 | 3.3867 | 891 | 84.08 | 0
2020-12-21 16:30:00 | 0.82133 | 219.14 | 0.82267 | 197.3473 | 0.704 | 214.3173 | 0.74 | 198.3553 | 3.3933 | 891 | 84.1067 | 0
2020-12-21 16:45:00 | 1.0607 | 212.76 | 1.1027 | 187.0913 | 1.0727 | 208.08 | 1.148 | 188.0493 | 3.4 | 891 | 83.3067 | 0
2020-12-21 17:00:00 | 0.95667 | 207.4933 | 1.0333 | 176.2093 | 1.0933 | 202.9287 | 1.2 | 177.1107 | 3.4333 | 891 | 81.9 | 0
2020-12-21 17:15:00 | 0.87667 | 225.66 | 0.87467 | 207.2967 | 0.994 | 220.6953 | 0.95933 | 208.3573 | 3.4933 | 891 | 82.1933 | 0
2020-12-21 17:30:00 | 0.58467 | 223.2733 | 0.55667 | 210.884 | 0.53733 | 218.3607 | 0.502 | 211.9613 | 3.4733 | 891.1333 | 80.88 | 0
2020-12-21 17:45:00 | 0.59467 | 229.7333 | 0.64933 | 216.6327 | 0.638 | 224.678 | 0.732 | 217.7407 | 3.62 | 892 | 82.2667 | 0
2020-12-21 18:00:00 | 0.91333 | 233.5 | 0.93533 | 205.634 | 0.93467 | 228.3613 | 0.96733 | 206.6853 | 3.6533 | 891.3333 | 82.9933 | 0
2020-12-21 18:15:00 | 0.952 | 212.4 | 0.96067 | 178.1987 | 0.93467 | 207.7273 | 0.954 | 179.1093 | 3.76 | 892 | 82.8 | 0
2020-12-21 18:30:00 | 0.83267 | 201.0867 | 0.77867 | 189.6467 | 0.608 | 196.6627 | 0.57 | 190.6167 | 3.7333 | 892 | 82.8133 | 0
2020-12-21 18:45:00 | 0.468 | 121.18 | 0.44867 | 191.0753 | 0.40867 | 118.5133 | 0.38933 | 192.052 | 3.6867 | 892 | 81.24 | 0
2020-12-21 19:00:00 | 0.326 | 129.6267 | 0.30133 | 197.0993 | 0.282 | 126.7753 | 0.25 | 198.1073 | 3.6667 | 892 | 80.0853 | 0
2020-12-21 19:15:00 | 0.41933 | 84.8 | 0.422 | 280.8687 | 0.57067 | 82.9347 | 0.53333 | 282.304 | 3.6667 | 892 | 79.902 | 0
2020-12-21 19:30:00 | 0.482 | 159.1533 | 0.506 | 224.3993 | 0.58667 | 155.652 | 0.60267 | 225.546 | 3.68 | 892 | 80.6327 | 0
2020-12-21 19:45:00 | 0.88733 | 39.86 | 0.876 | 324.9887 | 0.874 | 38.982 | 0.85733 | 326.6507 | 3.4267 | 892 | 82.1733 | 0
2020-12-21 20:00:00 | 1.0947 | 126.4467 | 1.0767 | 333.7773 | 1.4967 | 123.6647 | 1.3473 | 335.4847 | 3.2867 | 892 | 82.7 | 0
2020-12-21 20:15:00 | 1.202 | 143.7667 | 1.2133 | 316.122 | 1.4227 | 140.604 | 1.3793 | 317.738 | 3.2133 | 892 | 83.4267 | 0
2020-12-21 20:30:00 | 0.49467 | 217.2 | 0.49933 | 123.736 | 0.75267 | 212.4207 | 0.686 | 124.3687 | 3.5533 | 892 | 83.6667 | 0
2020-12-21 20:45:00 | 0.24867 | 171.5333 | 0.24733 | 179.286 | 0.34867 | 167.7593 | 0.32067 | 180.2033 | 3.6733 | 892 | 82.7467 | 0
2020-12-21 21:00:00 | 0.27667 | 44.7467 | 0.292 | 62.8327 | 0.33667 | 43.762 | 0.348 | 63.1553 | 3.6533 | 892.1333 | 82.88 | 0
2020-12-21 21:15:00 | 0.32733 | 75.5267 | 0.334 | 105.5653 | 0.38133 | 73.8647 | 0.38133 | 106.1047 | 3.7267 | 893 | 83.0133 | 0
2020-12-21 21:30:00 | 0.50933 | 95.9133 | 0.54067 | 91.4993 | 0.56 | 93.8033 | 0.604 | 91.9687 | 3.6733 | 893 | 82.96 | 0
2020-12-21 21:45:00 | 0.48267 | 199.1933 | 0.49667 | 221.3473 | 0.484 | 194.8113 | 0.51133 | 222.4787 | 3.38 | 893 | 82.66 | 0
2020-12-21 22:00:00 | 0.32667 | 150.9267 | 0.32533 | 150.45 | 0.31333 | 147.6053 | 0.31133 | 151.218 | 3.58 | 893 | 83.5733 | 0
2020-12-21 22:15:00 | 1.0047 | 195.46 | 1.0553 | 182.3 | 1.1007 | 191.16 | 1.1687 | 183.23 | 3.36 | 893 | 82.74 | 0
2020-12-21 22:30:00 | 1.1793 | 201.5 | 1.2433 | 197.1573 | 1.3887 | 197.066 | 1.452 | 198.1667 | 3.22 | 893 | 82.3667 | 0
2020-12-21 22:45:00 | 0.71267 | 204.94 | 0.736 | 197.7007 | 0.76867 | 200.4307 | 0.79733 | 198.7093 | 3.4 | 893 | 83.8867 | 0
2020-12-21 23:00:00 | 0.726 | 197.0933 | 0.776 | 181.15 | 0.812 | 192.7567 | 0.878 | 182.0787 | 3.3333 | 893 | 84.8933 | 0
2020-12-21 23:15:00 | 0.82 | 184.8733 | 0.86267 | 182.4633 | 0.95667 | 180.8067 | 0.99533 | 183.396 | 3.2867 | 893 | 84.4867 | 0
2020-12-21 23:30:00 | 0.99267 | 156.6867 | 1.0373 | 178.5033 | 1.1927 | 153.2393 | 1.216 | 179.4167 | 3.2333 | 892.8667 | 83.48 | 0
2020-12-21 23:45:00 | 1.1807 | 149 | 1.2607 | 174.0967 | 1.4407 | 145.7213 | 1.516 | 174.986 | 3.2133 | 892 | 83.86 | 0