## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-22 00:00:00 | 0.952 | 152 | 0.97467 | 167.948 | 1.0793 | 148.656 | 1.0873 | 168.808 | 3.28 | 892 | 84.6067 | 0
2020-12-22 00:15:00 | 0.66133 | 135.92 | 0.65667 | 162.5053 | 0.65667 | 132.93 | 0.652 | 163.336 | 3.26 | 892 | 84.36 | 0
2020-12-22 00:30:00 | 0.81467 | 144.3333 | 0.80267 | 161.206 | 0.842 | 141.1587 | 0.812 | 162.0307 | 3.32 | 892 | 83.2867 | 0
2020-12-22 00:45:00 | 1.15 | 147.4 | 1.1853 | 161.2727 | 1.2233 | 144.1573 | 1.2667 | 162.0967 | 3.3533 | 892 | 82.1467 | 0
2020-12-22 01:00:00 | 0.95667 | 148.94 | 0.97133 | 168.7833 | 1.0287 | 145.6633 | 1.038 | 169.6467 | 3.2933 | 892 | 81.8667 | 0
2020-12-22 01:15:00 | 0.55933 | 108.26 | 0.55267 | 164.8653 | 0.58267 | 105.8787 | 0.56 | 165.708 | 3.3267 | 892 | 82.8333 | 0
2020-12-22 01:30:00 | 0.368 | 106.2533 | 0.43867 | 176.9467 | 0.36867 | 103.9153 | 0.50067 | 177.8513 | 3.42 | 892 | 83.62 | 0
2020-12-22 01:45:00 | 0.48733 | 120.6933 | 0.58533 | 113.35 | 0.53133 | 118.038 | 0.704 | 113.9293 | 3.3333 | 892 | 83.5067 | 0
2020-12-22 02:00:00 | 0.81533 | 129.4667 | 0.88 | 151.6047 | 0.97467 | 126.6187 | 1.0507 | 152.378 | 3.3867 | 892 | 83.58 | 0
2020-12-22 02:15:00 | 0.878 | 126.1267 | 0.922 | 134.026 | 1.0987 | 123.352 | 1.1187 | 134.71 | 3.2733 | 892 | 83.34 | 0
2020-12-22 02:30:00 | 1.096 | 126.24 | 1.1527 | 120.9587 | 1.2893 | 123.4633 | 1.3407 | 121.5767 | 3.1933 | 892 | 83.2733 | 0
2020-12-22 02:45:00 | 0.93733 | 127.62 | 0.97267 | 116.402 | 1.1753 | 124.8127 | 1.1753 | 116.9953 | 3.04 | 892 | 83.2867 | 0
2020-12-22 03:00:00 | 0.93867 | 123.96 | 0.99267 | 114.876 | 1.142 | 121.2333 | 1.188 | 115.4627 | 2.9933 | 891.2 | 83.3267 | 0
2020-12-22 03:15:00 | 0.828 | 113.5267 | 0.872 | 104.2927 | 0.996 | 111.0293 | 1.0293 | 104.8267 | 2.96 | 891 | 82.8 | 0
2020-12-22 03:30:00 | 1.2493 | 135.18 | 1.3527 | 119.9427 | 1.4727 | 132.2053 | 1.6047 | 120.554 | 3.0667 | 891 | 82.9333 | 0
2020-12-22 03:45:00 | 1.228 | 117.0333 | 1.3307 | 118.906 | 1.4687 | 114.4587 | 1.5887 | 119.5133 | 2.9467 | 891 | 82.9 | 0
2020-12-22 04:00:00 | 1.294 | 111.0533 | 1.36 | 98.9733 | 1.342 | 108.6107 | 1.4553 | 99.4787 | 2.9267 | 891 | 83.8533 | 0
2020-12-22 04:15:00 | 1.484 | 117.8333 | 1.5773 | 100.9247 | 1.5753 | 115.24 | 1.7267 | 101.4393 | 2.9467 | 890.5333 | 84.2933 | 0
2020-12-22 04:30:00 | 1.688 | 126.6133 | 1.788 | 119.544 | 1.8033 | 123.8267 | 1.96 | 120.156 | 2.8867 | 890 | 82.5933 | 0
2020-12-22 04:45:00 | 1.5967 | 126.8467 | 1.668 | 129.512 | 1.682 | 124.056 | 1.7947 | 130.1753 | 2.8067 | 890 | 82.4533 | 0
2020-12-22 05:00:00 | 1.7633 | 167.24 | 1.844 | 155.7693 | 1.912 | 163.5613 | 2.026 | 156.566 | 2.72 | 890 | 83.7467 | 0
2020-12-22 05:15:00 | 1.6067 | 167.4067 | 1.6667 | 158.9713 | 1.692 | 163.7233 | 1.7813 | 159.7833 | 2.6533 | 890 | 86.8867 | 0.018667
2020-12-22 05:30:00 | 1.6993 | 160.74 | 1.7713 | 168.652 | 1.93 | 157.204 | 1.9993 | 169.5147 | 2.3733 | 890 | 89.24 | 0.19267
2020-12-22 05:45:00 | 1.4293 | 136.9933 | 1.4567 | 145.7553 | 1.6007 | 133.9793 | 1.6067 | 146.4993 | 2.4067 | 890 | 89.7333 | 0
2020-12-22 06:00:00 | 1.702 | 131.8133 | 1.8053 | 135.082 | 1.986 | 128.9133 | 2.0973 | 135.772 | 2.3467 | 890 | 89.6733 | 0
2020-12-22 06:15:00 | 1.8653 | 134.2733 | 1.9673 | 137.0767 | 2.1347 | 131.3193 | 2.2513 | 137.7773 | 2.2867 | 890 | 88.8133 | 0
2020-12-22 06:30:00 | 1.764 | 142.1467 | 1.862 | 137.1213 | 2.0693 | 139.0187 | 2.1693 | 137.8233 | 2.1667 | 890 | 89.3333 | 0.21467
2020-12-22 06:45:00 | 1.66 | 136.5133 | 1.7793 | 137.4153 | 1.836 | 133.51 | 2.01 | 138.1167 | 2 | 890 | 90.6933 | 0.27467
2020-12-22 07:00:00 | 2.1247 | 123.3333 | 2.284 | 130.622 | 2.3133 | 120.6207 | 2.5633 | 131.29 | 2.0067 | 889.6 | 91.1667 | 0.46
2020-12-22 07:15:00 | 2.1533 | 126.86 | 2.242 | 136.666 | 2.442 | 124.0693 | 2.5273 | 137.364 | 2.1933 | 889.7333 | 90.44 | 0.758
2020-12-22 07:30:00 | 1.9827 | 130.2667 | 2.0667 | 124.706 | 2.2493 | 127.4007 | 2.3333 | 125.346 | 2.14 | 890 | 88.4533 | 0.50733
2020-12-22 07:45:00 | 2.0513 | 125.62 | 2.182 | 130.7713 | 2.3373 | 122.8567 | 2.5027 | 131.44 | 2.1533 | 890 | 88.5533 | 0.934
2020-12-22 08:00:00 | 1.658 | 149.86 | 1.742 | 135.6547 | 1.96 | 146.5647 | 2.032 | 136.3493 | 1.9533 | 890 | 89.9867 | 0.426
2020-12-22 08:15:00 | 1.9473 | 141.3267 | 2.0253 | 137.6833 | 2.242 | 138.218 | 2.306 | 138.3867 | 2.1133 | 890 | 92.3133 | 1.2107
2020-12-22 08:30:00 | 1.9387 | 148.6867 | 2.0433 | 138.9287 | 2.2427 | 145.4153 | 2.3513 | 139.638 | 1.8133 | 890 | 93.14 | 1.426
2020-12-22 08:45:00 | 1.8233 | 147.8467 | 1.9293 | 142.9033 | 2.0313 | 144.5953 | 2.1693 | 143.636 | 1.68 | 890 | 92.82 | 1.158
2020-12-22 09:00:00 | 1.7127 | 140.96 | 1.7753 | 133.0473 | 2.0213 | 137.8593 | 2.052 | 133.7267 | 1.7733 | 890 | 92.3533 | 1.0533
2020-12-22 09:15:00 | 1.4773 | 148.9067 | 1.548 | 133.7 | 1.7547 | 145.63 | 1.8093 | 134.3833 | 1.94 | 890.0667 | 90.5733 | 0.568
2020-12-22 09:30:00 | 1.3767 | 138.44 | 1.4693 | 134.0447 | 1.5693 | 135.3953 | 1.69 | 134.7293 | 1.9533 | 891 | 90.18 | 0.48867
2020-12-22 09:45:00 | 2.016 | 116.32 | 2.1207 | 120.9 | 2.2593 | 113.76 | 2.3873 | 121.518 | 2.02 | 891 | 89.64 | 0.74
2020-12-22 10:00:00 | 2.088 | 125.5267 | 2.1853 | 122.962 | 2.4967 | 122.7647 | 2.566 | 123.5887 | 2.0267 | 891 | 88.42 | 0.956
2020-12-22 10:15:00 | 1.8853 | 141.0333 | 2.004 | 132.3553 | 2.3093 | 137.93 | 2.41 | 133.0313 | 2.1333 | 891 | 86.9667 | 1.0993
2020-12-22 10:30:00 | 1.7913 | 138.7867 | 1.876 | 137.4213 | 2.112 | 135.7327 | 2.178 | 138.1247 | 2.12 | 891 | 85.8667 | 0.63933
2020-12-22 10:45:00 | 1.7773 | 143.18 | 1.8593 | 137.0307 | 2.014 | 140.0307 | 2.0993 | 137.7313 | 2.2 | 891 | 85.4667 | 0.60933
2020-12-22 11:00:00 | 2.0693 | 133 | 2.1793 | 140.1673 | 2.2807 | 130.0733 | 2.4293 | 140.882 | 2.2 | 891 | 85.9067 | 1.422
2020-12-22 11:15:00 | 2.1267 | 137.8467 | 2.208 | 133.8753 | 2.414 | 134.814 | 2.4893 | 134.5593 | 2.1933 | 891 | 86.1333 | 1.144
2020-12-22 11:30:00 | 1.8033 | 128.14 | 1.886 | 128.776 | 1.998 | 125.3207 | 2.0987 | 129.4347 | 2.2 | 891 | 86.2533 | 0.61467
2020-12-22 11:45:00 | 1.9047 | 124.0133 | 2.0533 | 137.5393 | 2.2773 | 121.2853 | 2.45 | 138.2427 | 2.32 | 890.2667 | 86.4933 | 0.31133
2020-12-22 12:00:00 | 1.8727 | 135.7467 | 1.9613 | 134.43 | 2.062 | 132.7607 | 2.1793 | 135.1173 | 2.44 | 890 | 85.8267 | 0.096667
2020-12-22 12:15:00 | 1.7827 | 133.6 | 1.8167 | 139.774 | 2.0853 | 130.6607 | 2.0627 | 140.49 | 2.4133 | 890 | 85.36 | 0.36333
2020-12-22 12:30:00 | 1.8133 | 144.92 | 1.872 | 139.3913 | 2.0853 | 141.7327 | 2.1193 | 140.1027 | 2.32 | 889.6 | 85.7267 | 0.47933
2020-12-22 12:45:00 | 1.3087 | 146.8 | 1.3373 | 123.0767 | 1.6167 | 143.5713 | 1.5807 | 123.706 | 2.3133 | 889 | 85.7867 | 0.082
2020-12-22 13:00:00 | 1.2973 | 126.94 | 1.3493 | 121.318 | 1.5053 | 124.1467 | 1.546 | 121.938 | 2.4667 | 889 | 85.62 | 0
2020-12-22 13:15:00 | 1.2373 | 111.94 | 1.2393 | 126.47 | 1.4313 | 109.4773 | 1.3793 | 127.1153 | 2.6267 | 888.2667 | 85.06 | 0
2020-12-22 13:30:00 | 1.246 | 169.52 | 1.264 | 141.6273 | 1.4627 | 165.7893 | 1.4353 | 142.352 | 2.72 | 888 | 84.02 | 0
2020-12-22 13:45:00 | 1.1587 | 156.3733 | 1.1607 | 120.894 | 1.4 | 152.932 | 1.3327 | 121.51 | 3.06 | 888 | 83.6 | 0
2020-12-22 14:00:00 | 1.4727 | 122.9133 | 1.4987 | 144.0933 | 1.6227 | 120.208 | 1.6293 | 144.8287 | 3.1133 | 887.6 | 82.68 | 0
2020-12-22 14:15:00 | 1.8147 | 150.2333 | 1.8307 | 142.514 | 2.018 | 146.928 | 1.99 | 143.2413 | 3.2333 | 887 | 82.5 | 0
2020-12-22 14:30:00 | 2.11 | 156.16 | 2.1353 | 144.9007 | 2.4253 | 152.7233 | 2.3847 | 145.6427 | 3.2 | 887 | 81.62 | 0
2020-12-22 14:45:00 | 2.238 | 168.2133 | 2.318 | 139.886 | 2.6433 | 164.514 | 2.6773 | 140.6027 | 3.1533 | 887 | 81.2467 | 0.72533
2020-12-22 15:00:00 | 2.3467 | 163.5067 | 2.366 | 138.0747 | 2.668 | 159.91 | 2.6167 | 138.78 | 3.0133 | 886.6 | 81.3067 | 1.572
2020-12-22 15:15:00 | 2.452 | 162.08 | 2.4853 | 138.4653 | 2.7613 | 158.514 | 2.7387 | 139.1733 | 2.98 | 886 | 81.6867 | 2.004
2020-12-22 15:30:00 | 2.1973 | 161.82 | 2.2427 | 145.9307 | 2.5613 | 158.2607 | 2.542 | 146.678 | 2.9133 | 886 | 82.3467 | 1.956
2020-12-22 15:45:00 | 1.8353 | 175.18 | 1.9333 | 157.536 | 2.238 | 171.3253 | 2.308 | 158.342 | 2.94 | 886 | 83.6267 | 1.402
2020-12-22 16:00:00 | 2.0073 | 164.58 | 2.1087 | 155.6713 | 2.3967 | 160.96 | 2.4753 | 156.468 | 2.9133 | 886 | 84.36 | 0.842
2020-12-22 16:15:00 | 1.596 | 173.2667 | 1.6587 | 144.3073 | 1.9067 | 169.456 | 1.9373 | 145.0447 | 2.94 | 886 | 84.62 | 0.15733
2020-12-22 16:30:00 | 1.1673 | 160.7733 | 1.1973 | 146.5233 | 1.43 | 157.2353 | 1.41 | 147.2727 | 2.9267 | 886 | 85.14 | 0.030667
2020-12-22 16:45:00 | 0.82933 | 169.6467 | 0.89067 | 143.5653 | 0.99733 | 165.9147 | 1.06 | 144.298 | 3.0067 | 886 | 85.1667 | 0
2020-12-22 17:00:00 | 0.69667 | 178.96 | 0.758 | 174.62 | 0.874 | 175.0233 | 0.93867 | 175.5127 | 3.2133 | 886 | 85.3467 | 0
2020-12-22 17:15:00 | 0.46333 | 222.82 | 0.44133 | 176.118 | 0.54 | 217.9173 | 0.47867 | 177.0193 | 3.2867 | 886 | 85.48 | 0
2020-12-22 17:30:00 | 0.63867 | 180.44 | 0.61 | 180.8727 | 0.69533 | 176.4693 | 0.62667 | 181.7967 | 3.2667 | 886 | 85.2533 | 0
2020-12-22 17:45:00 | 0.84467 | 215.3067 | 0.78267 | 215.5713 | 0.816 | 210.5707 | 0.702 | 216.6727 | 2.9867 | 886 | 85.3267 | 0
2020-12-22 18:00:00 | 0.86533 | 258.0067 | 0.85933 | 218.4667 | 0.84867 | 252.3307 | 0.84467 | 219.582 | 2.9933 | 886 | 86.42 | 0
2020-12-22 18:15:00 | 1.294 | 222.4333 | 1.358 | 206.8853 | 1.266 | 217.54 | 1.3953 | 207.9447 | 2.9867 | 886.0667 | 87.38 | 0
2020-12-22 18:30:00 | 1.1827 | 230.84 | 1.1907 | 213.818 | 1.2587 | 225.762 | 1.254 | 214.9107 | 3.0267 | 887 | 87.5 | 0
2020-12-22 18:45:00 | 0.76933 | 262.02 | 0.766 | 230.1627 | 0.73133 | 256.256 | 0.73733 | 231.3387 | 3.1333 | 887 | 87.06 | 0
2020-12-22 19:00:00 | 0.99 | 278.7733 | 1.0373 | 263.096 | 1.1233 | 272.6387 | 1.178 | 264.44 | 3.2333 | 887 | 86.5 | 0
2020-12-22 19:15:00 | 2.04 | 283.34 | 2.1227 | 286.5607 | 2.4713 | 277.1053 | 2.5007 | 288.0253 | 3.1467 | 887.7333 | 86.6667 | 0
2020-12-22 19:30:00 | 2.5373 | 308.5067 | 2.7207 | 308.938 | 3.006 | 301.7193 | 3.2187 | 310.516 | 3.1533 | 888 | 87.0867 | 0.264
2020-12-22 19:45:00 | 3.2513 | 331.84 | 3.4487 | 314.224 | 3.6487 | 324.54 | 3.9073 | 315.8327 | 3.0133 | 888 | 87.7133 | 3.57
2020-12-22 20:00:00 | 3.718 | 315.1067 | 3.9267 | 323.6067 | 4.2113 | 308.1733 | 4.4693 | 325.2613 | 3.02 | 888 | 88.5867 | 9.2913
2020-12-22 20:15:00 | 4.5987 | 276.84 | 4.8693 | 328.4773 | 4.9347 | 270.7487 | 5.352 | 330.1587 | 3.08 | 888 | 88.98 | 17.9207
2020-12-22 20:30:00 | 4.8507 | 334.72 | 5.1713 | 328.178 | 5.2347 | 327.3567 | 5.7327 | 329.8547 | 3.0667 | 888 | 88.62 | 23.4327
2020-12-22 20:45:00 | 5.4653 | 315.0133 | 5.7307 | 327.76 | 5.8433 | 308.0833 | 6.2353 | 329.436 | 3.1733 | 888.7333 | 88.4333 | 27.8787
2020-12-22 21:00:00 | 5.8333 | 319.1467 | 6.1627 | 322.812 | 6.2707 | 312.1253 | 6.77 | 324.4633 | 3.3267 | 889 | 87.54 | 34.922
2020-12-22 21:15:00 | 6.2787 | 340.2667 | 6.662 | 323.4707 | 6.8587 | 332.7807 | 7.42 | 325.124 | 3.4067 | 889 | 86.8933 | 39.5753
2020-12-22 21:30:00 | 6.302 | 317.1667 | 6.692 | 326.678 | 6.968 | 310.1887 | 7.512 | 328.348 | 3.4333 | 889 | 86.1067 | 43.6907
2020-12-22 21:45:00 | 6.5193 | 344.9 | 6.92 | 326.9713 | 7.09 | 337.312 | 7.6893 | 328.644 | 3.3733 | 889 | 85.5667 | 44.3147
2020-12-22 22:00:00 | 6.4807 | 343.04 | 6.8173 | 328.38 | 6.8193 | 335.4933 | 7.3627 | 330.058 | 3.4533 | 889 | 85.3133 | 43.556
2020-12-22 22:15:00 | 7.0153 | 342.1467 | 7.3647 | 328.4 | 7.442 | 334.6193 | 7.9833 | 330.078 | 3.7467 | 889 | 84.5533 | 48.3053
2020-12-22 22:30:00 | 7.486 | 297.5667 | 7.948 | 328.8433 | 8.2433 | 291.0207 | 8.9047 | 330.524 | 3.7933 | 889 | 83.28 | 53.738
2020-12-22 22:45:00 | 8.0847 | 342.74 | 8.5467 | 326.444 | 8.4667 | 335.2 | 9.2327 | 328.1127 | 3.8133 | 889 | 82.46 | 56.2347
2020-12-22 23:00:00 | 8.1093 | 296.36 | 8.5367 | 329.24 | 8.856 | 289.8387 | 9.4507 | 330.9233 | 3.84 | 889 | 82.18 | 56.5393
2020-12-22 23:15:00 | 7.978 | 277.6933 | 8.3593 | 328.8613 | 8.9973 | 271.5827 | 9.4287 | 330.544 | 3.8867 | 889 | 81.92 | 55.3027
2020-12-22 23:30:00 | 7.8547 | 320.7133 | 8.2267 | 323.3127 | 8.522 | 313.6573 | 9.04 | 324.968 | 4 | 889 | 80.52 | 56.4493
2020-12-22 23:45:00 | 8.136 | 319.3 | 8.5093 | 328.98 | 9.19 | 312.2753 | 9.6013 | 330.6613 | 4.04 | 889 | 79.0407 | 57.792