## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-23 00:00:00 | 8.1367 | 343.1267 | 8.4907 | 327.472 | 9.0187 | 335.578 | 9.444 | 329.148 | 4.1333 | 889 | 77.106 | 56.5033
2020-12-23 00:15:00 | 8.2253 | 315.1467 | 8.6393 | 326.8987 | 8.8 | 308.2127 | 9.4213 | 328.57 | 4.4 | 889 | 76.0713 | 56.0547
2020-12-23 00:30:00 | 7.6727 | 340.2533 | 8.05 | 327.2393 | 8.5693 | 332.7693 | 9.0273 | 328.9127 | 4.4067 | 889 | 76.0073 | 55.1393
2020-12-23 00:45:00 | 6.976 | 317.1333 | 7.4093 | 329.2147 | 8.1667 | 310.1567 | 8.6427 | 330.8973 | 4.4067 | 889 | 74.4467 | 53.762
2020-12-23 01:00:00 | 7.5247 | 299.48 | 8.012 | 332.4227 | 8.4613 | 292.8907 | 9.1113 | 334.1207 | 4.6 | 889 | 74.5973 | 56.992
2020-12-23 01:15:00 | 8 | 294.8733 | 8.4013 | 310 | 8.7807 | 288.3853 | 9.3153 | 311.5847 | 4.7933 | 889 | 74.1853 | 56.8013
2020-12-23 01:30:00 | 8.1207 | 318.5933 | 8.548 | 327.004 | 8.7767 | 311.5833 | 9.402 | 328.6767 | 5.1 | 889 | 72.85 | 56.9073
2020-12-23 01:45:00 | 7.94 | 318.98 | 8.3413 | 333.6153 | 8.83 | 311.9627 | 9.3287 | 335.3213 | 5.1933 | 889.6667 | 72.39 | 57.2267
2020-12-23 02:00:00 | 8.26 | 298.88 | 8.64 | 335.298 | 9.2493 | 292.3053 | 9.69 | 337.0113 | 5.0467 | 889 | 71.7407 | 57.9833
2020-12-23 02:15:00 | 8.1087 | 233.02 | 8.534 | 313.97 | 9.1633 | 227.894 | 9.668 | 315.5753 | 4.7933 | 889 | 69.87 | 57.2113
2020-12-23 02:30:00 | 8.036 | 342.96 | 8.478 | 335.662 | 9.1813 | 335.4153 | 9.688 | 337.3787 | 4.9467 | 889 | 68.132 | 55.7607
2020-12-23 02:45:00 | 7.4967 | 315.6333 | 7.88 | 331.4173 | 8.358 | 308.69 | 8.84 | 333.112 | 5.0733 | 889.0667 | 66.6447 | 52.276
2020-12-23 03:00:00 | 7.33 | 251.8733 | 7.6293 | 330.922 | 8.2733 | 246.3327 | 8.572 | 332.614 | 5.2067 | 890 | 65.6773 | 53.6913
2020-12-23 03:15:00 | 7.81 | 344.1133 | 8.1853 | 331.1573 | 8.902 | 336.542 | 9.2987 | 332.8507 | 5.2067 | 889.2667 | 65.196 | 56.0813
2020-12-23 03:30:00 | 7.5233 | 277.3733 | 7.7527 | 335.9233 | 8.7007 | 271.27 | 8.8027 | 337.64 | 5.1467 | 889 | 64.1047 | 54.8673
2020-12-23 03:45:00 | 7.9813 | 301.44 | 8.4053 | 332.9827 | 9.1727 | 294.8087 | 9.6373 | 334.684 | 5.18 | 888.3333 | 61.7953 | 56.7373
2020-12-23 04:00:00 | 7.7227 | 272.9067 | 8.0693 | 332.3713 | 8.8313 | 266.9027 | 9.1713 | 334.0693 | 5.14 | 889 | 59.972 | 55.6947
2020-12-23 04:15:00 | 7.2687 | 277.4267 | 7.58 | 333.126 | 8.1593 | 271.3227 | 8.492 | 334.83 | 5.24 | 889 | 57.418 | 52.1947
2020-12-23 04:30:00 | 7.0633 | 316.32 | 7.3527 | 328.4907 | 7.5947 | 309.36 | 7.9967 | 330.17 | 5.3733 | 889 | 56.278 | 51.3333
2020-12-23 04:45:00 | 6.656 | 254 | 6.8833 | 331.0013 | 6.996 | 248.4107 | 7.3333 | 332.6933 | 5.2933 | 889 | 55.4313 | 51.4613
2020-12-23 05:00:00 | 5.8573 | 232.5133 | 6.136 | 290.5113 | 6.8233 | 227.3987 | 7.074 | 291.9973 | 5.1867 | 889 | 54.196 | 41.8873
2020-12-23 05:15:00 | 5.7667 | 254.9067 | 6.068 | 270.5607 | 6.6467 | 249.298 | 6.9613 | 271.944 | 5.1133 | 889 | 52.3407 | 36.956
2020-12-23 05:30:00 | 5.7967 | 233.2333 | 6.104 | 331.4113 | 6.5667 | 228.102 | 6.928 | 333.1073 | 5.0467 | 888.6 | 52.13 | 38.3853
2020-12-23 05:45:00 | 4.6393 | 213.2667 | 4.744 | 336.6993 | 5.1673 | 208.5747 | 5.214 | 338.4207 | 5.0267 | 888.7333 | 49.594 | 27.8127
2020-12-23 06:00:00 | 5.086 | 257.32 | 5.252 | 339.5553 | 5.5533 | 251.658 | 5.7353 | 341.2913 | 5.2 | 889 | 50.7053 | 26.0753
2020-12-23 06:15:00 | 5.258 | 237.7267 | 5.4873 | 334.7293 | 5.652 | 232.4967 | 5.9707 | 336.4413 | 5.18 | 889 | 50.6507 | 27.706
2020-12-23 06:30:00 | 5.3233 | 142.6 | 5.4853 | 318.7633 | 5.9693 | 139.462 | 6.0907 | 320.3933 | 5.2067 | 889 | 49.4807 | 27.41
2020-12-23 06:45:00 | 5.044 | 146.02 | 5.2147 | 319.356 | 5.7067 | 142.8067 | 5.8393 | 320.9887 | 5.1867 | 889 | 50.4467 | 27.072
2020-12-23 07:00:00 | 4.3733 | 189.3133 | 4.5533 | 296.8827 | 5.2193 | 185.148 | 5.3173 | 298.3993 | 5.04 | 889 | 50.33 | 20.9387
2020-12-23 07:15:00 | 4.4047 | 77.52 | 4.6447 | 296.288 | 5.206 | 75.8153 | 5.4327 | 297.8027 | 5.0133 | 889 | 50.0553 | 20.114
2020-12-23 07:30:00 | 4.258 | 168.8067 | 4.408 | 318.8087 | 4.944 | 165.0933 | 5.0333 | 320.4387 | 4.96 | 889 | 50.7967 | 20.814
2020-12-23 07:45:00 | 3.902 | 56.2533 | 4.0473 | 274.33 | 4.344 | 55.016 | 4.4927 | 275.732 | 4.88 | 889 | 52.0013 | 15.7973
2020-12-23 08:00:00 | 4.026 | 125.4667 | 4.2447 | 340.1093 | 4.5047 | 122.706 | 4.782 | 341.848 | 4.6733 | 889 | 52.7087 | 17.876
2020-12-23 08:15:00 | 4.218 | 102.6867 | 4.3947 | 340.46 | 4.734 | 100.4267 | 4.9253 | 342.202 | 4.5667 | 889 | 54.118 | 21.6333
2020-12-23 08:30:00 | 4.2313 | 123.6667 | 4.428 | 292.8067 | 4.8107 | 120.9467 | 5.018 | 294.3027 | 4.36 | 889.4 | 54.7787 | 21.6887
2020-12-23 08:45:00 | 4.926 | 141.3733 | 5.2233 | 339.588 | 5.5593 | 138.2633 | 5.942 | 341.324 | 4.36 | 890 | 53.9227 | 27.6313
2020-12-23 09:00:00 | 6.0813 | 322.9933 | 6.4287 | 336.0407 | 6.836 | 315.888 | 7.2787 | 337.758 | 4.5333 | 890 | 53.678 | 36.5567
2020-12-23 09:15:00 | 6.6433 | 279.3333 | 6.9673 | 335.434 | 7.4233 | 273.1873 | 7.8153 | 337.1487 | 4.7733 | 890.7333 | 50.014 | 45.6673
2020-12-23 09:30:00 | 6.3267 | 299.6733 | 6.7293 | 336.5353 | 7.174 | 293.0793 | 7.69 | 338.2567 | 4.7467 | 891 | 46.3327 | 42.3633
2020-12-23 09:45:00 | 5.1747 | 346.6133 | 5.432 | 328.144 | 5.522 | 338.988 | 5.9127 | 329.8233 | 4.7333 | 891 | 43.7787 | 30.1627
2020-12-23 10:00:00 | 4.824 | 236.2667 | 5.01 | 326.678 | 5.2467 | 231.0693 | 5.4793 | 328.35 | 4.8933 | 891 | 42.008 | 25.3613
2020-12-23 10:15:00 | 5.048 | 325.2 | 5.25 | 327.6813 | 5.3907 | 318.0453 | 5.68 | 329.3567 | 5.0133 | 891 | 41.6133 | 27.5487
2020-12-23 10:30:00 | 5.0047 | 279.7333 | 5.222 | 310.1113 | 5.4487 | 273.58 | 5.736 | 311.6973 | 5.3933 | 891 | 41.24 | 26.9867
2020-12-23 10:45:00 | 4.7353 | 282.52 | 4.9773 | 287.7733 | 5.3453 | 276.3053 | 5.6287 | 289.2447 | 5.68 | 891.7333 | 38.6327 | 21.116
2020-12-23 11:00:00 | 4.3547 | 280.4267 | 4.624 | 332.2713 | 4.9127 | 274.2573 | 5.2613 | 333.9707 | 6.0333 | 892 | 37.396 | 17.254
2020-12-23 11:15:00 | 4.092 | 260.54 | 4.398 | 284.3707 | 4.538 | 254.8087 | 4.9933 | 285.8253 | 6.24 | 892 | 35.404 | 16.1733
2020-12-23 11:30:00 | 3.9613 | 278.14 | 4.1793 | 323.7833 | 4.4813 | 272.02 | 4.7473 | 325.4393 | 6.5 | 892 | 35.54 | 12.1073
2020-12-23 11:45:00 | 3.5847 | 208.4533 | 3.7007 | 333.5107 | 3.924 | 203.8667 | 4.052 | 335.216 | 6.8 | 892 | 32.0033 | 9.762
2020-12-23 12:00:00 | 3.834 | 163.28 | 3.8687 | 321.2267 | 4.2467 | 159.688 | 4.2007 | 322.8707 | 6.9667 | 892 | 30.3487 | 9.8627
2020-12-23 12:15:00 | 4.1293 | 253.1133 | 4.1993 | 327.258 | 4.298 | 247.5447 | 4.388 | 328.9307 | 7.0933 | 892 | 28.2927 | 9.1907
2020-12-23 12:30:00 | 3.7647 | 223.1467 | 3.804 | 319.8047 | 4.218 | 218.238 | 4.166 | 321.4407 | 7.2933 | 892 | 28.7173 | 6.8673
2020-12-23 12:45:00 | 3.5153 | 247.6467 | 3.6193 | 328.6973 | 3.8933 | 242.1973 | 3.9833 | 330.38 | 7.5733 | 891.9333 | 28.0487 | 5.4993
2020-12-23 13:00:00 | 3.0267 | 270.1467 | 3.198 | 303.1553 | 3.4193 | 264.204 | 3.6287 | 304.7033 | 8.08 | 891 | 27.7247 | 3.5047
2020-12-23 13:15:00 | 2.9147 | 339.76 | 3.062 | 289.3447 | 3.314 | 332.2847 | 3.482 | 290.8247 | 8.4667 | 891 | 27.6207 | 2.8093
2020-12-23 13:30:00 | 2.9867 | 294.64 | 3.116 | 332.3587 | 3.316 | 288.158 | 3.468 | 334.0553 | 8.7733 | 891 | 26.448 | 2.5333
2020-12-23 13:45:00 | 3.2513 | 331.3733 | 3.494 | 286.6893 | 3.796 | 324.0827 | 4.1007 | 288.156 | 9.2333 | 891 | 25.214 | 3.9227
2020-12-23 14:00:00 | 2.892 | 322.0867 | 3.058 | 287.246 | 3.3093 | 315.002 | 3.5053 | 288.7133 | 9.44 | 891 | 24.1173 | 3.1133
2020-12-23 14:15:00 | 2.0967 | 230.2867 | 2.1287 | 304.1067 | 2.4527 | 225.2213 | 2.4093 | 305.66 | 9.84 | 890.9333 | 22.304 | 1.1353
2020-12-23 14:30:00 | 1.764 | 314.4 | 1.8233 | 266.9487 | 1.9593 | 307.4827 | 2.014 | 268.3127 | 10.0933 | 890 | 21.47 | 0
2020-12-23 14:45:00 | 1.1207 | 171.4067 | 1.2053 | 195.2547 | 1.332 | 167.6347 | 1.4307 | 196.252 | 10.9533 | 890 | 20.3533 | 0
2020-12-23 15:00:00 | 1.2307 | 124.7467 | 1.3907 | 316.642 | 1.73 | 122.002 | 1.8847 | 318.2633 | 11.6733 | 890 | 21.3587 | 0
2020-12-23 15:15:00 | 1.718 | 159.4533 | 1.8127 | 154.5367 | 1.936 | 155.9453 | 2.0533 | 155.328 | 11.2467 | 889.9333 | 20.5993 | 0
2020-12-23 15:30:00 | 1.9747 | 167.2667 | 2.0847 | 167.388 | 2.2847 | 163.5867 | 2.4067 | 168.244 | 10.6267 | 889 | 22.6427 | 0
2020-12-23 15:45:00 | 1.8687 | 194.3067 | 1.912 | 145.9887 | 1.9793 | 190.0313 | 2.0293 | 146.7367 | 10.2 | 889 | 24.3413 | 0
2020-12-23 16:00:00 | 1.5667 | 191.42 | 1.6633 | 147.4247 | 1.7493 | 187.2093 | 1.8753 | 148.1773 | 10.32 | 889 | 24.7667 | 0
2020-12-23 16:15:00 | 1.134 | 200.1667 | 1.204 | 127.8187 | 1.28 | 195.7633 | 1.3713 | 128.4727 | 10.46 | 889 | 24.6987 | 0
2020-12-23 16:30:00 | 1.1793 | 173.7 | 1.2247 | 175.738 | 1.524 | 169.8773 | 1.5107 | 176.638 | 10.3 | 889 | 24.6133 | 0
2020-12-23 16:45:00 | 1.4927 | 169.7333 | 1.6033 | 172.5513 | 1.6847 | 165.9993 | 1.8373 | 173.434 | 10.1333 | 889 | 24.8727 | 0
2020-12-23 17:00:00 | 1.69 | 175.4 | 1.8247 | 168.176 | 2.0593 | 171.5407 | 2.2127 | 169.0373 | 10.0667 | 888.6 | 25.6293 | 0.23
2020-12-23 17:15:00 | 1.7973 | 175.4067 | 1.872 | 172.2913 | 2.0827 | 171.5473 | 2.1433 | 173.172 | 9.82 | 888 | 27.4573 | 0.83667
2020-12-23 17:30:00 | 1.6907 | 180.44 | 1.792 | 171.54 | 2.04 | 176.4713 | 2.13 | 172.4173 | 9.6467 | 888 | 29.4493 | 0.74933
2020-12-23 17:45:00 | 2.1973 | 188 | 2.302 | 177.5527 | 2.4513 | 183.864 | 2.578 | 178.4607 | 9.4333 | 888 | 30.2613 | 1.0993
2020-12-23 18:00:00 | 2.142 | 182.9733 | 2.2587 | 171.012 | 2.506 | 178.9473 | 2.6213 | 171.8867 | 9.3 | 888 | 31.2313 | 1.6813
2020-12-23 18:15:00 | 1.9087 | 185.8467 | 2.0133 | 159.01 | 2.116 | 181.7573 | 2.252 | 159.8233 | 9.3267 | 888 | 29.5633 | 1.448
2020-12-23 18:30:00 | 1.8807 | 186.56 | 2.014 | 159.1227 | 2.16 | 182.4553 | 2.33 | 159.9347 | 9.22 | 888 | 28.4107 | 1.282
2020-12-23 18:45:00 | 1.914 | 178.3 | 2.0193 | 164.6567 | 2.12 | 174.3767 | 2.26 | 165.4993 | 9.1333 | 888 | 29.536 | 1.232
2020-12-23 19:00:00 | 2.6113 | 151.7667 | 2.7987 | 152.7567 | 2.8607 | 148.4287 | 3.142 | 153.5387 | 8.94 | 888 | 30.5093 | 2.274
2020-12-23 19:15:00 | 3.6333 | 142 | 3.7693 | 135.4847 | 4.2927 | 138.876 | 4.36 | 136.178 | 7.7467 | 888 | 37.2967 | 8.5607
2020-12-23 19:30:00 | 3.2627 | 142.0733 | 3.3713 | 127.6553 | 3.656 | 138.9473 | 3.7493 | 128.3073 | 7.26 | 888 | 47.7633 | 7.238
2020-12-23 19:45:00 | 3.186 | 133.14 | 3.24 | 130.598 | 3.596 | 130.21 | 3.5853 | 131.2627 | 7.0733 | 888.7333 | 52.6733 | 8.8767
2020-12-23 20:00:00 | 2.928 | 129.8133 | 2.9447 | 123.632 | 3.334 | 126.958 | 3.2493 | 124.264 | 6.9133 | 889 | 55.422 | 8.3813
2020-12-23 20:15:00 | 3.1153 | 142.4467 | 3.1947 | 131.4113 | 3.5413 | 139.3133 | 3.572 | 132.0827 | 6.6467 | 889 | 58.7633 | 8.7407
2020-12-23 20:30:00 | 3.1347 | 140.7733 | 3.2207 | 133.0667 | 3.5053 | 137.6753 | 3.568 | 133.7473 | 6.56 | 889 | 63.4207 | 7.59
2020-12-23 20:45:00 | 2.9187 | 143.6067 | 2.996 | 130.6613 | 3.3367 | 140.446 | 3.3653 | 131.3293 | 6.42 | 889 | 66.2953 | 7.0873
2020-12-23 21:00:00 | 2.684 | 135.3467 | 2.7287 | 129.532 | 3.034 | 132.368 | 3.0247 | 130.1967 | 6.2867 | 889 | 67.5827 | 5.6273
2020-12-23 21:15:00 | 2.4 | 144.46 | 2.4633 | 132.818 | 2.746 | 141.2827 | 2.7673 | 133.4987 | 6.18 | 889.7333 | 69.208 | 4.5753
2020-12-23 21:30:00 | 2.4127 | 140.8333 | 2.5113 | 134.188 | 2.8053 | 137.7347 | 2.8793 | 134.874 | 6.0467 | 890 | 69.654 | 3.7087
2020-12-23 21:45:00 | 2.288 | 141.18 | 2.3727 | 135.602 | 2.592 | 138.074 | 2.6667 | 136.2973 | 6.0333 | 890 | 70.202 | 2.8553
2020-12-23 22:00:00 | 2.2833 | 153.6533 | 2.4053 | 138.3933 | 2.622 | 150.2733 | 2.7593 | 139.1013 | 6.0067 | 890 | 70.402 | 2.6407
2020-12-23 22:15:00 | 2.3827 | 146.08 | 2.518 | 137.8787 | 2.646 | 142.8667 | 2.8253 | 138.5827 | 5.76 | 890 | 71.4867 | 3.4713
2020-12-23 22:30:00 | 2.2347 | 144.2733 | 2.3547 | 135.928 | 2.574 | 141.0993 | 2.702 | 136.624 | 5.72 | 890 | 73.4467 | 2.3613
2020-12-23 22:45:00 | 2.1033 | 136.22 | 2.21 | 145.2973 | 2.4113 | 133.224 | 2.5247 | 146.0407 | 5.6867 | 890 | 74.1767 | 1.502
2020-12-23 23:00:00 | 2.418 | 153.4333 | 2.5127 | 140.252 | 2.6953 | 150.058 | 2.7987 | 140.9687 | 5.6333 | 890 | 73.626 | 1.8867
2020-12-23 23:15:00 | 2.4827 | 156.6533 | 2.616 | 137.9573 | 2.7867 | 153.2067 | 2.952 | 138.6633 | 5.5133 | 890 | 73.73 | 2.2307
2020-12-23 23:30:00 | 2.8127 | 144.42 | 2.928 | 140.9093 | 3.1153 | 141.2427 | 3.2487 | 141.6313 | 5.3133 | 890 | 75.302 | 4.178
2020-12-23 23:45:00 | 2.302 | 141.3867 | 2.368 | 138.5827 | 2.5013 | 138.2747 | 2.568 | 139.292 | 5.2667 | 890 | 76.5473 | 1.996