## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-24 00:00:00 | 2.04 | 143.2 | 2.1313 | 134.128 | 2.2707 | 140.0487 | 2.38 | 134.8153 | 5.2867 | 890 | 76.4 | 0.74867
2020-12-24 00:15:00 | 1.7533 | 139.4667 | 1.8613 | 129.272 | 2.0553 | 136.3993 | 2.172 | 129.934 | 5.2667 | 890 | 76.6107 | 0
2020-12-24 00:30:00 | 1.6413 | 142.1133 | 1.7367 | 134.9507 | 1.8893 | 138.9873 | 2.0013 | 135.6413 | 5.2 | 890 | 77.332 | 0
2020-12-24 00:45:00 | 1.488 | 156.1267 | 1.5927 | 146.2047 | 1.738 | 152.6913 | 1.8633 | 146.952 | 5.2 | 890 | 77.0773 | 0
2020-12-24 01:00:00 | 1.22 | 167.52 | 1.276 | 158.2667 | 1.4153 | 163.834 | 1.4667 | 159.0747 | 5.2867 | 890 | 76.5433 | 0
2020-12-24 01:15:00 | 0.94067 | 166.62 | 0.99067 | 160.4447 | 1.13 | 162.954 | 1.17 | 161.264 | 5.4467 | 890 | 77.3947 | 0
2020-12-24 01:30:00 | 0.68333 | 155.2067 | 0.75267 | 154.374 | 0.908 | 151.792 | 0.976 | 155.162 | 5.3933 | 890 | 78.7867 | 0
2020-12-24 01:45:00 | 1.0007 | 166.7 | 1.1173 | 171.0593 | 1.258 | 163.0327 | 1.402 | 171.9333 | 5.4133 | 890 | 80.052 | 0
2020-12-24 02:00:00 | 1.4367 | 163.0333 | 1.54 | 154.4327 | 1.714 | 159.4453 | 1.83 | 155.2213 | 5.1133 | 890 | 81.76 | 0
2020-12-24 02:15:00 | 1.3073 | 148.0867 | 1.3787 | 155.802 | 1.47 | 144.8287 | 1.5567 | 156.598 | 4.7533 | 890 | 83.54 | 0
2020-12-24 02:30:00 | 0.53133 | 95.8133 | 0.616 | 193.9107 | 0.70933 | 93.7047 | 0.82 | 194.902 | 5.16 | 890 | 83.7933 | 0
2020-12-24 02:45:00 | 0.688 | 109.6067 | 0.762 | 123.392 | 0.886 | 107.196 | 0.968 | 124.0227 | 4.94 | 890 | 86.3667 | 0
2020-12-24 03:00:00 | 0.62533 | 103.8267 | 0.71733 | 108.8507 | 0.73533 | 101.542 | 0.874 | 109.4073 | 4.84 | 890 | 88.38 | 0
2020-12-24 03:15:00 | 0.60533 | 93.78 | 0.68733 | 86.4953 | 0.67867 | 91.716 | 0.812 | 86.936 | 4.7 | 890 | 84.7533 | 0
2020-12-24 03:30:00 | 0.43667 | 90.5 | 0.45333 | 74.1187 | 0.54933 | 88.5087 | 0.544 | 74.498 | 4.7067 | 890 | 79.1733 | 0
2020-12-24 03:45:00 | 0.57533 | 73.76 | 0.62467 | 37.06 | 0.67067 | 72.1387 | 0.73467 | 37.2487 | 4.6867 | 890 | 78.4793 | 0
2020-12-24 04:00:00 | 0.63933 | 38.3933 | 0.63133 | 8.36 | 0.92867 | 37.5473 | 0.828 | 8.402 | 4.6133 | 889.6 | 78.3107 | 0
2020-12-24 04:15:00 | 1.0293 | 49.1733 | 0.97867 | 312.0193 | 1.4133 | 48.0907 | 1.2027 | 313.6167 | 4.38 | 889 | 76.83 | 0
2020-12-24 04:30:00 | 1.1753 | 145.5067 | 1.1247 | 328.562 | 1.574 | 142.304 | 1.366 | 330.24 | 4.1533 | 889 | 76.41 | 0
2020-12-24 04:45:00 | 1.3387 | 150.1267 | 1.3453 | 327.448 | 1.742 | 146.8233 | 1.6353 | 329.1207 | 4.1333 | 889 | 75.1827 | 0
2020-12-24 05:00:00 | 1.73 | 279.7533 | 1.744 | 326.4367 | 2.1907 | 273.5973 | 2.0807 | 328.1053 | 3.82 | 889 | 75.8033 | 0
2020-12-24 05:15:00 | 2.0473 | 257.7133 | 2.0853 | 322.27 | 2.5647 | 252.0447 | 2.4873 | 323.918 | 3.8667 | 889 | 76.784 | 0.37
2020-12-24 05:30:00 | 2.4807 | 315.2867 | 2.5207 | 314.7467 | 3.1647 | 308.3507 | 3.0467 | 316.356 | 3.7667 | 889 | 76.584 | 1.5493
2020-12-24 05:45:00 | 2.7813 | 343.8533 | 2.8867 | 326.9833 | 3.48 | 336.2887 | 3.4787 | 328.6567 | 3.54 | 889 | 75.8133 | 2.85
2020-12-24 06:00:00 | 3.2413 | 343.3867 | 3.344 | 325.0353 | 3.9607 | 335.8327 | 3.9513 | 326.6967 | 3.1867 | 888.6 | 74.538 | 4.65
2020-12-24 06:15:00 | 3.0813 | 285.8867 | 3.0693 | 322.14 | 3.9107 | 279.5967 | 3.6467 | 323.786 | 3.0867 | 888.7333 | 75.4953 | 4.5193
2020-12-24 06:30:00 | 3.0833 | 329.54 | 3.1513 | 319.7993 | 4.0773 | 322.29 | 3.9167 | 321.4333 | 3.18 | 889 | 75.392 | 5.6833
2020-12-24 06:45:00 | 3.5587 | 335.3667 | 3.7273 | 320.7847 | 4.4587 | 327.9893 | 4.5193 | 322.4233 | 3.22 | 889 | 75.9907 | 7.272
2020-12-24 07:00:00 | 4.084 | 344.8467 | 4.3333 | 326.104 | 5.012 | 337.26 | 5.2227 | 327.7713 | 3.28 | 889 | 76.104 | 11.6867
2020-12-24 07:15:00 | 4.75 | 345.1733 | 5.0833 | 324.8587 | 5.732 | 337.5793 | 6.078 | 326.5213 | 2.5133 | 889 | 75.748 | 18.134
2020-12-24 07:30:00 | 5.778 | 347.1467 | 6.1687 | 329.1693 | 6.6453 | 339.5087 | 7.134 | 330.852 | 2.4067 | 889 | 77.3913 | 29.9973
2020-12-24 07:45:00 | 6.126 | 341.3867 | 6.492 | 328.3333 | 7.0133 | 333.876 | 7.4507 | 330.012 | 2.48 | 889 | 78.2527 | 36.464
2020-12-24 08:00:00 | 6.1 | 344.6867 | 6.4547 | 328.4767 | 7.0453 | 337.1033 | 7.4413 | 330.1567 | 2.16 | 889 | 78.3327 | 35.2527
2020-12-24 08:15:00 | 5.9027 | 327.6067 | 6.1567 | 326.522 | 6.86 | 320.3993 | 7.0667 | 328.1927 | 2.02 | 889.0667 | 77.9667 | 35.3793
2020-12-24 08:30:00 | 6.2547 | 237.0733 | 6.582 | 332.214 | 7.038 | 231.858 | 7.4307 | 333.9113 | 2.32 | 890 | 78.0127 | 37.7873
2020-12-24 08:45:00 | 6.1087 | 167.6 | 6.4227 | 328.21 | 6.952 | 163.9133 | 7.3047 | 329.8893 | 2.6133 | 890 | 75.8273 | 37.8393
2020-12-24 09:00:00 | 6.4033 | 261.24 | 6.7367 | 324.554 | 7.258 | 255.4933 | 7.6447 | 326.2113 | 2.6067 | 890 | 73.6307 | 37.3387
2020-12-24 09:15:00 | 6.2113 | 212.9333 | 6.54 | 323.92 | 7.08 | 208.248 | 7.4527 | 325.5767 | 2.8 | 890 | 73.68 | 37.22
2020-12-24 09:30:00 | 6.3653 | 120.7867 | 6.6807 | 325.6213 | 7.14 | 118.1293 | 7.5153 | 327.2873 | 2.94 | 890 | 72.7207 | 36.5293
2020-12-24 09:45:00 | 6.8133 | 258.5667 | 7.2087 | 326.8207 | 7.7133 | 252.8773 | 8.2047 | 328.4927 | 3.1733 | 890.7333 | 71.6173 | 39.8193
2020-12-24 10:00:00 | 7.004 | 324.98 | 7.4573 | 323.262 | 7.9733 | 317.8293 | 8.5487 | 324.9147 | 3.44 | 891 | 71.004 | 39.8587
2020-12-24 10:15:00 | 7.1193 | 345.0067 | 7.6113 | 322.1407 | 8.0187 | 337.416 | 8.694 | 323.7873 | 3.6867 | 891 | 70.7187 | 41.1973
2020-12-24 10:30:00 | 6.78 | 343.5533 | 7.1967 | 323.8853 | 7.516 | 335.9947 | 8.0933 | 325.5427 | 3.8067 | 891 | 69.2313 | 39.974
2020-12-24 10:45:00 | 7.0747 | 347.7067 | 7.516 | 324.1407 | 7.8167 | 340.0573 | 8.4447 | 325.798 | 4.0267 | 891.7333 | 65.8953 | 40.244
2020-12-24 11:00:00 | 7.0773 | 280.9533 | 7.5213 | 325.2307 | 7.834 | 274.7727 | 8.46 | 326.894 | 3.9333 | 892 | 64.358 | 39.5487
2020-12-24 11:15:00 | 6.7353 | 306.8933 | 7.2213 | 325.888 | 7.5893 | 300.14 | 8.2613 | 327.556 | 3.7733 | 892 | 64.116 | 38.492
2020-12-24 11:30:00 | 6.97 | 327.9133 | 7.516 | 326.2093 | 7.8373 | 320.6987 | 8.6193 | 327.8767 | 4.02 | 892 | 61.1993 | 38.244
2020-12-24 11:45:00 | 7.0607 | 307.34 | 7.6447 | 327.114 | 7.9067 | 300.5787 | 8.774 | 328.7867 | 4.22 | 892 | 57.804 | 37.776
2020-12-24 12:00:00 | 6.802 | 258.46 | 7.348 | 326.2093 | 7.596 | 252.774 | 8.398 | 327.8747 | 4.52 | 892 | 55.8493 | 37.0133
2020-12-24 12:15:00 | 6.5373 | 353.34 | 7.0827 | 323.842 | 7.264 | 345.5653 | 8.088 | 325.4987 | 4.5933 | 891.9333 | 54.1533 | 33.972
2020-12-24 12:30:00 | 6.2133 | 328.5133 | 6.67 | 326.386 | 6.9053 | 321.2867 | 7.574 | 328.0533 | 5.2933 | 891 | 52.874 | 28.9133
2020-12-24 12:45:00 | 5.5853 | 340.7667 | 5.9413 | 328.478 | 5.9587 | 333.2707 | 6.5253 | 330.1573 | 6.0667 | 891 | 50.322 | 23.2253
2020-12-24 13:00:00 | 5.566 | 301.92 | 5.964 | 328.718 | 6.1953 | 295.2787 | 6.768 | 330.398 | 6.3333 | 891 | 49.2187 | 22.4473
2020-12-24 13:15:00 | 5.6033 | 336.12 | 5.962 | 326.4967 | 6.1547 | 328.7253 | 6.672 | 328.1647 | 6.4467 | 891 | 47.2653 | 20.746
2020-12-24 13:30:00 | 5.6153 | 335.2667 | 5.9347 | 328.7447 | 6.142 | 327.8913 | 6.6007 | 330.4253 | 6.6933 | 891 | 45.026 | 20.6207
2020-12-24 13:45:00 | 5.1853 | 335.96 | 5.4907 | 326.9453 | 5.7347 | 328.5693 | 6.1567 | 328.6167 | 6.8467 | 891 | 41.9513 | 16.288
2020-12-24 14:00:00 | 4.246 | 336.34 | 4.5173 | 326.6007 | 4.6307 | 328.9393 | 5.0347 | 328.2713 | 7.1667 | 891 | 39.1293 | 9.6333
2020-12-24 14:15:00 | 3.5013 | 332.68 | 3.6613 | 326.6967 | 3.8807 | 325.3607 | 4.0767 | 328.368 | 7.48 | 891 | 37.8167 | 5.682
2020-12-24 14:30:00 | 2.5333 | 327.6267 | 2.558 | 324.35 | 2.7767 | 320.418 | 2.7567 | 326.0093 | 7.9 | 891 | 36.9633 | 1.4113
2020-12-24 14:45:00 | 1.9613 | 276.8533 | 1.9613 | 317.87 | 2.1793 | 270.7633 | 2.1187 | 319.4953 | 8.5467 | 891 | 35.9147 | 0.002667
2020-12-24 15:00:00 | 2.0327 | 314.6133 | 2.1453 | 323.1773 | 2.324 | 307.692 | 2.45 | 324.83 | 9 | 891 | 33.6827 | 0
2020-12-24 15:15:00 | 2.1407 | 327.8 | 2.262 | 273.456 | 2.49 | 320.588 | 2.62 | 274.854 | 9.1867 | 891 | 33.6613 | 0
2020-12-24 15:30:00 | 1.6067 | 315.6467 | 1.664 | 316.7867 | 1.9033 | 308.702 | 1.93 | 318.4067 | 9.3533 | 891 | 34.9793 | 0
2020-12-24 15:45:00 | 0.978 | 306.2 | 0.97733 | 321.2927 | 1.248 | 299.464 | 1.172 | 322.9353 | 9.5933 | 890.9333 | 36.96 | 0
2020-12-24 16:00:00 | 0.74467 | 308.6933 | 0.796 | 229.3147 | 0.88333 | 301.9033 | 0.94 | 230.4873 | 9.9133 | 890 | 37.7733 | 0
2020-12-24 16:15:00 | 0.80733 | 176.74 | 0.85267 | 289.1027 | 0.95067 | 172.852 | 0.99533 | 290.5813 | 10.18 | 890 | 36.9767 | 0
2020-12-24 16:30:00 | 0.854 | 177.8933 | 0.96 | 214.6333 | 0.91 | 173.9793 | 1.0927 | 215.73 | 10.1133 | 890 | 36.348 | 0
2020-12-24 16:45:00 | 0.78733 | 208.6933 | 0.88667 | 257.8793 | 0.98533 | 204.1027 | 1.1167 | 259.198 | 10.1067 | 890 | 37.1453 | 0
2020-12-24 17:00:00 | 1.332 | 223.4867 | 1.29 | 333.83 | 1.85 | 218.5693 | 1.6233 | 335.5373 | 9.64 | 890 | 39.3113 | 0
2020-12-24 17:15:00 | 1.0873 | 219.1067 | 1.0527 | 336.4187 | 1.5087 | 214.2873 | 1.3207 | 338.1387 | 9.2867 | 890 | 40.7733 | 0
2020-12-24 17:30:00 | 1.452 | 295.4533 | 1.4547 | 334.972 | 1.9393 | 288.954 | 1.8033 | 336.6853 | 9 | 890 | 41.532 | 0
2020-12-24 17:45:00 | 1.8827 | 287.16 | 1.9633 | 338.8967 | 2.3493 | 280.8413 | 2.3687 | 340.63 | 8.52 | 889.9333 | 43.0427 | 0
2020-12-24 18:00:00 | 2.1607 | 336.26 | 2.234 | 337.8467 | 2.5193 | 328.8613 | 2.552 | 339.5733 | 8.4467 | 889 | 43.424 | 0.052667
2020-12-24 18:15:00 | 1.7487 | 272.6867 | 1.822 | 252.0373 | 2.1013 | 266.6867 | 2.1373 | 253.326 | 8.3333 | 889 | 44.27 | 0
2020-12-24 18:30:00 | 0.97533 | 221.18 | 0.93667 | 73.5333 | 1.2867 | 216.3147 | 1.1267 | 73.908 | 8.5667 | 889 | 44.8927 | 0
2020-12-24 18:45:00 | 1.14 | 229.78 | 1.0633 | 78.052 | 1.492 | 224.7233 | 1.244 | 78.4493 | 8.44 | 889 | 43.942 | 0
2020-12-24 19:00:00 | 0.87733 | 266.8667 | 0.88133 | 86.0707 | 1.1527 | 260.996 | 1.08 | 86.5107 | 8.4 | 889 | 43.846 | 0
2020-12-24 19:15:00 | 0.626 | 198.18 | 0.63667 | 55.1727 | 0.60333 | 193.8213 | 0.63 | 55.454 | 8.3667 | 889 | 43.4853 | 0
2020-12-24 19:30:00 | 0.52133 | 189.8267 | 0.64733 | 147.7113 | 0.534 | 185.6507 | 0.772 | 148.466 | 8.3667 | 889 | 43.2693 | 0
2020-12-24 19:45:00 | 1.042 | 183.2667 | 1.216 | 88.0327 | 1.292 | 179.2353 | 1.5493 | 88.4827 | 8.14 | 889.7333 | 42.7153 | 0
2020-12-24 20:00:00 | 2.674 | 156.7467 | 2.7527 | 168.3 | 2.7867 | 153.2987 | 2.8987 | 169.1607 | 7.2333 | 890 | 42.658 | 0
2020-12-24 20:15:00 | 2.1067 | 146.42 | 2.1827 | 151.7793 | 2.328 | 143.1993 | 2.41 | 152.5553 | 6.96 | 890 | 47.22 | 1.8933
2020-12-24 20:30:00 | 1.56 | 190.2067 | 1.574 | 199.4927 | 1.7427 | 186.022 | 1.7127 | 200.5113 | 7.0133 | 890 | 52.7407 | 0.71667
2020-12-24 20:45:00 | 1.746 | 202.3667 | 1.6987 | 200.7493 | 1.774 | 197.9147 | 1.6747 | 201.7753 | 6.9667 | 890 | 60.0487 | 0.50267
2020-12-24 21:00:00 | 2.0267 | 203.46 | 2.072 | 193.9707 | 2.068 | 198.9847 | 2.146 | 194.9613 | 6.6667 | 890 | 64.9807 | 1.9113
2020-12-24 21:15:00 | 1.7527 | 217.3267 | 1.868 | 203.2673 | 2.0353 | 212.5447 | 2.172 | 204.3067 | 6.76 | 890 | 67.5293 | 2.0693
2020-12-24 21:30:00 | 1.6807 | 214.62 | 1.9047 | 200.5413 | 2.0073 | 209.8993 | 2.3353 | 201.568 | 6.7067 | 890 | 68.856 | 0.326
2020-12-24 21:45:00 | 1.7453 | 199.56 | 1.9753 | 217.7753 | 2.0287 | 195.1707 | 2.382 | 218.8887 | 6.8867 | 890 | 71.59 | 0
2020-12-24 22:00:00 | 1.5313 | 203.24 | 1.6893 | 220.5653 | 1.7873 | 198.768 | 2.014 | 221.6933 | 7.0267 | 890 | 73.936 | 0
2020-12-24 22:15:00 | 1.0413 | 204.02 | 1.15 | 240.092 | 1.088 | 199.5327 | 1.2793 | 241.32 | 7.12 | 890 | 75.8473 | 0
2020-12-24 22:30:00 | 0.56667 | 159.28 | 0.61267 | 226.3613 | 0.66133 | 155.7767 | 0.71733 | 227.5193 | 7.0067 | 890 | 75.768 | 0
2020-12-24 22:45:00 | 0.52867 | 94.1533 | 0.60333 | 88.85 | 0.688 | 92.0813 | 0.78067 | 89.3013 | 6.8333 | 890 | 76.248 | 0
2020-12-24 23:00:00 | 0.90667 | 122.5933 | 0.95333 | 135.1067 | 1.0653 | 119.896 | 1.1087 | 135.7973 | 6.3867 | 890 | 71.8053 | 0
2020-12-24 23:15:00 | 0.824 | 154.24 | 0.82733 | 144.5553 | 1.0233 | 150.846 | 0.97067 | 145.2933 | 6.28 | 890 | 60.9593 | 0
2020-12-24 23:30:00 | 0.804 | 136.4533 | 0.846 | 145.4093 | 0.984 | 133.452 | 1.0067 | 146.1527 | 6.3 | 890 | 63.0473 | 0
2020-12-24 23:45:00 | 0.95667 | 120.86 | 1.0167 | 121.1933 | 1.106 | 118.202 | 1.1747 | 121.814 | 6.2267 | 890 | 65.4787 | 0