## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-25 00:00:00 | 0.846 | 123.4267 | 0.91467 | 105.8333 | 0.96933 | 120.7113 | 1.064 | 106.3727 | 6.0933 | 890 | 61.5207 | 0
2020-12-25 00:15:00 | 0.79467 | 130.74 | 0.84533 | 98.3033 | 0.90067 | 127.8627 | 0.96533 | 98.8047 | 6.0533 | 889.9333 | 62.306 | 0
2020-12-25 00:30:00 | 0.578 | 146.28 | 0.628 | 135.98 | 0.702 | 143.062 | 0.762 | 136.6767 | 6.0667 | 889.4 | 63.3573 | 0
2020-12-25 00:45:00 | 0.598 | 143.9267 | 0.656 | 158.11 | 0.614 | 140.7593 | 0.71867 | 158.9187 | 6.04 | 890 | 63.3107 | 0
2020-12-25 01:00:00 | 0.396 | 101.94 | 0.41067 | 128.5547 | 0.48533 | 99.6967 | 0.48467 | 129.2127 | 6 | 889.6 | 62.6973 | 0
2020-12-25 01:15:00 | 0.434 | 116.26 | 0.43867 | 141.2873 | 0.60733 | 113.7033 | 0.56933 | 142.01 | 5.8133 | 889 | 63.2593 | 0
2020-12-25 01:30:00 | 0.70133 | 117.16 | 0.72133 | 156.6693 | 0.75867 | 114.5827 | 0.77533 | 157.4707 | 5.5133 | 889 | 63.53 | 0
2020-12-25 01:45:00 | 0.58 | 134.8133 | 0.61 | 153.5787 | 0.65533 | 131.848 | 0.68867 | 154.3647 | 5.6133 | 889 | 63.7507 | 0
2020-12-25 02:00:00 | 0.65533 | 126.8867 | 0.68067 | 143.7593 | 0.64867 | 124.0947 | 0.69733 | 144.494 | 5.56 | 889 | 63.3713 | 0
2020-12-25 02:15:00 | 0.64267 | 140.4667 | 0.66 | 144.5747 | 0.678 | 137.3753 | 0.706 | 145.3133 | 5.5 | 889 | 63.23 | 0
2020-12-25 02:30:00 | 0.366 | 96.24 | 0.39533 | 119.988 | 0.468 | 94.1233 | 0.49733 | 120.6 | 5.4867 | 889 | 64.878 | 0
2020-12-25 02:45:00 | 0.41 | 149.86 | 0.44533 | 138.2553 | 0.38667 | 146.5627 | 0.456 | 138.964 | 5.38 | 889 | 65.776 | 0
2020-12-25 03:00:00 | 0.57733 | 245.3 | 0.60733 | 165.654 | 0.638 | 239.9033 | 0.67933 | 166.5013 | 5.32 | 889 | 66.066 | 0
2020-12-25 03:15:00 | 0.70133 | 180.7333 | 0.694 | 160.8747 | 0.74867 | 176.7573 | 0.72133 | 161.6973 | 5.12 | 889 | 66.6713 | 0.056667
2020-12-25 03:30:00 | 0.80133 | 126.4733 | 0.82667 | 143.8693 | 0.76867 | 123.6913 | 0.82667 | 144.6047 | 5.0933 | 889 | 66.2627 | 0.15533
2020-12-25 03:45:00 | 0.88267 | 108.78 | 0.92733 | 118.1747 | 0.83933 | 106.3853 | 0.93867 | 118.7787 | 5.06 | 888.2667 | 66.8247 | 0
2020-12-25 04:00:00 | 0.778 | 82.5533 | 0.86067 | 93.47 | 0.79667 | 80.7373 | 0.944 | 93.9493 | 4.9667 | 888 | 66.8573 | 0
2020-12-25 04:15:00 | 0.752 | 66.8533 | 0.80133 | 33.9893 | 0.93 | 65.3833 | 0.97133 | 34.1627 | 4.86 | 888 | 66.482 | 0
2020-12-25 04:30:00 | 0.71733 | 52.9 | 0.74667 | 158.1033 | 0.96133 | 51.7367 | 0.94667 | 158.912 | 4.7933 | 888 | 67.358 | 0
2020-12-25 04:45:00 | 0.60933 | 123.58 | 0.63067 | 259.6793 | 0.88667 | 120.86 | 0.84667 | 261.0053 | 4.98 | 888 | 66.562 | 0
2020-12-25 05:00:00 | 0.48533 | 118.6333 | 0.534 | 226.4467 | 0.71933 | 116.024 | 0.74333 | 227.604 | 4.9333 | 887.6 | 66.222 | 0
2020-12-25 05:15:00 | 0.616 | 122.0333 | 0.71867 | 108.5787 | 0.76533 | 119.348 | 0.918 | 109.1333 | 5.0133 | 887 | 67.598 | 0
2020-12-25 05:30:00 | 0.64933 | 122.18 | 0.74133 | 131.1427 | 0.696 | 119.492 | 0.85267 | 131.8147 | 5.1467 | 887 | 67.166 | 0
2020-12-25 05:45:00 | 0.42067 | 134.82 | 0.416 | 173.712 | 0.66933 | 131.8547 | 0.59267 | 174.6007 | 4.9333 | 887 | 67.98 | 0
2020-12-25 06:00:00 | 0.54333 | 153.8667 | 0.562 | 157.8687 | 0.55667 | 150.482 | 0.58467 | 158.6747 | 5.1267 | 887 | 69.1547 | 0
2020-12-25 06:15:00 | 0.44667 | 192.2267 | 0.444 | 166.5733 | 0.51467 | 187.9973 | 0.49 | 167.4247 | 4.9 | 887 | 70.4433 | 0
2020-12-25 06:30:00 | 0.712 | 242.22 | 0.69733 | 185.8473 | 0.87933 | 236.89 | 0.80267 | 186.7967 | 4.78 | 887 | 72.1533 | 0
2020-12-25 06:45:00 | 0.76067 | 264.3133 | 0.736 | 186.1907 | 0.90467 | 258.498 | 0.82067 | 187.142 | 4.68 | 887.7333 | 72.0153 | 0
2020-12-25 07:00:00 | 0.56733 | 200.2467 | 0.58 | 189.1573 | 0.67067 | 195.8413 | 0.666 | 190.1253 | 4.78 | 888 | 70.1007 | 0
2020-12-25 07:15:00 | 0.184 | 284.5867 | 0.18267 | 211.1433 | 0.25267 | 278.326 | 0.23133 | 212.222 | 4.7733 | 887.2667 | 69.524 | 0
2020-12-25 07:30:00 | 0.456 | 132.9 | 0.448 | 194.662 | 0.70733 | 129.9767 | 0.622 | 195.656 | 4.86 | 887.4 | 69.71 | 0
2020-12-25 07:45:00 | 0.64267 | 132.26 | 0.68733 | 182.8013 | 0.72867 | 129.3513 | 0.78867 | 183.736 | 4.8 | 888 | 70.0787 | 0.26933
2020-12-25 08:00:00 | 0.66733 | 115.6933 | 0.69267 | 143.9487 | 0.78133 | 113.1473 | 0.796 | 144.6847 | 4.4933 | 888 | 69.7607 | 0.352
2020-12-25 08:15:00 | 0.79267 | 103.9467 | 0.842 | 118.0387 | 0.98 | 101.66 | 1.0227 | 118.6413 | 4.4667 | 888 | 70.1433 | 0
2020-12-25 08:30:00 | 0.78467 | 91.5467 | 0.86133 | 112.6327 | 0.762 | 89.534 | 0.91067 | 113.2087 | 4.4 | 888 | 70.5887 | 0
2020-12-25 08:45:00 | 0.82333 | 120.96 | 0.88733 | 95.5693 | 0.91133 | 118.2993 | 1.01 | 96.0593 | 4.38 | 888 | 70.138 | 0
2020-12-25 09:00:00 | 0.81467 | 113.6533 | 0.87 | 44.6767 | 1.2893 | 111.1533 | 1.2527 | 44.904 | 4.2133 | 888 | 70.352 | 0
2020-12-25 09:15:00 | 0.70867 | 76.22 | 0.76 | 96.6927 | 1.1293 | 74.5433 | 1.102 | 97.1867 | 4.2133 | 888 | 71.032 | 0
2020-12-25 09:30:00 | 0.84 | 176.4733 | 0.83467 | 143.5127 | 1.178 | 172.5907 | 1.0673 | 144.2453 | 4.1733 | 888 | 72.3347 | 0
2020-12-25 09:45:00 | 0.90067 | 161.0867 | 0.888 | 272.5273 | 1.3607 | 157.5433 | 1.2067 | 273.9227 | 4.0667 | 888 | 72.8493 | 0
2020-12-25 10:00:00 | 1.5647 | 278.22 | 1.4913 | 330.6093 | 2.0007 | 272.0987 | 1.7327 | 332.3007 | 3.74 | 888 | 72.998 | 0
2020-12-25 10:15:00 | 1.554 | 282.9667 | 1.496 | 320.5693 | 2.1547 | 276.7413 | 1.872 | 322.2093 | 3.7533 | 888 | 73.8513 | 0.008667
2020-12-25 10:30:00 | 1.7493 | 297.4267 | 1.6653 | 336.94 | 2.0773 | 290.8833 | 1.8267 | 338.6627 | 3.8467 | 888 | 75.08 | 0.11533
2020-12-25 10:45:00 | 1.9413 | 329.5667 | 1.886 | 341.1 | 2.162 | 322.316 | 1.9987 | 342.8433 | 3.86 | 888.7333 | 77.046 | 0
2020-12-25 11:00:00 | 1.5947 | 231.0933 | 1.6333 | 313.0373 | 1.9487 | 226.01 | 1.922 | 314.6387 | 4.0867 | 888.6 | 77.8027 | 0
2020-12-25 11:15:00 | 1.344 | 321.4867 | 1.388 | 334.64 | 1.646 | 314.4133 | 1.6433 | 336.35 | 4.1133 | 888 | 78.2873 | 0
2020-12-25 11:30:00 | 0.96267 | 313.0133 | 0.98067 | 221.66 | 1.422 | 306.128 | 1.3247 | 222.794 | 4.16 | 888 | 80.1033 | 0
2020-12-25 11:45:00 | 0.90933 | 334.82 | 0.92867 | 336.1587 | 1.1627 | 327.4533 | 1.1233 | 337.8767 | 4.14 | 888 | 80.3267 | 0
2020-12-25 12:00:00 | 0.84133 | 275.4067 | 0.92133 | 286.4827 | 1.046 | 269.3473 | 1.1373 | 287.9467 | 4.14 | 888 | 79.644 | 0
2020-12-25 12:15:00 | 0.60067 | 210.04 | 0.60867 | 263.5973 | 0.92133 | 205.4187 | 0.84133 | 264.9447 | 4.2 | 887.9333 | 78.8887 | 0
2020-12-25 12:30:00 | 0.562 | 201.2067 | 0.52733 | 205.3807 | 0.636 | 196.7807 | 0.54733 | 206.4287 | 4.3333 | 887 | 80.7527 | 0
2020-12-25 12:45:00 | 0.34067 | 239.2067 | 0.31067 | 215.2833 | 0.34933 | 233.9453 | 0.29 | 216.384 | 4.34 | 887 | 80.8933 | 0
2020-12-25 13:00:00 | 0.62267 | 210.48 | 0.618 | 192.3913 | 0.736 | 205.8487 | 0.69667 | 193.376 | 4.3733 | 886.6 | 80.5533 | 0
2020-12-25 13:15:00 | 0.70067 | 205.12 | 0.636 | 190.5593 | 0.71 | 200.608 | 0.58933 | 191.534 | 4.3867 | 886 | 80.5133 | 0
2020-12-25 13:30:00 | 0.57133 | 191.84 | 0.53867 | 196.5053 | 0.68267 | 187.62 | 0.58267 | 197.5113 | 4.5467 | 886 | 82.8733 | 0
2020-12-25 13:45:00 | 0.712 | 263.8867 | 0.74133 | 254.3907 | 1.0387 | 258.0807 | 1.0007 | 255.6913 | 4.58 | 886 | 87.96 | 0
2020-12-25 14:00:00 | 1.0233 | 269.3933 | 1.0973 | 281.86 | 1.5 | 263.466 | 1.502 | 283.3013 | 4.18 | 886 | 87.4667 | 0
2020-12-25 14:15:00 | 0.89667 | 246.3933 | 0.95867 | 296.784 | 1.4707 | 240.9727 | 1.4207 | 298.3013 | 4.38 | 886 | 87.7267 | 0
2020-12-25 14:30:00 | 1.2153 | 239.06 | 1.2133 | 320.3093 | 1.574 | 233.8 | 1.4653 | 321.9447 | 3.7467 | 885.6 | 91.74 | 0
2020-12-25 14:45:00 | 0.99067 | 253.9867 | 0.97 | 319.5967 | 1.3347 | 248.3993 | 1.194 | 321.23 | 3.86 | 885 | 93.0267 | 0
2020-12-25 15:00:00 | 2.012 | 313.3867 | 2.0193 | 335.258 | 2.426 | 306.4913 | 2.324 | 336.9713 | 3.5267 | 885 | 93.1867 | 0
2020-12-25 15:15:00 | 1.3887 | 278.62 | 1.3967 | 318.6133 | 1.6827 | 272.4907 | 1.614 | 320.242 | 3.6267 | 885 | 93.3333 | 0
2020-12-25 15:30:00 | 1.8347 | 284.4 | 1.7933 | 329.6447 | 2.2773 | 278.1433 | 2.0713 | 331.3293 | 3.4 | 885 | 92.4133 | 0
2020-12-25 15:45:00 | 2.8373 | 323.2733 | 2.9667 | 330.9627 | 3.48 | 316.1627 | 3.5387 | 332.654 | 3.3 | 885 | 92.9533 | 1.5987
2020-12-25 16:00:00 | 2.2167 | 321.16 | 2.2193 | 324.9907 | 2.8673 | 314.0947 | 2.684 | 326.6513 | 3.2867 | 885 | 92.5067 | 1.3673
2020-12-25 16:15:00 | 2.242 | 331.8267 | 2.216 | 327.402 | 2.904 | 324.5253 | 2.6693 | 329.0747 | 3.1 | 885 | 93.2467 | 2.022
2020-12-25 16:30:00 | 2.5813 | 329.1667 | 2.614 | 329.886 | 3.2527 | 321.9267 | 3.1267 | 331.5727 | 2.9933 | 885 | 96.2267 | 2.4133
2020-12-25 16:45:00 | 2.6473 | 324.74 | 2.7193 | 329.5073 | 3.4247 | 317.596 | 3.3373 | 331.192 | 2.9533 | 885 | 97.7267 | 2.842
2020-12-25 17:00:00 | 2.6313 | 332.4333 | 2.718 | 326.7367 | 3.5253 | 325.12 | 3.4287 | 328.4073 | 3.08 | 885 | 98.68 | 3.288
2020-12-25 17:15:00 | 3.4473 | 332.1667 | 3.624 | 326.8927 | 4.3033 | 324.8587 | 4.3927 | 328.5647 | 2.9533 | 885 | 99.1667 | 5.7187
2020-12-25 17:30:00 | 3.5067 | 328.6667 | 3.6607 | 323.2813 | 4.3707 | 321.436 | 4.418 | 324.9333 | 2.8067 | 885 | 99.44 | 7.4853
2020-12-25 17:45:00 | 3.3773 | 331.84 | 3.444 | 322.928 | 4.242 | 324.5413 | 4.1187 | 324.5807 | 2.8333 | 885 | 99.5733 | 6.4287
2020-12-25 18:00:00 | 3.408 | 282.74 | 3.4827 | 326.6713 | 4.3153 | 276.5193 | 4.1967 | 328.3427 | 2.9533 | 885 | 99.64 | 6.824
2020-12-25 18:15:00 | 3.764 | 342.6267 | 3.9987 | 328.1267 | 4.6433 | 335.0893 | 4.8327 | 329.802 | 2.9067 | 885 | 99.6 | 9.5107
2020-12-25 18:30:00 | 4.2047 | 342.9067 | 4.5247 | 325.1333 | 4.978 | 335.3627 | 5.3567 | 326.7953 | 2.9133 | 885.4 | 98.8933 | 12.1293
2020-12-25 18:45:00 | 4.4667 | 346.7667 | 4.7793 | 328.986 | 5.2713 | 339.138 | 5.6327 | 330.668 | 2.94 | 886 | 97.4133 | 13.93
2020-12-25 19:00:00 | 4.962 | 348.3 | 5.2927 | 334.5867 | 5.6947 | 340.6367 | 6.1113 | 336.2967 | 3.0933 | 886 | 96.5667 | 16.858
2020-12-25 19:15:00 | 5.1487 | 346.84 | 5.5167 | 333.616 | 5.918 | 339.2087 | 6.3907 | 335.3207 | 3.2733 | 886 | 95.9333 | 18.8293
2020-12-25 19:30:00 | 4.7393 | 343.64 | 5.1167 | 333.1907 | 5.43 | 336.0793 | 5.944 | 334.8947 | 3.24 | 886 | 95.1133 | 16.4593
2020-12-25 19:45:00 | 4.2833 | 346.3267 | 4.6207 | 331.6067 | 4.8613 | 338.7073 | 5.3347 | 333.3027 | 3.2933 | 886.0667 | 93.94 | 12.2673
2020-12-25 20:00:00 | 4.2607 | 305.7733 | 4.596 | 326.3253 | 4.9533 | 299.0467 | 5.3847 | 327.9947 | 3.3067 | 887 | 93.46 | 11.746
2020-12-25 20:15:00 | 3.964 | 331.6867 | 4.2667 | 324.6833 | 4.57 | 324.3887 | 4.972 | 326.3427 | 3.4667 | 887 | 93.3 | 9.746
2020-12-25 20:30:00 | 3.364 | 213.5267 | 3.572 | 327.024 | 3.998 | 208.8293 | 4.21 | 328.6967 | 3.6267 | 887 | 93.1533 | 6.1373
2020-12-25 20:45:00 | 3.292 | 75.1267 | 3.4447 | 324.39 | 3.9387 | 73.474 | 4.04 | 326.0473 | 3.38 | 887 | 92.0733 | 5.756
2020-12-25 21:00:00 | 3.284 | 75.4133 | 3.424 | 321.4993 | 3.9187 | 73.754 | 4.0033 | 323.1447 | 3.3667 | 887 | 91.32 | 5.206
2020-12-25 21:15:00 | 3.4533 | 162.2533 | 3.5693 | 320.8807 | 4.0587 | 158.6833 | 4.106 | 322.5213 | 3.5267 | 887 | 90.8067 | 5.6113
2020-12-25 21:30:00 | 3.5927 | 339.0133 | 3.67 | 318.782 | 4.4293 | 331.556 | 4.3353 | 320.412 | 3.54 | 887 | 90.9267 | 7.6833
2020-12-25 21:45:00 | 3.444 | 311.4933 | 3.5287 | 316.2593 | 4.3553 | 304.6407 | 4.2533 | 317.874 | 3.6667 | 887 | 90.5133 | 6.598
2020-12-25 22:00:00 | 3.9073 | 338.46 | 4.1193 | 317.7587 | 4.612 | 331.0127 | 4.8113 | 319.384 | 3.7067 | 887 | 89.8 | 7.1433
2020-12-25 22:15:00 | 3.7133 | 330.4733 | 3.8773 | 316.976 | 4.4887 | 323.2033 | 4.576 | 318.598 | 3.6 | 887 | 90.0867 | 6.8513
2020-12-25 22:30:00 | 3.762 | 341.6267 | 3.98 | 320.5167 | 4.4413 | 334.1093 | 4.6613 | 322.1553 | 3.7267 | 887 | 89.2733 | 6.5367
2020-12-25 22:45:00 | 3.504 | 337.44 | 3.7727 | 313.8067 | 4.1447 | 330.0167 | 4.468 | 315.4127 | 3.9 | 887.7333 | 88.3933 | 5.254
2020-12-25 23:00:00 | 3.0073 | 339.6333 | 3.228 | 300.2527 | 3.4807 | 332.1613 | 3.7687 | 301.788 | 3.9333 | 888 | 86.7933 | 2.6307
2020-12-25 23:15:00 | 2.8407 | 340.4067 | 3.0733 | 323.0913 | 3.3013 | 332.9167 | 3.6107 | 324.744 | 3.9 | 888 | 88.36 | 2.2347
2020-12-25 23:30:00 | 3.3 | 339.3933 | 3.5533 | 324.832 | 3.9147 | 331.9267 | 4.2153 | 326.494 | 3.82 | 887.6 | 89.2067 | 5.1387
2020-12-25 23:45:00 | 3.9247 | 341.5533 | 4.2553 | 327.5907 | 4.6467 | 334.038 | 5.0653 | 329.2653 | 3.72 | 887 | 89.02 | 8.9807