## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-26 00:00:00 | 4.3047 | 342.0733 | 4.6567 | 328.556 | 4.992 | 334.5487 | 5.466 | 330.234 | 3.7 | 887 | 88.34 | 11.4453
2020-12-26 00:15:00 | 4.4867 | 340.0867 | 4.8373 | 328.5813 | 5.0913 | 332.6047 | 5.5813 | 330.2633 | 3.78 | 887 | 88.8267 | 13.0753
2020-12-26 00:30:00 | 4.6693 | 340.88 | 5.0027 | 329.5407 | 5.3313 | 333.3807 | 5.7733 | 331.2253 | 3.7867 | 887 | 89.2933 | 14.866
2020-12-26 00:45:00 | 4.7527 | 340.4333 | 5.0867 | 332.754 | 5.3753 | 332.9447 | 5.832 | 334.456 | 3.7533 | 887 | 88.42 | 15.2327
2020-12-26 01:00:00 | 4.428 | 338.14 | 4.7447 | 330.6367 | 5.072 | 330.7007 | 5.4893 | 332.326 | 3.6533 | 887 | 87.88 | 13.3293
2020-12-26 01:15:00 | 4.1207 | 339.7067 | 4.4573 | 334.8687 | 4.7347 | 332.2327 | 5.1953 | 336.5787 | 3.5 | 887 | 86.4333 | 11.464
2020-12-26 01:30:00 | 4.17 | 340.3467 | 4.504 | 332.09 | 4.8187 | 332.8587 | 5.2673 | 333.788 | 3.6867 | 887 | 85.08 | 10.886
2020-12-26 01:45:00 | 4.0173 | 336.8267 | 4.296 | 326.1693 | 4.7007 | 329.4167 | 5.0347 | 327.8367 | 3.8533 | 887 | 85.0533 | 8.72
2020-12-26 02:00:00 | 3.8453 | 340.94 | 4.1147 | 324.6187 | 4.518 | 333.4407 | 4.838 | 326.276 | 3.96 | 887 | 85.2333 | 7.7447
2020-12-26 02:15:00 | 3.7427 | 341.5133 | 3.9933 | 324.284 | 4.4453 | 334 | 4.7173 | 325.9433 | 3.8933 | 887 | 85.3467 | 7.858
2020-12-26 02:30:00 | 3.5807 | 301.2533 | 3.8007 | 320.5627 | 4.244 | 294.6253 | 4.4733 | 322.2007 | 3.8067 | 887 | 85.04 | 6.576
2020-12-26 02:45:00 | 3.3433 | 344.52 | 3.4987 | 318.9 | 3.8467 | 336.9413 | 3.9947 | 320.53 | 3.82 | 887 | 85.1867 | 5.2913
2020-12-26 03:00:00 | 2.764 | 293.7667 | 2.82 | 322.5973 | 3.19 | 287.3033 | 3.1753 | 324.2473 | 3.9 | 887 | 84.48 | 2.352
2020-12-26 03:15:00 | 2.5 | 273.2533 | 2.4987 | 323.3013 | 2.8473 | 267.2413 | 2.75 | 324.954 | 3.96 | 887 | 83.4067 | 1.33
2020-12-26 03:30:00 | 2.428 | 204.1733 | 2.4147 | 317.6147 | 2.8673 | 199.6813 | 2.7133 | 319.2393 | 3.8 | 887 | 82.5067 | 1.5067
2020-12-26 03:45:00 | 2.8633 | 270.3667 | 2.9567 | 315.9927 | 3.4613 | 264.4187 | 3.4707 | 317.6073 | 3.7533 | 887 | 82.46 | 2.852
2020-12-26 04:00:00 | 3.48 | 340.0467 | 3.728 | 322.65 | 3.9747 | 332.5653 | 4.3033 | 324.2973 | 3.6667 | 887 | 82.28 | 5.6813
2020-12-26 04:15:00 | 4.2673 | 340.32 | 4.556 | 324.9753 | 4.9507 | 332.8333 | 5.3007 | 326.638 | 3.6067 | 887 | 81.2133 | 10.718
2020-12-26 04:30:00 | 5.6107 | 335.98 | 6.0447 | 322.478 | 6.554 | 328.588 | 7.1007 | 324.128 | 3.54 | 887 | 81.0667 | 24.3793
2020-12-26 04:45:00 | 6.0167 | 334.54 | 6.4753 | 324.7153 | 6.7873 | 327.18 | 7.434 | 326.3753 | 3.5267 | 886.2667 | 82.1467 | 29.1367
2020-12-26 05:00:00 | 6.3753 | 335.0667 | 6.8733 | 325.1067 | 7.2727 | 327.6953 | 7.956 | 326.7687 | 3.5867 | 886 | 83.2 | 32.978
2020-12-26 05:15:00 | 6.308 | 338.4 | 6.7867 | 326.5353 | 7.1567 | 330.9547 | 7.8207 | 328.2047 | 3.52 | 886 | 86.1933 | 31.6647
2020-12-26 05:30:00 | 6.544 | 339.1 | 6.9893 | 328.862 | 7.2913 | 331.6407 | 7.9187 | 330.5427 | 3.62 | 886 | 87.2467 | 34.0193
2020-12-26 05:45:00 | 6.8107 | 338.76 | 7.3027 | 328.4853 | 7.49 | 331.306 | 8.2287 | 330.162 | 3.64 | 886 | 87.34 | 35.4613
2020-12-26 06:00:00 | 6.7873 | 337.8 | 7.2967 | 325.276 | 7.4247 | 330.3673 | 8.2093 | 326.94 | 3.6733 | 886 | 86.8867 | 36.3933
2020-12-26 06:15:00 | 6.7227 | 343.88 | 7.244 | 322.1993 | 7.438 | 336.314 | 8.2207 | 323.846 | 3.5 | 886 | 86.9333 | 36.022
2020-12-26 06:30:00 | 6.5433 | 344.1733 | 7.0273 | 325.772 | 7.3973 | 336.6007 | 8.07 | 327.4373 | 3.4333 | 886 | 87.86 | 35.4887
2020-12-26 06:45:00 | 6.5173 | 343.9267 | 7.0233 | 325.9207 | 7.1467 | 336.3607 | 7.9213 | 327.5887 | 3.44 | 886 | 88.3467 | 34.6873
2020-12-26 07:00:00 | 6.562 | 341.12 | 7.004 | 329.6827 | 7.1027 | 333.6153 | 7.7827 | 331.3687 | 3.4533 | 886 | 86.6533 | 35.9387
2020-12-26 07:15:00 | 6.6267 | 322.58 | 7.0493 | 331.1047 | 7.19 | 315.4833 | 7.834 | 332.7967 | 3.54 | 886 | 83.36 | 36.32
2020-12-26 07:30:00 | 6.1933 | 344.8667 | 6.584 | 325.7453 | 6.6827 | 337.2793 | 7.2807 | 327.4127 | 3.4133 | 886 | 81.5 | 32.9713
2020-12-26 07:45:00 | 6.1173 | 340.9133 | 6.4913 | 319.1147 | 6.6147 | 333.414 | 7.18 | 320.746 | 3.3933 | 886 | 81.86 | 31.2647
2020-12-26 08:00:00 | 5.8933 | 341.2933 | 6.2413 | 321.1227 | 6.436 | 333.784 | 6.942 | 322.7653 | 3.4133 | 886 | 82.5533 | 29.774
2020-12-26 08:15:00 | 6.05 | 339.12 | 6.3953 | 323.0313 | 6.6113 | 331.66 | 7.106 | 324.684 | 3.4733 | 886 | 82.96 | 30.35
2020-12-26 08:30:00 | 6.1687 | 345.3467 | 6.5273 | 324.8207 | 6.932 | 337.75 | 7.394 | 326.4813 | 3.4933 | 886.4 | 82.8 | 31.2893
2020-12-26 08:45:00 | 6.2127 | 347.7867 | 6.5707 | 328.0153 | 6.9233 | 340.134 | 7.3967 | 329.6927 | 3.3667 | 887 | 83.2867 | 32.8173
2020-12-26 09:00:00 | 6.3733 | 351.3867 | 6.7907 | 330.6033 | 7.066 | 343.6567 | 7.6567 | 332.294 | 3.4067 | 887 | 81.2533 | 35.132
2020-12-26 09:15:00 | 6.0353 | 324.0133 | 6.4053 | 327.7547 | 6.692 | 316.884 | 7.2107 | 329.4293 | 3.66 | 887 | 78.822 | 33.0373
2020-12-26 09:30:00 | 5.5 | 283.9333 | 5.8373 | 324.5267 | 6.2387 | 277.688 | 6.6593 | 326.186 | 3.7667 | 887.4 | 78.0613 | 26.094
2020-12-26 09:45:00 | 5.0907 | 95.9467 | 5.3967 | 326.104 | 5.8287 | 93.8353 | 6.1953 | 327.7707 | 3.84 | 888 | 78.6773 | 20.166
2020-12-26 10:00:00 | 4.4893 | 239.4133 | 4.7633 | 323.712 | 5.1527 | 234.1467 | 5.48 | 325.366 | 3.8933 | 888 | 77.4873 | 14.318
2020-12-26 10:15:00 | 4.1373 | 168.0333 | 4.3627 | 322.5373 | 4.75 | 164.3373 | 5.0093 | 324.188 | 4.1467 | 888 | 74.6567 | 11.82
2020-12-26 10:30:00 | 3.962 | 279.44 | 4.1293 | 319.2127 | 4.4387 | 273.2913 | 4.6267 | 320.844 | 4.34 | 888 | 74.1167 | 10.1353
2020-12-26 10:45:00 | 3.902 | 303.3533 | 4.036 | 315.9847 | 4.388 | 296.6793 | 4.5033 | 317.6007 | 4.6133 | 888.7333 | 73.196 | 9.3613
2020-12-26 11:00:00 | 3.7413 | 340.32 | 3.8827 | 317.9487 | 4.2093 | 332.834 | 4.3467 | 319.5733 | 5.2933 | 889 | 71.1567 | 8.2627
2020-12-26 11:15:00 | 3.5793 | 314.26 | 3.7233 | 316.6247 | 3.7127 | 307.346 | 3.9533 | 318.2433 | 5.7333 | 889 | 69.3273 | 7.4667
2020-12-26 11:30:00 | 3.2627 | 276.8933 | 3.3853 | 331.4967 | 3.6167 | 270.8007 | 3.752 | 333.192 | 5.8933 | 889 | 65.062 | 4.9953
2020-12-26 11:45:00 | 3.59 | 277.5067 | 3.6913 | 317.4787 | 4.0113 | 271.402 | 4.0867 | 319.1013 | 6.12 | 888.2667 | 63.5313 | 5.9147
2020-12-26 12:00:00 | 3.6073 | 271.1533 | 3.6913 | 310.73 | 4.0913 | 265.1867 | 4.1127 | 312.3187 | 6.3667 | 888 | 62.802 | 6.4233
2020-12-26 12:15:00 | 3.692 | 237.0933 | 3.86 | 312.5413 | 4.328 | 231.8773 | 4.4613 | 314.14 | 6.3733 | 888 | 62.122 | 6.9453
2020-12-26 12:30:00 | 3.7227 | 227.7533 | 3.9687 | 269.942 | 4.3873 | 222.7433 | 4.6633 | 271.322 | 6.8133 | 888 | 60.0173 | 6.4567
2020-12-26 12:45:00 | 3.28 | 321.4 | 3.468 | 294.9173 | 3.7393 | 314.3293 | 3.9607 | 296.426 | 6.9 | 888 | 57.8167 | 5.0027
2020-12-26 13:00:00 | 3.0353 | 230.0333 | 3.13 | 334.3053 | 3.276 | 224.9733 | 3.3873 | 336.016 | 7.0467 | 888 | 57.9207 | 2.4773
2020-12-26 13:15:00 | 2.58 | 299.8933 | 2.7107 | 329.7947 | 2.8033 | 293.296 | 2.9887 | 331.4813 | 7.6733 | 888 | 56.29 | 0.654
2020-12-26 13:30:00 | 2.6047 | 169.3067 | 2.772 | 290.4393 | 3.038 | 165.582 | 3.2293 | 291.924 | 8.36 | 888 | 55.0647 | 0.41867
2020-12-26 13:45:00 | 2.8233 | 321.3933 | 3.0307 | 314.6093 | 3.2347 | 314.3227 | 3.5093 | 316.218 | 8.6067 | 887.9333 | 52.968 | 0.95933
2020-12-26 14:00:00 | 2.3993 | 313.1667 | 2.5847 | 247.3887 | 2.8107 | 306.2773 | 3.0453 | 248.6513 | 9.0533 | 887 | 50.812 | 0.762
2020-12-26 14:15:00 | 1.9453 | 244.7333 | 2.0273 | 244.0693 | 2.4053 | 239.348 | 2.4267 | 245.316 | 9.3867 | 887 | 45.7247 | 0.039333
2020-12-26 14:30:00 | 1.5533 | 318.1933 | 1.6053 | 248.7047 | 1.6113 | 311.194 | 1.692 | 249.9787 | 9.78 | 887 | 46.2907 | 0
2020-12-26 14:45:00 | 1.05 | 218.26 | 1.1107 | 217.0833 | 1.0373 | 213.458 | 1.1533 | 218.1933 | 10.6133 | 887 | 46.5287 | 0
2020-12-26 15:00:00 | 1.658 | 139.1 | 1.8347 | 242.4987 | 2.1053 | 136.04 | 2.3107 | 243.7393 | 10.5667 | 887 | 46.1947 | 0
2020-12-26 15:15:00 | 1.908 | 146.9067 | 1.968 | 137.6373 | 2.0827 | 143.6747 | 2.15 | 138.34 | 10.0667 | 887 | 47.1113 | 0
2020-12-26 15:30:00 | 2.0347 | 158.3867 | 2.0967 | 143.6547 | 2.3107 | 154.902 | 2.3473 | 144.3907 | 9.5267 | 887 | 51.7907 | 0
2020-12-26 15:45:00 | 1.518 | 156.2 | 1.616 | 149.2753 | 1.8853 | 152.7627 | 1.966 | 150.0393 | 9.5267 | 886.9333 | 53.968 | 0
2020-12-26 16:00:00 | 1.38 | 156.1467 | 1.438 | 150.794 | 1.7093 | 152.7113 | 1.7233 | 151.5653 | 9.5933 | 886 | 53.318 | 0
2020-12-26 16:15:00 | 1.216 | 173.9533 | 1.2747 | 151.4467 | 1.4267 | 170.1267 | 1.476 | 152.22 | 9.66 | 886 | 52.6687 | 0
2020-12-26 16:30:00 | 1.13 | 175.7267 | 1.2373 | 141.614 | 1.4587 | 171.8613 | 1.566 | 142.338 | 9.8467 | 886 | 51.8873 | 0
2020-12-26 16:45:00 | 1.2033 | 144.8 | 1.2847 | 124.6553 | 1.564 | 141.6133 | 1.612 | 125.2927 | 9.6667 | 886 | 53.6767 | 0
2020-12-26 17:00:00 | 1.4073 | 154.5733 | 1.482 | 149.1 | 1.6787 | 151.1727 | 1.738 | 149.8613 | 9.5133 | 886 | 55.1413 | 0
2020-12-26 17:15:00 | 1.8207 | 153.8667 | 1.8687 | 154.5227 | 1.9527 | 150.4807 | 2.0067 | 155.314 | 9.22 | 886 | 56.5593 | 0.40067
2020-12-26 17:30:00 | 1.9267 | 174.06 | 2.0193 | 164.884 | 2.12 | 170.2313 | 2.242 | 165.7267 | 8.9267 | 885.6 | 57.3053 | 1.4547
2020-12-26 17:45:00 | 2.2313 | 165.3067 | 2.3287 | 154.9087 | 2.582 | 161.668 | 2.6667 | 155.7 | 8.7 | 885 | 58.5747 | 1.8953
2020-12-26 18:00:00 | 2.3293 | 135.0067 | 2.4453 | 153.4293 | 2.644 | 132.0367 | 2.7787 | 154.2127 | 8.5867 | 885 | 58.8247 | 2.4827
2020-12-26 18:15:00 | 2.382 | 123.28 | 2.466 | 130.9673 | 2.848 | 120.5673 | 2.8687 | 131.6367 | 8.2267 | 885.0667 | 61.74 | 3.08
2020-12-26 18:30:00 | 2.4133 | 123.1 | 2.5987 | 122.89 | 2.8233 | 120.3927 | 3.0587 | 123.516 | 7.9867 | 886 | 67.6013 | 3.2253
2020-12-26 18:45:00 | 2.8113 | 138.3867 | 2.97 | 129.05 | 3.0773 | 135.3413 | 3.3013 | 129.71 | 7.4533 | 885.3333 | 71.2533 | 3.796
2020-12-26 19:00:00 | 3.1947 | 147.5667 | 3.3107 | 133.8887 | 3.4727 | 144.3207 | 3.612 | 134.5733 | 7.2067 | 886 | 74.2387 | 5.9373
2020-12-26 19:15:00 | 3.1493 | 135.32 | 3.2093 | 129.9373 | 3.3593 | 132.344 | 3.416 | 130.602 | 7.1133 | 886 | 75.908 | 7.2273
2020-12-26 19:30:00 | 3.3753 | 142.14 | 3.4833 | 131.0973 | 3.6293 | 139.0127 | 3.766 | 131.7687 | 7.0133 | 886 | 78.048 | 8.3887
2020-12-26 19:45:00 | 3.1987 | 138.4733 | 3.3107 | 134.082 | 3.566 | 135.4267 | 3.672 | 134.7693 | 6.7533 | 886.7333 | 79.5493 | 7.6813
2020-12-26 20:00:00 | 2.8453 | 140.5267 | 2.924 | 129.734 | 3.1247 | 137.4353 | 3.1953 | 130.398 | 6.64 | 887 | 81.14 | 4.56
2020-12-26 20:15:00 | 2.5273 | 144.8933 | 2.5693 | 129.7553 | 2.768 | 141.7053 | 2.7847 | 130.418 | 6.5933 | 887 | 82.0867 | 2.762
2020-12-26 20:30:00 | 2.2893 | 132.4733 | 2.3287 | 126.5867 | 2.5133 | 129.5593 | 2.5267 | 127.232 | 6.5867 | 887 | 83.2733 | 2.1633
2020-12-26 20:45:00 | 2.8173 | 131.2 | 2.9047 | 127.0747 | 3.13 | 128.3133 | 3.206 | 127.7247 | 6.4533 | 887 | 84.6533 | 5.7473
2020-12-26 21:00:00 | 3.8387 | 129.76 | 3.894 | 128.652 | 4.2513 | 126.9053 | 4.2367 | 129.31 | 6.2733 | 887 | 85.7 | 15.72
2020-12-26 21:15:00 | 3.9367 | 138.2333 | 4.0247 | 130.4727 | 4.5353 | 135.1927 | 4.5293 | 131.1387 | 6.0867 | 886.2667 | 86.14 | 15.476
2020-12-26 21:30:00 | 4.1127 | 142.54 | 4.3067 | 137.4033 | 4.77 | 139.404 | 4.95 | 138.1047 | 5.84 | 886 | 87.5933 | 16.6433
2020-12-26 21:45:00 | 3.7433 | 138.78 | 3.9007 | 134.9707 | 4.3727 | 135.7267 | 4.4933 | 135.6613 | 5.62 | 886.7333 | 88.2533 | 13.234
2020-12-26 22:00:00 | 3.4827 | 143.1 | 3.6013 | 137.194 | 4.1473 | 139.9507 | 4.1847 | 137.8953 | 5.4067 | 887 | 89.5867 | 11.6287
2020-12-26 22:15:00 | 3.5513 | 151.4933 | 3.6893 | 141.7127 | 3.9853 | 148.382 | 4.126 | 142.4367 | 5.2933 | 887 | 90.4533 | 11.0073
2020-12-26 22:30:00 | 3.0787 | 152 | 3.2053 | 141.294 | 3.4673 | 148.656 | 3.5947 | 142.0173 | 5.2133 | 887 | 91.0733 | 7.166
2020-12-26 22:45:00 | 3.1413 | 152.1 | 3.2747 | 145.8507 | 3.5773 | 148.7533 | 3.702 | 146.5973 | 5.2067 | 887 | 91.76 | 8.2673
2020-12-26 23:00:00 | 2.7773 | 151.1 | 2.8733 | 140.134 | 3.0787 | 147.776 | 3.1767 | 140.8513 | 5.0933 | 887 | 92.4 | 6.6033
2020-12-26 23:15:00 | 2.686 | 143.3533 | 2.7653 | 134.09 | 2.9973 | 140.2 | 3.0593 | 134.7773 | 4.8867 | 887 | 92.6667 | 6.3493
2020-12-26 23:30:00 | 2.7347 | 150.2133 | 2.8633 | 133.8607 | 3.0927 | 146.908 | 3.232 | 134.5473 | 4.8133 | 887.4 | 93.5133 | 5.5247
2020-12-26 23:45:00 | 3.2473 | 151.8133 | 3.3547 | 141.3347 | 3.508 | 148.4733 | 3.6393 | 142.0567 | 4.6733 | 888 | 93.42 | 9.0893