## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-27 00:00:00 | 3.3233 | 157.7333 | 3.4787 | 150.4167 | 3.5873 | 154.262 | 3.8107 | 151.184 | 4.4533 | 888 | 94.1133 | 10.684
2020-12-27 00:15:00 | 2.5847 | 162.7867 | 2.6787 | 160.6653 | 2.7087 | 159.2033 | 2.8513 | 161.4867 | 4.3867 | 888 | 94.9667 | 9.04
2020-12-27 00:30:00 | 2.636 | 182.18 | 2.6833 | 166.3633 | 2.8433 | 178.172 | 2.8773 | 167.2147 | 4.3067 | 888 | 95.6533 | 7.9527
2020-12-27 00:45:00 | 2.6313 | 158.08 | 2.65 | 159.2387 | 2.854 | 154.602 | 2.8247 | 160.0513 | 4.1133 | 887.9333 | 96.34 | 7.9853
2020-12-27 01:00:00 | 2.9727 | 147.5267 | 3.0667 | 146.9793 | 3.2147 | 144.2813 | 3.3247 | 147.7327 | 4.0333 | 887 | 96.88 | 9.6647
2020-12-27 01:15:00 | 3.1007 | 150.5867 | 3.2307 | 142.8147 | 3.4453 | 147.274 | 3.596 | 143.5433 | 4.04 | 887 | 97.7067 | 8.2253
2020-12-27 01:30:00 | 3.1573 | 141.1867 | 3.3033 | 140.2127 | 3.566 | 138.08 | 3.7267 | 140.9293 | 4.0333 | 887 | 98.7067 | 5.4127
2020-12-27 01:45:00 | 2.508 | 140.52 | 2.6173 | 137.3307 | 2.9187 | 137.4293 | 3.0053 | 138.0313 | 4.06 | 887 | 99.2 | 1.9093
2020-12-27 02:00:00 | 2.546 | 143.7 | 2.572 | 131.4753 | 2.9873 | 140.5387 | 2.914 | 132.1493 | 4.0933 | 887 | 99.4933 | 2.6733
2020-12-27 02:15:00 | 2.976 | 149.46 | 3.066 | 133.1767 | 3.3713 | 146.1713 | 3.432 | 133.8573 | 4.0933 | 887 | 99.7 | 3.7173
2020-12-27 02:30:00 | 3.452 | 143.6133 | 3.5787 | 132.272 | 3.9113 | 140.454 | 4.0207 | 132.9473 | 3.9933 | 887 | 99.94 | 7.24
2020-12-27 02:45:00 | 3.5967 | 139.5733 | 3.738 | 139.2207 | 4.164 | 136.5033 | 4.2693 | 139.9333 | 3.9533 | 887 | 100 | 8.7673
2020-12-27 03:00:00 | 3.5153 | 138.72 | 3.6487 | 134.5993 | 4.0133 | 135.6693 | 4.1253 | 135.2867 | 3.9867 | 887 | 100 | 8.1193
2020-12-27 03:15:00 | 3.4453 | 138.7867 | 3.562 | 136.8553 | 3.9527 | 135.7333 | 4.0293 | 137.5547 | 3.9933 | 887 | 100 | 7.6933
2020-12-27 03:30:00 | 3.5053 | 139.6 | 3.642 | 133.622 | 3.9887 | 136.5293 | 4.11 | 134.3047 | 3.92 | 887 | 100 | 8.5327
2020-12-27 03:45:00 | 3.2173 | 141.0667 | 3.336 | 131.736 | 3.6867 | 137.962 | 3.7807 | 132.4087 | 3.9 | 887 | 100 | 6.0967
2020-12-27 04:00:00 | 3.06 | 142.2067 | 3.1587 | 133.426 | 3.6147 | 139.078 | 3.644 | 134.106 | 4 | 887 | 100 | 5.044
2020-12-27 04:15:00 | 2.8527 | 140.08 | 2.906 | 133.9147 | 3.4687 | 136.998 | 3.3913 | 134.5993 | 4.0267 | 886.2667 | 100 | 4.0953
2020-12-27 04:30:00 | 2.7993 | 137.8933 | 2.93 | 130.4327 | 3.2267 | 134.8607 | 3.3507 | 131.0993 | 4.0667 | 886 | 100 | 3.282
2020-12-27 04:45:00 | 2.684 | 143.7133 | 2.81 | 131.1633 | 3.158 | 140.5527 | 3.26 | 131.834 | 3.98 | 886 | 100 | 2.9967
2020-12-27 05:00:00 | 2.7167 | 135.9667 | 2.88 | 128.418 | 3.2353 | 132.9747 | 3.3973 | 129.0747 | 4.0267 | 886 | 100 | 2.7007
2020-12-27 05:15:00 | 2.4727 | 137.8 | 2.586 | 126.344 | 2.9953 | 134.7687 | 3.0607 | 126.99 | 4.0933 | 886 | 100 | 1.8787
2020-12-27 05:30:00 | 2.1993 | 123.26 | 2.3107 | 123.932 | 2.6807 | 120.5493 | 2.748 | 124.566 | 4.18 | 886 | 100 | 1.5373
2020-12-27 05:45:00 | 2.3267 | 130.2933 | 2.4633 | 119.8707 | 2.852 | 127.4273 | 2.9587 | 120.4833 | 4.18 | 886 | 100 | 1.8273
2020-12-27 06:00:00 | 1.9147 | 123.8333 | 2.0327 | 121.1293 | 2.3293 | 121.108 | 2.4327 | 121.748 | 4.2667 | 886 | 100 | 0.61467
2020-12-27 06:15:00 | 2.13 | 133.84 | 2.2647 | 130.0873 | 2.556 | 130.8953 | 2.6873 | 130.752 | 4.3 | 885.3333 | 100 | 0.86
2020-12-27 06:30:00 | 2.6813 | 143.7667 | 2.774 | 135.9487 | 3.096 | 140.6053 | 3.1573 | 136.6447 | 4.2667 | 886 | 100 | 2.6907
2020-12-27 06:45:00 | 2.6253 | 142.0067 | 2.7393 | 137.376 | 3.0833 | 138.8833 | 3.1693 | 138.0787 | 4.18 | 886 | 100 | 3.69
2020-12-27 07:00:00 | 2.3833 | 150.16 | 2.522 | 145.2407 | 2.718 | 146.856 | 2.884 | 145.9833 | 4.08 | 886 | 100 | 4.1873
2020-12-27 07:15:00 | 2.3473 | 166.5 | 2.5 | 159.1727 | 2.338 | 162.838 | 2.63 | 159.988 | 4.0733 | 886 | 100 | 5.652
2020-12-27 07:30:00 | 2.6987 | 173.6533 | 2.7887 | 162.83 | 2.7013 | 169.8313 | 2.874 | 163.6627 | 4.18 | 886 | 100 | 7.3667
2020-12-27 07:45:00 | 2.7647 | 172.52 | 2.8873 | 170.0473 | 2.8993 | 168.7253 | 3.096 | 170.9173 | 4.1667 | 886 | 100 | 7.478
2020-12-27 08:00:00 | 2.224 | 174.1267 | 2.2947 | 169.3373 | 2.1213 | 170.296 | 2.288 | 170.202 | 4.1533 | 886 | 100 | 4.354
2020-12-27 08:15:00 | 2.312 | 181.6667 | 2.3873 | 162.7513 | 2.542 | 177.6707 | 2.618 | 163.584 | 4.1 | 886 | 100 | 3.0573
2020-12-27 08:30:00 | 2.8607 | 182.6533 | 2.9107 | 167.4533 | 3.1467 | 178.634 | 3.1607 | 168.3087 | 4.1267 | 886 | 100 | 6.0553
2020-12-27 08:45:00 | 2.9687 | 176.9867 | 3.09 | 165.8487 | 3.1253 | 173.0927 | 3.3153 | 166.6967 | 4.1267 | 886.7333 | 100 | 9.1813
2020-12-27 09:00:00 | 2.8333 | 172.9667 | 2.946 | 164.1873 | 2.8313 | 169.162 | 3.048 | 165.0253 | 4.1667 | 887 | 100 | 8.7087
2020-12-27 09:15:00 | 2.714 | 175.1533 | 2.8227 | 167.0227 | 2.6533 | 171.3 | 2.8807 | 167.8767 | 4.18 | 887 | 100 | 7.6593
2020-12-27 09:30:00 | 2.808 | 187.36 | 2.902 | 164.9233 | 3.0073 | 183.2387 | 3.1327 | 165.7673 | 4.2 | 887 | 100 | 6.882
2020-12-27 09:45:00 | 2.7593 | 177.2533 | 2.876 | 155.436 | 3.0473 | 173.354 | 3.1893 | 156.2307 | 4.0867 | 887.0667 | 100 | 7.074
2020-12-27 10:00:00 | 2.482 | 177.7133 | 2.6187 | 161.442 | 2.79 | 173.804 | 2.9627 | 162.2667 | 4.1533 | 888 | 100 | 5.974
2020-12-27 10:15:00 | 2.372 | 174.0267 | 2.4507 | 151.846 | 2.368 | 170.1973 | 2.5213 | 152.62 | 4.1467 | 888 | 100 | 5.7167
2020-12-27 10:30:00 | 2.1607 | 179.54 | 2.258 | 149.4133 | 2.3193 | 175.5907 | 2.4567 | 150.1767 | 4.28 | 888 | 100 | 4.166
2020-12-27 10:45:00 | 2.0027 | 162.3733 | 2.076 | 157.3207 | 2.1673 | 158.8013 | 2.2653 | 158.126 | 4.3 | 888 | 100 | 3.376
2020-12-27 11:00:00 | 2.3833 | 179.6 | 2.4347 | 162.9353 | 2.5133 | 175.6487 | 2.576 | 163.7687 | 4.3 | 888 | 100 | 4.3313
2020-12-27 11:15:00 | 2.0333 | 181.6 | 2.1053 | 156.4873 | 2.2367 | 177.604 | 2.3193 | 157.2867 | 4.4467 | 888 | 100 | 4.3947
2020-12-27 11:30:00 | 2.256 | 157.7533 | 2.3473 | 156.16 | 2.7433 | 154.2833 | 2.7773 | 156.958 | 4.4867 | 887.6 | 100 | 3.7693
2020-12-27 11:45:00 | 1.8973 | 150.2067 | 2.0233 | 166.684 | 2.362 | 146.9027 | 2.4633 | 167.5367 | 4.5867 | 887 | 100 | 1.8213
2020-12-27 12:00:00 | 1.9367 | 151.64 | 2.056 | 159.3493 | 2.274 | 148.3027 | 2.4007 | 160.1633 | 4.5667 | 887 | 100 | 0.97
2020-12-27 12:15:00 | 2.292 | 164.2933 | 2.4233 | 158.5073 | 2.8327 | 160.6793 | 2.9267 | 159.318 | 4.5333 | 887 | 100 | 1.92
2020-12-27 12:30:00 | 1.9847 | 156.3067 | 2.0933 | 173.086 | 2.4753 | 152.868 | 2.538 | 173.9707 | 4.68 | 887 | 100 | 2.3213
2020-12-27 12:45:00 | 2.0167 | 178.76 | 2.074 | 148.5573 | 2.174 | 174.8273 | 2.2393 | 149.3173 | 4.7 | 886.2667 | 100 | 2.1133
2020-12-27 13:00:00 | 2.3113 | 154.4533 | 2.35 | 144.06 | 2.7447 | 151.0553 | 2.6953 | 144.7947 | 4.5333 | 886 | 100 | 2.2073
2020-12-27 13:15:00 | 2.2873 | 151.7467 | 2.4307 | 145.122 | 2.7147 | 148.4073 | 2.8587 | 145.8633 | 4.6733 | 885.2667 | 100 | 1.6773
2020-12-27 13:30:00 | 2.8667 | 150.0067 | 2.9787 | 138.4393 | 3.3007 | 146.7067 | 3.3887 | 139.146 | 4.56 | 885 | 100 | 2.712
2020-12-27 13:45:00 | 2.7633 | 148.3133 | 2.8087 | 134.0513 | 3.0813 | 145.0507 | 3.0753 | 134.736 | 4.4133 | 885 | 100 | 2.602
2020-12-27 14:00:00 | 2.4173 | 145.5267 | 2.4293 | 141.4647 | 2.532 | 142.324 | 2.5253 | 142.188 | 4.4133 | 885 | 100 | 1.994
2020-12-27 14:15:00 | 2.032 | 155.4467 | 2.0233 | 138.0873 | 2.2047 | 152.026 | 2.14 | 138.794 | 4.3267 | 884.9333 | 100 | 0.976
2020-12-27 14:30:00 | 1.7193 | 141.14 | 1.7087 | 138.6613 | 1.9353 | 138.036 | 1.852 | 139.3707 | 4.3933 | 884 | 100 | 0.52133
2020-12-27 14:45:00 | 1.5893 | 170.34 | 1.608 | 157.4567 | 1.7893 | 166.592 | 1.7707 | 158.2633 | 4.5067 | 884 | 100 | 0.44467
2020-12-27 15:00:00 | 1.5453 | 191.7867 | 1.6287 | 175.2387 | 1.6853 | 187.566 | 1.8067 | 176.1347 | 4.5267 | 884 | 100 | 0.814
2020-12-27 15:15:00 | 1.9187 | 197.0733 | 1.972 | 183.5573 | 2.0613 | 192.738 | 2.1233 | 184.4953 | 4.54 | 884 | 100 | 1.1407
2020-12-27 15:30:00 | 1.4633 | 178.0533 | 1.5507 | 158.1173 | 1.702 | 174.1367 | 1.7987 | 158.926 | 4.68 | 884 | 100 | 1.1467
2020-12-27 15:45:00 | 1.9033 | 171.9067 | 1.9767 | 162.354 | 2.1253 | 168.1247 | 2.202 | 163.1853 | 4.7133 | 884 | 100 | 1.0473
2020-12-27 16:00:00 | 1.826 | 194.5333 | 1.8867 | 168.5873 | 2.1173 | 190.2547 | 2.148 | 169.4487 | 4.66 | 884 | 100 | 1.2027
2020-12-27 16:15:00 | 1.7607 | 195.42 | 1.8553 | 180.5173 | 2.052 | 191.122 | 2.1493 | 181.4427 | 4.6133 | 884 | 100 | 0.36733
2020-12-27 16:30:00 | 1.7493 | 166.98 | 1.816 | 166.0513 | 1.984 | 163.3067 | 2.0467 | 166.9013 | 4.5867 | 884 | 100 | 0.18467
2020-12-27 16:45:00 | 1.1153 | 145.36 | 1.0927 | 174.8133 | 1.228 | 142.1633 | 1.1567 | 175.7087 | 4.7267 | 884 | 100 | 0.047333
2020-12-27 17:00:00 | 1.1227 | 117.9733 | 1.1527 | 123.0727 | 1.2393 | 115.378 | 1.2593 | 123.702 | 4.7267 | 884 | 99.96 | 0
2020-12-27 17:15:00 | 1.3273 | 107.02 | 1.414 | 111.7007 | 1.6653 | 104.666 | 1.732 | 112.272 | 4.6333 | 884 | 99.54 | 0
2020-12-27 17:30:00 | 1.0787 | 111.3533 | 1.1827 | 125.3807 | 1.3807 | 108.904 | 1.4873 | 126.0207 | 4.7467 | 884 | 98.8267 | 0
2020-12-27 17:45:00 | 0.942 | 107.7667 | 1.096 | 116.304 | 1.1627 | 105.3967 | 1.3893 | 116.898 | 4.8667 | 884 | 97.6733 | 0
2020-12-27 18:00:00 | 0.90867 | 121.8667 | 0.93667 | 111.224 | 0.96333 | 119.186 | 1.0027 | 111.7933 | 4.6667 | 884 | 96.34 | 0
2020-12-27 18:15:00 | 0.858 | 143.5867 | 0.798 | 130.224 | 0.92667 | 140.4267 | 0.79533 | 130.8893 | 4.6733 | 884 | 96.1933 | 0
2020-12-27 18:30:00 | 0.70667 | 173.7867 | 0.64667 | 118.586 | 0.60067 | 169.9633 | 0.514 | 119.1913 | 4.68 | 884 | 95.8467 | 0
2020-12-27 18:45:00 | 0.62733 | 129.1067 | 0.614 | 147.096 | 0.772 | 126.2667 | 0.70667 | 147.8493 | 4.8067 | 884 | 96.16 | 0
2020-12-27 19:00:00 | 0.53733 | 161.36 | 0.57133 | 115.2007 | 0.66867 | 157.81 | 0.69267 | 115.7913 | 4.7333 | 884 | 95.6067 | 0
2020-12-27 19:15:00 | 0.49867 | 157.3333 | 0.562 | 168.2613 | 0.6 | 153.87 | 0.68867 | 169.122 | 4.9067 | 884.0667 | 95.1533 | 0
2020-12-27 19:30:00 | 0.61267 | 171.8333 | 0.62067 | 160.3 | 0.71933 | 168.054 | 0.702 | 161.12 | 4.9067 | 885 | 94.8133 | 0
2020-12-27 19:45:00 | 0.422 | 211.6067 | 0.40867 | 141.3853 | 0.50267 | 206.9507 | 0.45067 | 142.108 | 4.9267 | 885 | 94.7533 | 0
2020-12-27 20:00:00 | 0.45267 | 134.0733 | 0.43867 | 129.982 | 0.41 | 131.124 | 0.39667 | 130.6473 | 5.1933 | 885 | 94.86 | 0
2020-12-27 20:15:00 | 0.334 | 82.14 | 0.32267 | 132.4273 | 0.33267 | 80.3327 | 0.30867 | 133.104 | 5.2 | 885 | 94.8933 | 0
2020-12-27 20:30:00 | 0.39 | 88.36 | 0.378 | 136.6853 | 0.37667 | 86.416 | 0.35533 | 137.384 | 5.2267 | 885 | 95.2 | 0
2020-12-27 20:45:00 | 0.15933 | 119.32 | 0.18 | 216.4833 | 0.216 | 116.6953 | 0.238 | 217.5907 | 5.4 | 885 | 95.1933 | 0
2020-12-27 21:00:00 | 0.25933 | 150.2933 | 0.28067 | 273.5847 | 0.35867 | 146.9867 | 0.372 | 274.9853 | 5.4 | 885 | 95.8 | 0
2020-12-27 21:15:00 | 0.272 | 163.94 | 0.292 | 210.862 | 0.44933 | 160.3327 | 0.43467 | 211.942 | 5.4133 | 885 | 96.0667 | 0
2020-12-27 21:30:00 | 0.208 | 212.3867 | 0.20067 | 217.41 | 0.27933 | 207.7147 | 0.248 | 218.5213 | 5.4867 | 885 | 96.16 | 0
2020-12-27 21:45:00 | 0.278 | 165.8067 | 0.28333 | 187.9647 | 0.37667 | 162.158 | 0.35867 | 188.926 | 5.5867 | 885.0667 | 96.0333 | 0
2020-12-27 22:00:00 | 0.29267 | 305.4533 | 0.30067 | 201.6247 | 0.492 | 298.734 | 0.44867 | 205.2633 | 5.5333 | 886 | 95.7867 | 0
2020-12-27 22:15:00 | 0.42 | 297.8667 | 0.48267 | 289.924 | 0.59467 | 291.314 | 0.66133 | 291.4067 | 5.56 | 886 | 95.8067 | 0
2020-12-27 22:30:00 | 0.62067 | 247.8133 | 0.64333 | 315.6393 | 0.78267 | 242.3627 | 0.77933 | 317.254 | 5.4733 | 886 | 96.34 | 0
2020-12-27 22:45:00 | 0.64067 | 328.22 | 0.70467 | 305.932 | 0.92867 | 320.9987 | 0.96333 | 307.4967 | 5.38 | 886 | 97.8867 | 0
2020-12-27 23:00:00 | 1.1227 | 338.8267 | 1.1787 | 322.4927 | 1.518 | 331.3727 | 1.512 | 324.1407 | 5.22 | 886 | 98.3933 | 0
2020-12-27 23:15:00 | 1.638 | 335.6733 | 1.7207 | 329.474 | 1.942 | 328.2887 | 2.0127 | 331.1587 | 5.0867 | 886 | 98.66 | 0
2020-12-27 23:30:00 | 2.0487 | 334.5933 | 2.1533 | 318.3913 | 2.3447 | 327.2327 | 2.458 | 320.0193 | 5.0133 | 886 | 98.74 | 0
2020-12-27 23:45:00 | 2.44 | 333.3933 | 2.5833 | 293.8893 | 2.7693 | 326.0587 | 2.946 | 295.3927 | 4.9667 | 885.9333 | 98.88 | 0