## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-28 00:00:00 | 1.8187 | 273.3333 | 1.8633 | 310.9647 | 2.314 | 267.3193 | 2.258 | 312.556 | 5 | 885 | 99.04 | 0
2020-12-28 00:15:00 | 2.234 | 314.22 | 2.3373 | 319.8 | 2.724 | 307.306 | 2.7747 | 321.4347 | 4.8533 | 885 | 99.18 | 0.372
2020-12-28 00:30:00 | 2.1013 | 289.2333 | 2.164 | 314.172 | 2.6387 | 282.87 | 2.6013 | 315.7787 | 4.8267 | 885 | 99.3933 | 0.504
2020-12-28 00:45:00 | 1.8193 | 219.3333 | 1.8407 | 305.6387 | 2.266 | 214.5073 | 2.1787 | 307.2013 | 5.08 | 885 | 99.58 | 0
2020-12-28 01:00:00 | 1.9687 | 316.54 | 2.092 | 307.7167 | 2.1913 | 309.5773 | 2.3613 | 309.29 | 5.3467 | 885 | 99.7 | 0
2020-12-28 01:15:00 | 2.132 | 337.4133 | 2.204 | 296.1253 | 2.26 | 329.99 | 2.3607 | 297.638 | 5.3933 | 885 | 99.7733 | 0
2020-12-28 01:30:00 | 2.276 | 338.8 | 2.4053 | 310.0653 | 2.554 | 331.3467 | 2.72 | 311.6513 | 5.3733 | 885 | 99.8 | 0.175
2020-12-28 01:45:00 | 2.74 | 298.3733 | 2.8973 | 308.5847 | 3.2167 | 291.8093 | 3.378 | 310.1627 | 5.16 | 885 | 99.7333 | 2.0013
2020-12-28 02:00:00 | 2.546 | 320.0333 | 2.7227 | 311.9893 | 3.052 | 312.9927 | 3.2387 | 313.5827 | 5.02 | 885 | 99.84 | 1.4253
2020-12-28 02:15:00 | 2.2627 | 339.62 | 2.452 | 313.3313 | 2.8693 | 332.1493 | 3.052 | 314.9347 | 4.9267 | 885 | 99.9733 | 0.95933
2020-12-28 02:30:00 | 2.1447 | 329.7667 | 2.2087 | 315.7907 | 2.6533 | 322.5127 | 2.6267 | 317.404 | 5 | 885 | 100 | 0.4
2020-12-28 02:45:00 | 2.0207 | 264.02 | 2.1053 | 323.4193 | 2.5953 | 258.212 | 2.5887 | 325.0707 | 5.1067 | 884.2667 | 100 | 0.35267
2020-12-28 03:00:00 | 2.3807 | 296.1067 | 2.46 | 315.98 | 2.9627 | 289.5913 | 2.948 | 317.5947 | 5.1733 | 884 | 100 | 0.95267
2020-12-28 03:15:00 | 2.3293 | 141.9067 | 2.416 | 313.3513 | 2.8933 | 138.7853 | 2.896 | 314.954 | 5.2 | 884.7333 | 100 | 1.1313
2020-12-28 03:30:00 | 2.662 | 334.5067 | 2.8387 | 312.4893 | 3.2027 | 327.1473 | 3.382 | 314.088 | 4.8667 | 884.6 | 100 | 2.0793
2020-12-28 03:45:00 | 3.0773 | 334.64 | 3.272 | 317.0413 | 3.512 | 327.2773 | 3.7553 | 318.6633 | 4.7533 | 884 | 100 | 3.9627
2020-12-28 04:00:00 | 3.1473 | 330.2067 | 3.2813 | 317.4787 | 3.722 | 322.9407 | 3.8133 | 319.1027 | 4.6333 | 884 | 100 | 5.1327
2020-12-28 04:15:00 | 3.72 | 335.7067 | 3.9427 | 323.88 | 4.286 | 328.322 | 4.5433 | 325.538 | 4.76 | 884 | 100 | 6.276
2020-12-28 04:30:00 | 3.6073 | 336.4533 | 3.804 | 323.326 | 4.1947 | 329.0513 | 4.398 | 324.98 | 4.8733 | 884 | 100 | 6.4873
2020-12-28 04:45:00 | 3.7327 | 342.3933 | 3.9433 | 323.13 | 4.21 | 334.8593 | 4.4747 | 324.7833 | 4.92 | 884 | 100 | 6.8
2020-12-28 05:00:00 | 3.952 | 343 | 4.2047 | 323.6327 | 4.44 | 335.4533 | 4.782 | 325.2867 | 4.8733 | 884 | 100 | 8.052
2020-12-28 05:15:00 | 4.2773 | 337.2467 | 4.5793 | 321.606 | 4.7993 | 329.8267 | 5.2227 | 323.2493 | 4.6867 | 884 | 100 | 11.234
2020-12-28 05:30:00 | 4.74 | 344.02 | 5.0433 | 328.818 | 5.2907 | 336.452 | 5.7067 | 330.4973 | 4.6333 | 884 | 100 | 15.782
2020-12-28 05:45:00 | 5.012 | 350.72 | 5.3507 | 333.8167 | 5.526 | 343.004 | 6.0207 | 335.5227 | 4.4067 | 883.9333 | 100 | 19.4527
2020-12-28 06:00:00 | 5.028 | 351.4 | 5.366 | 331.7827 | 5.5833 | 343.67 | 6.0653 | 333.4787 | 4.46 | 883.4 | 100 | 19.1093
2020-12-28 06:15:00 | 5.0327 | 236.3067 | 5.324 | 330.0627 | 5.6753 | 231.1073 | 6.0373 | 331.75 | 4.48 | 883.9333 | 100 | 20.3553
2020-12-28 06:30:00 | 5.1307 | 321.1533 | 5.42 | 320.2693 | 5.9167 | 314.0873 | 6.238 | 321.9053 | 4.5 | 883.4 | 100 | 21.5987
2020-12-28 06:45:00 | 5.354 | 339.3333 | 5.654 | 325.5227 | 6.0567 | 331.8673 | 6.422 | 327.1893 | 4.6067 | 884 | 100 | 21.2127
2020-12-28 07:00:00 | 5.4027 | 341.0933 | 5.7367 | 325.576 | 5.8993 | 333.588 | 6.3907 | 327.24 | 4.6333 | 884 | 100 | 23.0813
2020-12-28 07:15:00 | 5.7233 | 339.1667 | 6.0913 | 329.3187 | 6.2933 | 331.7053 | 6.8273 | 331.002 | 4.5133 | 884 | 100 | 28.578
2020-12-28 07:30:00 | 5.8493 | 345.4533 | 6.228 | 324.7613 | 6.18 | 337.854 | 6.8033 | 326.422 | 4.6067 | 884 | 99.6867 | 30.0073
2020-12-28 07:45:00 | 6.11 | 317.7333 | 6.4913 | 331.0267 | 6.6187 | 310.7433 | 7.194 | 332.7187 | 4.6467 | 884 | 98.6333 | 36.5007
2020-12-28 08:00:00 | 6.2887 | 342.8867 | 6.7453 | 330.0627 | 6.8333 | 335.344 | 7.544 | 331.7487 | 4.7933 | 884 | 98.44 | 37.5107
2020-12-28 08:15:00 | 6.6367 | 343.3867 | 7.1473 | 329.0327 | 7.2547 | 335.8327 | 8.0453 | 330.7147 | 4.72 | 884 | 98.4 | 42.6393
2020-12-28 08:30:00 | 6.656 | 344.68 | 7.1427 | 331.6187 | 7.2267 | 337.098 | 7.986 | 333.3167 | 4.8 | 884.4 | 97.5067 | 41.558
2020-12-28 08:45:00 | 6.8173 | 319.3533 | 7.3047 | 332.9827 | 7.3653 | 312.3267 | 8.132 | 334.686 | 4.74 | 885 | 95.1867 | 44.1973
2020-12-28 09:00:00 | 6.7707 | 343.4133 | 7.2833 | 326.078 | 7.3913 | 335.8593 | 8.182 | 327.746 | 4.5667 | 885 | 93.8133 | 45.1107
2020-12-28 09:15:00 | 6.8533 | 300.42 | 7.334 | 331.4307 | 7.5327 | 293.81 | 8.252 | 333.126 | 4.7133 | 885 | 92.3667 | 43.776
2020-12-28 09:30:00 | 7.1393 | 344.4067 | 7.638 | 331.7 | 7.7987 | 336.83 | 8.56 | 333.3953 | 4.8267 | 885 | 92.6333 | 48.2713
2020-12-28 09:45:00 | 6.9467 | 345.9333 | 7.456 | 334.6787 | 7.6673 | 338.3227 | 8.424 | 336.39 | 4.9533 | 885 | 92.1667 | 48.256
2020-12-28 10:00:00 | 6.8713 | 296.5067 | 7.35 | 327.63 | 7.6487 | 289.9827 | 8.334 | 329.3067 | 4.9667 | 885 | 90.5933 | 47.7813
2020-12-28 10:15:00 | 6.94 | 339 | 7.5107 | 327.8327 | 7.4873 | 331.542 | 8.414 | 329.5087 | 5.04 | 885.7333 | 88.6133 | 45.052
2020-12-28 10:30:00 | 6.606 | 342.8667 | 7.166 | 326.4887 | 7.4087 | 335.3233 | 8.2353 | 328.1587 | 5.1133 | 886 | 88.94 | 42.8827
2020-12-28 10:45:00 | 6.6807 | 319.04 | 7.1527 | 332.572 | 7.318 | 312.02 | 8.0327 | 334.2727 | 5.22 | 886 | 88.0667 | 41.5993
2020-12-28 11:00:00 | 6.3467 | 296.4667 | 6.7787 | 326.4693 | 7.0713 | 289.9447 | 7.6813 | 328.1393 | 5.1667 | 886 | 87.22 | 40.046
2020-12-28 11:15:00 | 6.3467 | 321.8133 | 6.76 | 328.4913 | 6.8927 | 314.7327 | 7.524 | 330.17 | 5.2067 | 886 | 86.42 | 40.1113
2020-12-28 11:30:00 | 6.0727 | 343.04 | 6.42 | 328.7253 | 6.5047 | 335.492 | 7.042 | 330.4053 | 5.36 | 886 | 84.4067 | 37.9087
2020-12-28 11:45:00 | 6.1067 | 343.84 | 6.5293 | 324.7487 | 6.726 | 336.2747 | 7.3487 | 326.4093 | 5.4733 | 886 | 83.2067 | 39.1847
2020-12-28 12:00:00 | 6.2273 | 345.1267 | 6.6553 | 324.5073 | 6.96 | 337.5327 | 7.5587 | 326.1653 | 5.3933 | 886 | 82.5533 | 41.6373
2020-12-28 12:15:00 | 6.4847 | 302.0467 | 6.9313 | 325.134 | 7.2467 | 295.402 | 7.87 | 326.7953 | 5.36 | 885.2667 | 83.5667 | 43.9887
2020-12-28 12:30:00 | 6.5453 | 323.0867 | 6.9487 | 327.5787 | 7.2353 | 315.978 | 7.802 | 329.2513 | 5.48 | 885 | 82.1 | 44.5927
2020-12-28 12:45:00 | 6.64 | 276.5533 | 6.9973 | 326.1227 | 7.4253 | 270.4687 | 7.8787 | 327.792 | 5.5467 | 885 | 80.772 | 46.8407
2020-12-28 13:00:00 | 6.922 | 255.32 | 7.4687 | 334.672 | 7.8213 | 249.7033 | 8.5973 | 336.3827 | 5.5467 | 884.6 | 80.5947 | 50.4687
2020-12-28 13:15:00 | 6.7873 | 298.1333 | 7.3727 | 331.3727 | 7.796 | 291.5733 | 8.6133 | 333.0667 | 5.5 | 884 | 80.7067 | 52.0687
2020-12-28 13:30:00 | 7.2907 | 303.3933 | 7.824 | 313.3073 | 8.308 | 296.718 | 9.022 | 314.9073 | 5.68 | 884 | 80.1653 | 53.7847
2020-12-28 13:45:00 | 7.2387 | 303.8933 | 7.7833 | 332.122 | 8.3493 | 297.2073 | 9.0587 | 333.82 | 5.7 | 883.9333 | 78.9927 | 54.716
2020-12-28 14:00:00 | 7.6027 | 232.9867 | 8.0967 | 290.3233 | 8.5627 | 227.862 | 9.224 | 291.8073 | 5.8133 | 883 | 77.5113 | 55.2047
2020-12-28 14:15:00 | 7.196 | 302.1333 | 7.6873 | 334.9393 | 8.278 | 295.4853 | 8.8953 | 336.6507 | 5.8533 | 883 | 75.8373 | 53.3073
2020-12-28 14:30:00 | 7.7327 | 301.7467 | 8.26 | 291.5493 | 8.862 | 295.1093 | 9.5353 | 293.038 | 5.86 | 883 | 75.2087 | 54.6387
2020-12-28 14:45:00 | 6.8293 | 254.6 | 7.2413 | 333.4667 | 7.8347 | 248.9993 | 8.324 | 335.1693 | 5.86 | 883 | 74.542 | 52.184
2020-12-28 15:00:00 | 6.8547 | 301.82 | 7.2787 | 329.756 | 7.6813 | 295.18 | 8.2473 | 331.4407 | 5.92 | 883 | 74.6673 | 50.388
2020-12-28 15:15:00 | 6.758 | 253.3267 | 7.158 | 338.3607 | 7.748 | 247.754 | 8.218 | 340.0907 | 5.96 | 883 | 74.6453 | 50.9007
2020-12-28 15:30:00 | 7.1893 | 253.5733 | 7.604 | 335.1367 | 7.992 | 247.9953 | 8.5413 | 336.8487 | 6.0667 | 883 | 73.4073 | 52.804
2020-12-28 15:45:00 | 7.1367 | 275.4133 | 7.5693 | 291.1167 | 8.1227 | 269.3553 | 8.6587 | 292.6067 | 6.06 | 883 | 73.1467 | 52.282
2020-12-28 16:00:00 | 7 | 229.9933 | 7.4487 | 335.662 | 7.9347 | 224.932 | 8.518 | 337.3793 | 6.1067 | 883 | 72.254 | 51.0427
2020-12-28 16:15:00 | 7.3413 | 209.0267 | 7.8273 | 288.4647 | 8.292 | 204.4273 | 8.9407 | 289.94 | 6.1333 | 883 | 71.422 | 55.7047
2020-12-28 16:30:00 | 7.162 | 303.5467 | 7.6107 | 307.908 | 8.112 | 296.8693 | 8.69 | 309.482 | 6.1533 | 883 | 70.814 | 55.046
2020-12-28 16:45:00 | 7.3127 | 253.04 | 7.854 | 332.5393 | 8.2713 | 247.474 | 9.0227 | 334.24 | 6.1533 | 883 | 69.342 | 55.0267
2020-12-28 17:00:00 | 7.436 | 232.5667 | 7.878 | 333.61 | 8.3133 | 227.4507 | 8.9007 | 335.3153 | 6.2 | 883 | 68.7693 | 56.4113
2020-12-28 17:15:00 | 8.2193 | 280.5067 | 8.762 | 330.774 | 9.3093 | 274.3367 | 10.024 | 332.4647 | 6.2933 | 883 | 67.738 | 57.448
2020-12-28 17:30:00 | 7.9393 | 341.8267 | 8.5407 | 332.0113 | 9.0807 | 334.308 | 9.8913 | 333.7087 | 6.2867 | 883 | 65.866 | 56.4273
2020-12-28 17:45:00 | 8.0153 | 300.1 | 8.588 | 290.6693 | 9.304 | 293.498 | 10.018 | 292.154 | 6.3067 | 883 | 65.4 | 59.0873
2020-12-28 18:00:00 | 9.0007 | 255.16 | 9.64 | 288.5287 | 10.4867 | 249.5467 | 11.2713 | 290.0047 | 6.3733 | 883 | 64.2767 | 58.37
2020-12-28 18:15:00 | 8.8967 | 296.16 | 9.4827 | 312.5027 | 10.0753 | 289.6447 | 10.8487 | 314.1007 | 6.3667 | 883.7333 | 62.868 | 57.9853
2020-12-28 18:30:00 | 9.2227 | 233.7267 | 9.88 | 307.262 | 10.696 | 228.5853 | 11.516 | 308.832 | 6.3533 | 884 | 62.338 | 55.93
2020-12-28 18:45:00 | 9.1473 | 299.7667 | 9.7167 | 286.1173 | 10.4507 | 293.1707 | 11.1547 | 287.5787 | 6.3867 | 884 | 61.192 | 58.2027
2020-12-28 19:00:00 | 9.2833 | 211.58 | 9.87 | 328.2873 | 10.768 | 206.9247 | 11.454 | 329.9673 | 6.42 | 884.4 | 59.3887 | 57.8273
2020-12-28 19:15:00 | 9.6293 | 278.6533 | 10.3227 | 289.664 | 10.9693 | 272.524 | 11.898 | 291.1447 | 6.5267 | 885 | 58.1733 | 56.7893
2020-12-28 19:30:00 | 10.0113 | 231.4133 | 10.9293 | 306.512 | 11.934 | 226.3227 | 13.118 | 308.0793 | 6.5467 | 885 | 56.4247 | 56.4147
2020-12-28 19:45:00 | 10.432 | 299.5067 | 11.298 | 329.7113 | 12.1673 | 292.9173 | 13.3047 | 331.3953 | 6.52 | 885 | 55.366 | 54.7907
2020-12-28 20:00:00 | 10.6253 | 294.28 | 11.282 | 284.8773 | 11.944 | 287.806 | 12.8047 | 286.3333 | 6.5733 | 885 | 53.654 | 54.4967
2020-12-28 20:15:00 | 10.8567 | 255.2867 | 11.5087 | 307.4447 | 12.176 | 249.67 | 13.0313 | 309.016 | 6.52 | 885.7333 | 53.5067 | 50.662
2020-12-28 20:30:00 | 10.5533 | 255.6933 | 11.26 | 263.2773 | 12.1433 | 250.0687 | 13.0213 | 264.6247 | 6.52 | 886 | 52.8993 | 52.252
2020-12-28 20:45:00 | 10.3093 | 282.1133 | 11.0527 | 309.5433 | 11.6413 | 275.906 | 12.6673 | 311.1253 | 6.5067 | 886 | 50.8973 | 51.988
2020-12-28 21:00:00 | 9.7433 | 299.0533 | 10.4893 | 293.282 | 11.332 | 292.474 | 12.2853 | 294.782 | 6.5067 | 886 | 49.944 | 49.7533
2020-12-28 21:15:00 | 9.9933 | 211.5867 | 10.7107 | 248.0607 | 11.5433 | 206.9313 | 12.46 | 249.3287 | 6.4667 | 886.7333 | 49.752 | 51.3633
2020-12-28 21:30:00 | 10.6493 | 236.3 | 11.51 | 246.502 | 12.256 | 231.102 | 13.42 | 247.7613 | 6.42 | 886.6 | 47.8713 | 51.9087
2020-12-28 21:45:00 | 11.7953 | 253.6933 | 12.7 | 309.562 | 13.3613 | 248.1127 | 14.6213 | 311.1453 | 6.3333 | 886.0667 | 47.122 | 49.156
2020-12-28 22:00:00 | 12.1753 | 252.8933 | 12.8927 | 329.4087 | 13.4713 | 247.33 | 14.458 | 331.094 | 6.3 | 887 | 47.604 | 46.4387
2020-12-28 22:15:00 | 11.4993 | 253.3133 | 12.0967 | 288.3467 | 12.6387 | 247.7413 | 13.4507 | 289.8213 | 6.1533 | 887 | 47.63 | 43.6913
2020-12-28 22:30:00 | 12.0333 | 258.26 | 12.7873 | 326.2547 | 13.55 | 252.5793 | 14.544 | 327.9227 | 5.88 | 887 | 48.566 | 44.6187
2020-12-28 22:45:00 | 11.7273 | 303.52 | 12.3933 | 328.9593 | 13.1153 | 296.842 | 13.98 | 330.6433 | 5.78 | 887.0667 | 49.72 | 42.186
2020-12-28 23:00:00 | 11.7607 | 235.56 | 12.3927 | 308.3687 | 13.008 | 230.376 | 13.8513 | 309.946 | 5.74 | 887.6 | 49.186 | 40.7653
2020-12-28 23:15:00 | 11.6653 | 256.16 | 12.5787 | 224.38 | 13.3687 | 250.5247 | 14.6087 | 225.526 | 5.6 | 887 | 49.276 | 39.7807
2020-12-28 23:30:00 | 12.0613 | 254.1533 | 13.0613 | 292.9567 | 13.7273 | 248.5627 | 15.1413 | 294.454 | 5.3333 | 887 | 50.874 | 35.9813
2020-12-28 23:45:00 | 12.2767 | 148.4 | 13.1833 | 286.9793 | 13.6467 | 145.136 | 14.9727 | 288.4453 | 5.22 | 887.7333 | 51.2353 | 39.408