## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-29 00:00:00 | 10.7773 | 257.02 | 11.5827 | 333.4913 | 12.552 | 251.3653 | 13.5647 | 335.1967 | 5.1267 | 888.4 | 50.742 | 39.032
2020-12-29 00:15:00 | 11.0887 | 257.6333 | 11.968 | 291.4447 | 12.7907 | 251.966 | 13.9613 | 292.934 | 5.0133 | 888.2667 | 50.2527 | 41.7773
2020-12-29 00:30:00 | 11.3593 | 233.4333 | 12.2467 | 201.0107 | 13.0967 | 228.2973 | 14.274 | 202.0387 | 4.96 | 888 | 50.4407 | 41.288
2020-12-29 00:45:00 | 11.3373 | 253.7133 | 12.234 | 296.2233 | 13.292 | 248.1313 | 14.4247 | 297.7373 | 4.8467 | 888 | 50.7273 | 41.6987
2020-12-29 01:00:00 | 11.3 | 278.3067 | 12.1233 | 182.1107 | 13.5533 | 272.184 | 14.4607 | 183.042 | 4.7733 | 888 | 50.8033 | 40.176
2020-12-29 01:15:00 | 11.348 | 166.3733 | 12.13 | 288.9267 | 13.1193 | 162.7133 | 14.0893 | 290.404 | 4.6867 | 888 | 50.792 | 39.074
2020-12-29 01:30:00 | 11.552 | 234.22 | 12.4553 | 226.9867 | 13.4827 | 229.0673 | 14.6393 | 228.1473 | 4.6067 | 888 | 50.606 | 40.29
2020-12-29 01:45:00 | 10.7547 | 235.6 | 11.6 | 286.4113 | 12.716 | 230.4173 | 13.7527 | 287.8753 | 4.5 | 888.0667 | 51.4613 | 43.358
2020-12-29 02:00:00 | 10.7307 | 235.4733 | 11.6113 | 268.4087 | 12.7093 | 230.2927 | 13.8053 | 269.782 | 4.42 | 889 | 51.786 | 41.5247
2020-12-29 02:15:00 | 10.8133 | 233.3467 | 11.622 | 201.1353 | 12.96 | 228.2127 | 13.868 | 202.1633 | 4.2867 | 889 | 52.4673 | 40.9673
2020-12-29 02:30:00 | 11.3007 | 304.14 | 12.2027 | 203.6847 | 13.2947 | 297.4487 | 14.428 | 204.726 | 4.1467 | 888.6 | 53.1013 | 41.8113
2020-12-29 02:45:00 | 11.9287 | 233.4733 | 12.7293 | 288.784 | 13.618 | 228.3367 | 14.6487 | 290.2607 | 4.0267 | 888.7333 | 52.376 | 39.5213
2020-12-29 03:00:00 | 12.77 | 232.3733 | 13.258 | 326.3387 | 13.9773 | 227.26 | 14.556 | 328.0073 | 3.9 | 889 | 52.148 | 33.4767
2020-12-29 03:15:00 | 12.3493 | 276.46 | 12.9553 | 328.0413 | 14.2667 | 270.3773 | 14.8647 | 329.7187 | 3.8 | 889 | 51.446 | 33.8487
2020-12-29 03:30:00 | 12.86 | 209.18 | 13.516 | 331.3593 | 14.7193 | 204.578 | 15.4247 | 333.0533 | 3.74 | 889 | 49.6327 | 34.12
2020-12-29 03:45:00 | 11.7327 | 190.2267 | 12.3233 | 329.1233 | 13.09 | 186.0407 | 13.8233 | 330.8053 | 3.5867 | 889 | 48.7793 | 36.5007
2020-12-29 04:00:00 | 12.254 | 233.08 | 12.822 | 309.8033 | 13.8547 | 227.9527 | 14.4753 | 311.3867 | 3.5667 | 889 | 48.0693 | 35.604
2020-12-29 04:15:00 | 12.1013 | 279.28 | 12.6087 | 329.918 | 13.1987 | 273.1353 | 13.8547 | 331.6047 | 3.48 | 889 | 48.284 | 35.7393
2020-12-29 04:30:00 | 11.3447 | 254.88 | 11.9153 | 285.334 | 12.9653 | 249.2733 | 13.5827 | 286.7927 | 3.42 | 889 | 47.9307 | 34.2373
2020-12-29 04:45:00 | 11.4527 | 320.4 | 11.9813 | 308.1747 | 13.3087 | 313.35 | 13.7773 | 309.7487 | 3.4 | 889.7333 | 47.046 | 33.598
2020-12-29 05:00:00 | 12.4993 | 260.82 | 13.146 | 306.3547 | 13.8807 | 255.0827 | 14.716 | 307.92 | 3.2467 | 889.6 | 46.3733 | 33.7673
2020-12-29 05:15:00 | 12.506 | 233.8667 | 13.2653 | 307.77 | 14.1553 | 228.722 | 15.1207 | 309.3433 | 3.1267 | 889 | 46.2867 | 31.7967
2020-12-29 05:30:00 | 12.4233 | 191.2867 | 13.0167 | 310.346 | 14.0833 | 187.0787 | 14.7293 | 311.9327 | 3.0667 | 889.4 | 46.3487 | 33.9113
2020-12-29 05:45:00 | 11.2793 | 303.8133 | 12.032 | 326.0127 | 13.006 | 297.13 | 13.9307 | 327.6807 | 2.9933 | 890 | 46.5947 | 35.1087
2020-12-29 06:00:00 | 11.9147 | 210.3267 | 12.8987 | 223.096 | 14.9247 | 205.6987 | 15.914 | 224.236 | 2.8333 | 889.6 | 46.776 | 30.8487
2020-12-29 06:15:00 | 12.164 | 232.2533 | 12.9793 | 309.484 | 14.2347 | 227.1427 | 15.18 | 311.068 | 2.7067 | 889.7333 | 47.9773 | 31.204
2020-12-29 06:30:00 | 12.446 | 277.6333 | 13.0553 | 306.354 | 14.3587 | 271.5247 | 14.9607 | 307.9207 | 2.4533 | 890 | 48.948 | 33.0893
2020-12-29 06:45:00 | 12.084 | 257.6067 | 12.4947 | 309.674 | 13.2333 | 251.94 | 13.686 | 311.258 | 2.2333 | 890 | 50.6573 | 32.3347
2020-12-29 07:00:00 | 12.008 | 255.22 | 12.4993 | 330.7313 | 13.7633 | 249.6067 | 14.1907 | 332.424 | 1.96 | 890 | 52.964 | 31.6087
2020-12-29 07:15:00 | 11.4353 | 209.7 | 11.8173 | 289.3967 | 12.8627 | 205.0853 | 13.18 | 290.8753 | 1.8933 | 890.0667 | 54.2353 | 30.58
2020-12-29 07:30:00 | 11.2673 | 167.1267 | 11.6573 | 310.718 | 12.6093 | 163.45 | 12.9667 | 312.3047 | 1.76 | 891 | 54.888 | 30.1347
2020-12-29 07:45:00 | 11.7027 | 275.1333 | 12.1887 | 305.7367 | 13.2813 | 269.0807 | 13.7487 | 307.2973 | 1.82 | 891 | 54.9947 | 32.2007
2020-12-29 08:00:00 | 11.28 | 252.8067 | 11.6693 | 308.9033 | 12.8213 | 247.2447 | 13.1187 | 310.484 | 1.8267 | 891 | 54.3873 | 31.3447
2020-12-29 08:15:00 | 10.6173 | 210.3933 | 11.0213 | 327.0107 | 11.876 | 205.764 | 12.282 | 328.682 | 1.8067 | 891.7333 | 53.2287 | 32.1447
2020-12-29 08:30:00 | 10.8787 | 255.8867 | 11.4607 | 286.9907 | 12.3753 | 250.258 | 13.0467 | 288.458 | 1.7533 | 892 | 52.3013 | 32.6987
2020-12-29 08:45:00 | 10.7313 | 231.0067 | 11.398 | 325.614 | 12.514 | 225.9247 | 13.2593 | 327.2813 | 1.78 | 892 | 51.2787 | 32.4647
2020-12-29 09:00:00 | 10.1347 | 214.7267 | 10.7213 | 330.5713 | 11.752 | 210.0033 | 12.3953 | 332.2607 | 1.8267 | 892 | 50.4633 | 31.416
2020-12-29 09:15:00 | 10.492 | 279.1333 | 11.2053 | 333.9933 | 12.234 | 272.9913 | 13.0833 | 335.7013 | 1.92 | 892.7333 | 49.2527 | 31.3733
2020-12-29 09:30:00 | 12.046 | 147.7533 | 12.5973 | 325.824 | 13.856 | 144.5033 | 14.38 | 327.49 | 1.9667 | 893 | 48.2593 | 31.352
2020-12-29 09:45:00 | 10.3847 | 166.34 | 10.9627 | 287.5193 | 12.2367 | 162.6807 | 12.7953 | 288.9887 | 1.9867 | 893.0667 | 46.678 | 32.01
2020-12-29 10:00:00 | 10.23 | 260.1467 | 10.9673 | 182.6513 | 12.3167 | 254.424 | 13.11 | 183.5853 | 2.02 | 894 | 45.52 | 36.232
2020-12-29 10:15:00 | 10.3013 | 237.62 | 10.8187 | 286.5407 | 11.4707 | 232.392 | 12.1173 | 288.006 | 2.04 | 894.0667 | 44.0293 | 37.1553
2020-12-29 10:30:00 | 10.634 | 234.1667 | 11.2027 | 305.4113 | 12.5867 | 229.0153 | 13.1007 | 306.972 | 2.0133 | 895 | 42.3013 | 38.3927
2020-12-29 10:45:00 | 10.0607 | 217.8133 | 10.6753 | 284.0813 | 11.5673 | 213.022 | 12.298 | 285.5353 | 2.16 | 895.0667 | 40.7573 | 41.948
2020-12-29 11:00:00 | 9.71 | 191.6267 | 10.38 | 227.568 | 11.3187 | 187.4107 | 12.122 | 228.7307 | 2.26 | 896 | 39.852 | 42.7587
2020-12-29 11:15:00 | 9.4647 | 167.8733 | 10.1513 | 205.3793 | 10.958 | 164.18 | 11.8287 | 206.43 | 2.3933 | 896 | 39.642 | 43.8653
2020-12-29 11:30:00 | 8.872 | 235.6867 | 9.3773 | 317.3727 | 10.3693 | 230.5007 | 10.8927 | 318.998 | 2.6467 | 896 | 38.7607 | 44.4627
2020-12-29 11:45:00 | 8.924 | 237.4733 | 9.5387 | 228.2593 | 10.1913 | 232.2487 | 10.9867 | 229.4253 | 2.8933 | 896 | 37.2007 | 48.2333
2020-12-29 12:00:00 | 9.0107 | 237.5667 | 9.588 | 252.0693 | 10.2507 | 232.3393 | 10.988 | 253.36 | 2.9933 | 896 | 35.7247 | 51.824
2020-12-29 12:15:00 | 7.7107 | 212.54 | 8.0673 | 251.1247 | 8.62 | 207.8633 | 9.0327 | 252.4087 | 3.0533 | 896.7333 | 35.5107 | 49.9533
2020-12-29 12:30:00 | 7.084 | 167.6667 | 7.5807 | 140.6427 | 8.244 | 163.9793 | 8.8473 | 141.3607 | 3.36 | 897 | 35.99 | 49.618
2020-12-29 12:45:00 | 8.0527 | 277.6 | 8.534 | 291.8173 | 9.4993 | 271.4927 | 9.9967 | 293.3067 | 3.3133 | 896.2667 | 34.7347 | 48.5973
2020-12-29 13:00:00 | 8.3347 | 169.2267 | 8.7713 | 204.3367 | 9.3033 | 165.5033 | 9.8553 | 205.3813 | 3.3333 | 896 | 33.6087 | 48.7487
2020-12-29 13:15:00 | 7.208 | 256.9 | 7.694 | 257.762 | 8.0973 | 251.248 | 8.7627 | 259.0793 | 3.7267 | 896.0667 | 32.0993 | 44.6487
2020-12-29 13:30:00 | 6.3907 | 109.0933 | 6.5247 | 146.0033 | 7.002 | 106.6927 | 7.08 | 146.7473 | 3.82 | 897 | 31.486 | 43.928
2020-12-29 13:45:00 | 5.9373 | 88.06 | 6.1373 | 188.682 | 6.5707 | 86.122 | 6.7667 | 189.6473 | 3.8867 | 897 | 30.576 | 44.79
2020-12-29 14:00:00 | 5.8907 | 109.7733 | 6.2453 | 144.9913 | 6.4287 | 107.358 | 6.9473 | 145.7327 | 4.0067 | 897 | 29.9053 | 45.4053
2020-12-29 14:15:00 | 5.9907 | 112.6533 | 6.2393 | 165.236 | 6.7973 | 110.1747 | 7.0347 | 166.08 | 4.1533 | 897 | 29.4013 | 44.2353
2020-12-29 14:30:00 | 6.494 | 105.7733 | 6.836 | 230.4233 | 7.2167 | 103.446 | 7.6607 | 231.6007 | 4.1533 | 896.6 | 29.2027 | 46.1107
2020-12-29 14:45:00 | 7.3693 | 192.9467 | 7.8553 | 77.7447 | 8.594 | 188.7027 | 9.1593 | 78.142 | 4.0533 | 896 | 28.7773 | 50.0787
2020-12-29 15:00:00 | 7.256 | 166.1 | 7.7067 | 141.1387 | 8.2053 | 162.4453 | 8.786 | 141.86 | 4.06 | 896 | 28.5033 | 46.748
2020-12-29 15:15:00 | 7.0313 | 167.6933 | 7.5333 | 230.3973 | 8.13 | 164.0047 | 8.762 | 231.576 | 4.22 | 896 | 28.1747 | 50.6407
2020-12-29 15:30:00 | 7.1587 | 167.38 | 7.598 | 57.5267 | 8.0513 | 163.6973 | 8.6313 | 57.8187 | 4.3 | 896 | 28.1347 | 47.1867
2020-12-29 15:45:00 | 6.3913 | 123.9133 | 6.73 | 143.114 | 7.1267 | 121.1887 | 7.5567 | 143.8447 | 4.4267 | 896 | 28.0373 | 44.6587
2020-12-29 16:00:00 | 5.7193 | 152.1533 | 5.96 | 252.5893 | 6.4313 | 148.8067 | 6.6833 | 253.8827 | 4.6267 | 896 | 27.9147 | 38.7727
2020-12-29 16:15:00 | 5.5933 | 212.8467 | 5.8547 | 164.6033 | 6.2087 | 208.1647 | 6.5307 | 165.4453 | 4.72 | 896.0667 | 28.072 | 35.0073
2020-12-29 16:30:00 | 5.666 | 172.28 | 6.0053 | 209.4027 | 6.184 | 168.49 | 6.678 | 210.474 | 4.8533 | 897 | 28.09 | 32.0607
2020-12-29 16:45:00 | 5.7133 | 212.7 | 5.888 | 250.3613 | 6.3893 | 208.02 | 6.5267 | 251.6427 | 4.7267 | 897 | 28.9267 | 36.81
2020-12-29 17:00:00 | 5.8967 | 189.9533 | 6.2033 | 233.3787 | 6.5667 | 185.7753 | 6.9573 | 234.5713 | 4.7133 | 897 | 30.3213 | 38.8667
2020-12-29 17:15:00 | 5.568 | 216.7267 | 5.7093 | 165.462 | 6.166 | 211.9587 | 6.2653 | 166.3087 | 4.6533 | 896.2667 | 32.6627 | 36.7907
2020-12-29 17:30:00 | 5.1067 | 209.6067 | 5.368 | 269.582 | 5.652 | 204.9953 | 5.9913 | 270.9613 | 4.5067 | 896 | 33.8047 | 35.8107
2020-12-29 17:45:00 | 5.0853 | 189.88 | 5.3573 | 266.4653 | 5.754 | 185.7033 | 6.074 | 267.828 | 4.3533 | 896 | 34.528 | 35.3853
2020-12-29 18:00:00 | 5.5993 | 276.7867 | 5.924 | 248.7953 | 6.26 | 270.6967 | 6.6867 | 250.0687 | 4.0867 | 896 | 35.4567 | 38.1193
2020-12-29 18:15:00 | 5.5573 | 256.7733 | 5.8527 | 271.688 | 6.2547 | 251.1253 | 6.612 | 273.0767 | 3.8533 | 896 | 36.522 | 36.7453
2020-12-29 18:30:00 | 5.466 | 283.5733 | 5.7533 | 294.952 | 6.1173 | 277.334 | 6.472 | 296.4593 | 3.6067 | 896 | 36.878 | 37.216
2020-12-29 18:45:00 | 5.848 | 214.82 | 6.158 | 254.404 | 6.56 | 210.094 | 6.9433 | 255.7047 | 3.3867 | 896 | 36.9733 | 39.8093
2020-12-29 19:00:00 | 5.5413 | 164.8733 | 5.932 | 208.9807 | 6.1513 | 161.246 | 6.718 | 210.0473 | 3.2133 | 896.4 | 37.1387 | 40.1167
2020-12-29 19:15:00 | 5.2407 | 197.0867 | 5.59 | 206.3067 | 6.1087 | 192.7513 | 6.5167 | 207.3607 | 3.08 | 897 | 36.7693 | 38.2393
2020-12-29 19:30:00 | 5.342 | 123.9667 | 5.7333 | 121.7287 | 6.1653 | 121.2387 | 6.6687 | 122.3507 | 3.0333 | 897 | 36.13 | 31.69
2020-12-29 19:45:00 | 5.228 | 130.7067 | 5.574 | 78.0053 | 6.0773 | 127.8313 | 6.4867 | 78.4033 | 2.9067 | 897 | 35.4107 | 25.2953
2020-12-29 20:00:00 | 4.5693 | 192.1733 | 4.9127 | 143.8847 | 5.49 | 187.944 | 5.8753 | 144.6193 | 2.7867 | 897.4 | 35.812 | 18.8447
2020-12-29 20:15:00 | 4.32 | 58.56 | 4.6033 | 319.2 | 4.9753 | 57.272 | 5.3227 | 320.832 | 2.5667 | 898 | 37.21 | 17.6307
2020-12-29 20:30:00 | 3.6247 | 194.4533 | 3.746 | 296.0993 | 3.9013 | 190.1753 | 4.0547 | 297.614 | 2.5533 | 898 | 38.5973 | 12.2133
2020-12-29 20:45:00 | 4.7107 | 55.3667 | 4.972 | 231.004 | 5.1413 | 54.1487 | 5.5133 | 232.1853 | 2.52 | 898 | 38.2427 | 23.8233
2020-12-29 21:00:00 | 4.964 | 61.0733 | 5.2 | 296.816 | 5.4747 | 59.7307 | 5.776 | 298.334 | 2.3333 | 898 | 37.984 | 30.7147
2020-12-29 21:15:00 | 4.1533 | 104.3933 | 4.3287 | 293.0227 | 4.5607 | 102.098 | 4.774 | 294.5193 | 2.2267 | 898.0667 | 40.2287 | 20.9867
2020-12-29 21:30:00 | 4.6127 | 107.8333 | 4.8367 | 317.582 | 5.308 | 105.4613 | 5.5333 | 319.2067 | 2.2333 | 899 | 40.6207 | 25.328
2020-12-29 21:45:00 | 4.8873 | 212.7067 | 5.1447 | 336.7507 | 5.4273 | 208.0267 | 5.758 | 338.4727 | 2.16 | 899 | 41.204 | 24.6367
2020-12-29 22:00:00 | 4.894 | 236.7067 | 5.1153 | 330.8893 | 5.268 | 231.4987 | 5.5793 | 332.582 | 1.9867 | 899 | 41.4173 | 26.626
2020-12-29 22:15:00 | 4.676 | 282.2467 | 4.9173 | 314.2253 | 4.9967 | 276.0373 | 5.3593 | 315.83 | 2.0133 | 899 | 42.4167 | 23.8767
2020-12-29 22:30:00 | 4.8047 | 213.76 | 5.084 | 331.752 | 5.3293 | 209.0573 | 5.7047 | 333.448 | 1.82 | 899 | 42.682 | 25.058
2020-12-29 22:45:00 | 4.8273 | 168.7933 | 5.1627 | 335.2773 | 5.2547 | 165.0793 | 5.772 | 336.992 | 1.6667 | 899 | 43.3853 | 28.0407
2020-12-29 23:00:00 | 5.0427 | 277.9867 | 5.374 | 326.5673 | 5.5807 | 271.8707 | 6.0547 | 328.238 | 1.64 | 899 | 43.4967 | 28.8673
2020-12-29 23:15:00 | 4.99 | 256.68 | 5.302 | 327.9033 | 5.5467 | 251.032 | 5.9753 | 329.58 | 1.5733 | 899 | 43.2353 | 32.4053
2020-12-29 23:30:00 | 5.0827 | 324.08 | 5.47 | 329.7347 | 5.7073 | 316.95 | 6.2587 | 331.4233 | 1.34 | 899 | 43.9973 | 32.9767
2020-12-29 23:45:00 | 5.6587 | 321.9933 | 6.024 | 333.642 | 6.2273 | 314.91 | 6.7573 | 335.3467 | 1.3533 | 899 | 44.6893 | 37.9947