## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-30 00:00:00 | 5.678 | 259.2067 | 5.9733 | 330.342 | 6.2127 | 253.504 | 6.6227 | 332.0313 | 1.3467 | 899 | 43.6453 | 39.8393
2020-12-30 00:15:00 | 5.7573 | 280.3667 | 6.0507 | 331.9987 | 5.98 | 274.198 | 6.4747 | 333.696 | 1.2467 | 899 | 42.726 | 39.548
2020-12-30 00:30:00 | 5.8113 | 344.4133 | 6.0753 | 331.444 | 6.1147 | 336.8373 | 6.53 | 333.1393 | 1.2333 | 899 | 42.9673 | 41.264
2020-12-30 00:45:00 | 5.7293 | 253.24 | 5.9953 | 329.2993 | 5.9973 | 247.6687 | 6.4293 | 330.9827 | 1.1667 | 899 | 43.9927 | 42.4953
2020-12-30 01:00:00 | 5.748 | 299.08 | 6.0213 | 329.852 | 6.1653 | 292.5007 | 6.568 | 331.5393 | 1.06 | 899 | 44.952 | 43.7507
2020-12-30 01:15:00 | 5.8387 | 234 | 6.0807 | 330.4207 | 6.3473 | 228.8533 | 6.6653 | 332.1113 | 1.0333 | 899 | 45.1287 | 45.2073
2020-12-30 01:30:00 | 6.3533 | 298.7067 | 6.696 | 336.5427 | 6.6187 | 292.1353 | 7.1933 | 338.264 | 1.0067 | 899 | 45.6313 | 47.7133
2020-12-30 01:45:00 | 6.2727 | 277.2733 | 6.6227 | 332.886 | 6.6473 | 271.174 | 7.206 | 334.5873 | 0.82 | 899 | 46.0747 | 45.9987
2020-12-30 02:00:00 | 6.454 | 343.5067 | 6.8933 | 333.7513 | 6.9093 | 335.9487 | 7.612 | 335.4587 | 0.72667 | 899 | 46.1113 | 48.6067
2020-12-30 02:15:00 | 6.3847 | 345.6867 | 6.8207 | 330.382 | 6.806 | 338.0813 | 7.5093 | 332.0713 | 0.65333 | 898.2667 | 45.4367 | 48.2047
2020-12-30 02:30:00 | 6.372 | 324.8667 | 6.7253 | 306.7927 | 6.6933 | 317.7193 | 7.272 | 308.3593 | 0.5 | 898 | 45.7933 | 48.3507
2020-12-30 02:45:00 | 6.424 | 324.2 | 6.8287 | 330.6873 | 6.698 | 317.068 | 7.3873 | 332.378 | 0.42 | 898 | 46.508 | 49.2593
2020-12-30 03:00:00 | 6.82 | 276.34 | 7.2093 | 314.0093 | 7.332 | 270.262 | 7.9227 | 315.6147 | 0.48 | 898 | 47.5087 | 50.1927
2020-12-30 03:15:00 | 7.094 | 345.9733 | 7.4473 | 335.108 | 7.4213 | 338.362 | 7.9993 | 336.8213 | 0.41333 | 898 | 49.1333 | 48.79
2020-12-30 03:30:00 | 6.6573 | 305.38 | 6.962 | 331.7627 | 7.1647 | 298.662 | 7.594 | 333.46 | 0.23333 | 898 | 50.616 | 46.7167
2020-12-30 03:45:00 | 6.6333 | 343.0667 | 6.952 | 329.3 | 6.9213 | 335.5187 | 7.446 | 330.9833 | 0.34667 | 898 | 52.0447 | 42.9307
2020-12-30 04:00:00 | 6.5947 | 339.64 | 6.918 | 324.8787 | 7.1773 | 332.1667 | 7.628 | 326.5393 | 0.30667 | 898 | 52.3707 | 42.6287
2020-12-30 04:15:00 | 6.3433 | 323.1933 | 6.7027 | 326.1373 | 7.0513 | 316.084 | 7.528 | 327.8047 | 0.16 | 898 | 50.5227 | 42.9967
2020-12-30 04:30:00 | 6.3787 | 345.7867 | 6.7947 | 330.4207 | 7.1387 | 338.178 | 7.7107 | 332.1093 | 0.12 | 898 | 49.958 | 44.2013
2020-12-30 04:45:00 | 6.4487 | 299.1 | 6.818 | 327.904 | 6.8833 | 292.52 | 7.46 | 329.5787 | 0.026667 | 898 | 49.436 | 44.7093
2020-12-30 05:00:00 | 6.7507 | 345.92 | 7.1593 | 332.9567 | 7.4393 | 338.3107 | 8.018 | 334.66 | 0.033333 | 898 | 47.142 | 46.4387
2020-12-30 05:15:00 | 6.7287 | 341.8 | 7.0613 | 329.702 | 7.278 | 334.28 | 7.7507 | 331.3873 | -0.006667 | 897.2667 | 45.6487 | 42.6593
2020-12-30 05:30:00 | 6.796 | 337.9533 | 7.236 | 325.276 | 7.3967 | 330.518 | 8.0567 | 326.9387 | 0 | 897 | 45.7053 | 42.026
2020-12-30 05:45:00 | 6.8267 | 320.62 | 7.3093 | 327.1887 | 7.604 | 313.566 | 8.2973 | 328.8593 | -0.013333 | 897 | 46.5067 | 42.0027
2020-12-30 06:00:00 | 6.834 | 340.4933 | 7.2673 | 322.7207 | 7.53 | 333.002 | 8.1553 | 324.37 | -0.046667 | 897 | 47.0007 | 41.42
2020-12-30 06:15:00 | 6.922 | 342.1533 | 7.2667 | 321.7547 | 7.5013 | 334.6267 | 7.9887 | 323.4007 | -0.12 | 897 | 48.1893 | 39.194
2020-12-30 06:30:00 | 6.886 | 343.5067 | 7.2753 | 327.1467 | 7.4827 | 335.95 | 8.0547 | 328.82 | -0.13333 | 897 | 50.036 | 40.8933
2020-12-30 06:45:00 | 6.78 | 341.0733 | 7.124 | 327.2387 | 7.3393 | 333.5693 | 7.8327 | 328.912 | -0.08 | 897 | 50.0407 | 39.806
2020-12-30 07:00:00 | 6.6133 | 340.6733 | 6.9573 | 325.7127 | 6.8387 | 333.1787 | 7.4273 | 327.3773 | -0.18 | 897 | 48.1687 | 37.1827
2020-12-30 07:15:00 | 6.228 | 272.5667 | 6.522 | 327.6427 | 6.7587 | 266.57 | 7.166 | 329.3173 | -0.27333 | 897 | 47.3893 | 34.2633
2020-12-30 07:30:00 | 6.43 | 341.7133 | 6.7807 | 325.0347 | 7.054 | 334.1967 | 7.5407 | 326.6987 | -0.20667 | 897 | 48.1127 | 34.8147
2020-12-30 07:45:00 | 6.142 | 300.2333 | 6.5533 | 329.0247 | 6.9173 | 293.6273 | 7.476 | 330.7067 | -0.34667 | 897.6667 | 48.564 | 36.614
2020-12-30 08:00:00 | 6.2373 | 298.96 | 6.7173 | 303.0433 | 7.1333 | 292.384 | 7.784 | 304.5913 | -0.51333 | 897 | 47.992 | 37.6627
2020-12-30 08:15:00 | 6.5853 | 342.32 | 7.0427 | 322.31 | 7.4913 | 334.7887 | 8.0973 | 323.9587 | -0.51333 | 897.7333 | 48.1713 | 39.1793
2020-12-30 08:30:00 | 6.6273 | 341.7933 | 7.1127 | 319.6627 | 7.436 | 334.274 | 8.1233 | 321.2973 | -0.47333 | 898 | 48.612 | 40.94
2020-12-30 08:45:00 | 6.748 | 322.22 | 7.2767 | 323.374 | 7.6793 | 315.132 | 8.418 | 325.026 | -0.56667 | 898 | 49.47 | 41.4273
2020-12-30 09:00:00 | 6.872 | 337.4533 | 7.3713 | 323.2873 | 7.7173 | 330.0273 | 8.42 | 324.9407 | -0.57333 | 898 | 49.4273 | 41.684
2020-12-30 09:15:00 | 6.932 | 318.8867 | 7.4567 | 330.4973 | 7.6913 | 311.87 | 8.468 | 332.1893 | -0.52667 | 898 | 48.9967 | 40.854
2020-12-30 09:30:00 | 7.1267 | 342.0733 | 7.64 | 324.912 | 8.0913 | 334.5487 | 8.788 | 326.5713 | -0.56 | 898 | 48.562 | 42.098
2020-12-30 09:45:00 | 6.8833 | 317.3733 | 7.4433 | 326.3707 | 7.9353 | 310.3907 | 8.6867 | 328.0407 | -0.50667 | 898.7333 | 48.506 | 42.892
2020-12-30 10:00:00 | 6.752 | 319.1867 | 7.3053 | 325.616 | 7.7287 | 312.1647 | 8.4913 | 327.2813 | -0.32 | 899 | 47.4227 | 40.1573
2020-12-30 10:15:00 | 6.6633 | 294.6267 | 7.1667 | 324.3047 | 7.5553 | 288.144 | 8.2453 | 325.9627 | -0.2 | 899 | 45.9873 | 40.7673
2020-12-30 10:30:00 | 6.4047 | 339.9867 | 6.8827 | 326.3913 | 7.2647 | 332.5073 | 7.922 | 328.0593 | -0.02 | 899 | 44.328 | 39.018
2020-12-30 10:45:00 | 6.36 | 336.1267 | 6.7873 | 321.7687 | 7.1427 | 328.7307 | 7.728 | 323.4153 | 0.12 | 899.7333 | 43.5867 | 37.794
2020-12-30 11:00:00 | 6.2453 | 315.6533 | 6.5613 | 325.0213 | 7.0427 | 308.71 | 7.416 | 326.6833 | 0.36 | 900 | 42.5507 | 33.7133
2020-12-30 11:15:00 | 5.71 | 276.92 | 5.8953 | 322.9227 | 6.216 | 270.828 | 6.4227 | 324.5727 | 0.35333 | 900 | 41.5853 | 30.1507
2020-12-30 11:30:00 | 5.9113 | 269.1533 | 6.188 | 325.8907 | 6.5573 | 263.2327 | 6.9 | 327.5553 | 0.65333 | 900 | 40.8967 | 29.312
2020-12-30 11:45:00 | 5.6427 | 337.9867 | 6.002 | 324.2973 | 6.384 | 330.552 | 6.8507 | 325.9573 | 0.92667 | 899.9333 | 39.2133 | 28.4733
2020-12-30 12:00:00 | 5.1973 | 337.0333 | 5.5707 | 284.604 | 5.9933 | 329.6193 | 6.4693 | 286.06 | 1.36 | 899 | 38.294 | 26.346
2020-12-30 12:15:00 | 4.9633 | 339.2733 | 5.28 | 325.36 | 5.692 | 331.8087 | 6.084 | 327.024 | 1.54 | 899 | 37.6133 | 23.7947
2020-12-30 12:30:00 | 4.916 | 341.7267 | 5.2693 | 328.3267 | 5.4927 | 334.21 | 5.9987 | 330.0053 | 1.88 | 899 | 37.0167 | 21.526
2020-12-30 12:45:00 | 4.5393 | 336.08 | 4.8873 | 305.866 | 5.308 | 328.6873 | 5.7447 | 307.4313 | 2.2667 | 899 | 36.092 | 16.982
2020-12-30 13:00:00 | 4.2967 | 339.88 | 4.6373 | 327.5067 | 4.9773 | 332.4033 | 5.4287 | 329.1813 | 2.6133 | 899 | 35.0353 | 15.8933
2020-12-30 13:15:00 | 4.1667 | 342.6933 | 4.4607 | 328.4267 | 4.7847 | 335.1533 | 5.16 | 330.1047 | 2.68 | 898.3333 | 34.366 | 12.3093
2020-12-30 13:30:00 | 3.9653 | 291.0533 | 4.304 | 306.1913 | 4.6927 | 284.6527 | 5.124 | 307.7573 | 3.1 | 898.6 | 34.2293 | 10.632
2020-12-30 13:45:00 | 3.708 | 292.6333 | 3.976 | 247.6747 | 4.33 | 286.1947 | 4.658 | 248.94 | 3.2467 | 898 | 32.9067 | 8.166
2020-12-30 14:00:00 | 3.5767 | 334.0533 | 3.8793 | 324.82 | 4.3 | 326.7033 | 4.662 | 326.4813 | 3.64 | 898 | 31.34 | 7.94
2020-12-30 14:15:00 | 3.4827 | 325.1333 | 3.6933 | 323.026 | 4.056 | 317.98 | 4.2913 | 324.678 | 3.9267 | 898 | 30.1847 | 6.214
2020-12-30 14:30:00 | 3.1387 | 277 | 3.302 | 324.5393 | 3.732 | 270.9073 | 3.8707 | 326.198 | 4.08 | 898 | 29.588 | 4.238
2020-12-30 14:45:00 | 2.9433 | 308.6667 | 3.0853 | 306.9873 | 3.512 | 301.876 | 3.618 | 308.558 | 4.34 | 898 | 30.3087 | 3.1187
2020-12-30 15:00:00 | 2.584 | 159.3733 | 2.666 | 304.0133 | 2.944 | 155.8667 | 2.998 | 305.5687 | 4.5933 | 898 | 30.2313 | 2.082
2020-12-30 15:15:00 | 2.6413 | 322.3667 | 2.7587 | 305.318 | 3.0713 | 315.2753 | 3.1733 | 306.8787 | 4.8467 | 898 | 29.1327 | 1.8633
2020-12-30 15:30:00 | 2.6133 | 271.8867 | 2.7593 | 265.052 | 3.058 | 265.9047 | 3.2107 | 266.4053 | 4.9133 | 897.6 | 28.3027 | 1.51
2020-12-30 15:45:00 | 2.5473 | 290.78 | 2.7093 | 267.0787 | 3.0447 | 284.3833 | 3.21 | 268.4453 | 4.98 | 897.7333 | 28.2607 | 1.3327
2020-12-30 16:00:00 | 2.392 | 286.5467 | 2.5507 | 266.4327 | 2.772 | 280.2413 | 2.9607 | 267.7953 | 5.2933 | 897.6 | 28.0713 | 1.06
2020-12-30 16:15:00 | 2.6493 | 315.1933 | 2.7873 | 327.7087 | 3.0667 | 308.2593 | 3.2053 | 329.384 | 5.1933 | 897 | 28.3 | 1.5833
2020-12-30 16:30:00 | 2.7387 | 309.6533 | 2.87 | 330.78 | 3.1713 | 302.8413 | 3.2967 | 332.47 | 5.0133 | 897 | 28.7687 | 2.0653
2020-12-30 16:45:00 | 2.702 | 339.4333 | 2.8047 | 324.7093 | 3.0373 | 331.966 | 3.136 | 326.3693 | 4.8067 | 897 | 29.5407 | 2.306
2020-12-30 17:00:00 | 2.7013 | 334.28 | 2.8407 | 326.0973 | 3.134 | 326.926 | 3.2767 | 327.7653 | 4.6267 | 897 | 31.8987 | 2.4193
2020-12-30 17:15:00 | 2.656 | 333.74 | 2.852 | 330.336 | 3.008 | 326.398 | 3.2747 | 332.024 | 4.5467 | 896.9333 | 34.4127 | 2.8793
2020-12-30 17:30:00 | 2.8527 | 321.8067 | 3.0107 | 314.526 | 3.2967 | 314.7267 | 3.4687 | 316.1333 | 4.4 | 896 | 36.386 | 3.304
2020-12-30 17:45:00 | 3.1707 | 331.78 | 3.3567 | 321.8527 | 3.6273 | 324.48 | 3.8493 | 323.498 | 4.2667 | 896 | 36.9367 | 4.4167
2020-12-30 18:00:00 | 3.0893 | 330.84 | 3.3067 | 318.684 | 3.4947 | 323.5613 | 3.788 | 320.3133 | 4.16 | 896 | 37.5273 | 4.8887
2020-12-30 18:15:00 | 3.552 | 336.8867 | 3.7673 | 328.666 | 3.9267 | 329.4753 | 4.2273 | 330.3467 | 4.0533 | 896 | 38.3333 | 7.3933
2020-12-30 18:30:00 | 3.6033 | 342.68 | 3.862 | 327.0167 | 3.9707 | 335.1413 | 4.3533 | 328.6887 | 3.92 | 896 | 39.2893 | 8.6507
2020-12-30 18:45:00 | 3.634 | 341.5667 | 3.8907 | 331.596 | 3.992 | 334.0527 | 4.378 | 333.2907 | 3.76 | 896 | 40.182 | 9.5987
2020-12-30 19:00:00 | 3.8847 | 342.68 | 4.1307 | 331.796 | 4.2913 | 335.1413 | 4.642 | 333.492 | 3.6067 | 896 | 40.9493 | 11.788
2020-12-30 19:15:00 | 4.0353 | 344.4933 | 4.3193 | 327.7667 | 4.546 | 336.9133 | 4.9367 | 329.4427 | 3.4 | 896 | 41.646 | 12.2153
2020-12-30 19:30:00 | 4.2447 | 345.2267 | 4.5167 | 327.7073 | 4.6953 | 337.6313 | 5.084 | 329.384 | 3.2267 | 896 | 42.414 | 13.2813
2020-12-30 19:45:00 | 4.3647 | 326.9 | 4.7073 | 333.9467 | 4.7927 | 319.7087 | 5.3193 | 335.6547 | 3.1733 | 896 | 43.392 | 14.936
2020-12-30 20:00:00 | 4.3833 | 350.1733 | 4.7193 | 330.1473 | 4.856 | 342.4687 | 5.3547 | 331.8347 | 2.94 | 896 | 44.7833 | 16.188
2020-12-30 20:15:00 | 4.374 | 284.1267 | 4.75 | 326.6973 | 4.8307 | 277.8747 | 5.41 | 328.3667 | 2.7733 | 896 | 45.1 | 16.4153
2020-12-30 20:30:00 | 4.5273 | 282.7133 | 4.892 | 329.474 | 5.0633 | 276.4927 | 5.598 | 331.16 | 2.54 | 896 | 45.5553 | 18.1113
2020-12-30 20:45:00 | 4.7267 | 259.6667 | 5.118 | 332.1167 | 5.2793 | 253.9553 | 5.858 | 333.814 | 2.3933 | 896 | 45.934 | 19.64
2020-12-30 21:00:00 | 4.8987 | 328.86 | 5.2987 | 323.21 | 5.466 | 321.6247 | 6.0593 | 324.862 | 2.3267 | 896 | 46.9433 | 22.3947
2020-12-30 21:15:00 | 4.9973 | 345.6133 | 5.4013 | 318.6387 | 5.7347 | 338.0087 | 6.286 | 320.268 | 2.1667 | 896 | 46.9513 | 24.4753
2020-12-30 21:30:00 | 5.2093 | 350.9267 | 5.6193 | 325.2307 | 5.836 | 343.2073 | 6.4313 | 326.8927 | 1.9867 | 896 | 48.01 | 25.84
2020-12-30 21:45:00 | 5.32 | 327.4733 | 5.746 | 322.576 | 6.026 | 320.2687 | 6.624 | 324.2267 | 1.9667 | 896.6667 | 48.7047 | 28.0127
2020-12-30 22:00:00 | 5.646 | 282.5333 | 6.0387 | 322.5513 | 6.3207 | 276.3173 | 6.8713 | 324.1987 | 1.8 | 896 | 48.9167 | 30.4407
2020-12-30 22:15:00 | 5.336 | 260.92 | 5.7967 | 317.8833 | 6.1347 | 255.1807 | 6.7733 | 319.508 | 1.6133 | 896 | 49.8093 | 29.308
2020-12-30 22:30:00 | 5.3413 | 143.9267 | 5.782 | 315.3593 | 6.1153 | 140.76 | 6.7273 | 316.9713 | 1.5133 | 896 | 50.402 | 29.346
2020-12-30 22:45:00 | 5.2633 | 306.8867 | 5.692 | 315.4707 | 6.0553 | 300.1353 | 6.636 | 317.082 | 1.5133 | 896.0667 | 49.6333 | 28.464
2020-12-30 23:00:00 | 5.4513 | 325.1133 | 5.8787 | 317.3227 | 6.2207 | 317.9613 | 6.808 | 318.9433 | 1.3667 | 897 | 50.1267 | 28.7493
2020-12-30 23:15:00 | 5.6653 | 323.1 | 6.0867 | 320.9407 | 6.4553 | 315.992 | 7.0253 | 322.5813 | 1.28 | 896.2667 | 50.636 | 31.102
2020-12-30 23:30:00 | 5.9687 | 325.2467 | 6.374 | 329.2793 | 6.712 | 318.0907 | 7.2653 | 330.9633 | 1.2733 | 896 | 49.9527 | 33.9447
2020-12-30 23:45:00 | 6.24 | 326.2067 | 6.658 | 324.644 | 7.0787 | 319.0307 | 7.6307 | 326.3047 | 1.18 | 896 | 50.3653 | 37.24