## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-31 00:00:00 | 6.18 | 331.9 | 6.6187 | 325.4973 | 7.064 | 324.5973 | 7.642 | 327.162 | 1.1333 | 896 | 50.9113 | 36.5073
2020-12-31 00:15:00 | 6.2667 | 307.6867 | 6.7107 | 322.5047 | 7.1573 | 300.9167 | 7.74 | 324.1547 | 0.96 | 896 | 51.8493 | 37.8787
2020-12-31 00:30:00 | 6.57 | 296.8267 | 7.0453 | 323.6273 | 7.5173 | 290.2953 | 8.146 | 325.28 | 0.8 | 896 | 52.172 | 39.8267
2020-12-31 00:45:00 | 6.7587 | 349.6 | 7.266 | 326.9787 | 7.6153 | 341.908 | 8.33 | 328.6493 | 0.69333 | 896 | 53.172 | 40.1547
2020-12-31 01:00:00 | 6.9867 | 350.7733 | 7.5587 | 331.554 | 7.9707 | 343.056 | 8.768 | 333.25 | 0.55333 | 896 | 54.6813 | 39.132
2020-12-31 01:15:00 | 6.9727 | 346.6533 | 7.4853 | 328.5347 | 7.8413 | 339.0273 | 8.5633 | 330.216 | 0.60667 | 895.2667 | 55.158 | 39.2113
2020-12-31 01:30:00 | 6.6953 | 338.2867 | 7.262 | 322.446 | 7.566 | 330.844 | 8.3873 | 324.0953 | 0.42 | 895 | 55.268 | 38.2313
2020-12-31 01:45:00 | 6.7013 | 343.2133 | 7.2233 | 326.366 | 7.4233 | 335.6613 | 8.2007 | 328.034 | 0.38667 | 895 | 55.0493 | 37.556
2020-12-31 02:00:00 | 6.5827 | 338.8067 | 7.1007 | 320.1767 | 7.4713 | 331.352 | 8.196 | 321.8153 | 0.3 | 895 | 56.1533 | 36.4767
2020-12-31 02:15:00 | 6.5773 | 338.04 | 7.09 | 318.222 | 7.464 | 330.604 | 8.1787 | 319.8487 | 0.11333 | 895 | 56.79 | 36.9307
2020-12-31 02:30:00 | 6.516 | 342.5867 | 7.0607 | 320.34 | 7.5067 | 335.0513 | 8.2547 | 321.9787 | 0.04 | 895 | 57.8633 | 36.484
2020-12-31 02:45:00 | 6.8387 | 339.4133 | 7.3513 | 325.47 | 7.7033 | 331.9467 | 8.426 | 327.1353 | -0.066667 | 895 | 58.308 | 39.474
2020-12-31 03:00:00 | 6.3867 | 334.0267 | 6.9007 | 319.9493 | 7.3493 | 326.678 | 8.0453 | 321.586 | -0.32 | 895 | 59.6167 | 37.2487
2020-12-31 03:15:00 | 6.2053 | 337.6933 | 6.6627 | 321.0053 | 7.1207 | 330.266 | 7.722 | 322.6473 | -0.43333 | 895 | 59.928 | 36.7227
2020-12-31 03:30:00 | 6.2107 | 337.58 | 6.6467 | 320.4253 | 7.0887 | 330.1547 | 7.662 | 322.0633 | -0.61333 | 895 | 60.342 | 37.0633
2020-12-31 03:45:00 | 5.9053 | 342.28 | 6.2973 | 322.8307 | 6.648 | 334.748 | 7.1787 | 324.482 | -0.76667 | 895 | 60.8113 | 33.924
2020-12-31 04:00:00 | 5.88 | 339.24 | 6.256 | 323.104 | 6.6173 | 331.776 | 7.1173 | 324.7567 | -0.79333 | 895 | 60.5887 | 31.4947
2020-12-31 04:15:00 | 5.7527 | 342.48 | 6.1487 | 324.8127 | 6.3013 | 334.9453 | 6.8933 | 326.4733 | -0.84 | 894.2667 | 60.9133 | 30.474
2020-12-31 04:30:00 | 5.628 | 340.9867 | 6.0453 | 320.386 | 6.298 | 333.4847 | 6.8967 | 322.024 | -0.93333 | 894 | 61.2033 | 29.4753
2020-12-31 04:45:00 | 5.7847 | 339.82 | 6.2067 | 301.3467 | 6.58 | 332.3433 | 7.1513 | 302.89 | -0.95333 | 894 | 61.6333 | 31.4153
2020-12-31 05:00:00 | 5.7547 | 340.2533 | 6.178 | 324.618 | 6.5933 | 332.7673 | 7.1547 | 326.2767 | -1.04 | 894 | 62.2173 | 31.7707
2020-12-31 05:15:00 | 6.002 | 338.8467 | 6.458 | 321.1307 | 6.9813 | 331.3927 | 7.562 | 322.7713 | -0.98 | 894 | 62.5487 | 32.7773
2020-12-31 05:30:00 | 6.0307 | 334.42 | 6.4553 | 321.762 | 6.91 | 327.0633 | 7.4607 | 323.4067 | -1.1 | 894 | 63.0007 | 32.6573
2020-12-31 05:45:00 | 6.13 | 338.6 | 6.5693 | 325.198 | 6.942 | 331.1493 | 7.542 | 326.862 | -1.16 | 894 | 63.3933 | 32.914
2020-12-31 06:00:00 | 6.0787 | 336.6933 | 6.512 | 323.0727 | 6.9587 | 329.286 | 7.53 | 324.7247 | -1.2333 | 894 | 63.4027 | 32.906
2020-12-31 06:15:00 | 6.1807 | 337.5867 | 6.6407 | 320.6147 | 7.1107 | 330.1607 | 7.7147 | 322.2547 | -1.38 | 894 | 64.074 | 33.7867
2020-12-31 06:30:00 | 5.7613 | 334.66 | 6.182 | 321.3053 | 6.638 | 327.2987 | 7.186 | 322.9487 | -1.4467 | 894 | 64.542 | 29.98
2020-12-31 06:45:00 | 5.6447 | 341.7867 | 6.0627 | 326.9447 | 6.5833 | 334.2673 | 7.106 | 328.6167 | -1.48 | 894 | 64.962 | 28.5267
2020-12-31 07:00:00 | 6.0353 | 340.2333 | 6.5207 | 324.1607 | 7.04 | 332.7473 | 7.6667 | 325.8187 | -1.4733 | 894 | 65.3953 | 31.52
2020-12-31 07:15:00 | 5.898 | 331.2067 | 6.352 | 324.5127 | 6.8087 | 323.9193 | 7.4053 | 326.172 | -1.52 | 894 | 65.4553 | 30.7587
2020-12-31 07:30:00 | 6.37 | 337.74 | 6.8193 | 324.8327 | 7.122 | 330.3093 | 7.756 | 326.4947 | -1.56 | 894 | 65.6327 | 34.026
2020-12-31 07:45:00 | 6.2653 | 335.5867 | 6.7533 | 326.92 | 7.102 | 328.2027 | 7.7853 | 328.592 | -1.5933 | 894 | 66.5753 | 34.8033
2020-12-31 08:00:00 | 6.1473 | 337.68 | 6.6573 | 325.968 | 7.0813 | 330.25 | 7.7767 | 327.634 | -1.6867 | 894 | 67.3893 | 33.2707
2020-12-31 08:15:00 | 5.748 | 341.6333 | 6.2447 | 325.7913 | 6.734 | 334.116 | 7.3833 | 327.4567 | -1.7 | 894 | 67.8853 | 31.2013
2020-12-31 08:30:00 | 5.5753 | 339.0867 | 6.0493 | 321.8593 | 6.5113 | 331.6253 | 7.14 | 323.5047 | -1.7467 | 894.4 | 67.826 | 30.4027
2020-12-31 08:45:00 | 5.442 | 339.3133 | 5.8987 | 321.156 | 6.4633 | 331.8493 | 7.0333 | 322.798 | -1.8 | 895 | 67.288 | 28.6813
2020-12-31 09:00:00 | 5.4047 | 336.3133 | 5.834 | 319.7853 | 6.3733 | 328.9133 | 6.9047 | 321.4213 | -1.72 | 895 | 67.1067 | 27.5167
2020-12-31 09:15:00 | 5.418 | 337.6533 | 5.87 | 322.9547 | 6.374 | 330.2253 | 6.9513 | 324.6053 | -1.76 | 895 | 66.9613 | 28.1587
2020-12-31 09:30:00 | 5.556 | 337.4733 | 6.024 | 322.3547 | 6.4267 | 330.05 | 7.0553 | 324.0027 | -1.6867 | 895 | 66.7933 | 28.542
2020-12-31 09:45:00 | 5.914 | 336.52 | 6.36 | 325.9227 | 6.562 | 329.116 | 7.2233 | 327.5887 | -1.68 | 895.7333 | 66.5113 | 30.12
2020-12-31 10:00:00 | 5.816 | 335.4333 | 6.254 | 326.718 | 6.6 | 328.054 | 7.2073 | 328.386 | -1.56 | 896 | 65.2587 | 28.3473
2020-12-31 10:15:00 | 5.216 | 333.7267 | 5.6513 | 321.7753 | 6.024 | 326.3847 | 6.612 | 323.4207 | -1.4067 | 896 | 64.3207 | 23.3907
2020-12-31 10:30:00 | 4.962 | 331.36 | 5.2933 | 322.8187 | 5.7333 | 324.0713 | 6.136 | 324.4673 | -1.2267 | 896 | 62.6667 | 20.0013
2020-12-31 10:45:00 | 4.736 | 334.8133 | 4.992 | 324.1473 | 5.3613 | 327.448 | 5.6673 | 325.8047 | -1.16 | 896 | 61.3167 | 15.818
2020-12-31 11:00:00 | 4.3487 | 330.4933 | 4.5907 | 323.2293 | 4.9793 | 323.2213 | 5.2613 | 324.8827 | -0.86667 | 896 | 59.5133 | 11.9353
2020-12-31 11:15:00 | 4.076 | 318.6667 | 4.2873 | 320.028 | 4.6193 | 311.6573 | 4.86 | 321.6627 | -0.62667 | 896 | 57.2227 | 8.5173
2020-12-31 11:30:00 | 3.4867 | 320.0067 | 3.71 | 324.318 | 3.9693 | 312.9653 | 4.2527 | 325.976 | -0.15333 | 896 | 55.432 | 5.2773
2020-12-31 11:45:00 | 2.926 | 318.8867 | 3.1133 | 314.8893 | 3.3487 | 311.872 | 3.5813 | 316.4993 | 0.26 | 896 | 54.9327 | 2.9347
2020-12-31 12:00:00 | 2.232 | 315.2133 | 2.324 | 321.194 | 2.5327 | 308.2773 | 2.6207 | 322.838 | 1.02 | 896 | 53.908 | 0.612
2020-12-31 12:15:00 | 1.4487 | 287.5867 | 1.4967 | 314.134 | 1.778 | 281.26 | 1.7727 | 315.7393 | 1.74 | 896 | 52.8073 | 0
2020-12-31 12:30:00 | 0.64 | 211.1667 | 0.69467 | 199.994 | 0.88867 | 206.5207 | 0.918 | 201.0147 | 3.1067 | 895.6 | 53.878 | 0
2020-12-31 12:45:00 | 1.3 | 154.68 | 1.3167 | 139.82 | 1.188 | 151.2773 | 1.254 | 140.5367 | 3.64 | 895 | 52.5993 | 0
2020-12-31 13:00:00 | 1.8447 | 121.6667 | 1.9127 | 160.6853 | 2.1813 | 118.9907 | 2.2127 | 161.5073 | 3.5133 | 895 | 51.2893 | 0
2020-12-31 13:15:00 | 2.422 | 160.3067 | 2.5813 | 130.2493 | 2.7133 | 156.7793 | 2.9307 | 130.9153 | 3.3333 | 894.9333 | 51.5613 | 0.108
2020-12-31 13:30:00 | 2.22 | 159.6467 | 2.2273 | 136.51 | 2.662 | 156.1347 | 2.5467 | 137.206 | 3.3067 | 894 | 55.398 | 0.726
2020-12-31 13:45:00 | 2.1093 | 162.0867 | 2.1607 | 127.6293 | 2.5627 | 158.52 | 2.5327 | 128.2827 | 3.5667 | 894 | 52.638 | 0.56333
2020-12-31 14:00:00 | 1.7353 | 169.8133 | 1.792 | 141.8967 | 2.0153 | 166.078 | 2.0427 | 142.62 | 3.8067 | 894 | 51.3053 | 0
2020-12-31 14:15:00 | 1.6313 | 180.0533 | 1.64 | 133.0413 | 2.1367 | 176.0913 | 2.012 | 133.7213 | 4.3067 | 894 | 49.378 | 0
2020-12-31 14:30:00 | 1.8213 | 188.8067 | 1.9013 | 141.152 | 2.148 | 184.6527 | 2.2073 | 141.8727 | 4.36 | 894 | 47.7207 | 0
2020-12-31 14:45:00 | 2.03 | 160.8467 | 2.076 | 138.2233 | 2.372 | 157.3067 | 2.3633 | 138.932 | 4.5333 | 894 | 44.1573 | 0
2020-12-31 15:00:00 | 2.036 | 176.8333 | 2.2087 | 138.0413 | 2.506 | 172.9427 | 2.7007 | 138.7473 | 4.5933 | 893.6 | 41.586 | 0.21
2020-12-31 15:15:00 | 2.1187 | 172.6533 | 2.2407 | 155.072 | 2.6013 | 168.8553 | 2.694 | 155.864 | 4.4867 | 893 | 41.9393 | 0.422
2020-12-31 15:30:00 | 2.0607 | 175.04 | 2.2067 | 125.712 | 2.4727 | 171.1887 | 2.6327 | 126.3553 | 4.7133 | 893 | 41.7313 | 0.30467
2020-12-31 15:45:00 | 2.1573 | 171.0333 | 2.248 | 151.082 | 2.4973 | 167.2713 | 2.5713 | 151.8527 | 4.6933 | 893 | 40.8013 | 0.036
2020-12-31 16:00:00 | 1.982 | 156.0267 | 2.084 | 119.0227 | 2.3613 | 152.5947 | 2.4453 | 119.6293 | 4.68 | 893 | 41.4533 | 0.019333
2020-12-31 16:15:00 | 1.752 | 162.6933 | 1.792 | 125.1773 | 2.0393 | 159.1127 | 2.034 | 125.816 | 4.7533 | 893 | 42.184 | 0
2020-12-31 16:30:00 | 1.658 | 183.4867 | 1.76 | 145.56 | 1.7967 | 179.4487 | 1.9527 | 146.3033 | 4.6467 | 893 | 42.6127 | 0
2020-12-31 16:45:00 | 1.3533 | 180.3467 | 1.3867 | 164.2973 | 1.678 | 176.3787 | 1.6493 | 165.1387 | 4.8733 | 893.7333 | 43.36 | 0
2020-12-31 17:00:00 | 1.584 | 197.0867 | 1.5987 | 168.796 | 1.6373 | 192.752 | 1.6487 | 169.658 | 4.9333 | 894 | 44.8453 | 0
2020-12-31 17:15:00 | 1.612 | 172.8667 | 1.688 | 154.2747 | 1.87 | 169.0627 | 1.94 | 155.066 | 4.62 | 893.9333 | 45.244 | 0
2020-12-31 17:30:00 | 1.4633 | 174.1733 | 1.5447 | 173.2887 | 1.644 | 170.3427 | 1.746 | 174.1747 | 4.6067 | 893 | 46.7187 | 0
2020-12-31 17:45:00 | 1.386 | 182.5067 | 1.4627 | 180.0047 | 1.572 | 178.4927 | 1.664 | 180.924 | 4.4133 | 893 | 48.3707 | 0
2020-12-31 18:00:00 | 1.172 | 180.6867 | 1.238 | 178.1193 | 1.3953 | 176.7107 | 1.4593 | 179.03 | 4.3467 | 893 | 49.44 | 0
2020-12-31 18:15:00 | 1.1987 | 179.8733 | 1.2627 | 182.8467 | 1.3987 | 175.9167 | 1.462 | 183.782 | 4.1733 | 893 | 50.008 | 0
2020-12-31 18:30:00 | 1.2007 | 176.2667 | 1.23 | 184.4447 | 1.3533 | 172.3887 | 1.366 | 185.3887 | 4.14 | 893 | 50.0547 | 0
2020-12-31 18:45:00 | 1.0593 | 167.52 | 1.116 | 179.972 | 1.2013 | 163.8353 | 1.2673 | 180.8907 | 4.14 | 893.6667 | 50.0167 | 0
2020-12-31 19:00:00 | 1.234 | 159.8533 | 1.2747 | 170.588 | 1.4373 | 156.336 | 1.456 | 171.462 | 4.0933 | 893 | 49.7387 | 0
2020-12-31 19:15:00 | 1.6133 | 166.5667 | 1.6793 | 172.52 | 1.7933 | 162.9033 | 1.8667 | 173.4013 | 4.0933 | 893 | 49.8187 | 0.37133
2020-12-31 19:30:00 | 1.706 | 172.66 | 1.792 | 174.3053 | 1.9013 | 168.8613 | 2.0113 | 175.198 | 4 | 893.4 | 50.836 | 0.59467
2020-12-31 19:45:00 | 2.2333 | 183.56 | 2.3507 | 180.1273 | 2.442 | 179.52 | 2.6047 | 181.05 | 3.94 | 894 | 51.1107 | 1.4273
2020-12-31 20:00:00 | 2.5613 | 175.7333 | 2.66 | 161.696 | 2.87 | 171.868 | 2.9667 | 162.524 | 3.8333 | 894 | 51.2367 | 3.442
2020-12-31 20:15:00 | 2.4007 | 178.7133 | 2.4513 | 170.974 | 2.48 | 174.782 | 2.5587 | 171.848 | 3.7467 | 894 | 51.766 | 4.4853
2020-12-31 20:30:00 | 2.6647 | 200.94 | 2.7147 | 176.9993 | 2.908 | 196.5187 | 2.9393 | 177.9027 | 3.3667 | 894 | 52.166 | 5.3893
2020-12-31 20:45:00 | 2.776 | 191.08 | 2.8567 | 169.5193 | 3.1347 | 186.8767 | 3.1867 | 170.388 | 3.1667 | 894 | 54.2413 | 6.4553
2020-12-31 21:00:00 | 2.7087 | 170.5667 | 2.7713 | 164.5833 | 2.926 | 166.814 | 2.9827 | 165.426 | 2.84 | 894 | 59.2793 | 6.3047
2020-12-31 21:15:00 | 2.5887 | 172.3067 | 2.6867 | 158.1747 | 2.75 | 168.516 | 2.892 | 158.984 | 2.58 | 894.7333 | 60.082 | 6.098
2020-12-31 21:30:00 | 2.5593 | 156.44 | 2.642 | 151.9807 | 2.7473 | 152.9993 | 2.8493 | 152.758 | 2.4533 | 895 | 61.872 | 6.1533
2020-12-31 21:45:00 | 2.5093 | 145.1333 | 2.5993 | 149.8753 | 2.8673 | 141.94 | 2.9347 | 150.6407 | 2.26 | 895 | 63.6353 | 4.9927
2020-12-31 22:00:00 | 2.3407 | 146.12 | 2.418 | 142.246 | 2.746 | 142.9053 | 2.7733 | 142.9733 | 2.1467 | 895 | 64.9747 | 3.3153
2020-12-31 22:15:00 | 1.8187 | 144.18 | 1.8887 | 150.5527 | 2.132 | 141.0073 | 2.1733 | 151.324 | 2.1667 | 895 | 66.358 | 1.61
2020-12-31 22:30:00 | 1.968 | 140.04 | 2.062 | 133.4907 | 2.166 | 136.9593 | 2.288 | 134.174 | 2.0667 | 895 | 67.6907 | 1.154
2020-12-31 22:45:00 | 1.6653 | 138.3 | 1.7067 | 134.7747 | 1.898 | 135.2573 | 1.91 | 135.464 | 2.0133 | 895 | 69.2487 | 0.738
2020-12-31 23:00:00 | 1.472 | 130.6 | 1.5387 | 136.2227 | 1.7747 | 127.7267 | 1.8113 | 136.918 | 2.0533 | 895 | 71.7693 | 0.1
2020-12-31 23:15:00 | 2.1527 | 129.16 | 2.2807 | 136.5227 | 2.418 | 126.32 | 2.5833 | 137.2213 | 1.8267 | 895 | 74.1387 | 0.74867
2020-12-31 23:30:00 | 2.228 | 138.46 | 2.3353 | 125.392 | 2.4413 | 135.4147 | 2.584 | 126.0353 | 1.6467 | 895 | 75.8507 | 1.3547
2020-12-31 23:45:00 | 2.1913 | 136.4467 | 2.29 | 131.1107 | 2.4487 | 133.4453 | 2.558 | 131.7807 | 1.5667 | 895 | 76.654 | 1.5573